| COUNTY OF FRESNO |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Request for proposal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | NUMBER: 956-4174 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| October 14, 2005 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ORG/Requisition: 0135/ 1326004106 |  |  |  |  |  |  |  | PURCHASING USE |  |  |  |  | /tmp/in/input.doc |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | jol |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | IMPORTANT: SUBMIT PROPOSAL IN SEALED PACKAGE WITH PROPOSAL NUMBER, CLOSING DATE AND BUYER’S NAME MARKED CLEARLY ON THE OUTSIDE TO: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | COUNTY OF FRESNO, Purchasing 4525 EAST HAMILTON AVENUE FRESNO, CA 93702-4599 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Closing date of bid will be at 2:00 p.m., on NOVEMBER 17, 2005. PROPOSALS WILL BE CONSIDERED LATE WHEN THE OFFICIAL PURCHASING TIME CLOCK READS 2:00 P.M. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Proposals will be opened and publicly read at that time. All proposal information will be available for review after contract award. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Clarification of specifications are to be directed to: Ken Vozza, phone (559) 456-7110, FAX (559) 456-7831. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | GENERAL CONDITIONS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | See “County Of Fresno Purchasing Standard Instructions And Conditions For Request For Proposals (RFP’S) and Requests for Quotations (RFQ’S)” attached. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| BIDDER TO COMPLETE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| UNDERSIGNED AGREES TO FURNISH THE COMMODITY OR SERVICE STIPULATED IN THE ATTACHED PROPOSAL SCHEDULE AT THE PRICES AND TERMS STATED, SUBJECT TO THE “COUNTY OF FRESNO PURCHASING STANDARD INSTRUCTIONS AND CONDITIONS FOR REQUEST FOR PROPOSALS (RFP’S) AND REQUESTS FOR QUOTATIONS (RFQ’S)”ATTACHED. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Except as noted on individual items, the following will apply to all items in the Proposal Schedule. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | - Complete delivery will be made within |  |  |  |  |  |  |  | calendar days after receipt of Order. |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | - A cash discount of |  |  |  |  |  | % |  |  |  | days will apply. |  |  |  |  |  |  |  |  |  |
| Company |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Address |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| City |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | State |  | Zip Code |  |  |  |  |
| ( ) |  |  |  |  |  |  |  | ( ) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Telephone Number |  |  |  |  |  |  |  | Facsimile Number |  |  |  |  |  |  |  | E-mail Address |  |  |  |  |  |  |
| Taxpayer Federal I.D. No.: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Signed By |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Print Name |  |  |  |  |  |  |  |  |  |  |  | Title |  |  |  |  |  |  |  |  |  |  |

COUNTY OF FRESNO PURCHASING

STANDARD INSTRUCTIONS AND CONDITIONS FOR
REQUESTS FOR PROPOSALS (RFP'S) AND REQUESTS FOR QUOTATIONS (RFQ'S)

Note: the reference to “bids” in the following paragraphs applies to RFP's and RFQ's

## GENERAL CONDITIONS

By submitting a bid the bidder agrees to the following conditions.  These conditions will apply to all subsequent purchases based on this bid.

- BID PREPARATION:

  - All prices and notations must be typed or written in ink.  No erasures permitted.  Errors may be crossed out, initialed and corrections printed in ink by person signing bid.

  - Brand Names: Brand names and numbers when given are for reference. Equal items will be considered, provided the offer clearly describes the article and how it differs from that specified.  In the absence of such information it shall be understood the offering is exactly as specified.

  - State brand or make of each item.  If bidding on other than specified, state make, model and brand being bid and attach supporting literature/specifications to the bid.

  - Bid on each item separately.  Prices should be stated in units specified herein.  All applicable charges must be quoted; charges on invoice not quoted herein will be disallowed.

  - Time of delivery is a part of the consideration and must be stated in definite terms and must be adhered to.  F.O.B. Point shall be destination or freight charges must be stated.

  - All bids must be dated and signed with the firm’s name and by an authorized officer or employee.

  - Unless otherwise noted, prices shall be firm for 120 days after closing date of bid.

- SUBMITTING BIDS:

  - Each bid must be submitted on forms provided in a sealed envelope with bid number and closing date and time on the outside of the envelope/package.

  - Interpretation: Should any discrepancies or omissions be found in the bid specifications or doubt as to their meaning, the bidder shall notify the Buyer in writing at once.  The County shall not be held responsible for verbal interpretations.  Questions regarding the bid must be received by Purchasing at least 5 working days before bid opening.  All addenda issued shall be in writing, duly issued by Purchasing and incorporated into the contract.

  - ISSUING AGENT/AUTHORIZED CONTACT: This RFQ has been issued by County of Fresno Purchasing. Purchasing shall be the vendor’s sole point of contact with regard to the RFQ, its content, and all issues concerning it.

All communication regarding this RFQ shall be directed to an authorized representative of County Purchasing. The specific buyer managing this RFQ is identified on the cover page, along with his or her telephone number, and he or she should be the primary point of contact for discussions or information pertaining to the RFQ. Contact with any other County representative, including elected officials, for the purpose of discussing this RFQ, its content, or any other issue concerning it, is prohibited unless authorized by Purchasing. Violation of this clause, by the vendor having unauthorized contact (verbally or in writing) with such other County representatives, may constitute grounds for rejection by Purchasing of the vendor’s quotation.

The above stated restriction on vendor contact with County representatives shall apply until the County has awarded a purchase order or contract to a vendor or vendors, except as follows. First, in the event that a vendor initiates a formal protest against the RFQ, such vendor may contact the appropriate individual, or individuals who are managing that protest as outlined in the County’s established protest procedures. All such contact must be in accordance with the sequence set forth under the protest procedures. Second, in the event a public hearing is scheduled before the Board of Supervisors to hear testimony prior to its approval of a purchase order or contract, any vendor may address the Board.

  - Bids received after the closing time will NOT be considered.

  - Bidders are to bid what is specified or requested first. If unable to or willing to, bidder may bid alternative or option, indicating all advantages, disadvantages and their associated cost.

- FAILURE TO BID:

  - If not bidding, return bid sheet and state reason for no bid or your name may be removed from mailing list.

- TAXES, CHARGES AND EXTRAS:

  - County of Fresno is subject to California sales and/or use tax (7.975%). Please indicate as a separate line item if applicable.

  - DO NOT include Federal Excise Tax.  County is exempt under Registration No. 94-73-03401-K.

  - County is exempt from Federal Transportation Tax.  Exemption certificate is not required where shipping papers show consignee as County of Fresno.

  - Charges for transportation, containers, packing, etc. will not be paid unless specified in bid.

- W-9 – REQUEST FOR TAXPAYER IDENTIFICATION NUMBER AND CERTIFICATION:

Upon award of bid, the vendor shall submit to County Purchasing, a completed W-9 - Request for Taxpayer Identification Number and Certification if not already a current vendor with The County of Fresno. This form is available from the IRS to complete on line at http://www.irs.gov/pub/irs-pdf/fw9.pdf.

- AWARDS:

  - Subject to the local preference provisions referenced in Paragraph 6 below and more thoroughly set forth in the General Requirements section of this RFQ, award(s) will be made to the most responsive responsible bidder.  The evaluation will include such things as life-cycle cost, availability, delivery costs and whose product and/or service is deemed to be in the best interest of the County. The County shall be the sole judge in making such determination.

  - Unless bidder gives notice of all-or-none award in bid, County may accept any item, group of items or on the basis of total bid.

  - The County reserves the right to reject any and all bids and to waive informalities or irregularities in bids.

  - After award, all bids shall be open to public inspection. The County assumes no responsibility for the confidentiality of information offered in a bid.

- LOCAL VENDORS

  - Local Vendor Preference (applicable to RFQ Process only)

The following provisions are applicable only to the County’s acquisition of materials, equipment or supplies through the RFQ process when the funding source does not require an exemption to the Local Vendor Preference.

THE PROVISIONS OF THIS PARAGRAPH ARE APPLICABLE, NOTWITHSTANDING ANY OTHER PROVISIONS OF THIS RFQ TO THE CONTRARY

If the apparent low bidder is not a local vendor, any local vendor who submitted a bid which was within five percent (5%) of the lowest responsive  bid as determined by the purchasing agent shall have the option of submitting a new bid within forty-eight hours (not including weekends and holidays) of County’s delivery of notification. Such new bids must be in an amount less than or equal to the lowest responsive bid as determined by the purchasing agent.  If the purchasing agent receives any new bids from local vendors who have the option of submitting new bids within said forty-eight hour period, it shall award the contract to the local vendor submitting the lowest responsible bid. If no new bids are received, the contract shall be awarded to the original low bidder as announced by the purchasing agent.

  - Local Vendor Defined

“Local Vendor” shall mean any business which:

- Has its headquarters, distribution point or locally-owned franchise located in or having a street address within the County for at least six (6) months immediately prior to the issuance of the request for competitive bids by the purchasing agent; and

- Holds any required business license by a jurisdiction located in Fresno County; and

- Employs at least one (1) full-time or two (2) part-time employees whose primary residence is located within Fresno County, or if the business has no employees, shall be at least fifty percent (50%) owned by one or more persons whose primary residence(s) is located within Fresno County.

- TIE BIDS:

All other factors being equal, the contract shall be awarded to the Fresno County vendor or, if neither or both are Fresno County vendors, it may be awarded by the flip of a coin in the presence of witnesses or the entire bid may be rejected and re-bid. If the General Requirements of this RFQ state that they are applicable, the provisions of the Fresno County Local Vendor Preference shall take priority over this paragraph.

- PATENT INDEMNITY:

The vendor shall hold the County, its officers, agents and employees, harmless from liability of any nature or kind, including costs and expenses, for infringement or use of any copyrighted or uncopyrighted composition, secret process, patented or unpatented invention, article or appliance furnished or used in connection with this bid.

- SAMPLES:

Samples, when required, must be furnished and delivered free and, if not destroyed by tests, will upon written request (within 30 days of bid closing date) be returned at the bidder's expense. In the absence of such notification, County shall have the right to dispose of the samples in whatever manner it deems appropriate.

- RIGHTS AND REMEDIES OF COUNTY FOR DEFAULT:

  - In case of default by vendor, the County may procure the articles or service from another source and may recover the cost difference and related expenses occasioned thereby from any unpaid balance due the vendor or by proceeding against performance bond of the vendor, if any, or by suit against the vendor. The prices paid by the County shall be considered the prevailing market price at the time such purchase is made.

  - Articles or services, which upon delivery inspection do not meet specifications, will be rejected and the vendor will be considered in default. Vendor shall reimburse County for expenses related to delivery of non-specified goods or services.

  - Regardless of F.O.B. point, vendor agrees to bear all risks of loss, injury or destruction to goods and materials ordered herein which occur prior to delivery and such loss, injury or destruction shall not release vendor from any obligation hereunder.

- DISCOUNTS:

Terms of less than 15 days for cash payment will be considered as net in evaluating this bid. A discount for payment within fifteen (15) days or more will be considered in determining the award of bid. Discount period will commence either the later of delivery or receipt of invoice by the County. Standard terms are Net Forty-five (45) days.

- SPECIAL CONDITIONS IN BID SCHEDULE SUPERSEDE GENERAL CONDITIONS.

The “General Conditions” provisions of this RFP/RFQ shall be superseded if in conflict with any other section of this bid, to the extent of any such conflict.

- SPECIAL REQUIREMENT:

With the invoice or within twenty-five (25) days of delivery, the seller must provide to the County a Material Safety Data Sheet for each product, which contains any substance on “The List of 800 Hazardous Substances”, published by the State Director of Industrial Relations. (See Hazardous Substances Information and Training Act. California State Labor Code Sections 6360 through 6399.7.)

- RECYCLED PRODUCTS/MATERIALS:

Vendors are encouraged to provide and quote (with documentation) recycled or recyclable products/materials which meet stated specifications.

- YEAR COMPLIANCE WARRANTY

Vendor warrants that any product furnished pursuant to this Agreement/order shall support a four-digit year format and be able to accurately process date and time data from, into and between the twentieth and twenty-first centuries, as well as leap year calculations. "Product" shall include, without limitation, any piece or component of equipment, hardware, firmware, middleware, custom or commercial software, or internal components or subroutines therein. This warranty shall survive termination or expiration of this Agreement.

In the event of any decrease in product functionality or accuracy related to time and/or date data related codes and/or internal subroutines that impede the product from operating correctly using dates beyond December 31, 1999, vendor shall restore or repair the product to the same level of functionality as warranted herein, so as to minimize interruption to County's ongoing business process, time being of the essence. In the event that such warranty compliance requires the acquisition of additional programs, the expense for any such associated or additional acquisitions, which may be required, including, without limitation, data conversion tools, shall be borne exclusively by vendor. Nothing in this warranty shall be construed to limit any rights or remedies the County may otherwise have under this Agreement with respect to defects other than year performance.

- PARTICIPATION:

Bidder may agree to extend the terms of the resulting contract to other political subdivision, municipalities and tax-supported agencies.

Such participating Governmental bodies shall make purchases in their own name, make payment directly to bidder, and be liable directly to the bidder, holding the County of Fresno harmless.

- CONFIDENTIALITY:

All services performed by vendor shall be in strict conformance with all applicable Federal, State of California and/or local laws and regulations relating to confidentiality, including but not limited to, California Civil Code, California Welfare and Institutions Code, Health and Safety Code, California Code of Regulations, Code of Federal Regulations.

Vendor shall submit to County’s monitoring of said compliance.

Vendor may be a business associate of County, as that term is defined in the “Privacy Rule” enacted by the Health Insurance Portability and Accountability Act of 1996 (HIPAA). As a HIPAA Business Associate, vendor may use or disclose protected health information (“PHI”) to perform functions, activities or services for or on behalf of County as specified by the County, provided that such use or disclosure shall not violate HIPAA and its implementing regulations. The uses and disclosures if PHI may not be more expansive than those applicable to County, as the “Covered Entity” under HIPAA’S Privacy Rule, except as authorized for management, administrative or legal responsibilities of the Business Associate.

Vendor shall not use or further disclose PHI other than as permitted or required by the County, or as required by law without written notice to the County.

Vendor shall ensure that any agent, including any subcontractor, to which vendor provides PHI received from, or created or received by the vendor on behalf of County, shall comply with the same restrictions and conditions with respect to such information.

- TABLE OF CONTENTS

PAGE

##### This is an Automatic Table of Contents... If you don’t want to use it, just delete it and use the Manual Table of Contents following this one.

OVERVIEW	2

KEY DATES	2

PROPOSAL IDENTIFICATION SHEET	3

TRADE SECRET ACKNOWLEDGEMENT	4

REFERENCE LIST	6

GENERAL REQUIREMENTS	7

PARTICIPATION	13

SPECIFIC TERMS AND CONDITIONS	14

EQUIPMENT LIST	25

vendor proposal	35

COST PROPOSAL	36

PROPOSAL CONTENT REQUIREMENTS	37

AWARD CRITERIA	39

ANY CHANGES TO THIS TABLE OF CONTENTS IS MADE ON THE PAGE THAT CONTAINS THE TITLE      AND… You must use the buttons “Type Title”, “Type Sub Title” directly above this screen. (Thus defining the style of the paragraph.  The Title is “Bid Title” style, Sub Title style is “Bid Title 2”, the body style is “BidBody 11”.)  These will allow the headings to show up in the proper place with the correct page number.

##### This is Manual Table of Contents... If you are using the Automatic Table of Contents, delete it.

- OVERVIEW

The Fresno County Juvenile Justice Campus is a new facility comprised of 11 buildings comprised of approximately 350,000 square feet on approximately 100 acres.  The JJC is located at 3330 E. American, Fresno, CA.  While much of the facility is a secure I-3 occupancy, the total also includes offices, classroom spaces and support buildings such as a central plant. A site drawing is attached.

The County is seeking qualified firms to provide operational and maintenance services related to the complete operations, maintenance and repair of a new Juvenile Justice Campus. These services could include but are not limited to the following:

Painting

Pest Control

Roofing Repair

Plumbing and pipefitting

Energy Management Control Services

Parking lot and sidewalk maintenance

All mechanical operations

Maintenance and repair of building heating/ventilation/air conditioning systems

Instrumentation

Carpentry

Masonry

Appliance service

Interior and exterior electrical distribution systems, high and low voltage

Fabrication and installation

Steam and hot water generation and distribution systems

Emergency electrical generation and distribution systems

- KEY DATES

| Vendor Conference: | October 28, 2005 at 9:00 A.M. |
| --- | --- |
|  | Juvenile Justice Campus |
|  | 3330 E. American Ave. |
|  | Fresno, CA (meet on North Side of Central Plant) |
| Deadline for Written Interpretations or Corrections of RFP: | November 4, 2005 at 8:00 A.M. |
|  | Fax No. (559) 456-7831 |
| RFP Closing Date: | November 17, 2005 at 2:00 P.M. (Automatic field, don’t delete!) |
|  | County of Fresno Purchasing |
|  | 4525 E. Hamilton Avenue |
|  | Fresno, CA 93702 |

- PROPOSAL IDENTIFICATION SHEET

- RESPONDENT TO COMPLETE AND RETURN WITH PROPOSAL

| Our proposal is attached and identified as: |  |
| --- | --- |

The undersigned agrees to furnish the service stipulated at the prices and terms stated in the cost proposal.

| Work services will commence within contract. |  |  |  |  | calendar days after signing of the final |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Company: |  |  |  |  |  |  |  |  |
| Address: |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | Zip: |  |
| Signed by: |  |  |  |  |  |  |  |  |
| Print Name |  |  |  |  |  |  |  |  |
| Print Title |  |  |  |  |  |  |  |  |
| ( ) |  |  | ( ) |  |  |  |  |  |
| Telephone |  |  | Fax Number |  |  | E-mail Address |  |  |
| Date: |  |  |  |  |  |  |  |  |
| Taxpayer Identification No.: |  |  |  |  |  |  |  |  |

- TRADE SECRET ACKNOWLEDGEMENT

All proposals received by the County shall be considered "Public Record" as defined by Section 6252 of the California Government Code.  This definition reads as follows:

"...Public records" includes any writing containing information relating to the conduct of the public's business prepared, owned, used or retained by any state or local agency regardless of physical form or characteristics "Public records" in the custody of, or maintained by, the Governor's office means any writing prepared on or after January 6, 1975."

Each proposal submitted is Public record and is therefore subject to inspection by the public per Section 6253 of the California Government Code.  This section states that "every citizen has a right to inspect any public record".

The County will not exclude any proposal or portion of a proposal from treatment as a public record except in the instance that it is submitted as a trade secret as defined by the California Government Code.  Information submitted as proprietary, confidential or under any other such terms that might suggest restricted public access will not be excluded from treatment as public record.

"Trade secrets" as defined by Section 6254.7 of the California Government Code are deemed not to be public record.  This section defines trade secrets as:

"...Trade secrets," as used in this section, may include, but are not limited to, any formula, plan, pattern, process, tool, mechanism, compound, procedure, production data or compilation of information that is not patented, which is known only to certain individuals within a commercial concern who are using it to fabricate, produce, or compound an article of trade or a service having commercial value and which gives its user an opportunity to obtain a business advantage over competitors who do not know or use it."

Information identified by bidder as "trade secret" will be reviewed by County of Fresno's legal counsel to determine conformance or non-conformance to this definition. Examples of material not considered to be trade secrets are pricing, cover letter, promotional materials, etc. Such material should be submitted in a separate binder not marked "Trade Secret".

INFORMATION THAT IS PROPERLY IDENTIFIED AS TRADE SECRET AND CONFORMS TO THE ABOVE DEFINITION WILL NOT BECOME PUBLIC RECORD.  COUNTY WILL SAFEGUARD THIS INFORMATION IN AN APPROPRIATE MANNER.

Information identified by bidder as trade secret and determined not to be in conformance with the California Government Code definition shall be excluded from the proposal. Such information will be returned to the bidder at bidder's expense upon written request.

Trade secrets must be submitted in a separate binder that is plainly marked "Trade Secrets."

The County shall not in any way be liable or responsible for the disclosure of any proposals or portions thereof, if they are not (1) submitted in a separate binder that is plainly marked "Trade Secret" on the outside; and (2) if disclosure is required under the provision of law or by order of Court.

Vendors are advised that the County does not wish to receive trade secrets and that vendors are not to supply trade secrets unless they are absolutely necessary.

- TRADE SECRET ACKNOWLEDGEMENT

I have read and understand the above "Trade Secret Acknowledgement."

I understand that the County of Fresno has no responsibility for protecting information submitted as a trade secret if it is not delivered in a separate binder plainly marked "Trade Secret."

Enter company name on appropriate line:

|  | has submitted information identified as Trade Secrets |
| --- | --- |
| (Company Name) |  |
|  | has not submitted information identified as Trade Secrets |
| (Company Name) |  |

ACKNOWLEDGED BY:

|  | ( ) |  |
| --- | --- | --- |
| Signature | Telephone |  |
| Print Name and Title |  | Date |
| Address |  |  |
| City | State | Zip |

| Firm: |  |
| --- | --- |

REFERENCE LIST

Provide a list of at least five (5) customers for whom you have recently provided similar services (preferably California State or local government agencies).  Be sure to include addresses and phone numbers.

| Reference Name: |  | City: |  |
| --- | --- | --- | --- |
| Contact |  | Phone No.: | ( ) |
| Date: |  |  |  |
| Service Provided: |  |  |  |
| Reference Name: |  | City: |  |
| Contact |  | Phone No.: | ( ) |
| Date: |  |  |  |
| Service Provided: |  |  |  |
| Reference Name: |  | City: |  |
| Contact |  | Phone No.: | ( ) |
| Date: |  |  |  |
| Service Provided: |  |  |  |
| Reference Name: |  | City: |  |
| Contact |  | Phone No.: | ( ) |
| Date: |  |  |  |
| Service Provided: |  |  |  |
| Reference Name: |  | City: |  |
| Contact |  | Phone No.: | ( ) |
| Date: |  |  |  |
| Service Provided: |  |  |  |

Failure to provide a list of at least five (5) customers may be cause for rejection of this RFP.

- GENERAL REQUIREMENTS

DEFINITIONS: The terms Bidder, Proposer, Contractor and Vendor are all used interchangeably and refer to that person, partnership, corporation, organization, agency, etc. which is offering the proposal and is identified on the "Provider" line of the Proposal Identification Sheet.

if local vendor preference applies, delete this paragraph! LOCAL VENDOR PREFERENCE:  The Local Vendor Preference does not apply to this Request for Quotation.

RFP CLARIFICATION AND REVISIONS: Any revisions to the RFP will be issued and distributed as written addenda.

FIRM PROPOSAL: All proposals shall remain firm for at least one hundred eighty (180) days.

PROPOSAL PREPARATION: Proposals should be submitted in the formats shown under "PROPOSAL CONTENT REQUIREMENTS" section of this RFP.

SUPPORTIVE MATERIAL: Additional material may be submitted with the proposal as appendices.  Any additional descriptive material that is used in support of any information in your proposal must be referenced by the appropriate paragraph(s) and page number(s).

Bidders are asked to submit their proposals in a binder (one that allows for easy removal of pages) with index tabs separating the sections identified in the Table of Contents.  Pages must be numbered on the bottom of each page.

Any proposal attachments, documents, letters and materials submitted by the vendor shall be binding and included as a part of the final contract should your bid be selected.

TAXES: The quoted amount must include all applicable taxes. If taxes are not specifically identified in the proposal it will be assumed that they are included in the total quoted.

SALES TAX: Fresno County pays California State Sales Tax in the amount of 7.975% regardless of vendor's place of doing business.

RETENTION: County of Fresno reserves the right to retain all proposals, excluding proprietary documentation submitted per the instructions of this RFP, regardless of which response is selected.

ORAL PRESENTATIONS: Each finalist may be required to make an oral presentation in Fresno County and answer questions from County personnel.

AWARD/REJECTION: The award will be made to the vendor offering the overall proposal deemed to be to the best advantage of the County.  The County shall be the sole judge in making such determination.  The County reserves the right to reject any and all proposals. The lowest bidders are not arbitrarily the vendors whose proposals will be selected.

County Purchasing will chair or co-chair all award, evaluation and contract negotiation committees.

Award may require approval by the County of Fresno Board of Supervisors.

NEGOTIATION: The County will prepare and negotiate its own contract with the selected vendor, giving due consideration to the stipulation of the vendor's standard contracts and associated legal documents.

WAIVERS: The County reserves the right to waive any informalities or irregularities and any technical or clerical errors in any quote as the interest of the County may require.

TERMINATION: The County reserves the right to terminate any resulting contract upon written notice.

MINOR DEVIATIONS: The County reserves the right to negotiate minor deviations from the prescribed terms, conditions and requirements with the selected vendor.

PROPOSAL REJECTION: Failure to respond to all questions or not to supply the requested information could result in rejection of your proposal.

ASSIGNMENTS:  The ensuing proposed contract will provide that the vendor may not assign any payment or portions of payments without prior written consent of the County of Fresno.

BIDDERS LIABILITIES: County of Fresno will not be held liable for any cost incurred by vendors in responding to the RFP.

CONFIDENTIALITY: Bidders shall not disclose information about the County's business or business practices and safeguard confidential data which vendor staff may have access to in the course of system implementation.

DISPUTE RESOLUTION: The ensuing contract shall be governed by the laws of the State of California.

Any claim which cannot be amicably settled without court action will be litigated in the U. S. District Court for the Eastern District of California in Fresno, CA or in a state court for Fresno County.

NEWS RELEASE: Vendors shall not issue any news releases or otherwise release information to any third party about this RFP or the vendor's quotation without prior written approval from the County of Fresno.

BACKGROUND REVIEW: The County reserves the right to conduct a background inquiry of each proposer/bidder which may include collection of appropriate criminal history information, contractual and business associations and practices, employment histories and reputation in the business community. By submitting a proposal/bid to the County, the vendor consents to such an inquiry and agrees to make available to the County such books and records the County deems necessary to conduct the inquiry.

EXCEPTIONS: Identify with explanation, any terms, conditions, or stipulations of the RFP with which you CAN NOT or WILL NOT comply with by proposal group.

ADDENDA: In the event that it becomes necessary to revise any part of this RFP, addenda will be provided to all agencies and organizations that receive the basic RFP.

SUBCONTRACTORS: If a subcontractor is proposed, complete identification of the subcontractor and his tasks should be provided. The primary contractor is not relieved of any responsibility by virtue of using a subcontractor.

CONFLICT OF INTEREST:  The County shall not contract with, and shall reject any bid or proposal submitted by the persons or entities specified below, unless the Board of Supervisors finds that special circumstances exist which justify the approval of such contract:

- Employees of the County or public agencies for which the Board of Supervisors is the governing body.

- Profit-making firms or businesses in which employees described in Subsection (1) serve as officers, principals, partners or major shareholders.

- Persons who, within the immediately preceding twelve (12) months, came within the provisions of Subsection (1), and who were employees in positions of substantial responsibility in the area of service to be performed by the contract, or participated in any way in developing the contract or its service specifications.

- Profit-making firms or businesses in which the former employees described in Subsection (3) serve as officers, principals, partners or major shareholders.

- No County employee, whose position in the County enables him to influence the selection of a contractor for this RFP, or any competing RFP, and no spouse or economic dependent of such employee, shall be employees in any capacity by a bidder, or have any other direct or indirect financial interest in the selection of a contractor.

EVALUATION CRITERIA:  Respondents will be evaluated on the basis of their responses to all questions and requirements in this RFP and product cost.  The County shall be the sole judge in the ranking process and reserves the right to reject any or all bids.  False, incomplete or unresponsive statements in connection with this proposal may be sufficient cause for its rejection.

SELECTION PROCESS: All proposals will be evaluated by a team consisting of representatives from appropriate County Department(s), and Purchasing. It will be their responsibility to make the final recommendations.  Purchasing will chair or co-chair the evaluation or evaluation process.

Organizations that submit a proposal may be required to make an oral presentation to the Selection Committee. These presentations provide an opportunity for the individual, agency, or organization to clarify its proposal to ensure thorough, mutual understanding.

INDEPENDENT CONTRACTOR: In performance of the work, duties, and obligations assumed by Contractor under any ensuing Agreement, it is mutually understood and agreed that Contractor, including any and all of Contractor's officers, agents, and employees will at all times be acting and performing as an independent contractor, and shall act in an independent capacity and not as an officer, agent, servant, employee, joint venturer, partner, or associate of the County.  Furthermore, County shall have no right to control, supervise, or direct the manner or method by which Contractor shall perform its work and function. However, County shall retain the right to administer this Agreement so as to verify that Contractor is performing its obligations in accordance with the terms and conditions thereof.  Contractor and County shall comply with all applicable provisions of law and the rules and regulations, if any, of governmental authorities having jurisdiction over matters the subject thereof.

Because of its status as an independent contractor, Contractor shall have absolutely no right to employment rights and benefits available to County employees. Contractor shall be solely liable and responsible for providing to, or on behalf of, its employees all legally required employee benefits.  In addition, Contractor shall be solely responsible and save County harmless from all matters relating to payment of Contractor's employees, including compliance with Social Security, withholding, and all other regulations governing such matters.  It is acknowledged that during the term of the Agreement, Contractor may be providing services to others unrelated to the COUNTY or to the Agreement.

HOLD HARMLESS CLAUSE:  Contractor agrees to indemnify, save, hold harmless and at County's request, defend the County, its officers, agents and employees, from any and all costs and expenses, damages, liabilities, claims and losses occurring or resulting to County in connection with the performance, or failure to perform, by Contractor, its officers, agents or employees under this Agreement and from any and all costs and expenses, damages, liabilities, claims and losses occurring or resulting to any person, firm or corporation who may be injured or damaged by the performance, or failure to perform, of Contractor, its officers, agents or employees under this Agreement.

PRICE RESPONSIBILITY: The selected vendor will be required to assume full responsibility for all services and activities offered in the proposal, whether or not they are provided directly. Further, the County of Fresno will consider the selected vendor to be the sole point of contact with regard to contractual matters, including payment of any and all charges resulting from the contract.  The contractor may not subcontract or transfer the contract, or any right or obligation arising out of the contract, without first having obtained the express written consent of the County.

ADDRESSES AND TELEPHONE NUMBERS: The vendor will provide the business address and mailing address, if different, as well as the telephone number of the individual signing the contract.

ASSURANCES:  Any contract awarded under this RFP must be carried out in full compliance with The Civil Rights Act of 1964, The Americans With Disabilities Act of 1990, their subsequent amendments, and any and all other laws protecting the rights of individuals and agencies.  The County of Fresno has a zero tolerance for discrimination, implied or expressed, and wants to ensure that policy continues under this RFP.  The contractor must also guarantee that services, or workmanship, provided will be performed in compliance with all applicable local, state, or federal laws and regulations pertinent to the types of services, or project, of the nature required under this RFP.  In addition, the contractor may be required to provide evidence substantiating that their employees have the necessary skills and training to perform the required services or work.

- INSURANCE:

Without limiting the COUNTY's right to obtain indemnification from CONTRACTOR or any third parties, CONTRACTOR, at its sole expense, shall maintain in full force and effect the following insurance policies throughout the term of the Agreement:

- Commercial General Liability

Commercial General Liability Insurance with limits of not less than One Million Dollars ($1,000,000) per occurrence and an annual aggregate of Two Million Dollars ($2,000,000). This policy shall be issued on a per occurrence basis.   COUNTY may require specific coverages including completed operations, products liability, contractual liability, Explosion-Collapse-Underground, fire legal liability or any other liability insurance deemed necessary because of the nature of this contract.

- Automobile Liability

Comprehensive Automobile Liability Insurance with limits for bodily injury of not less than Two Hundred Fifty Thousand Dollars ($250,000.00) per person, Five Hundred Thousand Dollars ($500,000.00) per accident and for property damages of not less than Fifty Thousand Dollars ($50,000.00), or such coverage with a combined single limit of Five Hundred Thousand Dollars ($500,000.00). Coverage should include owned and non-owned vehicles used in connection with this Agreement.

- Worker's Compensation

A policy of Worker's Compensation insurance as may be required by the California Labor Code.

CONTRACTOR shall obtain endorsements to the Commercial General Liability insurance naming the County of Fresno, its officers, agents, and employees, individually and collectively, as additional insured, but only insofar as the operations under this Agreement are concerned. Such coverage for additional insured shall apply as primary insurance and any other insurance, or self-insurance, maintained by COUNTY, its officers, agents and employees shall be excess only and not contributing with insurance provided under CONTRACTOR's policies herein.  This insurance shall not be cancelled or changed without a minimum of thirty (30) days advance written notice given to COUNTY.

Within Thirty (30) days from the date CONTRACTOR executes this Agreement, CONTRACTOR shall provide certificates of insurance and endorsement as stated above for all of the foregoing policies, as required herein, to the County of Fresno, Purchasing Manager, stating that such insurance coverage have been obtained and are in full force; that the County of Fresno, its officers, agents and employees will not be responsible for any premiums on the policies; that such Commercial General Liability insurance names the County of Fresno, its officers, agents and employees, individually and collectively, as additional insured, but only insofar as the operations under this Agreement are concerned; that such coverage for additional insured shall apply as primary insurance and any other insurance, or self-insurance, maintained by COUNTY, its officers, agents and employees, shall be excess only and not contributing with insurance provided under CONTRACTOR's policies herein; and that this insurance shall not be cancelled or changed without a minimum of thirty (30) days advance, written notice given to COUNTY.

In the event CONTRACTOR fails to keep in effect at all times insurance coverage as herein provided, the COUNTY may, in addition to other remedies it may have, suspend or terminate this Agreement upon the occurrence of such event.

All policies shall be with admitted insurers licensed to do business in the State of California.  Insurance purchased shall be purchased from companies possessing a current A.M. Best, Inc. rating of A FSC VII or better.

AUDITS AND INSPECTIONS: The Contractor shall at any time during business hours, and as often as the County may deem necessary, make available to the County for examination all of its records and data and respect to the matters covered by this Agreement. The Contractor shall, upon request by the County, permit the County to audit and inspect all of such records and data necessary to ensure Contractor's compliance with the terms of this Agreement.

If this Agreement exceeds Ten Thousand and No/100 dollars ($10,000.00), Contractor shall be subject to the examination and audit of the Auditor General for a period of three (3) years after final payment under contract (Government Code Section 10532).

County of Fresno will not be held liable for any cost incurred by bidders in responding to RFP.

DEFAULT: In case of default by the selected bidder, the County may procure materials and services from another source and may recover the loss occasioned thereby from any unpaid balance due the selected bidder, or by any other legal means available to the County.

BREACH OF CONTRACT: In the event of breach of contract by either party, the other party shall be relieved of its obligations under this agreement and may pursue any legal remedies.

CONFIDENTIALITY

All services performed by vendor shall be in strict conformance with all applicable Federal, State of California and/or local laws and regulations relating to confidentiality, including but not limited to, California Civil Code, California Welfare and Institutions Code, Health and Safety Code, California Code of Regulations, Code of Federal Regulations.

Vendor shall submit to County’s monitoring of said compliance.

Vendor may be a Business associate of County, as that term is defined in the “Privacy Rule” enacted by the Health Insurance Portability and Accountability Act of 1996 (HIPAA). As a HIPAA Business Associate, vendor may use or disclose protected health information (“PHI”) to perform functions, activities or services for or on behalf of County, as specified by the County, provided that such use or disclosure shall not violate HIPAA and its implementing regulations. The uses and disclosures of PHI may not be more expansive than those applicable to County, as the “Covered Entity” under HIPAA’S Privacy Rule, except as authorized for management, administrative or legal responsibilities of the Business Associate.

Vendor shall not use or further disclose PHI other than as permitted or required by the County, or as required by law without written notice to the County.

Vendor shall ensure that any agent, including any subcontractor, to which vendor provides PHI received from, or created or received by the vendor on behalf of County, shall comply with the same restrictions and conditions with respect to such information.

APPEALS

Appeals must be submitted in writing within five (5) working days after the review committee notification of proposed recommendations.  Appeals should be submitted to County of Fresno Purchasing, 4525 E. Hamilton Avenue, Fresno, California 93702-4599. Appeals should address only areas regarding RFP contradictions, procurement errors, quotation rating discrepancies, legality of procurement context, conflict of interest in rating process, and inappropriate or unfair competitive procurement grievance regarding the RFP process.

The Purchasing Manager will provide a written response to the complaint within five (5) working days unless the complainant is notified more time is required.

If the protesting bidder is not satisfied with the decision of the Purchasing Manager, he/she shall have the right to appeal to the Purchasing Agent within five (5) business days after notification of Purchasing Manager’s decision.

If the protesting bidder is not satisfied with Purchasing Agent decision, the final appeal is with the Board of Supervisors.

BIDDER TO COMPLETE THE FOLLOWING:

- PARTICIPATION

The County of Fresno is a member of the Central Valley Purchasing Group.  This group consists of Fresno, Kern, Kings, and Tulare Counties and all governmental, tax supported agencies within these counties.

Whenever possible, these agencies co-op (piggyback) on contracts put in place by one of the other agencies.

Any agency choosing to avail itself of this opportunity, will make purchases in their own name, make payment directly to the contractor, be liable to the contractor and vice versa, per the terms of the original contract, all the while holding the County of Fresno harmless.  If awarded this contract, please indicate whether you would extend the same terms and conditions to all tax supported agencies within this group as you are proposing to extend to Fresno County.

|  | Yes, we will extend contract terms and conditions to all qualified agencies within the Central Valley Purchasing Group. |
| --- | --- |
|  | No, we will not extend contract terms to any agency other than the County of Fresno. |
| (Authorized Signature) |  |
| Title |  |

- SPECIFIC TERMS AND CONDITIONS

ISSUING AGENT: This RFP has been issued by County of Fresno Purchasing. Purchasing shall be the vendor’s sole point of contact with regard to the RFP, its content, and all issues concerning it.

AUTHORIZED CONTACT: All communication regarding this RFP shall be directed to an authorized representative of County Purchasing. The specific buyer managing this RFP is identified on the cover page, along with his or her telephone number, and he or she should be the primary point of contact for discussions or information pertaining to the RFP. Contact with any other County representative, including elected officials, for the purpose of discussing this RFP, it content, or any other issue concerning it, is prohibited unless authorized by Purchasing. Violation of this clause, by the vendor having unauthorized contact (verbally or in writing) with such other County representatives, may constitute grounds for rejection by Purchasing of the vendor’s quotation.

The above stated restriction on vendor contact with County representatives shall apply until the County has awarded a purchase order or contract to a vendor or vendors, except as follows. First, in the event that a vendor initiates a formal protest against the RFP, such vendor may contact the appropriate individual, or individuals who are managing that protest as outlined in the County’s established protest procedures. All such contact must be in accordance with the sequence set forth under the protest procedures. Second, in the event a public hearing is scheduled before the Board of Supervisors to hear testimony prior to its approval of a purchase order or contract, any vendor may address the Board.

Pre-bid Site Inspection/VENDOR CONFERENCE: On October 28, 2005 at 9:00 A.M., a site inspection and a vendor's conference will be held in which the scope of the project and proposal requirements will be explained. The meeting will be held at the *County of Fresno Juvenile Justice Campus, 3330 E. American Ave., Fresno, California. An addendum will be prepared and distributed to all bidders only if necessary to clarify substantive items raised during the bidders' conference.

* Meet on the North Side at the Central Plant.

Bidders are to contact Ken Vozza at County of Fresno Purchasing, (559) 456-7110, if they are planning to attend the conference.

INTERPRETATION OF RFP: Vendors must make careful examination of the requirements, specifications and conditions expressed in the RFP and fully inform themselves as to the quality and character of services required.  If any person planning to submit a quotation finds discrepancies in or omissions from the RFP or has any doubt as to the true meaning or interpretation, correction thereof may be requested at the scheduled Site Inspection/Vendor Conference.  Any change in the RFP will be made only by written addendum, duly issued by the County.  The County will not be responsible for any other explanations or interpretations.

Questions may be submitted subsequent to the Site Inspection/Vendor Conference, subject to the following conditions:

- Such questions are submitted in writing to County Purchasing by not later than November 4, 2005 at 8:00 A.M.  Questions must be directed to the attention of the buyer identified on page one.

- Such questions are submitted with the understanding that County can respond only to questions it considers material in nature.

Questions shall be delivered to County of Fresno Purchasing, 4525 E. Hamilton Avenue, Fresno, CA 93702 or emailed to kvozza@co.fresno.ca.us or faxed to (559) 456-7831. If faxing the bidder must confirm receipt by phone within one-half (1/2) hour of transmission.

NOTE: The bidder is encouraged to submit all questions at the Site Inspection/Vendor Conference. Time limitations can prevent a response to questions submitted after the conference.

NUMBER OF COPIES: Submit one (1) original and four (4) copies of your proposal no later than the proposal acceptance date and time as stated on the front of this document to County of Fresno Purchasing.

SELECTION COMMITTEE: All proposals will be evaluated by a team co-chaired by Purchasing.  All proposals will be evaluated by a review committee that may consist of County of Fresno Purchasing, department staff, community representatives from advisory boards and other members as appropriate.

The proposals will be evaluated in a multi-stage selection process.  Some bids may be eliminated or set aside after an initial review.  If a proposal does not respond adequately to the RFP or the bidder is deemed unsuitable or incapable of delivering services, the proposal maybe eliminated from consideration. It will be the selection committee’s responsibility to make the final recommendation to the Department Head.

CONTRACT TERM: It is County's intent to contract with the successful bidder for an initial term of three (3) years with the option to renew for up to two (2) additional two (2) year periods. County will retain the right to terminate the Agreement upon giving thirty (30) days advance written notification to the Contractor.

MONTHLY BILLING: Contractor shall bill County in arrears on a monthly basis.

COMMENCEMENT OF SERVICES: It is anticipated that the Contractor will Commence Services on July 1, 2006. County staff will main the facilities until that date.

Drawings: A set of facility drawings is available for review at Fresno County Purchasing. Plan review will be allowed by appointment only. Contact Ken Vozza or Gary W. Parkinson to schedule ((559)-456-7110). Hours allowed for review are limited to 8:30 A.M. through 4:30 P.M., Monday through Friday (excluding holidays).

As Builts: A set of as built drawings will be provided to the successful bidder.

LIQUIDATED DAMAGES: The successful bidder will be assessed liquidated damages as follows:

      - For Non-Critical Malfunctions:  If the vendor fails to respond, service, and diligently repair within the time frames established in the agreement, they will be assessed as liquidated damages the amount of Two Hundred and Fifty Dollars (250.00) per day for each day of delay.

      - Limit: The contractor shall not be assessed liquidated damages more than Six Hundred Dollars per day total for both critical and non-critical malfunctions.

      - The County will reserve the right to unilaterally waive liquidated damages upon the County’s sole determination that the contractor has exercised all due diligence in responding, servicing, and attempting to repair critical and non-critical malfunctions, provided however, such waiver shall only be effective if expressly made in writing.

d.	The County will reserve the right to unilaterally waive liquidated damages upon the County’s sole determination that the contractor has exercised all due diligence in responding, servicing, and attempting to repair critical and non-critical malfunctions, provided however, such waiver shall only be effective if expressly made in writing.

SCOPE OF WORK

General Requirements:

The Fresno County Juvenile Justice Campus is a new facility comprised of 11 buildings comprised of approximately 350,000 square feet on approximately 100 acres.  The JJC is located at 3330 E. American, Fresno, CA.  While much of the facility is a secure I-3 occupancy, the total also includes offices, classroom spaces and support buildings such as a central plant. A site drawing is attached.

The County is seeking qualified firms to provide operational and maintenance services related to the complete operations, maintenance and repair of a new Juvenile Justice Campus. These services could include but are not limited to the following:

Painting

Pest Control

Roofing Repair

Plumbing and pipefitting

Energy Management Control Services

Parking lot and sidewalk maintenance

All mechanical operations

Maintenance and repair of building heating/ventilation/air conditioning systems

Instrumentation

Carpentry

Masonry

Appliance service

Interior and exterior electrical distribution systems, high and low voltage

Fabrication and installation

Steam and hot water generation and distribution systems

Emergency electrical generation and distribution systems

The County will reserve the right to award portions of this responsibility to others such as security electronics, water and wastewater treatment plant operations and janitorial services inside the secure perimeter to others or may elect to provide those services with their own forces and it deems to be in the best interest of the County.

All preventive maintenance and repairs shall be done on schedule and in a timely manner by qualified personnel and appropriately licensed for the discipline.  Records of all preventive maintenance and repairs shall be kept up to date, on file and will be subject to audit annually.  Maintenance reports shall be provided to the Facility Services Manager or their designee within three days of completion.

Render services in the best interest, good faith, and with the degree of professional care, skill and diligence normally exercised by professional consultants in similar circumstances.

Will perform its services as an independent contractor, and not as an employee of or joint venturer with the County of Fresno.

Equipment and materials used by the Contractor shall not be piled or stored in any location, other than that provided, which shall interfere with the conduct of the normal functions of the complex.  All required safety precautions such as barricades, signs, danger, signals, etc., shall be furnished and installed by the Contractor during operations.

Upon demand of the County of Fresno the Contractor shall correct any dangerous or hazardous situations that are discovered by the County of Fresno or its designee.

Contractor shall completely protect against damage from either materials or equipment all surfaces, equipment and facilities, adjoining his work, including, but not limited to woodwork, walls and floors.  All repair or replacement costs resulting from this damage shall be borne by the Contractor.  At the conclusion of each day’s work the Contractor shall remove refuse, debris, or waste materials and leave the premises in an orderly condition as required by the County.

No equipment requiring repair shall be allowed to remain out of service due to the lack of diligent effort by the Contractor.  Any part or equipment locally available will be purchased locally if necessary to expedite the job.  Repairs shall begin and carried to completion as soon as possible unless other arrangements are approved by the County of Fresno.

All equipment shutdowns for regular maintenance or extra examinations shall be scheduled in advance with the designated County representative  and approved by the County of Fresno so as not to interfere with complex operations during the peak usage times.  Shutdowns in excess of one hour may require scheduling outside of normal business hours.  No extra charges will be incurred because of a scheduled shutdown regardless of day or time.

Contractor is responsible to have accessible an inventory of spare parts necessary to repair or replace malfunctioning equipment and make operable non-critical malfunctions within five (5) working days of receipt of written notification of same from County.  Said notification shall be made in writing by 0800 hours of the next regularly-scheduled work day following oral notification thereof.

Contractor shall provide to the Facility Services Manager a report each month which shall include a description of all work performed, status of parts inventory, detail on after-hours calls, status of preventative maintenance schedule, copies of all written communications, meeting minutes and any recommendations.

Contractor shall not be responsible for acts of God, misuse or sabotage if not under control of the Contractor.

Contractor shall be responsible for all vandalism or intentional damage under the amount of $1,000.00 (one thousand dollars).

The proposer should have a minimum of five (5) years experience in performing similar services at similar facilities.

The County of Fresno may require and authorize Contractor to provide extra services items not covered by the basic fees agreed upon.  Contractor shall not undertake any extra services without County’s advance written authorization.  Contractor and Facility Services Manager or designee shall confirm in writing as to the authorization and maximum cost for any such services before Contractor begins such work.

For any extra services performed, Contractor shall provide the Facility Services Manager or designee reports describing activities performed by Contractor and all costs and charges applicable to work covered, and a copy of the letter from County authorizing the extra services.

Contractor shall also provide and maintain an accurate and complete log of all work performed in addition to routine inspection at each location.  This log shall include emergency call back service describing the nature of all complaints and their resolution.  The County may require that all maintenance work shall be recorded in the County’s maintenance tracking system.  The County will provide training on the proper use of the system.  If the maintenance system is not to be used, a fully detailed written log shall be kept in the equipment room at the Central Plant office.

Contractor shall submit with his monthly billing to the County, as a basis for payment of claim for services rendered a monthly work sheet for each section clearly indicating  all work, regular maintenance or trouble/emergency calls, performed scheduled or unscheduled, to include date, time and the hours worked.

All forms required for the above schedules, monthly work sheets, call-back records and performance reports must be approved by the County before work of the Contract commences.

All completed logs, schedules and records become the property of the County.

Applicable portions of the following Codes and Standards shall govern the material, installation, maintenance and repair of the facility, equipment or grounds.  Where two codes are at variance, the more restrictive requirement shall apply.

- Reference to Codes, ordinances regulations and standard Specifications refer to latest editions in affect

| Agency | FS |
| --- | --- |
| U.S. Government Federal Specification | FS |
| California Building Code | CBC |
| California Mechanical Code | CMC |
| California Plumbing Code | NEC CPC |
| National Electrical Code |  |
| American Society for Testing and Materials | ASTM |
| American National Standards Institute | ANSI |
| Underwriters Laboratories | UL |
| National Fire Protection Association | NFPA |
| Environmental Protection Agency | EPA |
| California Code Regulations | CCR |
| All Local Codes | ALC |
| Corrections Standards Authority | CSA |

Where reference is made to the standard specifications of the American Society for Testing and Materials or other standards, the serial designation does not always give the year of the latest revision; however, it shall be understood to refer to that specification of the latest revision.

Standards:  Reference to regulations and standard specifications refer to the latest revisions and editions in affect.  Abbreviations are used for agencies issuing standard specifications as follows:

| American National Standards Institute | ANSI |
| --- | --- |
| American Society for Testing and Materials | ASTM |
| National Fire Protection Association | NFPA |
| Underwriters Laboratories | UL |
| U.S. Department of Commerce, Product Standards | PS |

The Facility shall be kept clean and in good order and shall be subject to periodic unannounced inspections by the County.  Wall surfaces shall be clean and in good repair at all times.  The Contractor will maintain and operate the facility to meet all Federal, State and Local laws, regulations and ordinances of the jurisdiction in which they are located, to ensure a safe and healthy environment by providing daily maintenance service to the facility.

Any modifications to the facility or equipment shall require written authorization and approval by the Facility Services Manager before commencement of work.

Emergency Services:

All work of a call-back nature or trouble calls shall be treated as emergency and work commenced shall be carried through to completion without delay.

Contractor to provide 24 hour emergency call-back service for all equipment maintained hereunder.  Emergency call-back service shall consist of prompt response to request for the County of Fresno or their authorized representatives for emergency services on any day of the week, at any hour of the day or night.  An emergency call-back is defined as any necessity for maintenance, repair and/or adjustment of equipment between regular service calls to restore normal equipment or building operation.

Contractor to provide 24 hour service and repair upon request for critical malfunctions in the equipment and building operations.  A critical malfunction is defined as a malfunction in any equipment or building operation that compromises the environment, operations, structures or supporting equipment identified in this RFP.

Contractor shall provide the following regarding critical malfunctions:

- A 24 hour telephone number for reporting malfunctions.

- Monday through Friday between 7 a.m. and midnight, excepting County holidays, respond within 15 minutes from the time Contractor is notified of the malfunction through the 24 hour telephone number.

- On all other days or times respond within 30 minutes by telephone and within 1 hour on site, from the time Contractor is notified of the malfunction throughout the 24 hour telephone number.

- Contractor is responsible for maintaining on site, an inventory of spare parts necessary to repair or replace malfunctioning critical equipment, and to complete within four (4) hours required repairs necessary to make operable critical functions.

If at any time the Contractor fails to respond service and/or diligently repair within time limits established by the County of Fresno, the Contractor will be assessed liquidated damages as stated under the “SPECIFIC TERMS AND CONDITIONS” section of the RFP.

The Contractor shall provide routine repair for non-critical malfunctions in the campus equipment or building operation.  A non-critical malfunction is defined a malfunction of equipment or building operation which in and of itself does not render inoperative any other part of the equipment or building operation and does compromise the environment, operations, structures or supporting equipment identified in this RFP.

All inspections, lubrication, adjustment, tests, cleaning, repairing and other maintenance activities shall be performed in accordance with schedules agreed upon by the Contractor and the County of Fresno.  These work schedules shall be designed for each type of equipment to be serviced, and shall conform to the manufacturer’s recommended practice for the particular equipment concerned and by submitted by the Contractor with their bid.  The type of equipment and building maintenance required are in Attachment “A”.  A more detailed listing will be provided at the Pre-bid Conference.  The schedule shall reflect the kind and frequency of service and lubrication proposed by the contractor for the duration of the contract work schedule in awarding the Contract.

After approval of schedule by the County and commencement of work, Contractor shall keep these work schedules on display in each equipment room and perform regular maintenance service in accordance therewith.  Schedules posted shall be of the chart type which shall be initialed by the serviceman when each scheduled inspection is performed.  Contractor and his employees will, when requested by the County, check in upon arrival and check out when leaving the secured perimeter.

Contractor personnel and all persons working under the direction of the Contractor within the secured perimeter will be required to pass a County background check and maintain clearance during the term of this contract.  The County reserves the right to remove any personnel with or without cause.  If a manufacturer representative or other personnel are required to be within the secured perimeter to perform warranty work and time is of the essence such that proper clearance can not be obtained in a timely fashion, that personnel must be escorted by properly cleared contractor staff.

The Contractor will be required to provide all tools and equipment necessary for the proper execution of the work included in this RFP.

Attachment “A”

The section contains the equipment and building operations that shall be maintained on a preventative maintenance schedule. The schedule should reflect all inspections, lubrication, adjustment, tests, cleaning, painting, repair, replacement, and other activities to be included with the bid.

- Electrical (Interior and Exterior)

  - All Electrical Systems

  - All Emergency Electrical Systems

  - All Facility Lighting

  - All Security Electronics

  - All Fire Detection, Alarm and Suppression Systems

- Plumbing (Interior and Exterior)

  - All Domestic Water Systems

  - All Steam Systems

  - All Sewer and Drain Systems

- Structural (Interior and Exterior)

  - All Walls

  - All Floors

  - All Ceilings

  - All Roofs

  - All Doors Windows and Openings

- Mechanical (Interior and Exterior)

  - All HVAC Systems

  - All Exhaust Systems

  - All Fans

  - All Lifts

  - All Motorized Doors and Gates

  - All Freezer and Cooler Systems

  - All Shelving

A more detailed list of equipment will be provided at the pre-bid conference.

Specifically excluded from this RFP are the following:

  - Water Treatment Plant

  - Wastewater Treatment Plant

  - Irrigation system, landscaping and grounds maintenance

  - Low voltage security and alarm systems

  - Voice/data systems

  - Radio communications systems

  - Fuel dispensing operations

  - Locksmithing

EQUIPMENT LIST

A list of the equipment, fixtures and other items to be maintained and repaired under the ensuing Contract is provided on the following pages. The listing excludes quantities. A second listing which includes quantities will be provided at the October 28, 2005 Site Inspection/Vendor Conference.

| Fresno Juvenile Justice - Bid Package #1 Equipment List |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Equipment | Make |  |  | Model |  |  |  |  |  |
| 11110 |  |  |  |  |  |  |  |  |  |
| Scale (Laundry Equip.) | Airway |  |  | DP44 |  |  |  |  |  |
| Washer-Extractor (Laundry Equip.) | UniMac |  |  | UF85 |  |  |  |  |  |
| Dryer (Laundry Equip.) | UniMac |  |  | 120N/L/S |  |  |  |  |  |
| Lint Collector (Laundry Equip.) | Energenics Corp. |  |  | FRP-10 |  |  |  |  |  |
| 11207 |  |  |  |  |  |  |  |  |  |
| Diesel Driven Fire Pump | Aurora |  |  | 8" 481-17B |  |  |  |  |  |
| Diesel Engine | Clarke |  |  | JU6H-UF50 |  |  |  |  |  |
| Hose Valve Header | Aurora |  |  | 1250-2000 GPM |  |  |  |  |  |
| Fire Pump Controller | Cutler Hammer |  |  | FD100 |  |  |  |  |  |
| Venturi Flowmeter | Gerand |  |  | K-2000-10" |  |  |  |  |  |
| 11211 |  |  |  |  |  |  |  |  |  |
| Split Case Pumps | Patterson |  |  | 4 X 3 ME |  |  |  |  |  |
| 11215 |  |  |  |  |  |  |  |  |  |
| Vertical Turbine Pump | Floway |  |  | 12 DKH |  |  |  |  |  |
| 11262 |  |  |  |  |  |  |  |  |  |
| Water Softener | Kinetico |  |  | 50 |  |  |  |  |  |
| Diaphragm Metering Pump | Encore |  |  | 700 |  |  |  |  |  |
| Inverter Duty Motor | Baldor |  |  | IDNM3538 |  |  |  |  |  |
| VFD | Baldor |  |  | 15H201-W |  |  |  |  |  |
| Process Control Unit | Allen Bradley |  |  | 1500 PLC |  |  |  |  |  |
| Residual Analyzer | Depolox |  |  | 3 |  |  |  |  |  |
| Chlorine Residual Recorder | Honeywell |  |  | Minitrend V5 |  |  |  |  |  |
| Hydrogen Detector | ATI |  |  | A14 |  |  |  |  |  |
| 11372 |  |  |  |  |  |  |  |  |  |
| Air Compressor | Quincy |  |  | QRDS-5-120D |  |  |  |  |  |
| 11480 |  |  |  |  |  |  |  |  |  |
| Backboard | Draper |  |  | A0019 |  |  |  |  |  |
| Support | Draper |  |  | OD600 |  |  |  |  |  |
| Goal | Draper |  |  | A0579 |  |  |  |  |  |
| 13114 |  |  |  |  |  |  |  |  |  |
| Cathodic Protection System | American Const. & Supply INC. |  |  | xxxxxx |  |  |  |  |  |
| 13204 |  |  |  |  |  |  |  |  |  |
| Fire Pump Diesel Tank | Aurora |  |  | 572 Gal. Tank & NFPA-20 Fittings |  |  |  |  |  |
| 13422 |  |  |  |  |  |  |  |  |  |
| Magnetic Flowmeters | McCrometer Ultra Mag |  |  | UM06-R |  |  |  |  |  |
| 13940 |  |  |  |  |  |  |  |  |  |
| Level Transmitters | Druck |  |  | STE-110, with PTX 1230 |  |  |  |  |  |
| Pressure Transmitter | Rosemount |  |  | 2088 |  |  |  |  |  |
| Entry Switches | Square D |  |  | 9007 C |  |  |  |  |  |
| 13942 |  |  |  |  |  |  |  |  |  |
| CPU's | Central Coast Environ. Controls |  |  | 140 CPU 113 03 |  |  |  |  |  |
| Terminals w/graphic screen | Magelis |  |  | XBT-F034110 |  |  |  |  |  |
| Ferrups | Best Power |  |  | FE 500VA to 18kVA |  |  |  |  |  |
| Laptop | Dell |  |  | Latitude D500 |  |  |  |  |  |
| 14430 |  |  |  |  |  |  |  |  |  |
| Elevating Dock Scissor Lifts | Kelley |  |  | KDL-610-5 |  |  |  |  |  |
| 14625 |  |  |  |  |  |  |  |  |  |
| Hand-Geared Hoist | Lift-Tech International |  |  | 8324 |  |  |  |  |  |
| Trolley Hoist | Lift-Tech International |  |  | 4614S-355S |  |  |  |  |  |
| 15100 |  |  |  |  |  |  |  |  |  |
| Gate Valves |  |  |  | Type-100, 130, 170, 180, 185 |  |  |  |  |  |
| Butterfly Valves |  |  |  | Type-200, 210, 220, 230, 240, 260 |  |  |  |  |  |
| Ball Valves |  |  |  | Type-300, 314, 320, 400, 410, 420 |  |  |  |  |  |
| Check Valves |  |  |  | Type-700, 708, 725, 732, 734, 790 |  |  |  |  |  |
| Solenoid Valves |  |  |  | Type-900 |  |  |  |  |  |
| Pet Cocks & Drain Cocks |  |  |  | Type-1000, 1010 |  |  |  |  |  |
| Vacuum Breakers |  |  |  | Type-1040, 1080 |  |  |  |  |  |
| 15108 |  |  |  |  |  |  |  |  |  |
| Air Release Valves |  |  |  | Type-1200, 1201 |  |  |  |  |  |
| Air and Vacuum Valves |  |  |  | Type-1207 |  |  |  |  |  |
| Combination Air Valves |  |  |  | Type-1210 |  |  |  |  |  |
| Vacuum Relief Valves |  |  |  | Type-1240 |  |  |  |  |  |
| 15110 |  |  |  |  |  |  |  |  |  |
| Global Pattern Control Valve | Bermad |  |  | 740-Q |  |  |  |  |  |
| 15112 |  |  |  |  |  |  |  |  |  |
| Backflow Preventers | FEBCO |  |  | 850, or 860 |  |  |  |  |  |
| 15175 |  |  |  |  |  |  |  |  |  |
| Safety-Relief Valve | Crosby |  |  | Series 900 |  |  |  |  |  |
| Solenoid Valves | ASCO |  |  | 8211 |  |  |  |  |  |
| Liquid Level Relays | Ametek |  |  | B/W Controls or equal |  |  |  |  |  |
| Air Mufflers | Allied Witan |  |  | M10 |  |  |  |  |  |
| Air-Release Valve | Val-Matic |  |  | 38 |  |  |  |  |  |
| Vacuum-Relief Valve | Crispin |  |  | VR10 |  |  |  |  |  |
| Bronze Hose Angle Valve | Nibco |  |  | T-331-HC |  |  |  |  |  |
| 15300 |  |  |  |  |  |  |  |  |  |
| Fire Pump | Aurora |  |  | 4-481-11C |  |  |  |  |  |
| 15308 |  |  |  |  |  |  |  |  |  |
| Suppression Control Panel | FENWAL |  |  | Fenwalnet 2000 |  |  |  |  |  |
| 15400 |  |  |  |  |  |  |  |  |  |
| Electrical Drinking Fountain (EDF-1) | Haws |  |  | HWBFA8L. VRC |  |  |  |  |  |
| Electrical Drinking Fountain (EDF-2) | Haws |  |  | HWBFA8. VRC |  |  |  |  |  |
| Circulating Pump | Grundfos |  |  | UP-25-64-SF |  |  |  |  |  |
| Water Heater (WH-1A) | Aerco |  |  | SWDW24/1.00/P |  |  |  |  |  |
| Water Heater (WH-1B) | Aerco |  |  | SWDW24/1.00/P |  |  |  |  |  |
| Air Compressor | Quincy |  |  | F340-80 |  |  |  |  |  |
| Refrigerated Air Dryer | Hankison |  |  | HPRP-25 |  |  |  |  |  |
| Air Reel | Grover |  |  | 1550U |  |  |  |  |  |
| Water Reel | Grover |  |  | 1551U |  |  |  |  |  |
| Service Reel | Grover |  |  | 500UG |  |  |  |  |  |
| Air Filter/Regulator | Wilkerson |  |  | B18-04-FHGP |  |  |  |  |  |
| Packaged Duplex Fuel Oil Pump | Simplex |  |  | SKS-50ED |  |  |  |  |  |
| Shock Absorber | JR Smith |  |  | 5000 Series |  |  |  |  |  |
| Gas Pressure Reducing Valve | American Meter |  |  | 1800 Series |  |  |  |  |  |
| Flush Valve (WC-1) | Sloan |  |  | 111 |  |  |  |  |  |
| Flush Valve (WC-2) | Sloan |  |  | 8111-LH-MC-1.6 |  |  |  |  |  |
| Flush Valve (U-1) | Sloan |  |  | 8186-LH-MC-1.0 |  |  |  |  |  |
| 15650 |  |  |  |  |  |  |  |  |  |
| Building Control Unit | Trane |  |  | BMTW |  |  |  |  |  |
| Thermal Energy Tank | Paso Robles Tank |  |  | AWWA D100- 96 |  |  |  |  |  |
| Fan Coil | McQuay |  |  | FTSH2S03 |  |  |  |  |  |
|  |  |  |  | FTSH2S04 |  |  |  |  |  |
| Evaporative Cooler | Adobe Mastercool |  |  | MD524 |  |  |  |  |  |
|  |  |  |  | MD628 |  |  |  |  |  |
| Exhaust Fans | Cook |  |  | ACE-B |  |  |  |  |  |
|  |  |  |  | ACW-B |  |  |  |  |  |
|  |  |  |  | ACW-HP |  |  |  |  |  |
|  |  |  |  | GEMINI |  |  |  |  |  |
|  |  |  |  | ACW-D |  |  |  |  |  |
| Water Chiller | Trane |  |  | CVHF0770 |  |  |  |  |  |
| Cooling Tower | B.A.C. |  |  | Series 3000 |  |  |  |  |  |
| A/C Unit | Carrier |  |  | 50HJ-015-6 |  |  |  |  |  |
| Make-Up Air Unit | Logicair |  |  | CSU-27K |  |  |  |  |  |
| Unit Heater | Reznor |  |  | WS- 18/24 |  |  |  |  |  |
|  |  |  |  | WS- 23/33 |  |  |  |  |  |
|  |  |  |  | WS- 44/62 |  |  |  |  |  |
| 15900 |  |  |  |  |  |  |  |  |  |
| Standalone DDC Panels |  |  |  |  |  |  |  |  |  |
| Unitary Controllers |  |  |  |  |  |  |  |  |  |
| Air Handling Controllers |  |  |  |  |  |  |  |  |  |
| Central Plant Controllers |  |  |  |  |  |  |  |  |  |
| Variable Frequency Drive |  |  |  |  |  |  |  |  |  |
| 16150 |  |  |  |  |  |  |  |  |  |
| Vertical Weather Protected | Floway Pumps |  |  | NEMA WP-1 |  |  |  |  |  |
| Horizontal or Vertical Weather Prot. | Floway Pumps |  |  | NEMA WP-2 |  |  |  |  |  |
| 16260 |  |  |  |  |  |  |  |  |  |
| Transfer Switches | Zenith |  |  | ZTS |  |  |  |  |  |
| 16345 |  |  |  |  |  |  |  |  |  |
| Power-Vac Breaker | General Electric |  |  | VB1 13.8-500-3 |  |  |  |  |  |
| 16426 |  |  |  |  |  |  |  |  |  |
| Distribution Switchgears |  |  |  |  |  |  |  |  |  |
| 16440 |  |  |  |  |  |  |  |  |  |
| Fusible Switch Assemblies | Cutler-Hammer |  |  | DH323FGK (240V AC) |  |  |  |  |  |
|  | Cutler-Hammer |  |  | DH362NRK (600V AC) |  |  |  |  |  |
| Fuses | Bussmann |  |  | FRN-R (250V) Class RK5 |  |  |  |  |  |
|  |  |  |  | FRS-R (600V) Class RK5 |  |  |  |  |  |
| Non-Fusible Switch Assemblies | Cutler-Hammer |  |  | DH362UGK (600V AC) |  |  |  |  |  |
| Motor Disconnect Switches | Cutler-Hammer |  |  |  |  |  |  |  |  |
| 16445 |  |  |  |  |  |  |  |  |  |
| Fault Interrupter | G&W |  |  | Trident Switch w/SEL-551 relay |  |  |  |  |  |
| 16461 |  |  |  |  |  |  |  |  |  |
| Dry-Type Transformers | General Electric |  |  | 9T83B3872 |  |  |  |  |  |
|  | General Electric |  |  | 9T83B3873 |  |  |  |  |  |
|  | General Electric |  |  | 9T83B3875 |  |  |  |  |  |
|  | General Electric |  |  | 9T23Q3473G03 |  |  |  |  |  |
| 16470 |  |  |  |  |  |  |  |  |  |
| Panelboards | General Electric |  |  | 12HDN type SBO |  |  |  |  |  |
|  | General Electric |  |  | 12HDE1 type AD |  |  |  |  |  |
|  | General Electric |  |  | 12LNB2 type AQ |  |  |  |  |  |
|  | General Electric |  |  | 12HNC type AE |  |  |  |  |  |
|  | General Electric |  |  | 12HNA type AD |  |  |  |  |  |
|  | General Electric |  |  | 12HNB type AE |  |  |  |  |  |
|  | General Electric |  |  | 12HEA type AD |  |  |  |  |  |
|  | General Electric |  |  | 12HEB type AD |  |  |  |  |  |
|  | General Electric |  |  | 12LEA1 type AQ |  |  |  |  |  |
|  | General Electric |  |  | 12LEA2 type AQ |  |  |  |  |  |
|  | General Electric |  |  | 12LEB type AQ |  |  |  |  |  |
|  | General Electric |  |  | 12LNA1 type AQ |  |  |  |  |  |
|  | General Electric |  |  | 12LNA2 type AQ |  |  |  |  |  |
|  | General Electric |  |  | 12LNB1 type AQ |  |  |  |  |  |
|  | General Electric |  |  | 12LNB3 type AQ |  |  |  |  |  |
|  | General Electric |  |  | LA type AQ |  |  |  |  |  |
| 16476 |  |  |  |  |  |  |  |  |  |
| Molded Case Circuit Breakers | General Electric |  |  | Spectra RMS |  |  |  |  |  |
| 16480 |  |  |  |  |  |  |  |  |  |
| Motor Control Centers | General Electric |  |  | Evolution Series E9000 |  |  |  |  |  |
| 16485 |  |  |  |  |  |  |  |  |  |
| Magnetic Contactors | General Electric |  |  | CR305, CR385 |  |  |  |  |  |
| Lighting Contactor | General Electric |  |  | CR460 |  |  |  |  |  |
| 16486 |  |  |  |  |  |  |  |  |  |
| Magnetic Motor Starters | General Electric |  |  | CR306, CR386 |  |  |  |  |  |
| Low Voltage Motor Control | General Electric |  |  | 0831X0066L04 |  |  |  |  |  |
|  | General Electric |  |  | 0831X0066L05 |  |  |  |  |  |
|  | General Electric |  |  | 0831X0066L06 |  |  |  |  |  |
| 16500 |  |  |  |  |  |  |  |  |  |
| (Electrical Panels) |  |  |  | 13 |  |  |  |  |  |
| Flourescent Fixtures |  |  |  | 119 |  |  |  |  |  |
| Non-Dimming Ballasts | Lithonia (Fixture) |  |  | Standard Ballast |  |  |  |  |  |
| High Intensity Discharge Ballasts | Lithonia (Fixture) |  |  | High Power Ballast for 250W/400W |  |  |  |  |  |
| Incandescent Lamps | Phillips |  |  | 37476-9 |  |  |  |  |  |
| 4-Pin Fluorescent Lamps | Phillips |  |  | PL-C G24q-1 |  |  |  |  |  |
| Fluorescent Lamps | Phillips |  |  | 27248-4 |  |  |  |  |  |
| 16510 |  |  |  |  |  |  |  |  |  |
| Metal Halide Lamps | Phillips |  |  | 27484-5 |  |  |  |  |  |
| High-Intensity Discharge Ballasts | Lithonia |  |  | High Power Ballast for 100W/150W |  |  |  |  |  |
| 16620 |  |  |  |  |  |  |  |  |  |
| Engine | Caterpillar |  |  | 3512B TA |  |  |  |  |  |
| Generator | Caterpillar |  |  | SR4B |  |  |  |  |  |
| Engine-Generator Control Panel | Caterpillar |  |  | EMCP II+ |  |  |  |  |  |
| Fuel Oil Day Tank | Pryco |  |  | PY25UL |  |  |  |  |  |
| Battery Charger | Stored Energy Systems |  |  | FC/FCA |  |  |  |  |  |
| 16626 |  |  |  |  |  |  |  |  |  |
| Programmable Logic Controller | GE VERSA Max |  |  | IC200CHS022 |  |  |  |  |  |
|  |  |  |  | IC200CPUE05 |  |  |  |  |  |
|  |  |  |  | IC200MDL844 |  |  |  |  |  |
|  |  |  |  | IC200MDL650 |  |  |  |  |  |
|  |  |  |  | IC200PWR002 |  |  |  |  |  |
| Control, Push-Button and Switches | GE |  |  | P9XPNNG-1 |  |  |  |  |  |
|  |  |  |  | P9XSMX0N-1 |  |  |  |  |  |
|  |  |  |  | P9XSMZ3N-1 |  |  |  |  |  |
| Power Quality Meter | GE |  |  | PQMT20CA501 |  |  |  |  |  |
| Generator Management Relay | GE |  |  | SR489P5HIA20 |  |  |  |  |  |
| Feeder Relay | GE |  |  | SR73555HI485 |  |  |  |  |  |
| Circuit Breaker Control Switch | Series 95 |  |  | 952404C |  |  |  |  |  |
| Synchronization Switch | Series 95 |  |  | 9524205E95112S17 |  |  |  |  |  |
| Ammeter Switch | Series 95 |  |  | 952441D |  |  |  |  |  |
| Voltmeter Switch | Series 95 |  |  | 957803B |  |  |  |  |  |
| PLC DC-DC Converter | Vicor |  |  | Y750175 |  |  |  |  |  |
| Relay Socket Control Relays | GE |  |  | CR420NA2 |  |  |  |  |  |
|  |  |  |  | CR420NA4 |  |  |  |  |  |
|  |  |  |  | CR420NPL0444 |  |  |  |  |  |
|  |  |  |  | CR420NPL0224 |  |  |  |  |  |
| Meter Instruments | Crompton |  |  | Model 077 |  |  |  |  |  |
| Current Transformer | IT |  |  | 780 |  |  |  |  |  |
| Master Interface Panel | GE |  |  |  |  |  |  |  |  |
| Entelli-Gen Control | GE |  |  |  |  |  |  |  |  |
| Operator Interface Panel | Total Control Products |  |  |  |  |  |  |  |  |
| Instrument and Control Switches | Series 95 |  |  | ITI |  |  |  |  |  |
| Switchgear and Vac Breaker | GE Power Vac |  |  | ML-18 |  |  |  |  |  |
| 16670 |  |  |  |  |  |  |  |  |  |
| TVSS | GE Tranquell |  |  | TV10 |  |  |  |  |  |
| 16720 |  |  |  |  |  |  |  |  |  |
| Fire Alarm Control Panel | Notifier |  |  | Onyx NFS-640 |  |  |  |  |  |
| Smoke Detectors w/Base | Notifier |  |  | FSP-851 |  |  |  |  |  |
| Duct Mounted Smoke Detector | Notifier |  |  | DH100ACDC |  |  |  |  |  |
| Duct Smoke Detector w/FlashScan | Notifier |  |  | FSD-751RP |  |  |  |  |  |
| Heat Detectors w/Base | Notifier |  |  | FST-851 |  |  |  |  |  |
| Monitor Modules w/FlashScan | Notifier |  |  | FMM |  |  |  |  |  |
| Remote Annunciator Panel | Notifier |  |  | Onyx NCA |  |  |  |  |  |
| Remote Power Supply | Notifier |  |  | FCPS-24(E) |  |  |  |  |  |
| 16901 |  |  |  |  |  |  |  |  |  |
| Ammeters | Yokogawa |  |  |  |  |  |  |  |  |
| Voltmeters | Yokogawa |  |  |  |  |  |  |  |  |
| Digital Power Monitor | GE |  |  |  |  |  |  |  |  |
| Current Transformers | GE |  |  | 780 |  |  |  |  |  |
| Potential Transformers | GE |  |  | PTW5 |  |  |  |  |  |
| 16902 |  |  |  |  |  |  |  |  |  |
| Trip Units |  |  |  | RMS9D |  |  |  |  |  |
| Concentrators | Modbus |  |  |  |  |  |  |  |  |
| PQM Meters |  |  |  |  |  |  |  |  |  |
| Relays |  |  |  | SR489 |  |  |  |  |  |
| Relays | Multilin |  |  | SR735 |  |  |  |  |  |
| Transformer Monitors | Qualitrol |  |  | 118P |  |  |  |  |  |
| PLC | GE |  |  | Fanuc |  |  |  |  |  |
| ATS Controllers |  |  |  | MX250 |  |  |  |  |  |
| Fresno Juvenile Justice - Bid Package #2 Equipment List |  |  |  |  |  |  |  |  |  |
| Equipment |  | Make | Model |  |  |  |  |  |  |
| 15400 |  |  |  |  |  |  |  |  |  |
| Electric Drinking Fountain (EDF-1) |  | Haws | HWBFA8L.VRC |  |  |  |  |  |  |
| Electric Drinking Fountain (EDF-2) |  | Haws | H1119.8 |  |  |  |  |  |  |
| Drinking Fountain (DF-1) |  | Acorn | 1670-1-BC-3-SW |  |  |  |  |  |  |
| Drinking Fountain (DF-2) |  | Acorn | 1672-ADA-1-BC-3-SW |  |  |  |  |  |  |
| Drinking Fountain (DF-3) |  | Haws | 3380 |  |  |  |  |  |  |
| Circulating Pump |  | Grundfos | UP-25-64-SF |  |  |  |  |  |  |
| Water Heater (WH-1) |  | Aerco | WWDW45/2.50/P |  |  |  |  |  |  |
| Electric Water Heater (WH-2) |  | AO Smith | DSE-80-60 |  |  |  |  |  |  |
| Electric Water Heater (WH-3) |  | AO Smith | ELJF-6 |  |  |  |  |  |  |
| Electric Water Heater (WH-4) |  | AO Smith | ELSF-20 |  |  |  |  |  |  |
| Electric Water Heater (WH-5) |  | AO Smith | DSE-65-36 |  |  |  |  |  |  |
| Electric Water Heater (WH-6) |  | AO Smith | PEC-40 |  |  |  |  |  |  |
| Water Closet Flush Valve (WC-1, WC-2) |  | Sloan | 8111-LH-MC-1.6 |  |  |  |  |  |  |
| Water Closet Combo (WCL-1) |  | Acorn | 1440 |  |  |  |  |  |  |
| Water Closet Combo (WCL-2) |  | Acorn | 1440-AR |  |  |  |  |  |  |
|  |  |  | 1440-AL |  |  |  |  |  |  |
| Water Closet Combo (WCL-3) |  | Acorn | 1432-ADA-E514-AR |  |  |  |  |  |  |
|  |  |  | 1432-ADA-E514-AL |  |  |  |  |  |  |
| Water Closet Combo (WCL-4) |  | Acorn | 1435-ADA-E514-RO |  |  |  |  |  |  |
|  |  |  | 1435-ADA-E514-LO |  |  |  |  |  |  |
| Water Closet Combo (WCL-5) |  | Acorn | 1435-ADA-E514-RO |  |  |  |  |  |  |
|  |  |  | 1435-ADA-E514-LO |  |  |  |  |  |  |
| Urinal Flush Valve (U-1) |  | Sloan | 8186-LH-MC-1.0 |  |  |  |  |  |  |
| 15650 |  |  |  |  |  |  |  |  |  |
| Starters |  | Square D | Single Phase |  |  |  |  |  |  |
|  |  | Square D | 3-Phase |  |  |  |  |  |  |
| Rooftop Packaged Air Handler |  | McQuay | 802C |  |  |  |  |  |  |
|  |  | McQuay | 047CS |  |  |  |  |  |  |
|  |  | McQuay | 708B |  |  |  |  |  |  |
|  |  | McQuay | 0003FBAC |  |  |  |  |  |  |
| Indoor Air Handling Unit |  | McQuay | 003FBAC |  |  |  |  |  |  |
| Outdoor Air Handling Unit |  | McQuay | 003FBAC |  |  |  |  |  |  |
| Evaporative Cooler |  | Mastercool | MC43B |  |  |  |  |  |  |
| Condensing Unit |  | Carrier | 38CKG060 |  |  |  |  |  |  |
| Split System Heat Pump |  | Carrier | 4QAB/38HCD |  |  |  |  |  |  |
|  |  | Carrier | 40QAE/38QR |  |  |  |  |  |  |
| Exhaust Fan |  | Acme Engineering | VQ |  |  |  |  |  |  |
|  |  | Acme Engineering | PRN |  |  |  |  |  |  |
|  |  | Acme Engineering | PV |  |  |  |  |  |  |
| 15900 |  |  |  |  |  |  |  |  |  |
| Network Control Module |  | Johnson | NCM 300 |  |  |  |  |  |  |
| Variable Air Volume Modular Assembly |  | Johnson | VMA 1400 |  |  |  |  |  |  |
| Unitary Controllers |  | Johnson | UNT |  |  |  |  |  |  |
| Central Plant Controllers |  | Johnson | DX-9100 |  |  |  |  |  |  |
| 16149 |  |  |  |  |  |  |  |  |  |
| Remote Programmable Lighting Controller |  | GR | 2400 |  |  |  |  |  |  |
| 16320 |  |  |  |  |  |  |  |  |  |
| Oil-Filled Pad-Mounted Transformers |  | Square D | 7230 |  |  |  |  |  |  |
| 16425 |  |  |  |  |  |  |  |  |  |
| (Electrical Panels) |  |  |  |  |  |  |  |  |  |
| (Lighting Control Panels) |  |  |  |  |  |  |  |  |  |
| Distribution Switchboard |  | Square D | Power-Style QED Class 2700 |  |  |  |  |  |  |
| Distribution Switchgear |  | Square D | Power-Zone 4 Switchgear |  |  |  |  |  |  |
| Circuit Breaker Panelboards |  | Square D | I-Line class 2110 |  |  |  |  |  |  |
| Circuit Breaker Panelboards |  | Square D | NF |  |  |  |  |  |  |
| Circuit Breaker Panelboards |  | Square D | NQOD |  |  |  |  |  |  |
| Current Transformer |  | Square D | Class 7435 |  |  |  |  |  |  |
| 16476 |  |  |  |  |  |  |  |  |  |
| Circuit Breakers |  | Square D | Masterpact |  |  |  |  |  |  |
| Electronic Trip Molded CaseCircuit Breakers |  | Square D | Class 602 |  |  |  |  |  |  |
| Thermal Magnetic Circuit Breakers |  | Square D | Class 601 |  |  |  |  |  |  |
| 16500 |  |  |  |  |  |  |  |  |  |
| Flourescent Fixtures |  |  |  |  |  |  |  |  |  |
| Non-Dimming Ballasts |  | Lithonia (Fixture) | Standard Ballast |  |  |  |  |  |  |
| High Intensity Discharge Ballasts |  | Lithonia (Fixture) | High Power Balst. for 250W/400W |  |  |  |  |  |  |
| Incandescent Lamps |  | Phillips | 37476-9 |  |  |  |  |  |  |
| 4-Pin Fluorescent Lamps |  | Phillips | PL-C G24q-1 |  |  |  |  |  |  |
| Fluorescent Lamps |  | Phillips | 27248-4 |  |  |  |  |  |  |
| 16626 |  |  |  |  |  |  |  |  |  |
| Programmable Logic Controller |  |  |  |  |  |  |  |  |  |
| 16720 |  |  |  |  |  |  |  |  |  |
| Fire Alarm Control Panel |  | Notifier | NFS-640 |  |  |  |  |  |  |
| Smoke Detectors w/Base |  | Notifier | FSP-851 |  |  |  |  |  |  |
| Duct Mounted Smoke Detector |  | Notifier | DH100ACDC |  |  |  |  |  |  |
| Duct Mounted Smoke Detector w/flashscan |  | Notifier | FSD-751 |  |  |  |  |  |  |
| Heat Detectors w/Base |  | Notifier | FST-851 |  |  |  |  |  |  |
| Remote Annunciator Panel |  | Notifier | NCA |  |  |  |  |  |  |
| 16670 |  |  |  |  |  |  |  |  |  |
| TVSS |  | Square D | Surgelogic class 1310 |  |  |  |  |  |  |
| 16901 |  |  |  |  |  |  |  |  |  |
| Ammeters |  | Yokogawa |  |  |  |  |  |  |  |
| Voltmeters |  | Yokogawa |  |  |  |  |  |  |  |
| Digital Power Monitor |  | GE |  |  |  |  |  |  |  |
| Current Transformers |  | GE | 780 |  |  |  |  |  |  |
| Potential Transformers |  | GE | PTW5 |  |  |  |  |  |  |
| 16902 |  |  |  |  |  |  |  |  |  |
| Power Management Control System |  | PowerLogic | SMS 4.0 |  |  |  |  |  |  |
| 17710 |  |  |  |  |  |  |  |  |  |
| Door Control and Monitoring System |  |  |  |  |  |  |  |  |  |
| 17730 |  |  |  |  |  |  |  |  |  |
| Mini Dome Color Camera |  | Pelco | ICS150-CDV3A |  |  |  |  |  |  |
|  |  | Pelco | ICS150-CDV4A |  |  |  |  |  |  |
| Color Camera |  | Pelco | ICS200-CRV4A |  |  |  |  |  |  |
| Exterior Color Camera |  | Pelco | ICS100-CDV4A |  |  |  |  |  |  |
| Pendant Color Camera |  | Pelco | DH5CA-PG-E1V3A |  |  |  |  |  |  |
| Alarm Interface Unit |  | Pelco | CM9760-ALM |  |  |  |  |  |  |
| DVR 500GB w/DVD |  | Pelco | DX8016-500DVD |  |  |  |  |  |  |
| 15" Color Monitor |  | Pelco | PMCL15A |  |  |  |  |  |  |
| 9" Color Monitor |  | Pelco | PMC9A |  |  |  |  |  |  |
| Transformer |  | Jefferson | 416-1141-000 |  |  |  |  |  |  |
| Video Transmitter |  | NVT | NV-211T-M |  |  |  |  |  |  |
| Video Receiver Hub |  | NVT | NV-3262R |  |  |  |  |  |  |
| CCTV Matrix Switcher |  | Pelco | CM9740S |  |  |  |  |  |  |
| Digital Video Recorder |  | Intellex | D6N50C0EA-22 |  |  |  |  |  |  |
| 17740 |  |  |  |  |  |  |  |  |  |
| 5 Port Hub |  | Linksys | EZXS55W |  |  |  |  |  |  |
| CX Programmer |  | Omron | WS02-CXPC1-E-V3.1 |  |  |  |  |  |  |
| C.P.U. |  | Omron | CS1H-CPU44-E |  |  |  |  |  |  |
|  |  | Omron | HMC-EF861 |  |  |  |  |  |  |
| Input/Output Modules |  | Omron | CS1W-ID261 |  |  |  |  |  |  |
|  |  | Omron | CS1W-OD261 |  |  |  |  |  |  |
| Serial Communication Board |  | Omron | CS1W-SCB21 |  |  |  |  |  |  |
| Ethernet Module |  | Omron | CS1W-ETN21 |  |  |  |  |  |  |
| 5.7" Touchscreen |  | Omron | NTC31C-ST141-EV2 |  |  |  |  |  |  |
| 10.4" Touchscreen |  | Omron | NTC631C-ST151-EV2 |  |  |  |  |  |  |
| Communication Module |  | Omron | NT-DRT21 |  |  |  |  |  |  |
| Voice Module |  | ELK Products | ELK-MV480 |  |  |  |  |  |  |

vendor proposal

The proposer shall include a section in his/her Proposal that is entitled “VENDOR PROPOSAL”. This section shall include subsections entitled “PROPOSED SCOPE OF WORK” and “VENDOR RESPONSE TO QUESTIONS”.

- PROPOSED SCOPE OF WORK: This section shall include the following:

  - A narrative that demonstrates how well the proposer understands the project’s scope.

  - The actual scope of work being proposed, and a description of how it will be accomplished.

  - Demonstrate that the proposer has the expertise, knowledge, organizational structure, staff, etc. that will allow him/her to perform as proposed.

  - Specifically identify all requirements and conditions of this proposal that the proposer will Not Comply with.

  - Identify all conditions that the proposer will impose on the County.

- VENDOR RESPONSE TO QUESTIONS:

The Proposer shall provide responses to the following:

  - Describe all projects for which your company has contracted to provide services that are similar in scope. Include the company or organization name, term that service were provided, facility at which services were provided. Summarize the scope of services provided.

  - List all of proposer’s active licenses that are appropriate to the project specified under this RFP. Such licenses must be currently active. Include License Class and Name.

  - Identify Staff Training Certifications. That is manufacturer certifications to work on specific equipment.

  - List all subcontractors that would be used in performing the contracted services.

  - Describe how and by whom the contract will be managed.

  - Discuss and describe your warranty management program and processes.

  - Provide minimum proposed staffing levels by trade and an on-site staffing schedule.

COST PROPOSAL

The proposer is instructed to include a “COST PROPOSAL” section as a part of his/her proposal. This section shall include the following.

- A lump sum annual total for providing the services included under the vendor’s Proposed Scope of Work. This amount will be invoiced monthly in one-twelfth (1/12) increments. Invoices will be in arrears. State annual lump sum amount and monthly charge.

County prefers that this amount be held firm for a minimum of one (1) year. State period for which pricing will be held firm.

- State methodology for determining price adjustments if your proposal indicates other than firm pricing for the contract term. This should include a tie to a nationally and regionally recognized price index and under what conditions it would be implemented. Such methodology should include a guaranteed not to exceed percentage.

- Indicate Hourly Labor Rates for all applicable Job Classifications that may be used to perform work not covered under your Proposed Scope of Work.

- Describe Pricing Methodology for determining cost of equipment, fixtures, parts etc. that are not included in your Proposed Scope of Work.

- Describe Methodology that will be used to adjust the lump amount proposed under number one above when the Scope of Work is modified by adding or deleting components of the PROPOSED SCOPE OF WORK.

PROPOSAL CONTENT REQUIREMENTS

Bidders are requested to submit their proposals in a binder (one that allows for easy removal of pages) with index tabs separating the sections identified. Each page should be numbered.

Merely offering to meet the specifications is insufficient and will be considered non-responsive.  Each bidder shall submit a complete proposal with all information requested.  Supportive material may be attached as appendices.  All pages, including the appendices, must be numbered.

The content and sequence of the proposals will be as follows:

- PROPOSAL IDENTIFICATION SHEET (as provided)

- COVER LETTER: A one-page cover letter and introduction including the company name and address of the bidder and the name, address and telephone number of the person or persons to be used for contact and who will be authorized to make representations for the bidder.

  - Whether the bidder is an individual, partnership or corporation shall also be stated.  It will be signed by the individual, partner, or an officer or agent of the corporation authorized to bind the corporation, depending upon the legal nature of the bidder.  A corporation submitting a proposal may be required before the contract is finally awarded to furnish a certificate as to its corporate existence, and satisfactory evidence as to the officer or officers authorized to execute the contract on behalf of the corporation.

- TABLE OF CONTENTS

- CONFLICT OF INTEREST STATEMENT: The Contractor may become involved in situations where conflict of interest could occur due to individual or organizational activities that occur within the County.  In this section the bidder should address the potential, if any, for conflict of interest and indicate plans, if applicable, to address potential conflict of interest.  This section will be reviewed by County Counsel for compliance with conflict of interest as part of the review process.  The Contractor shall comply will all federal, state and local conflict of interest laws, statutes and regulations.

- EXCEPTIONS: This portion of the proposal will note any exceptions to the requirements and conditions taken by the bidder.  If exceptions are not noted, the County will assume that the bidder's proposals meet those requirements.  The exceptions shall be noted as follows:

  - Exceptions to the General Conditions section.

  - Exceptions to the General Requirements section.

  - Exceptions to the Specific Terms and Conditions section.

  - Exceptions to the Scope of Work section.

  - Exceptions to the Proposal Content Requirements section.

  - Other exceptions.

- VENDOR COMPANY DATA: This section should include:

  - * A narrative which demonstrates the vendor’s basic familiarity or experience with problems associated with this service/project.

  - * Descriptions of any similar or related contracts under which the bidder has provided services.

  - * Descriptions of the qualifications of the individual(s) providing the services.

  - Any material (including letters of support or endorsement) indicative of the bidder's capability.

  - A brief description of the bidder's current operations, and ability to provide the services.

  - Reference List (form provided)

*Indicate if the requested information is provided elsewhere in your proposal (reference the section and page number).

- VENDOR PROPOSAL: As previously instructed.

- REPORTS: When reports or other documentation are to be a part of the proposal a sample of each must be submitted. Reports should be referenced in this section and submitted in a separate section entitled "REPORTS."

- ALTERNATIVE SOLUTIONS: A complete description of any alternative solutions or approaches to accomplishing the desired results.

- COST PROPOSAL: As previously instructed.

AWARD CRITERIA

### COST

A.	As submitted under the "COST PROPOSAL" section.

### CAPABILITY AND QUALIFICATIONS

A.	Do the service descriptions address all the areas identified in the RFP? Will the proposed services satisfy County's needs and to what degree?

B.	Does the bidder demonstrate knowledge or awareness of the problems associated with providing the services proposed and knowledge of laws, regulations, statutes and effective operating principles required to provide this service?

C.	The amount of demonstrated experience in providing the required services.

### MANAGEMENT PLAN

A.	Is the organizational plan, staffing levels and management structure adequate and appropriate for overseeing the proposed services?