| COUNTY OF FRESNO |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ADDENDUM NUMBER: ONE (1) |  |  |  |  |  |  |  |  |  |
|  |  |  | RFQ NUMBER: |  |  |  |  |  |  |
| June 21, 2013 |  |  |  |  |  |  |  |  |  |
|  |  |  |  | PURCHASING USE |  |  |  |  |  |
|  |  |  |  |  |  | /tmp/in/input.doc |  |  |  |
|  | IMPORTANT: SUBMIT QUOTATION IN SEALED PACKAGE WITH QUOTATION NUMBER, CLOSING DATE AND BUYER’S NAME MARKED CLEARLY ON THE OUTSIDE TO: |  |  |  |  |  |  |  |  |
|  | COUNTY OF FRESNO, Purchasing 4525 EAST HAMILTON AVENUE, 2ND FLOOR FRESNO, CA 93702-4599 |  |  |  |  |  |  |  |  |
|  | Closing date of bid will be at 2:00 p.m., on July 23, 2013. QUOTES WILL BE CONSIDERED LATE WHEN THE OFFICIAL PURCHASING TIME CLOCK READS 2:00 P.M. |  |  |  |  |  |  |  |  |
|  | Quotes will be opened and publicly read at that time. All quotation information will be available for review after contract award. |  |  |  |  |  |  |  |  |
|  | Clarifications of specifications is to be directed to: Craig Nickel, phone (559) 600-7115, e-mail CountyPurchasing@co.fresno.ca.us, fax (559) 600-7126. |  |  |  |  |  |  |  |  |
|  | NOTE THE following and attached ADDITIONS, DELETIONS AND/or CHANGES TO THE REQUIREMENTS OF REQUEST FOR QUOTATION NUMBER: AND INCLUDE THEM IN YOUR RESPONSE. PLEASE SIGN AND RETURN THIS ADDENDUM WITH YOUR QUOTATION. - The Close Date has been changed to July 23, 2013 at 2:00 p.m. - Site Inspection: July 8, 2013 at 9:30 a.m. – meet at Fresno County Plaza Bldg., 2220 Tulare St., Fresno, CA. 93721. See County response to Question No. 3 for additional details. - The Deadline to submit additional questions is July 10, 2013 at 10:00 a.m. (to email or fax above). |  |  |  |  |  |  |  |  |

| ACKNOWLEDGMENT OF ADDENDUM NUMBER ONE (1) TO RFQ |  |  |
| --- | --- | --- |
| COMPANY NAME: |  |  |
| (PRINT) |  |  |
| SIGNATURE: |  |  |
| NAME & TITLE: |  |  |
| (PRINT) |  |  |

Included in this Addendum No. One:

- Questions submitted by vendors and County responses.

- Information related to working in Correctional Facilities – PREA Act.

- NOTIFIER FIRE SYSTEMS – “Bidder to Complete” section.

- FIRE/INTRUSION Dact Inventory For Monitoring.

- Quotation Schedule – Fire Systems per Device Service.

- Quotation Schedule – Intrusion Systems per Device Service.

QUESTIONS from vendors, followed by County RESPONSE:

- QUESTION:  Please provide additional information as to how or when Notifier was selected to be sole sourced for this project? There are a total of 15 different manufacturing brands listed within this RFQ, with the most prominent being Edwards. Is factory authorization required to test and monitor systems as manufactured by Edwards?

RESPONSE:  Factory authorization is never required for test and monitoring. However repair of proprietary systems almost always requires factory certification. Since most of the Edwards systems are analog (meaning there aren’t addressable devices that need to be programmed at the panel) these systems are less technologically advanced than the Notifier/Onyx system that the County is using with its more critical facilities.

- QUESTION:  Please provide a copy of Fresno County Board Resolution approving Notifier fire alarm systems as a sole source manufacturer for all replacement fire alarm systems throughout Fresno County.

RESPONSE:  Sole sourcing anything in the County does not require a resolution.

In addition it is the County’s desire to standardize both its intrusion alarm systems and its fire alarm systems. The myriad of different systems installed in county facilities requires excessive program oversight. The County has standardized to provide redundant systems and to meet the technological changes levied through IT. Notifier systems are networked and viewed in one central area so that troubles are identified early before causing a greater amount of expenditures to fix. In addition the intrusions systems have been standardized to provide the IP communication that is necessary to expand the capabilities of said systems. Intrusion systems installed in facilities must be able to communicate through IP communication with the Bosch D6100i and must be programmable from a central station utilizing the Remote Programming Software and the Ready Key Pro.

- QUESTION:  Please provide instructions or additional details on how site examinations can be scheduled.

RESPONSE:  The following buildings will be toured: Plaza building, 309 boiler room, 404 Ag Commissioner, 509 ITSD. SITE EXAMINATION WILL TAKE PLACE ON JULY 8TH AT 9:30 AM. Potential bidders will meet with Security staff at the Fresno County Plaza building, 2220 Tulare St. Fresno, Ca. 93721, on the Plaza Level.

- QUESTION:  On page 21 paragraph K it indicates “sufficient knowledge for programming is required”, please provide additional details as to the level of programming required for the RFQ. There is nothing identified in NFPA 72, NFPA 101, or NFPA 70 that indicates programming of a fire alarm system  is required to perform all applicable testing requirements.

RESPONSE:  The RFQ is for maintenance, inspection, AND repair. Paragraph K specifically states that vendors should demonstrate the ability to utilize subcontractors for repairs that are outside of the knowledge base of the bidding vendor. This applies to all systems with the exception of Notifier systems.

- QUESTION:  On page 24, Materials & Workmanship, paragraph three, it states “Any work which is done as an addition, expansion, or remodel to an existing system or system component shall be compatible with that system and be approved prior to the installation” Since this RFQ is for testing and monitoring only, please provide additional information as to the expansion or remodel projects associated with this RFQ.

RESPONSE:  The RFQ is for inspection, maintenance, and repair as stated in the overview on page 20 under the introduction section and the overview section.

- QUESTION:  The RFQ sates on Page 20, Overview: Any fire system that is no longer deemed reliable, has been deemed non-reliable, or has outlived its useful life will be replaced by a Nofifier system by Honeywell. In addition any intrusion system that is no longer deemed reliable, has been deemed non-reliable, or has outlived its useful life will be replaced by a Bosch intrusion system.

What are the origins of these policies, as it appears to be unnecessarily restrictive to potential bidders and in conflict with Public Contract Code Section 3400?

RESPONSE:  Public Contract Code section 22002 (c): (c)

"Public project" means any of the following:

(1) Construction, reconstruction, erection, alteration, renovation, improvement, demolition, and repair work involving any publicly owned, leased, or operated facility.(2) Painting or repainting of any publicly owned, leased, or operated facility.

(d)  "Public project" does not include maintenance work. For

purposes of this section, "maintenance work" includes all of the

following:

(1) Routine, recurring, and usual work for the preservation or

protection of any publicly owned or publicly operated facility for

its intended purposes.

(2) Minor repainting.

(3) Resurfacing of streets and highways at less than one inch.

(4) Landscape maintenance, including mowing, watering, trimming,

pruning, planting, replacement of plants, and servicing of irrigation

and sprinkler systems.

Since basic maintenance work includes the switching of failed components section 3400 does not apply to this RFQ. However, if a system completely fails, and qualifies as a repair thus a public work project then the County will proceed as outlined in section 3400.

- QUESTION:  On page 20, item E, it states the following: The bidding organization shall be authorized by Notifier to perform maintenance, testing, inspection, and repair services…

Why was Notifier certification selected as a requirement to determine the competence of the bidder, as it appears to be unnecessarily restrictive to potential bidders.

RESPONSE:  Notifier certification is only required to work on Notifier systems. Each section of the RFQ has specific requirements i.e. Notifier certification to work on Notifier systems. Potential bidders who do not intend to bid on the Notifier systems will obviously not need to demonstrate Notifier certification.

- QUESTION:  On page 21, Item K, it sates the following: Due to the fact that a majority of the Notifier systems are installed in the County’s high-rise facilities; subcontracted work on these systems is not acceptable.

The County response at the vendor conference indicated that this is to ensure an appropriate response time. Since the acceptable response time is spelled out in the bid, wouldn’t the contractor be held accountable – regardless of his use of a subcontractor? Again, this appears unnecessarily restrictive.

RESPONSE:  The rest of that conversation stated that the Notifier systems are currently installed in facilities that are of a more critical nature. i.e. the Juvenile Justice Campus (JJC) and soon to be at the Psychiatric Health Facility (PFH) and the Psychiatric Assessment Center for Treatment (PACT). The JJC requires 24 hour a day support. At no time may the fire system at the JJC be allowed to become non-functional due to the nature of the facilities operations. Public Works has determined that the Notifier system will be installed at all new and refurbished facilities. An example of this is present on the Board Agenda item 6 on November 14, 2006. It can be found here : http://www2.co.fresno.ca.us/0110a/Questys_Agenda/MG135179/AS135180/AS135194/AI135337/DO135338/DO_135338.pdf

And here:

http://www2.co.fresno.ca.us/0110a/Questys_Agenda/MG175551/AS175600/AS175603/AI175724/DO175784/DO_175784.pdf

In addition the ISD Security Division has repeatedly brought to the Boards attention of the fact that the standardization of alarm systems throughout the County is significant concern. This can be viewed here:

http://www2.co.fresno.ca.us/0110a/Questys_Agenda/MG175551/AS175600/AS175603/AI175724/DO175784/DO_175784.pdf

- QUESTION:  On page 5, Examination of Site: Where work is to be on County site, each bidder shall have examined the site of work before bidding and shall be responsible for having acquired full knowledge of the job and all problems affecting it. Nor variations or allowance from the contract sum will be made because of lack of such examination.

What accommodations can be made to visit all sites?

RESPONSE:  See question 3 and the date for site visit located in Addendum to this RFQ.

- QUESTION:  Page 2 states that the RFQ is divided into four sections; (1) Notifier alarm systems, (2_) general fire alarm systems, (3) intrusion alarm systems, (4) monitoring.

The quotation schedule has section 2 to provide a price for inspections of Notifier systems, section 3 for general fire alarm maintenance and inspections, section 4 for intrusion system inspections and maintenance and section 5 for fire alarm monitoring. Additionally it asks for hourly rates and  a parts pricing method for the cost of replacement parts; fire alarm system pages 40-42, intrusion alarm systems pages 43-45

How will the cost of repair and replacement of parts, in some cases whole systems deemed “non-repairable”. Work into the award of this RFQ? The County has given no indication of past history of replacement of parts or systems.

RESPONSE:  An additional quotation section was added to the RFQ by addendum specifically addressing the Notifier systems. In addition a pricing list was included with this addendum. The cost of repair will be calculated by looking at the mark-up provided on the parts list plus a look at the hourly rates that are quoted plus the amounts that are listed by each vendor for the inspection and monitoring portions that are bid on i.e. if Vendor A quotes out the the inspection portion for general fire alarm systems, we look at that, plus the hourly rates for technicians, plus the mark-up on parts.

- QUESTION:  We have an employee trained to inspect Notifier equipment, are we eligible to bid on the Notifier system for inspections?

RESPONSE:  Generally it will take more than one technician to provide adequate service to the County’s Notifier systems. As the RFQ states prospective bidders should provide proof that they have sufficient technicians to  complete the contract. See the competence of bidder section para. D&E

- QUESTION:  If the County is only letting factory trained companies test and inspect proprietary systems like Simplex and Notifier this would indicate that Siemens is not able to test or repair any of these systems, yet in fact they are already (Fresno County Jail). If there are exceptions made to the requirements of this bid what is the process for these exceptions.

RESPONSE:  The requirements specified in this RFQ are for the facilities identified in this RFQ. The Fresno County Sheriff’s Department is in charge of the County Jail, questions regarding this should be addressed to the Sheriff’s Department.

- QUESTION:  Will an equipment list detailing all monitoring panels be provided as part of this RFQ (make and model numbers)?

RESPONSE:  See the attached listing.

- QUESTION:  Is NICET Certification required for any technicians performing repair work on the fire alarm systems?

RESPONSE:  No. See the General Requirements section on page 22 of the RFQ.

ADDITIONAL INFORMATION REGARDING THE PERFORMANCE OF MAINTENANCE, REPAIR, AND INSPECTION IN CORRECTIONAL FACILITIES

“CONTRACTOR shall comply with all Prison Rape Elimination (PREA) Act standards for juvenile correctional facilities.  Training will be provided by Probation at no charge to CONTRACTOR.”

“CONTRACTOR will ensure that all staff assigned to work at the Juvenile Justice Campus (JJC) undergo a pre-employment Live Scan and criminal background security clearance by the Probation Department at no charge to CONTRACTOR.  No alcoholic beverages/drugs will be brought into any facility.  Nor will anyone under the influence of alcoholic beverages or drugs be allowed inside.  In the event of any disturbance inside the facilities, the CONTRACTOR’S employees will immediately follow the orders of the Facility Administrator or his/her designees.  CONTRACTOR shall comply with all Probation Department Policies and Procedures.  In the event of a dispute involving COUNTY staff and the contract employee, the on-duty Facility Administrator will have the final decision.”

INFORMATION ON THE PRISON RAPE ELIMINATION ACT CAN BE FOUND HERE:

http://www.prearesourcecenter.org/

- BIDDER TO COMPLETE (NOTIFIER FIRE SYSTEMS)

CONTRACTOR'S LICENSE:

Bidder to possess appropriate license for the project in accordance with current regulations/statutes.

The vendor shall possess a current State of California contractor’s License, Class C-7 (Low Voltage system Contractor) or another license class that covers the work to be performed. The proposal must indicate the license held by the bidder, which enables him/her to perform the work.

If the license is other than a Class C-7, the bidder must explain why his/her license(s) is acceptable. The County will review and determine if acceptable.

| Number and Class: |  |
| --- | --- |
| Date of Issue: |  |

- The Prevailing Wage rates for work performed under the ensuing agreement shall be those rates indicated on the attached (section 1) “General Prevailing Wage Determination” No. FRE-2013-1 under the Craft Classifications of “Comm & System Installer” and “Inside Wireman”.

- PRICING OPTIONS:  Bidders may bid on either a firm price option (Option One) or escalated price option (Option Two), subject to the provisions below. Bidder to indicate which price option shall apply to his/her bid (bid shall be evaluated on Option One if not indicated).

The following provisions shall apply to the price options:

  - Option One - Firm Price

All prices quoted shall be firm for the contract period. No price increase shall be permitted.

  - Option Two - Escalated Price

    - Prices quoted shall be firm for a minimum of one year commencing on the ensuing agreement’s effective date.

    - The contractor may request a price escalation once every twelve months commencing upon completion of the agreements first one year period. The contractor must submit his/her requested price escalation in writing, to the County of Fresno- Purchasing Division not earlier than sixty (60) days prior to agreement’s anniversary date. The extent of a requested price increase shall be limited to actual increases to direct costs experienced by the contractor and shall be only for the purpose of recovering such additional costs of doing business; a requested price escalation shall be subject to a five percent (5%) maximum; a requested price escalation shall not include an additional profit margin. A requested price escalation shall include third party substantiation as evidence of the contractor’s increased costs (e.g. prevailing wage documentation, changes in published market indicators for the industry, cost data for materials, supplies and products necessary to the contract, etc. and any other substantiating information as requested by the County of Fresno). The effective date of any requested price increase must be a minimum of twelve (12) months from the effective date of the most recent price increase.

The maximum allowable annual price escalation shall be five percent (5%). The bidder may offer an escalation of less than five percent under the “BIDDER TO COMPLETE” section below. Vendor quotations selecting the Price Escalation option shall be evaluated using the maximum annual percentage increase for years two and three of the contract.

    - The notice of a proposed price escalation must be submitted to the County of Fresno Purchasing Division a minimum of sixty (60) days prior to the effective date of the requested price increase.

    - Upon receipt of price escalation notice, the County of Fresno reserves the right to either:

      - Accept the price escalation notice as competitive with the general market price at that time, effective a minimum of sixty (60) days from receipt of an acceptable notice; or

      - Cancel the agreement without prejudice.

    - A written acknowledgment of acceptance or denial will be provided in response to each price escalation request.

    - No price increase shall apply to services ordered from the contract prior to the effective date of the price increase.

- BIDDER TO COMPLETE AND RETURN AS PART OF THEIR QUOTATION:

  - PRICE OPTIONS

Bidders may bid on either a firm price option or escalated price option, subject to the provisions below. Bidders to indicate which price option shall apply to their bid by checking the appropriate line below.

| OPTION ONE: * ( ) FIRM PRICE | (No price increase for three (3) year contract period.) |
| --- | --- |
| OPTION TWO: * ( ) ESCALATED PRICE | (Price changes will be on an annual basis for the life of contract, subject to the stated conditions.) |

*  Check the appropriate option.

  - MAXIMUM PRICE ESCALATOR:

The maximum annual price increase allowed by the County is five percent (5%) and is subject to the conditions stated above.

| The maximum annual price increase offered by the bidder is | (%) | *Percent. |
| --- | --- | --- |
| Bidder to state percentage |  |  |

* This must be stated as a numeric value only (i.e. one percent (1%), two percent (2%), two and one-half percent (2 ½%) etc.)

- Vendor must complete and return with Quotation.

FIRE/INTRUSION DACT INVENTORY FOR MONITORING

| 309 | 445 S. CEDAR | UMC-BOILER ROOM | EDWARDS | QUICK START | F | INTERNAL |
| --- | --- | --- | --- | --- | --- | --- |
| 311 | 4455 E KINGS CANYON RD | DSS MAIN BUILDING | RADIONICS | D2071A | F | EXTERNAL |
| 313 | 4459 E. KINGS CANYON RD | DSS COMMISSARY | RADIONICS | D2071A | F | EXTERNAL |
| 315 | 4499 E. KINGS CANYON RD | DSS BARTON BUILDING | RADIONICS | D2071A | F | EXTERNAL |
| 317 | 4441 E. KINGS CANYON | MAIN MENTAL HEALTH | RADIONICS | D2071A | F | EXTERNAL |
| 318 | 435 S. BOYD | HUNTINGTON HALL | EDWARDS | QUICK START | F | INTERNAL |
| 319 | 4411 E. KINGS CANYON | PSYCHIATRIC HEALTH FACILITY (PACT-PHF-CIS) | RADIONICS | D2071A | F | EXTERNAL |
| 331 | 4460 E. HUNTINGTON | CHILDREN'S CLINIC | EDWARDS | QUICK START | F | INTERNAL |
| 332 | 4409 E. INYO | MODULAR-A | EDWARDS | QUICK START | F | INTERNAL |
| 333 | 4417 E. INYO | MODULAR-B | EDWARDS | QUICK START | F | INTERNAL |
| 334 | 4445 E. INYO | MODULAR-C | EDWARDS | QUICK START | F | INTERNAL |
| 435 | 4555 E. HAMILTON | EMS-DISPATCH BLDG | RADIONICS | D2071A | F | EXTERNAL |
| 509 | 1020 S. TENTH ST | COMPUTER SERVICES | HONEYWELL | 5110XM | F | EXTERNAL |
| 603 | 2281 TULARE ST. | HALL OF RECORDS BLDG | RADIONICS | D2071A | F | EXTERNAL |
| 610 | 2220 TULARE ST. | COUNTY PLAZA BLDG | HONEYWELL | 5110XM | F | EXTERNAL |
| 611 | 1221 FULTON MALL | BRIX-MERCER BLDG | HONEYWELL | FIREWATCH411 | F | EXTERNAL |
| 716 | 3150 E JEFFERSON | COUNTY MORGUE | HONEYWELL | FIREWATCH411 | F | EXTERNAL |
| 800 | 2420 MARIPOSA | CENTRAL LIBRARY | SILENT KNIGHT | 5207 | F | EXTERNAL |
| 801 | 1155 FIFTH ST., CLOVIS | CLOVIS BRANCH LIBRARY | PRYOTRONICS | CP-70 | F | INTERNAL |
| 802 | 944 EAST PERRIN, FRESNO | WOODWARD BRANCH LIBRARY | GAMEWELL | FLEX 4/FL8 | F | INTERNAL |
| 803 | 1812 SEVENTH ST, SANGER | SANGER BRANCH LIBRARY | CADDX | NX-8 | I | INTERNAL |
| 804 | 2200 SELMA ST., SELMA | SELMA BRANCH LIBRARY | RADIONICS | D2071A | F | EXTERNAL |
| 805 | 25 EAST FANTZ AVE., EASTON | EASTON BRANCH LIBRARY | ADEMCO | VISTA-20 | I | INTERNAL |
| 806 | 8781 MAIN ST., SAN JOAQUIN | SAN JOAQUIN BRANCH LIBRARY | CADDX | NX-8 | I | INTERNAL |
| 808 | 1130 EAST PARLIER AVE., PARLIER | PARLIER BRANCH LIBRARY | ADEMCO | VISTA-20 | I | INTERNAL |
| 811 | 1027 E STREET, REEDLEY | REEDLEY BRANCH LIBRARY | CADDX | NX-8 | I | INTERNAL |
| 814 | 306 S. SEVENTH, FOWLER | FOWLER BRANCH LIBRARY | ADEMCO | 5110XM | F | EXTERNAL |
| 815 | 6313 DEWOODY ST., LATON | LATON BRANCH LIBRARY | EDWARDS | EST1-2Z6 | F | INTERNAL |
| 817 | 4150 E. CLINTON AVE., FRESNO | CEDAR-CLINTON BRANCH LIBRARY | CADDX | NX-8 | I | INTERNAL |
| 819 | 5771 N. FIRST, FRESNO | POLITI BRANCH LIBRARY | CADDX | NX-8 | I | INTERNAL |
| 820 | 3071 W. BULLARD AVE., FRESNO | FIG GARDEN BRANCH LIBRARY | SILENT KNIGHT | 5104 | F | INTERNAL |
| 821 | 5566 E. KINGS CANYON, FRESNO | SUNNYSIDE BRANCH LIBRARY | AES INTELLINET | 7788F | F | INTERNAL |
| 822 | 629 W. DAKOTA AVE., FRESNO | GILLIS BRANCH LIBRARY | CADDX | NX-8 | I | INTERNAL |
| 823 | 7170 N. SAN PABLO AVE., PINEDALE | PINEDALE BRANCH LIBRARY | RADIONICS |  | I | INTERNAL |
| 824 | 1246 BELMONT AVE., MENDOTA | MENDOTA BRANCH LIBRARY | NOTIFIER | NFS-20 | F | INTERNAL |
| 864 | 2135 FRESNO STREET | CROCKER BLDG | RADIONICS | D2071A | F | EXTERNAL |
| 889 | 15081 W. KEARNEY PLAZA, KERMAN | KERMAN BRANCH LIBRARY | ADEMCO | VISTA-32 | I | INTERNAL |
| 899 | 13382 S. HENDERSON RD., CARUTHERS | CARUTHERS BRANCH LIBRARY | BOSCH | FPD-7024 | F | INTERNAL |

quotation schedule Fire systems
per device service

All labor, materials, taxes etc. to perform specified services on various devices comprising the subject fire alarm systems. This list provides commonly replaced parts but IS NOT INCLUSIVE OF EVERY POSSIBLE PART OF A FIRE ALARM SYTSTEM.

|  | DEVICE DESCRIPTION | UNIT COST | TOTAL COST + MARKUP |
| --- | --- | --- | --- |
|  | ANALOG DUCT SMOKE DETECTORS | $ | $ |
|  | ANALOG SMOKE DETECTORS | $ | $ |
|  | HEAT DETECTORS | $ | $ |
|  | PULL STATION-SINGLE ACTION | $ | $ |
|  | AUDIO/VISUAL SIGNAL DEVICE | $ | $ |
|  | AUDIBLE SIGNAL | $ | $ |
|  | VISUAL ONLY SIGNAL | $ | $ |
|  | WATER FLOW | $ | $ |
|  | PHOTO SMOKE DETECTOR | $ | $ |
|  | TELEPHONE DIALER | $ | $ |
|  | BELL | $ | $ |
|  | SPRINKLER WATER FLOW VALVE | $ | $ |
|  | RATE OF RISE HEAT DETECTOR | $ | $ |
|  | HORN | $ | $ |
|  | SPEAKER | $ | $ |
|  | PANIC BUTTONS | $ | $ |
|  | SPRINKLER TAMPER SWITCH | $ | $ |
|  | WATER PRESSURE SWITCH | $ | $ |
|  | STOVE ANSUL SYSTEM | $ | $ |
|  | CONTROL MODULE | $ | $ |
|  | CHIME STROBE | $ | $ |
|  | DUCT DETECTOR | $ | $ |
|  | THERMAL DETECTOR | $ | $ |
|  | MANUAL PULL STATION | $ | $ |
|  | STROBE | $ | $ |
|  | SMOKE DETECTOR | $ | $ |
|  | TAMPER SWITCH | $ | $ |
|  | WATER FLOW | $ | $ |
|  | ADDRESSABLE SMOKE DETECTOR | $ | $ |
|  | ADDRESSABLE DUCT DETECTOR | $ | $ |
|  | ANALOG MONITORING MODULE | $ | $ |
|  | SAPPHIRE SYSTEM PARTS |  |  |
|  | SAPPHIRE CAS PNEUMATIC CONTROL | $ | $ |
|  | SAPPHIRE CAS ELECTRONIC CONTROL | $ | $ |
|  | SAPPHIRE CAS AGENT REFILL | $ | $ |
|  | SSD IONIZATION SENSOR | $ | $ |
|  | BASIC SUPPRESSION RELEASE PERIPHERAL | $ | $ |
|  | COIL SUPERVISION MODULE | $ | $ |
|  | ABORT SWITCH | $ | $ |
|  | ENCAPSULATED RELAY PAM-SD | $ | $ |
|  | MAINTENANCE SWITCH W/INDICATOR LIGHT | $ | $ |

quotation schedule intrusion systems
per device service

- Parts Price List

*List commonly used repair parts and indicate contract price.

| DESCRIPTION |  | BRAND & PART NUMBER |  | PRICE |
| --- | --- | --- | --- | --- |

*Use an attachment for additional items.

State method for determining cost of parts and materials not indicated above (i.e. cost plus, list price less ?%, etc.).

Miscellaneous

State all other charges that may at some time be applicable.