| COUNTY OF FRESNO |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ADDENDUM NUMBER: Two (2) |  |  |  |  |  |  |  |  |  |
|  |  |  | RFQ NUMBER: |  |  |  |  |  |  |
| September 18, 2012 |  |  |  |  |  |  |  |  |  |
|  |  |  |  | PURCHASING USE |  |  |  |  |  |
|  |  |  |  |  | swa | /tmp/in/input.doc |  |  |  |
|  | IMPORTANT: SUBMIT QUOTATION IN SEALED PACKAGE WITH QUOTATION NUMBER, CLOSING DATE AND BUYER’S NAME MARKED CLEARLY ON THE OUTSIDE TO: |  |  |  |  |  |  |  |  |
|  | COUNTY OF FRESNO, Purchasing 4525 EAST HAMILTON AVENUE, 2ND FLOOR FRESNO, CA 93702-4599 |  |  |  |  |  |  |  |  |
|  | Closing date of bid will be at 2:00 p.m., on October 18, 2012. QUOTES WILL BE CONSIDERED LATE WHEN THE OFFICIAL PURCHASING TIME CLOCK READS 2:00 P.M. |  |  |  |  |  |  |  |  |
|  | Quotes will be opened and publicly read at that time. All quotation information will be available for review after contract award. |  |  |  |  |  |  |  |  |
|  | Clarifications of specifications are to be directed to: Caleb Brooks, phone (559) 600-7110, e-mail CountyPurchasing@co.fresno.ca.us, fax (559) 600-7126. |  |  |  |  |  |  |  |  |
|  | NOTE THE attached ADDITIONS, DELETIONS AND/or CHANGES TO THE REQUIREMENTS OF REQUEST FOR QUOTATION NUMBER: AND INCLUDE THEM IN YOUR RESPONSE. PLEASE SIGN AND RETURN THIS ADDENDUM WITH YOUR QUOTATION. |  |  |  |  |  |  |  |  |

| ACKNOWLEDGMENT OF ADDENDUM NUMBER Two (2) TO RFQ |  |  |
| --- | --- | --- |
| COMPANY NAME: |  |  |
| (PRINT) |  |  |
| SIGNATURE: |  |  |
| NAME & TITLE: |  |  |
| (PRINT) |  |  |

The following deletions, substitutions and addition of item 18 have been made to the Specifications on pages 15 and 16 of the RFQ.  Please use these revised specifications when preparing your quotation.

DELETE

3.	Contractor shall obtain asbestos testing, analysis and reports in accordance with all applicable laws and regulations.

REPLACE WITH

3.	An Asbestos Survey for Demolition was performed by HMS, Inc. September 7, 2012 and included as Attachment “C”.  Contractor shall remove structure in accordance with all applicable laws and regulations.  Note:  The County is not responsible for any errors or inaccuracies of the asbestos survey performed by HMS, Inc. September 7, 2012.

DELETE

7.	Contractor shall remove, recycle and dispose all electrical wires and components from the Bell House in accordance with all applicable laws and regulations and in accordance with all NFPA 70E requirements.

a.	The only electrical components remaining shall be the PG&E Transformer(s)/Power Pole(s) and power supply to the Bell House groundwater well.  The PG&E Transformer(s) shall be left in a state acceptable to PG&E and shall be accepted in writing by PG&E and submitted to the County prior to payment.

b.	The electrical meter removed from the Bell House shall be returned to PG&E and shall be accepted in writing by PG&E and submitted to the County prior to payment.

REPLACE WITH

7.	Contractor shall remove, recycle and dispose all electrical wires and components from the Bell House in accordance with all applicable laws and regulations and in accordance with all NFPA 70E requirements.

a.	The only electrical components remaining shall be the PG&E Transformer/Power Pole.  The PG&E Transformer shall be left in a state acceptable to PG&E and shall be accepted in writing by PG&E and submitted to the County prior to payment.

b.	The electrical meters removed from the Bell House property shall be returned to PG&E and shall be accepted in writing by PG&E and submitted to the County prior to payment.

DELETE

8.	Contractor shall empty, remove, recycle and dispose the septic system (tank, leach field, etc.) and all associated appurtenances in accordance with all applicable laws and regulations.

REPLACE WITH

8.	Contractor shall locate, empty, remove, recycle and dispose the septic system (tank, leach field, etc.) and all associated appurtenances in accordance with all applicable laws and regulations.  Contractor shall backfill void created from the removal of the septic system.  Backfill material will be provided by the County; coordinate with Engineer.

DELETE

12.	Contractor shall disc and remove all debris from the entire 10 acre site (Attachment B).

a.	The methods and equipment utilized to disc the site shall be approved in writing by the County.

b.	NOTE:  There is a landfill gas probe (GP-14) located on the southeast area of the property that will need to be preserved.  Any damage to the gas probe by the Contractor will require repair to the said probe in accordance with Title 27 of the California Code of Regulations.

REPLACE WITH

12.	Contractor shall disc and remove all debris from the entire 10 acre site (Attachment B).

a.	The methods and equipment utilized to disc the site shall be approved in writing by the County.

b.	NOTE:  There is a landfill gas probe (GP-14) located in the southeast area of the property that will need to be preserved.  Any damage to the gas probe by the Contractor will require repair to said probe in accordance with Title 27 of the California Code of Regulations.  Maintain a five (5) foot clearance from the probe.

ADD

18.	Contractor shall remove aggregate base (AB) material from property and deliver to American Avenue Disposal Site located at 18950 W. American Avenue, Kerman California 93630.  Coordinate with County Engineer for delivery location within the Disposal Site.  Contractor shall backfill void created from the removal of the AB material.  Backfill material will be provided by the County; coordinate with Engineer.

An Asbestos Survey for demolition was performed by HMS, Inc. on September 7, 2012 and has been added to the RFQ as “Attachment C”. Please see the attached Asbestos Survey.