| COUNTY OF FRESNO |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ADDENDUM NUMBER: ONE (1) |  |  |  |  |  |  |  |  |  |
|  |  |  | RFQ NUMBER: |  |  |  |  |  |  |
| June 11, 2009 |  |  |  |  |  |  |  |  |  |
|  |  |  |  | PURCHASING USE |  |  |  |  |  |
|  |  |  |  |  | JLG | /tmp/in/input.doc |  |  |  |
|  | IMPORTANT: SUBMIT QUOTATION IN SEALED PACKAGE WITH QUOTATION NUMBER, CLOSING DATE AND BUYER’S NAME MARKED CLEARLY ON THE OUTSIDE TO: |  |  |  |  |  |  |  |  |
|  | COUNTY OF FRESNO, Purchasing 4525 EAST HAMILTON AVENUE FRESNO, CA 93702-4599 |  |  |  |  |  |  |  |  |
|  | Closing date of bid will be at 2:00 p.m., on June 23, 2009. QUOTES WILL BE CONSIDERED LATE WHEN THE OFFICIAL PURCHASING TIME CLOCK READS 2:00 P.M. |  |  |  |  |  |  |  |  |
|  | Quotes will be opened and publicly read at that time. All quotation information will be available for review after contract award. |  |  |  |  |  |  |  |  |
|  | Clarification of specifications are to be directed to: Jeannine L. Geare, phone (559) 456-7110, FAX (559) 456-7831. |  |  |  |  |  |  |  |  |
|  | NOTE THE attached ADDITIONS, DELETIONS AND/or CHANGES TO THE REQUIREMENTS OF REQUEST FOR QUOTATION NUMBER: AND INCLUDE THEM IN YOUR RESPONSE. PLEASE SIGN AND RETURN THIS ADDENDUM WITH YOUR QUOTATION. |  |  |  |  |  |  |  |  |

| ACKNOWLEDGMENT OF ADDENDUM NUMBER ONE (1) TO RFQ |  |  |
| --- | --- | --- |
| COMPANY NAME: |  |  |
| (PRINT) |  |  |
| SIGNATURE: |  |  |
| NAME & TITLE: |  |  |
| (PRINT) |  |  |

- Warranty Period Page 12; Item 3 First Paragraph – Delete the paragraph in its entirety and replace with the following:

“3.	Warranty Period:  All batteries shall carry a three (3) year warranty period.  There will be no pro-rated warranty beyond the three-year initial warranty coverage.”

- Battery Requirements, Conditions and Service Page 13 – ADD the following:

“12.	Labeling: Each battery must be clearly labeled with the Cold Cranking Amperage (CCA) and the Group/Size.”

- Conductance Tester

The County of Fresno is requesting three Conductance Instruments.  This will be part of this Request for Quotation and furnished at no cost to the County by the successful vendor.

The purpose and use of this instrument is to quickly determine the condition of a battery: new, used or in the County's battery inventory.

Conductance is a measurement of the battery’s ability to produce current.  Conductance measures the plate surface available in the battery, which determines how much power the battery can supply.  As a battery ages, the plate surfaces can sulfate or shed active material that adversely affects its ability to perform.  Conductance testers determine a battery’s true state of health by detecting cell defects, shorts, and open circuits, which also reduce the battery’s ability to deliver current.  To measure conductance, the conductance tester sends a small signal through the battery, then measures a portion of the AC current response.

The desired Conductance Tester will be equal to Midtronics  PBT 300.

- BATTERY SPECIFICATIONS Page 16 – Delete this page in its entirety and replace with the REVISED   BATTERY SPECIFICATIONS on the following page.

- QUOTATION SCHEDULE Pages 17 and 18 –Delete these pages in their entirety and replace with the REVISED   QUOTATION SCHEDULE on the pages herein.

REVISED   BATTERY SPECIFICATIONS

| Company Name: |  |
| --- | --- |

The batteries offered under this RFQ shall meet or exceed the following specifications:

| Battery Group/Size | CCA | Reserve Cap | Comply Not Comply (indicate yes or no) | Battery Offered (Brand & Part No.) |
| --- | --- | --- | --- | --- |
| 4D | 925 | 240 |  |  |
| 4DLT | 750 | 215 |  |  |
| 8D | 1050 | 310 |  |  |
| 24 | 750 | 130 |  |  |
| 24F | 550 | 100 |  |  |
| 27 | 700 | 110 |  |  |
| 27 | 750 | 140 |  |  |
| 27F | 700 | 110 |  |  |
| 30H | 550 | 125 |  |  |
| 31 | 930 | 170 |  |  |
| 58 | 440 | 80 |  |  |
| 58-50 | 440 | 80 |  |  |
| 74 | 555 | 100 |  |  |
| 75 | 600 | 90 |  |  |
| 75-60 | 600 | 105 |  |  |
| 65 | 650 | 110 |  |  |
| 65 | 850 | 160 |  |  |
| 78 | 630 | 110 |  |  |
| 58R | 500 | 90 |  |  |
| 70-600 | 600 | 90 |  |  |
| UIL | 250 | 30 |  |  |
| 31TMX (DEEP CYCLE) AMP HOURS | 915 | 225 |  |  |
| 30H | 700 | 150 |  |  |
| BXT36R | 750 | 130 |  |  |
| BXT59 | 750 | 130 |  |  |
| US-2200 – 232 AMPHR |  | 488 |  |  |

Vendors are instructed to complete and return this page as a part of their quotation.

REVISED   QUOTATION SCHEDULE

|  | AGENCY – ESTIMATED ANNUAL USAGE |  |  |  |  | EXTENDED TOTALS |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | A | B | C | D | E | Fresno County Fleet Services | Fresno County Sheriff’s Fleet | Fresno City Fleet Services |  |  | Fresno County Facility Services |  |  |
| Battery Group/Size | Fresno County Fleet Services | Fresno County Sheriff’s Fleet | Fresno City Fleet Services | Fresno County Facility Services | Unit Price (Each) |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | (A X E) | (B X E) | (C X E) |  |  | (D X E) |  |  |
| 4D | 8 |  | 4 | 2 | $ | $ | $ | $ |  |  | $ |  |  |
| 4DLT | 5 |  | 3 |  | $ | $ | $ | $ |  |  | $ |  |  |
| 4DLT-MF | 3 |  |  |  | $ | $ | $ | $ |  |  | $ |  |  |
| 4DMF |  |  | 4 |  | $ | $ | $ | $ |  |  | $ |  |  |
| 8D | 3 |  |  | 10 | $ | $ | $ | $ |  |  | $ |  |  |
| 8DMF | 3 |  | 3 |  | $ | $ | $ | $ |  |  | $ |  |  |
| 24 | 0 |  | 12 |  | $ | $ | $ | $ |  |  | $ |  |  |
| 24F | 0 |  |  |  | $ | $ | $ | $ |  |  | $ |  |  |
| 27 (700/110) | 38 |  | 40 |  | $ | $ | $ | $ |  |  | $ |  |  |
| 27 (750/140) | 0 | 7 |  |  | $ | $ | $ | $ |  |  | $ |  |  |
| 27F | 0 |  | 2 |  | $ | $ | $ | $ |  |  | $ |  |  |
| 30H | 18 |  | 6 |  | $ | $ | $ | $ |  |  | $ |  |  |
| 31 | 37 | 1 |  | 1 | $ | $ | $ | $ |  |  | $ |  |  |
| 58 | 10 | 2 | 13 |  | $ | $ | $ | $ |  |  | $ |  |  |
| 75 (600/90) | 64 |  |  |  | $ | $ | $ | $ |  |  | $ |  |  |
| 75 (600/105) | 0 | 6 |  |  | $ | $ | $ | $ |  |  | $ |  |  |
|  |  |  |  | Sub Totals |  | $ | $ |  |  | $ |  |  | $ |
|  |  |  |  | Totals from previous page: |  | $ | $ |  |  | $ |  |  | $ |
| 65 (650/110) | 98 |  | 220 |  | $ | $ | $ |  | $ |  |  |  |  |
| 65 (850/160) | 0 | 144 |  |  | $ | $ | $ |  | $ |  |  |  |  |
| 78 | 31 | 15 | 140 |  | $ | $ | $ |  | $ |  |  |  |  |
| 58R | 105 |  | 9 |  | $ | $ | $ |  | $ |  |  |  |  |
| 59 |  |  | 20 |  | $ | $ | $ |  | $ |  |  |  |  |
| 70 | 0 |  | 1 |  | $ | $ | $ |  | $ |  |  |  |  |
| 70-600 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| UIL | 0 |  | 7 |  | $ | $ | $ |  | $ |  |  |  |  |
| 31TMX | 0 |  | 200 |  | $ | $ | $ |  | $ |  |  |  |  |
| BXT36R | 0 | 7 | 6 |  | $ | $ | $ |  | $ |  |  |  |  |
| BXT59 | 0 | 1 | 8 |  | $ | $ | $ |  | $ |  |  |  |  |
| US2200 | 12 |  |  |  | $ | $ | $ |  | $ |  |  |  |  |
|  |  |  |  | Sub Totals |  | $ | $ |  |  | $ |  |  | $ |
|  |  |  |  | Sales Tax (8.975%) |  | $ | $ |  |  | $ |  |  | $ |
|  |  |  |  | Grand Totals |  | $ | $ |  |  | $ |  |  | $ |