| COUNTY OF FRESNO |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ADDENDUM NUMBER: FOUR |  |  |  |  |  |  |  |  |  |
|  |  |  | RFQ NUMBER: |  |  |  |  |  |  |
| May 20, 2011 |  |  |  |  |  |  |  |  |  |
|  |  |  |  | PURCHASING USE |  |  |  |  |  |
|  |  |  |  |  | saw | /tmp/in/input.doc |  |  |  |
|  | IMPORTANT: SUBMIT QUOTATION IN SEALED PACKAGE WITH QUOTATION NUMBER, CLOSING DATE AND BUYER’S NAME MARKED CLEARLY ON THE OUTSIDE TO: |  |  |  |  |  |  |  |  |
|  | COUNTY OF FRESNO, Purchasing 4525 EAST HAMILTON AVENUE, 2ND FLOOR FRESNO, CA 93702-4599 |  |  |  |  |  |  |  |  |
|  | Closing date of bid will be at 2:00 p.m., on June 6, 2011. QUOTES WILL BE CONSIDERED LATE WHEN THE OFFICIAL PURCHASING TIME CLOCK READS 2:00 P.M. |  |  |  |  |  |  |  |  |
|  | Quotes will be opened and publicly read at that time. All quotation information will be available for review after contract award. |  |  |  |  |  |  |  |  |
|  | Clarifications of specifications are to be directed to: Craig Nickel, phone (559) 600-7110, FAX (559) 456-7831. |  |  |  |  |  |  |  |  |
|  | NOTE THE following and attached ADDITIONS, DELETIONS AND/or CHANGES TO THE REQUIREMENTS OF REQUEST FOR QUOTATION NUMBER: AND INCLUDE THEM IN YOUR RESPONSE. PLEASE SIGN AND RETURN THIS ADDENDUM WITH YOUR QUOTATION. - The Close Date has been changed to June 6, 2011 at 2:00 p.m. - Performance, Labor and Materials bonds shall be required for UPS Unit # 1, UPS Unit # 2 and the Battery Bank (Bldg 435). Insert the verbiage on the following page into your response for each. Disregard the Quotation Schedules included in Addendum No. Three and insert the Quotation Schedules included with this Addendum in its place (Pages 64a, 64b, 66a, 66b, 68a and 68b). - Reference Addendum No. Three (3), UPS Unit #1 and Unit # 2, Section B, Item No. 5. Delete the following: Where battery weight is above 50 lbs., a permanently attached lift out carrier shall be included in quoted price. |  |  |  |  |  |  |  |  |

| ACKNOWLEDGMENT OF ADDENDUM NUMBER FOUR TO RFQ |  |  |
| --- | --- | --- |
| COMPANY NAME: |  |  |
| (PRINT) |  |  |
| SIGNATURE: |  |  |
| NAME & TITLE: |  |  |
| (PRINT) |  |  |

UPS Unit # 1, UPS Unit # 2 and the Battery Bank (Bldg. 435) shall all include the following:

- BONDS:

BONDS:  The successful bidder will be required to furnish a Faithful Performance Bond and a Labor and Materials Bond in an amount equal to one hundred percent (100%) of the contract price.

Bonding Company Requirements: Each bond specified in this RFQ (faithful performance bond and payment bond) shall meet the requirements of all applicable statutes, including but not limited to those specified in Public Contract Code section 20129 and Civil Code section 3248. Each bond specified in this RFQ shall be issued by a surety company designated as an admitted surety insurer in good standing with and authorized to transact business in this state by the California Department of Insurance, and acceptable to the County of Fresno. Bidders are cautioned that representations made by surety companies will be verified with the California Department of Insurance. Additionally, the County of Fresno, in its discretion, when determining the sufficiency of a proposed surety company, may require the surety company to provide additional information supported by documentation. The County generally requires such information and documentation whenever the proposed surety company has either a Best’s Key Rating Guide of less than B+ or a financial size designation of less than VIII. Provided, however, that the County expressly reserves its right to require all information and documentation to which the County is legally entitled from any proposed surety company.

QUOTATION SCHEDULE (revised)

| UPS, associated controls, transformers and battery unit must be by same manufacturer. The County reserves the right to award Unit #1, Unit #2 and the Battery Bank separately. |  |  | UNIT PRICE |
| --- | --- | --- | --- |
| - UPS Unit #1- Library, as specified. *(Include all taxable items. Tax will be stated on the line provided below.) *Same as or equivalent to the equipment listed under the SPECIFICATIONS/REQUIREMENTS section of this RFQ. | 1 | EA | $ |
| Brand: |  |  |  |
| Model: |  |  |  |
| All non-taxable items (i.e. training, delivery) |  |  | $ |
| Sales tax (8.975%) |  |  | $ |
| Bonds: State cost of Performance, Labor and Materials bonds. |  |  | $ |
| TOTAL |  |  | $ |
| Site Monitoring (monthly) Detail below the service that you are quoting. |  |  | $ |

QUOTATION SCHEDULE (revised)

UPS Unit #1- Library

List below all items and features included above that are taxable:

List and quote prices for all items included in the unit price quoted above that are non-taxable:

|  | DESCRIPTION | * PRICE |
| --- | --- | --- |
|  |  | $ |
|  |  | $ |
|  |  | $ |
|  |  | $ |
|  |  | $ |
|  |  | $ |

QUOTATION SCHEDULE (revised)

| UPS, associated controls, transformers and battery unit must be by same manufacturer. The County reserves the right to award Unit #1, Unit #2 and the Battery Bank separately. |  |  | UNIT PRICE |
| --- | --- | --- | --- |
| - UPS Unit #2- Bldg. 435 Emergency Services Telephone Equipment Room, as specified. *(Include all taxable items. Tax will be stated on the line provided below.) *Same as or equivalent to the equipment listed under the SPECIFICATIONS/REQUIREMENTS section of this RFQ. | 1 | EA | $ |
| Brand: |  |  |  |
| Model: |  |  |  |
| All non-taxable items (i.e. training, installation, delivery) |  |  | $ |
| Sales tax (8.975%) |  |  | $ |
| Bonds: State cost of Performance, Labor and Materials bonds. |  |  | $ |
| TOTAL |  |  | $ |
| Site Monitoring (monthly) Detail below the service that you are quoting. |  |  | $ |

QUOTATION SCHEDULE (revised)

UPS Unit #2- Bldg. 435 Emergency Services Telephone Equipment Room

List below all items and features included above that are taxable:

List and quote prices for all items included in the unit price quoted above that are non-taxable:

|  | DESCRIPTION | PART NO. | * PRICE |
| --- | --- | --- | --- |
|  |  |  | $ |
|  |  |  | $ |
|  |  |  | $ |
|  |  |  | $ |
|  |  |  | $ |

QUOTATION SCHEDULE (revised)

| Telephone / Radio Battery back-up bank and temporary construction battery system may be by separate vendor. The County reserves the right to award Unit #1, Unit #2 and the Battery Bank separately. |  |  | UNIT PRICE |
| --- | --- | --- | --- |
| - Battery Bank- Bldg. 435 , as specified. *(Include all taxable items) *Same as or equivalent to the equipment listed under the SPECIFICATIONS/REQUIREMENTS section of this RFQ. | 1 | EA | $ |
| Brand: |  |  |  |
| Model: |  |  |  |
| All non-taxable items (i.e. training, installation, delivery) |  |  | $ |
| Sales tax (8.975%) |  |  | $ |
| Bonds: State cost of Performance, Labor and Materials bonds. |  |  | $ |
| TOTAL |  |  | $ |
| Site Monitoring (monthly) Detail below the service that you are quoting. |  |  | $ |

QUOTATION SCHEDULE (revised)

Battery Bank- Bldg. 435

List below all items and features included above that are taxable:

List and quote prices for all items included in the unit price quoted above that are non-taxable:

|  | DESCRIPTION | PART NO. | * PRICE |
| --- | --- | --- | --- |
|  |  |  | $ |
|  |  |  | $ |
|  |  |  | $ |
|  |  |  | $ |
|  |  |  | $ |
|  |  |  | $ |