| COUNTY OF FRESNO |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ADDENDUM NUMBER: ONE (1) |  |  |  |  |  |  |  |  |  |
|  |  |  | RFQ NUMBER: |  |  |  |  |  |  |
| January 31, 2011 |  |  |  |  |  |  |  |  |  |
|  |  |  |  | PURCHASING USE |  |  |  |  |  |
|  |  |  |  |  | ssj | /tmp/in/input.doc |  |  |  |
|  | IMPORTANT: SUBMIT QUOTATION IN SEALED PACKAGE WITH QUOTATION NUMBER, CLOSING DATE AND BUYER’S NAME MARKED CLEARLY ON THE OUTSIDE TO: |  |  |  |  |  |  |  |  |
|  | COUNTY OF FRESNO, Purchasing 4525 EAST HAMILTON AVENUE, 2ND FLOOR FRESNO, CA 93702-4599 |  |  |  |  |  |  |  |  |
|  | Closing date of bid will be at 2:00 p.m., on February 9, 2011. QUOTES WILL BE CONSIDERED LATE WHEN THE OFFICIAL PURCHASING TIME CLOCK READS 2:00 P.M. |  |  |  |  |  |  |  |  |
|  | Quotes will be opened and publicly read at that time. All quotation information will be available for review after contract award. |  |  |  |  |  |  |  |  |
|  | Clarification of specifications are to be directed to: Craig Nickel, phone (559) 456-7110, FAX (559) 456-7831. |  |  |  |  |  |  |  |  |
|  | NOTE THE following and attached ADDITIONS, DELETIONS AND/or CHANGES TO THE REQUIREMENTS OF REQUEST FOR QUOTATION NUMBER: AND INCLUDE THEM IN YOUR RESPONSE. PLEASE SIGN AND RETURN THIS ADDENDUM WITH YOUR QUOTATION. - The close date has been changed to February 9, 2011 at 2:00 p.m. - The following pages are answers to questions asked at the vendor’s conference. - Descriptions of the last work performed on each piece of equipment: 031-4897 NBV Fire Supression |  |  |  |  |  |  |  |  |

| ACKNOWLEDGMENT OF ADDENDUM NUMBER ONE (1) TO RFQ |  |  |
| --- | --- | --- |
| COMPANY NAME: |  |  |
| (PRINT) |  |  |
| SIGNATURE: |  |  |
| NAME & TITLE: |  |  |
| (PRINT) |  |  |

Questions for RFQ 031-4897
Fire Suppression System Maintenance for Heavy Equipment

- Can the County provide the last work description of what has been done for each piece of equipment listed?

  - See attached spreadsheet.

Note:  If vendors should need to look at the equipment listed, accessibility to the equipment can be provided with a one to two day notice.

Note: Training sessions should be an estimated 3hrs annually.

- If parts listed to be checked need to be replaced, are they to be included in the vendor’s response to the RFQ?

  - For parts listed to be checked as part of the RFQ, vendor should not include costs as part of their bid response.  Vendors do need to include costs for parts that the County has listed to be included as part of the services to be provided.  Vendors are also required to identify in their bid response how the additional parts are going to be invoiced, e.g. cost plus, manufacture cost, etc.  Vendor selected will be required to submit a copy of their manufacturer invoices for parts obtain along with the Vendor’s invoice to the County.