| COUNTY OF FRESNO |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Request for quotation |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | NUMBER: 444-4919 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| February 28, 2011 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ORG/Requisition: 4510/ 5101100121 |  |  |  |  |  |  | PURCHASING USE |  |  |  | /tmp/in/input.doc |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | JEB |  |  |  |  |  |  |  |  |  |  |  |
| IMPORTANT: SUBMIT QUOTATION IN SEALED PACKAGE WITH PROPOSAL NUMBER, CLOSING DATE AND BUYER’S NAME MARKED CLEARLY ON THE OUTSIDE TO: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| COUNTY OF FRESNO, Purchasing 4525 EAST HAMILTON AVENUE, 2nd Floor FRESNO, CA 93702-4599 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Closing date of bid will be at 2:00 p.m., on April 8, 2011. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| QUOTATIONS WILL BE CONSIDERED LATE WHEN THE OFFICIAL PURCHASING TIME CLOCK READS 2:00 P.M. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Proposals will be opened and publicly read at that time. All proposal information will be available for review after contract award. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Clarification of specifications is to be directed to: Brian Tamblin/Gary Parkinson, phone (559) 600-7110, e-mail CountyPurchasing@co.fresno.ca.us, fax (559) 456-7831. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| GENERAL CONDITIONS: See “County Of Fresno Purchasing Standard Instructions And Conditions For Request For Proposals (RFP’S) and Requests for Quotations (RFQ’S)” attached. Check County of Fresno Purchasing’s Open Solicitations website at http://www2.co.fresno.ca.us/0440/Bidshome2.asp for RFQ/RFP documents and changes. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| BIDDER TO COMPLETE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| UNDERSIGNED AGREES TO FURNISH THE COMMODITY OR SERVICE STIPULATED IN THE ATTACHED PROPOSAL SCHEDULE AT THE PRICES AND TERMS STATED, SUBJECT TO THE “COUNTY OF FRESNO PURCHASING STANDARD INSTRUCTIONS AND CONDITIONS FOR REQUEST FOR PROPOSALS (RFP’S) AND REQUESTS FOR QUOTATIONS (RFQ’S)”ATTACHED. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Except as noted on individual items, the following will apply to all items in the Proposal Schedule. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Complete delivery will be made within |  |  |  |  |  |  |  | calendar days after receipt of Order. |  |  |  |  |  |  |  |  |  |  |
| - A cash discount of |  |  |  |  | % |  |  |  |  | days will apply. |  |  |  |  |  |  |  |  |
| Company |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Address |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| City |  |  |  |  |  |  |  |  |  |  |  |  | State |  | Zip Code |  |  |  |
| ( ) |  |  |  | ( ) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Telephone Number |  |  |  | Facsimile Number |  |  |  |  |  |  |  |  | E-mail Address |  |  |  |  |  |
| Signed By |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Print Name |  |  |  |  |  |  |  |  | Title |  |  |  |  |  |  |  |  |  |

COUNTY OF FRESNO PURCHASING

STANDARD INSTRUCTIONS AND CONDITIONS FOR
REQUESTS FOR PROPOSALS (RFP'S) AND REQUESTS FOR QUOTATIONS (RFQ'S)

Note: the reference to “bids” in the following paragraphs applies to RFP's and RFQ's

## GENERAL CONDITIONS

By submitting a bid the bidder agrees to the following conditions.  These conditions will apply to all subsequent purchases based on this bid.

- BID PREPARATION:

  - All prices and notations must be typed or written in ink.  No erasures permitted.  Errors may be crossed out, initialed and corrections printed in ink by person signing bid.

  - Brand Names: Brand names and numbers when given are for reference. Equal items will be considered, provided the offer clearly describes the article and how it differs from that specified.  In the absence of such information it shall be understood the offering is exactly as specified.

  - State brand or make of each item.  If bidding on other than specified, state make, model and brand being bid and attach supporting literature/specifications to the bid.

  - Bid on each item separately.  Prices should be stated in units specified herein.  All applicable charges must be quoted; charges on invoice not quoted herein will be disallowed.

  - Time of delivery is a part of the consideration and must be stated in definite terms and must be adhered to.  F.O.B. Point shall be destination or freight charges must be stated.

  - All bids must be dated and signed with the firm’s name and by an authorized officer or employee.

  - Unless otherwise noted, prices shall be firm for one hundred eighty (180) days after closing date of bid.

- SUBMITTING BIDS:

  - Each bid must be submitted on forms provided in a sealed envelope/package with bid number and closing date and time on the outside of the envelope/package.

  - Interpretation: Should any discrepancies or omissions be found in the bid specifications or doubt as to their meaning, the bidder shall notify the Buyer in writing at once.  The County shall not be held responsible for verbal interpretations.  Questions regarding the bid must be received by Purchasing at least five (5) working days before bid opening.  All addenda issued shall be in writing, duly issued by Purchasing and incorporated into the contract.

  - ISSUING AGENT/AUTHORIZED CONTACT: This RFP/RFQ has been issued by County of Fresno, Purchasing. Purchasing shall be the vendor’s sole point of contact with regard to the RFP/RFQ, its content, and all issues concerning it.

All communication regarding this RFP/RFQ shall be directed to an authorized representative of County Purchasing. The specific buyer managing this RFP/RFQ is identified on the cover page, along with his or her telephone number, and he or she should be the primary point of contact for discussions or information pertaining to the RFP/RFQ. Contact with any other County representative, including elected officials, for the purpose of discussing this RFP/RFQ, its content, or any other issue concerning it, is prohibited unless authorized by Purchasing. Violation of this clause, by the vendor having unauthorized contact (verbally or in writing) with such other County representatives, may constitute grounds for rejection by Purchasing of the vendor’s quotation.

The above stated restriction on vendor contact with County representatives shall apply until the County has awarded a purchase order or contract to a vendor or vendors, except as follows. First, in the event that a vendor initiates a formal protest against the RFP/RFQ, such vendor may contact the appropriate individual, or individuals who are managing that protest as outlined in the County’s established protest procedures. All such contact must be in accordance with the sequence set forth under the protest procedures. Second, in the event a public hearing is scheduled before the Board of Supervisors to hear testimony prior to its approval of a purchase order or contract, any vendor may address the Board.

  - Bids received after the closing time will NOT be considered.

  - Bidders are to bid what is specified or requested first. If unable to or unwilling to, bidder may bid alternative or option, indicating all advantages, disadvantages and their associated cost.

  - Public Contract Code Section 7028.15

Where the State of California requires a Contractor’s license, it is a misdemeanor for any person to submit a bid unless specifically exempted.

- FAILURE TO BID:

  - If not bidding, return bid sheet and state reason for no bid or your name may be removed from mailing list.

- TAXES, CHARGES AND EXTRAS:

  - County of Fresno is subject to California sales and/or use tax (8.975%). Please indicate as a separate line item if applicable.

  - DO NOT include Federal Excise Tax.  County is exempt under Registration No. 94-73-03401-K.

  - County is exempt from Federal Transportation Tax.  Exemption certificate is not required where shipping papers show consignee as County of Fresno.

  - Charges for transportation, containers, packing, etc. will not be paid unless specified in bid.

- W-9 – REQUEST FOR TAXPAYER IDENTIFICATION NUMBER AND CERTIFICATION:

Upon award of bid, the vendor shall submit to County Purchasing, a completed W-9 - Request for Taxpayer Identification Number and Certification if not already a current vendor with The County of Fresno. This form is available from the IRS to complete on line at http://www.irs.gov/pub/irs-pdf/fw9.pdf.

- AWARDS:

  - Subject to the local preference provisions referenced in Paragraph 7 below and more thoroughly set forth in the General Requirements section of this RFP/RFQ, award(s) will be made to the most responsive responsible bidder.  The evaluation will include such things as life-cycle cost, availability, delivery costs and whose product and/or service is deemed to be in the best interest of the County. The County shall be the sole judge in making such determination.

  - Unless bidder gives notice of all-or-none award in bid, County may accept any item, group of items or on the basis of total bid.

  - The County reserves the right to reject any and all bids and to waive informalities or irregularities in bids.

  - Award Notices are tentative: Acceptance of an offer made in response to this RFP/RFQ shall occur only upon execution of an agreement by both parties or issuance of a valid written Purchase Order by Fresno County Purchasing.

  - After award, all bids shall be open to public inspection. The County assumes no responsibility for the confidentiality of information offered in a bid.

- LOCAL VENDORS:

  - Local Vendor Preference (applicable to RFQ Process only)

The following provisions are applicable only to the County’s acquisition of materials, equipment or supplies through the RFQ process when the funding source does not require an exemption to the Local Vendor Preference.

THE PROVISIONS OF THIS PARAGRAPH ARE APPLICABLE, NOTWITHSTANDING ANY OTHER PROVISIONS OF THIS RFQ TO THE CONTRARY

If the apparent low bidder is not a local vendor, any local vendor who submitted a bid which was within five percent (5%) of the lowest responsive  bid as determined by the purchasing agent shall have the option of submitting a new bid within forty-eight (48) hours (not including weekends and holidays) of County’s delivery of notification. Such new bids must be in an amount less than or equal to the lowest responsive bid as determined by the purchasing agent.  If the purchasing agent receives any new bids from local vendors who have the option of submitting new bids within said forty-eight (48) hour period, it shall award the contract to the local vendor submitting the lowest responsible bid. If no new bids are received, the contract shall be awarded to the original low bidder as announced by the purchasing agent.

  - Local Vendor Defined

“Local Vendor” shall mean any business which:

- Has its headquarters, distribution point or locally-owned franchise located in or having a street address within the County for at least six (6) months immediately prior to the issuance of the request for competitive bids by the purchasing agent; and

- Holds any required business license by a jurisdiction located in Fresno County; and

- Employs at least one (1) full-time or two (2) part-time employees whose primary residence is located within Fresno County, or if the business has no employees, shall be at least fifty percent (50%) owned by one or more persons whose primary residence(s) is located within Fresno County.

- TIE BIDS:

All other factors being equal, the contract shall be awarded to the Fresno County vendor or, if neither or both are Fresno County vendors, it may be awarded by the flip of a coin in the presence of witnesses or the entire bid may be rejected and re-bid. If the General Requirements of this RFP/RFQ state that they are applicable, the provisions of the Fresno County Local Vendor Preference shall take priority over this paragraph.

- PATENT INDEMNITY:

The vendor shall hold the County, its officers, agents and employees, harmless from liability of any nature or kind, including costs and expenses, for infringement or use of any copyrighted or uncopyrighted composition, secret process, patented or unpatented invention, article or appliance furnished or used in connection with this bid.

- SAMPLES:

Samples, when required, must be furnished and delivered free and, if not destroyed by tests, will upon written request (within thirty (30) days of bid closing date) be returned at the bidder's expense. In the absence of such notification, County shall have the right to dispose of the samples in whatever manner it deems appropriate.

- RIGHTS AND REMEDIES OF COUNTY FOR DEFAULT:

  - In case of default by vendor, the County may procure the articles or service from another source and may recover the cost difference and related expenses occasioned thereby from any unpaid balance due the vendor or by proceeding against performance bond of the vendor, if any, or by suit against the vendor. The prices paid by the County shall be considered the prevailing market price at the time such purchase is made.

  - Articles or services, which upon delivery inspection do not meet specifications, will be rejected and the vendor will be considered in default. Vendor shall reimburse County for expenses related to delivery of non-specified goods or services.

  - Regardless of F.O.B. point, vendor agrees to bear all risks of loss, injury or destruction to goods and materials ordered herein which occur prior to delivery and such loss, injury or destruction shall not release vendor from any obligation hereunder.

- DISCOUNTS:

Terms of less than fifteen (15) days for cash payment will be considered as net in evaluating this bid. A discount for payment within fifteen (15) days or more will be considered in determining the award of bid. Discount period will commence either the later of delivery or receipt of invoice by the County. Standard terms are Net forty-five (45) days.

- SPECIAL CONDITIONS IN BID SCHEDULE SUPERSEDE GENERAL CONDITIONS:

The “General Conditions” provisions of this RFP/RFQ shall be superseded if in conflict with any other section of this bid, to the extent of any such conflict.

- SPECIAL REQUIREMENT:

With the invoice or within twenty-five (25) days of delivery, the seller must provide to the County a Material Safety Data Sheet for each product, which contains any substance on “The List of 800 Hazardous Substances”, published by the State Director of Industrial Relations. (See Hazardous Substances Information and Training Act. California State Labor Code Sections 6360 through 6399.7.)

- RECYCLED PRODUCTS/MATERIALS:

Vendors are encouraged to provide and quote (with documentation) recycled or recyclable products/materials which meet stated specifications.

- YEAR COMPLIANCE WARRANTY:

Vendor warrants that any product furnished pursuant to this Agreement/order shall support a four-digit year format and be able to accurately process date and time data from, into and between the twentieth and twenty-first centuries, as well as leap year calculations. "Product" shall include, without limitation, any piece or component of equipment, hardware, firmware, middleware, custom or commercial software, or internal components or subroutines therein. This warranty shall survive termination or expiration of this Agreement.

In the event of any decrease in product functionality or accuracy related to time and/or date data related codes and/or internal subroutines that impede the product from operating correctly using dates beyond December 31, 1999, vendor shall restore or repair the product to the same level of functionality as warranted herein, so as to minimize interruption to County's ongoing business process, time being of the essence. In the event that such warranty compliance requires the acquisition of additional programs, the expense for any such associated or additional acquisitions, which may be required, including, without limitation, data conversion tools, shall be borne exclusively by vendor. Nothing in this warranty shall be construed to limit any rights or remedies the County may otherwise have under this Agreement with respect to defects other than year performance.

- PARTICIPATION:

Bidder may agree to extend the terms of the resulting contract to other political subdivision, municipalities and tax-supported agencies.

Such participating Governmental bodies shall make purchases in their own name, make payment directly to bidder, and be liable directly to the bidder, holding the County of Fresno harmless.

- CONFIDENTIALITY:

All services performed by vendor shall be in strict conformance with all applicable Federal, State of California and/or local laws and regulations relating to confidentiality, including but not limited to, California Civil Code, California Welfare and Institutions Code, Health and Safety Code, California Code of Regulations, Code of Federal Regulations.

Vendor shall submit to County’s monitoring of said compliance.

Vendor may be a business associate of County, as that term is defined in the “Privacy Rule” enacted by the Health Insurance Portability and Accountability Act of 1996 (HIPAA). As a HIPAA Business Associate, vendor may use or disclose protected health information (“PHI”) to perform functions, activities or services for or on behalf of County as specified by the County, provided that such use or disclosure shall not violate HIPAA and its implementing regulations. The uses and disclosures if PHI may not be more expansive than those applicable to County, as the “Covered Entity” under HIPAA’s Privacy Rule, except as authorized for management, administrative or legal responsibilities of the Business Associate.

Vendor shall not use or further disclose PHI other than as permitted or required by the County, or as required by law without written notice to the County.

Vendor shall ensure that any agent, including any subcontractor, to which vendor provides PHI received from, or created or received by the vendor on behalf of County, shall comply with the same restrictions and conditions with respect to such information.

- APPEALS:

Appeals must be submitted in writing within seven (7) working days after notification of proposed recommendations for award. A “Notice of Award” is not an indication of County’s acceptance of an offer made in response to this RFP/RFQ. Appeals should be submitted to County of Fresno Purchasing, 4525 E. Hamilton Avenue, Fresno, California 93702-4599. Appeals should address only areas regarding RFP contradictions, procurement errors, quotation rating discrepancies, legality of procurement context, conflict of interest, and inappropriate or unfair competitive procurement grievance regarding the RFP/RFQ process.

Purchasing will provide a written response to the complainant within seven (7) working days unless the complainant is notified more time is required.

If the protesting bidder is not satisfied with the decision of Purchasing, he/she shall have the right to appeal to the Purchasing Agent/CAO within seven (7) business days after Purchasing’s notification; except if, notified to appeal directly to the Board of Supervisors at the scheduled date and time.

If the protesting bidder is not satisfied with Purchasing Agent/CAO’s decision, the final appeal is with the Board of Supervisors.

- OBLIGATIONS OF CONTRACTOR:

  - CONTRACTOR shall perform as required by the ensuing contract. CONTRACTOR also warrants on behalf of itself and all subcontractors engaged for the performance of the ensuing contract that only persons authorized to work in the United States pursuant to the Immigration Reform and Control Act of 1986 and other applicable laws shall be employed in the performance of the work hereunder.

  - CONTRACTOR shall obey all Federal, State, local and special district laws, ordinances and regulations.

- AUDITS & RETENTION:

The Contractor shall maintain in good and legible condition all books, documents, papers, data files and other records related to its performance under this contract. Such records shall be complete and available to Fresno County, the State of California, the federal government or their duly authorized representatives for the purpose of audit, examination, or copying during the term of the contract and for a period of at least three (3) years following the County's final payment under the contract or until conclusion of any pending matter (e.g., litigation or audit), whichever is later. Such records must be retained in the manner described above until all pending matters are closed.

- DISCLOSURE – CRIMINAL HISTORY & CIVIL ACTIONS:

Applies to Request for Proposal (RFP); does not apply to Request for Quotation (RFQ) unless specifically stated elsewhere in the RFQ document.

In their proposal, the bidder is required to disclose if any of the following conditions apply to them, their owners, officers, corporate managers and partners (hereinafter collectively referred to as “Bidder”):

- Within the three-year period preceding the proposal, they have been convicted of, or had a civil judgment rendered against them for:

  - fraud or a criminal offense in connection with obtaining, attempting to obtain, or performing a public (federal, state, or local) transaction or contract under a public transaction;

  - violation of a federal or state antitrust statute;

  - embezzlement, theft, forgery, bribery, falsification, or destruction of records; or

  - false statements or receipt of stolen property

Within a three-year period preceding their proposal, they have had a public transaction (federal, state, or local) terminated for cause or default.

- DATA SECURITY:

Individuals and/or agencies that enter into a contractual relationship with the COUNTY for the purpose of providing services must employ adequate controls and data security measures, both internally and externally to ensure and protect the confidential information and/or data provided to contractor by the COUNTY, preventing the potential loss, misappropriation or inadvertent access, viewing, use or disclosure of COUNTY data including sensitive or personal client information; abuse of COUNTY resources; and/or disruption to COUNTY operations.

Individuals and/or agencies may not connect to or use COUNTY networks/systems via personally owned mobile, wireless or handheld devices unless authorized by COUNTY for telecommuting purposes and provide a secure connection; up to date virus protection and mobile devices must have the remote wipe feature enabled.  Computers or computer peripherals including mobile storage devices may not be used (COUNTY or Contractor device) or brought in for use into the COUNTY’s system(s) without prior authorization from COUNTY’s Chief Information Officer and/or designee(s).

No storage of COUNTY’s private, confidential or sensitive data on any hard-disk drive, portable storage device or remote storage installation unless encrypted according to advance encryption standards (AES of 128 bit or higher).

The COUNTY will immediately be notified of any violations, breaches or potential breaches of security related to COUNTY’s confidential information, data and/or data processing equipment which stores or processes COUNTY data, internally or externally.

COUNTY shall provide oversight to Contractor’s response to all incidents arising from a possible breach of security related to COUNTY’s confidential client information.  Contractor will be responsible to issue any notification to affected individuals as required by law or as deemed necessary by COUNTY in its sole discretion.  Contractor will be responsible for all costs incurred as a result of providing the required notification.

- PURCHASING LOCATION & HOURS:

Fresno County Purchasing is located at 4525 E. Hamilton Avenue (second floor), Fresno, CA 93702.  Non-holiday hours of operation are Monday through Friday, 8:00 A.M. to 12:00 Noon and 1:00 P.M. to 5:00 P.M. PST; Purchasing is closed daily from 12:00 Noon to 1:00 P.M.  The following holiday office closure schedule is observed:

| January 1* |  | New Year's Day |
| --- | --- | --- |
| Third Monday in January |  | Martin Luther King, Jr.’s Birthday |
| Third Monday in February |  | Washington - Lincoln Day |
| March 31* |  | Cesar Chavez’ Birthday |
| Last Monday in May |  | Memorial Day |
| July 4* |  | Independence Day |
| First Monday in September |  | Labor Day |
| November 11* |  | Veteran's Day |
| Fourth Thursday in November |  | Thanksgiving Day |
| Friday following Thanksgiving |  |  |
| December 25* |  | Christmas |
| * When this date falls on a Saturday, the holiday is observed the preceding Friday. If the date falls on a Sunday, the holiday is observed the following Monday. |  |  |

- TABLE OF CONTENTS

PAGE

OVERVIEW	3

KEY DATES	3

BIDDING INSTRUCTIONS	4

BIDDER TO COMPLETE	9

REFERENCE LIST	10

Project description/requirements	11

Scope of Services for Traffic Signal & Highway Lighting Maintenance	14

Guidelines for Scheduled Maintenance	18

Scheduled Maintenance Checklist	26

QUOTATION SCHEDULE	27

CHECK LIST	30

OVERVIEW

The County of Fresno is soliciting bids for an annual agreement, under which the successful bidder shall provide all labor, material, equipment, taxes, fees, permits etc. to perform semi-annual preventative maintenance for safety lighting at two County intersections and semi-annual preventative maintenance for traffic signals at one Fresno County intersection.  Additionally, the successful bidder will provide preventative maintenance and repairs to safety lighting and traffic signals throughout Fresno County on an as needed basis.

- KEY DATES

| RFQ Issue Date: | February 25, 2011 |
| --- | --- |
| Vendor Conference: | March 21, 2011 at 10:00 A.M. |
|  | County of Fresno – Purchasing |
|  | 4525 E. Hamilton Avenue, 2nd Floor |
|  | Fresno, CA 93702 |
| Deadline for Written Requests for Interpretations or Corrections of RFQ: | March 29, 2011 at 9:00 A.M. |
|  | Fax No. (559) 456-7831 E-Mail: CountyPurchasing@co.fresno.ca.us |
| RFQ Closing Date: | April 8, 2011 at 2:00 P.M. |
|  | County of Fresno Purchasing |
|  | 4525 E. Hamilton Avenue, 2nd Floor |
|  | Fresno, CA 93702 |

- BIDDING INSTRUCTIONS

GENERAL REQUIREMENTS

The County of Fresno is soliciting bids for an annual agreement under which the successful bidder shall provide all labor, material, equipment, taxes, fees, permits etc. to perform semi-annual preventative maintenance for safety lighting at two County intersections and semi-annual preventative maintenance for traffic signals at one Fresno County intersection.  Additionally, the successful bidder will provide preventative maintenance and repairs to safety lighting and traffic signals throughout Fresno County on an as needed basis.

LOCAL VENDOR PREFERENCE:  The Local Vendor Preference does not apply to this Request for Quotation.

ISSUING AGENT: This RFQ has been issued by County of Fresno Purchasing. The County Purchasing shall be the vendor’s sole point of contact with regard to the RFQ, its content, and all issues concerning it.

AUTHORIZED CONTACT: All communication regarding this RFQ shall be directed to an authorized representative of County Purchasing. The specific buyer managing this RFQ is identified on the cover page, along with his or her telephone number, and he or she should be the primary point of contact for discussions or information pertaining to the RFQ. Contact with any other County representative, including elected officials, for the purpose of discussing this RFQ, it content, or any other issue concerning it, is prohibited unless authorized by Purchasing. Violation of this clause, by the vendor having unauthorized contact (verbally or in writing) with such other County representatives, may constitute grounds for rejection by Purchasing of the vendor’s quotation.

The above stated restriction on vendor contact with County representatives shall apply until the County has awarded a purchase order or contract to a vendor or vendors, except as follows. First, in the event that a vendor initiates a formal protest against the RFQ, such vendor may contact the appropriate individual, or individuals who are managing that protest as outlined in the County’s established protest procedures. All such contact must be in accordance with the sequence set forth under the protest procedures. Second, in the event a public hearing is scheduled before the Board of Supervisors to hear testimony prior to its approval of a purchase order or contract, any vendor may address the Board.

AWARD: Award will be made to the bidder(s) whose product(s) service, price, and delivery is most advantageous to the County. The County will be the sole judge in making this determination.

NUMBER OF COPIES:  Submit one (1) original and two (2) copies of your quotation no later than the quotation closing date and time as stated on the front of this document to the County of Fresno County Purchasing. Each copy to be identical to the original, including all supporting documentation (i.e. literature, brochures, reports, schedules, specifications, drawings etc.). The cover page of each quotation is to be appropriately marked “Original” or “Copy”.

FIRM PROPOSAL:  For purposes of award, all bids shall remain firm for at least one hundred eighty (180) calendar days from the closing date of this RFQ.

CONTRACT TERM:  The initial contract period shall be one (1) year, with the option to renew for two (2) additional one (1) year periods.

RIGHT TO REJECT BIDS: The County reserves the right to reject any and all bids and to waive informalities or irregularities in bids.

INTERPRETATION OF RFQ: Vendors must make careful examination of the requirements, specifications and conditions expressed in the RFQ and fully inform themselves as to the quality and character of services required.  If any person planning to submit a quotation finds discrepancies in or omissions from the RFQ or has any doubt as to the true meaning or interpretation, correction thereof may be requested at the scheduled Vendor Conference (see below).   Any change in the RFQ will be made only by written addendum, duly issued by the County.  The County will not be responsible for any other explanations or interpretations.

Questions may be submitted subsequent to the Vendor Conference, subject to the following conditions:

- Such questions are submitted in writing to County Purchasing not later than March 29, 2011 at 8:00 A.M. (cut-off).  Questions must be directed to the attention of the buyer identified on page one.

- Such questions are submitted with the understanding that County can respond only to questions it considers material in nature.

Questions shall be delivered to County of Fresno Purchasing, 4525 E. Hamilton Avenue, Fresno, California 93702 or emailed to CountyPurchasing@co.fresno.ca.us or faxed to (559) 456-7831. If faxing the bidder must confirm receipt by phone within one-half (1/2) hour of transmission.

NOTE: The bidder is encouraged to submit all questions at the Vendor Conference. Time limitations can prevent a response to questions submitted after the conference.

Vendor Conference: Each bidder shall have examined the site of work before bidding and shall be responsible for having acquired full knowledge of the job and of all problems affecting it. No variations or allowance from the contract sum will be made because of lack of such examination.  A pre-bid vendor conference is scheduled for:

| DATE: | March 21, 2011 |
| --- | --- |
| TIME: | 10:00 A.M. |
| LOCATION: | Fresno County Purchasing 4525 E. Hamilton Ave., 2nd Floor Fresno, CA 93702 |

Bidders are to contact Brian Tamblin or Gary Parkinson at County of Fresno Purchasing, (559) 600-7110, if they are planning to attend the conference.

CODES AND REGULATIONS: All work and material to conform to all applicable state and local building and other codes and regulations.

MATERIALS TO BE NEW: All materials shall be new and of merchantable grade, free from defect. No bid will be considered unless it is accompanied by a complete list of catalog numbers of the items, which the bidder proposes to furnish, together with full descriptive literature on all items so enumerated. If item proposed differs from these specifications, bidder shall present specific explanation of functioning and structural characteristics for those details which differ from the specifications listed herein.

DAMAGE TO EXISTING WORK: Damage to existing construction, equipment, planting, etc., by the successful bidder in the performance of his work shall be replaced or repaired and restored to original condition by the successful bidder.

CLEAN-UP: The successful bidder shall at all times keep the premises clean from accumulation of waste materials or rubbish caused by his employees or work and shall remove all resulting work debris from the job site.

COORDINATE WORK WITH OWNER: Successful bidder shall coordinate and schedule the work with the County so that any interruption to the normal business operations be kept to a minimum.

TAXES, PERMITS & FEES: The successful bidder shall pay for and include all federal, state and local taxes direct or indirect upon all materials; pay all fees for, and obtain all necessary permits and licenses, unless otherwise specified herein.

INSPECTION: All material and workmanship shall be subject to inspection, examination and test by the County at any and all times during which manufacture and/or construction are carried on. The County shall have the right to reject defective material and workmanship or require its correction.

SUPERVISION: The successful bidder shall give efficient supervision to the work, using therein the skill and diligence for which he is remunerated in the contract price. He shall carefully inspect the site and study and compare all drawings, specifications and other instructions, as ignorance of any phase of any of the features or conditions affecting the contract will not excuse him from carrying out its provisions to its full intent.

SAFEGUARDS:  The successful bidder shall provide, in conformity with all local codes and ordinances and as may be required, such temporary walls, fences, guardrails, barricades, lights, danger signs, enclosures, etc., and shall maintain such safeguards until all work is completed.

PAYMENT: Upon satisfactory completion of work, specified herein and approval by the County, payment will be made in full.  Terms of payment will be net forty-five (45) days. County will consider the Bidder’s Cash discount Offer, as previously stated under the General Terms and Conditions in lieu of the net forty-five (45) days payment terms.

INDEPENDENT CONTRACTOR: In performance of the work, duties and obligations assumed by Contractor under this Agreement, it is mutually understood and agreed that Contractor, including any and all of Contractor's officers, agents, and employees will at all times be acting and performing as an independent contractor, and shall act in an independent capacity and not as an officer, agent, servant, employee, joint venturer, partner, or associate of the County. Furthermore, County shall have no right to control or supervise or direct the manner or method by which Contractor shall perform its work and function.  However, County shall retain the right to administer this Agreement so as to verify that Contractor is performing its obligations in accordance with the terms and conditions thereof.  Contractor and County shall comply with all applicable provisions of law and the rules and regulations, if any, of governmental authorities having jurisdiction over matters the subject thereof.

Because of its status as an independent contractor, Contractor shall have absolutely no right to employment rights and benefits available to County employees.  Contractor shall be solely liable and responsible for providing to, or on behalf of, its employees all legally required employee benefits.  In addition, Contractor shall be solely responsible and save County harmless from all matters relating to payment of Contractor's employees, including compliance with Social Security, withholding, and all other regulations governing such matters.  It is acknowledged that during the term of this Agreement, Contractor may be providing services to others unrelated to the County or to this Agreement.

HOLD HARMLESS CLAUSE:  Contractor agrees to indemnify, save, hold harmless and at County's request, defend its officers, agents and employees, from any and all costs and expenses, damages, liabilities, claims and losses occurring or resulting to County in connection with the performance, or failure to perform, by Contractor, its officers, agents or employees under this agreement and from any and all costs and expenses, damages, liabilities, claims and losses occurring or resulting to any person, firm or corporation who may be injured or damaged by the performance, or failure to perform, of Contractor, its officers, agents or employees under this agreement.

ASSURANCES:  Any contract awarded under this RFQ must be carried out in full compliance with The Civil Rights Act of 1964, The Americans With Disabilities Act of 1990, their subsequent amendments, and any and all other laws protecting the rights of individuals and agencies.  The County of Fresno has a zero tolerance for discrimination, implied or expressed, and wants to ensure that policy continues under this RFQ.  The contractor must also guarantee that services, or workmanship, provided will be performed in compliance with all applicable local, state, or federal laws and regulations pertinent to the types of services, or project, of the nature required under this RFQ.  In addition, the contractor may be required to provide evidence substantiating that their employees have the necessary skills and training to perform the required services or work.

PREVAILING WAGES: In accordance with the provisions of Section 1770 of the Labor Code, the Director of the Department of Industrial Relations of the State of California has determined the general prevailing rates of wages and employer payments for health and welfare pension, vacation, travel time and subsistence pay as provided for in Section 1773.8, apprenticeship or other training programs authorized by Section 3093, and similar purposes applicable to the work to be done. A copy of the above-mentioned wage rates shall be posted by the successful bidder at the job site where it will be available to any interested party.

Information pertaining to Prevailing Wage Rates can be found on the web site for the State of California – Division of Labor Statistics and Research:

http://www.dir.ca.gov/dlsr/statistics_research.html

- INSURANCE:

Without limiting the County's right to obtain indemnification from contractor or any third parties, contractor, at its sole expense, shall maintain in full force and effect the following insurance policies throughout the term of the Agreement:

- Commercial General Liability

Commercial General Liability Insurance with limits of not less than One Million Dollars ($1,000,000) per occurrence and an annual aggregate of Two Million Dollars ($2,000,000). This policy shall be issued on a per occurrence basis. County may require specific coverages including completed operations, products liability, contractual liability, Explosion-Collapse-Underground, fire legal liability or any other liability insurance deemed necessary because of the nature of this contract.

- Automobile Liability

Comprehensive Automobile Liability Insurance with limits for bodily injury of not less than Two Hundred Fifty Thousand Dollars ($250,000.00) per person, Five Hundred Thousand Dollars ($500,000.00) per accident and for property damages of not less than Fifty Thousand Dollars ($50,000.00), or such coverage with a combined single limit of Five Hundred Thousand Dollars ($500,000.00).  Coverage should include owned and non-owned vehicles used in connection with this Agreement.

- Worker's Compensation

A policy of Worker's Compensation insurance as may be required by the California Labor Code.

Contractor shall obtain endorsements to the Commercial General Liability insurance naming the County of Fresno, its officers, agents, and employees, individually and collectively, as additional insured, but only insofar as the operations under this Agreement are concerned.  Such coverage for additional insured shall apply as primary insurance and any other insurance, or self-insurance, maintained by County, its officers, agents and employees shall be excess only and not contributing with insurance provided under contractor's policies herein. This insurance shall not be cancelled or changed without a minimum of thirty (30) days advance written notice given to County.

Within Thirty (30) days from the date contractor executes this Agreement, contractor shall provide certificates of insurance and endorsement as stated above for all of the foregoing policies, as required herein, to the County of Fresno, Purchasing Supervisor, stating that such insurance coverage have been obtained and are in full force; that the County of Fresno, its officers, agents and employees will not be responsible for any premiums on the policies; that such Commercial General Liability insurance names the County of Fresno, its officers, agents and employees, individually and collectively, as additional insured, but only insofar as the operations under this Agreement are concerned; that such coverage for additional insured shall apply as primary insurance and any other insurance, or self-insurance, maintained by County, its officers, agents and employees, shall be excess only and not contributing with insurance provided under contractor's policies herein; and that this insurance shall not be cancelled or changed without a minimum of thirty (30) days advance, written notice given to County.

In the event contractor fails to keep in effect at all times insurance coverage as herein provided, the County may, in addition to other remedies it may have, suspend or terminate this Agreement upon the occurrence of such event.

All policies shall be with admitted insurers licensed to do business in the State of California.  Insurance purchased shall be purchased from companies possessing a current A.M. Best, Inc. rating of A FSC VII or better.

- BIDDER TO COMPLETE

- SUBCONTRACTORS:

List all subcontractors that would perform work in excess of one/half of one percent of the total amount of your bid, and state general type of work such subcontractor would be performing:

CONTRACTOR'S LICENSE:

Bidder to possess appropriate license for the project in accordance with current regulations/statutes.

The vendor shall possess a current State of California contractor’s License, Class C-10 or another license class that covers the work to be performed. The proposal must indicate the license held by the bidder, which enables him/her to perform the work.

If the license is other than a Class C-10, the bidder must explain why his/her license(s) is acceptable.  The County will review and determine if acceptable.

| Number and Class: |  |
| --- | --- |
| Date of Issue: |  |

INSURANCE:

| Name of Insurance Carrier: |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Commercial General Liability: |  |  |  | Expires: |  |
| Automobile Liability |  |  |  | Expires: |  |
| Workman's Compensation: |  |  |  | Expires: |  |

Proof of maintenance of adequate insurance will be required before award is made to vendor.

GUARANTEE: The bidder shall state his written guarantee here:

Vendor must complete and return with Request for Proposal

| Firm: |  |
| --- | --- |

REFERENCE LIST

Provide a list of at least five (5) customers for whom you have recently provided similar services.  Be sure to include all requested information.

| Reference Name: |  |  |  |  |  |  |  | Contact: |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Address: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| City: |  |  |  |  |  |  |  |  | State: |  |  |  |  | Zip: |  |  |  |
| Phone No.: |  | ( |  |  | ) |  | Date: |  |  |  |  |  |  |  |  |  |  |
| Service Provided: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Reference Name: |  |  |  |  |  |  |  | Contact: |  |  |  |  |  |  |  |  |  |
| Address: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| City: |  |  |  |  |  |  |  |  |  | State: |  |  |  |  | Zip: |  |  |
| Phone No.: |  | ( |  |  | ) |  | Date: |  |  |  |  |  |  |  |  |  |  |
| Service Provided: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Reference Name: |  |  |  |  |  |  |  | Contact: |  |  |  |  |  |  |  |  |  |
| Address: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| City: |  |  |  |  |  |  |  |  | State: |  |  |  |  | Zip: |  |  |  |
| Phone No.: |  | ( |  |  | ) |  | Date: |  |  |  |  |  |  |  |  |  |  |
| Service Provided: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Reference Name: |  |  |  |  |  |  |  | Contact: |  |  |  |  |  |  |  |  |  |
| Address: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| City: |  |  |  |  |  |  |  |  |  | State: |  |  |  |  | Zip: |  |  |
| Phone No.: |  | ( |  |  | ) |  | Date: |  |  |  |  |  |  |  |  |  |  |
| Service Provided: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Reference Name: |  |  |  |  |  |  |  | Contact: |  |  |  |  |  |  |  |  |  |
| Address: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| City: |  |  |  |  |  |  |  |  | State: |  |  |  |  | Zip: |  |  |  |
| Phone No.: |  | ( |  |  | ) |  | Date: |  |  |  |  |  |  |  |  |  |  |
| Service Provided: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

Failure to provide a list of at least five (5) customers may be cause for rejection of this RFP.

Project description/requirements

The County of Fresno’s Department of Public Works is responsible for providing maintenance and repairs to safety lighting and traffic signals at various intersections throughout Fresno County.

The County is soliciting quotations from qualified vendors to provide all labor, materials, equipment, parts, taxes etc. to perform such services in accordance with the requirements stated within this Request for Quotation.  Such requirements include but are not limited to the County of Fresno Scope of Services for Traffic Signal & Highway Lighting Maintenance for the following Group I and Group II locations.

GROUP I LOCATIONS

The successful bidder shall provide (scheduled maintenance) or emergency maintenance, and Underground Service Alerts (USA) for the following Group I locations.  The successful bidder shall also provide routine maintenance, improvements, testing and inspection on an as-needed basis as directed by the County.

| LOCATION | TYPE OF FACILITY | SCHEDULED MAINTENANCE TYPE |
| --- | --- | --- |
| - Central & Elm | Safety Lighting | Type 5 |
| - American & Elm | Safety Lighting | Type 5 |
| - 24511 Jayne Ave. (Coalinga) | Traffic Signal | Type 1 & 2 |

GROUP II LOCATIONS

The successful bidder shall provide routine or emergency maintenance, improvements, testing and inspection on an (as-needed) basis for the following Group II locations as directed by the County.

| LOCATION | TYPE OF FACILITY |  |
| --- | --- | --- |
| Academy & Manning | Signals |  |
| Alta & Manning Signals | Signals |  |
| American & Clovis Signals | Signals |  |
| Ashlan & Clovis | Signals |  |
| Ashlan & DeWolf | Signals |  |
| Ashlan & Fruit | Signals |  |
| Ashlan & Leonard | Signals |  |
| Ashlan & Maroa | Signals |  |
| Ashlan & Minnewawa | Signals |  |
| Ashlan & Palm | Signals |  |
| Barstow & Fruit | Signals |  |
| Barstow & Maroa | Signals |  |
| Barstow & West | Signals |  |
| Belmont & Fowler | Signals |  |
| Belmont & Peach | Signals |  |
| Belmont & Willow | Signals |  |
| Browning & Fruit | Signals |  |
| Bullard & Fruit | Signals |  |
| Bullard & Maroa | Signals |  |
| Bullard & Van Ness Ext. | Signals |  |
| Butler & Clovis | Signals |  |
| Buttonwillow & Manning | Signals |  |
| Calwa School & Cedar | Signals |  |
| Cedar & Church | Signals |  |
| Cedar & Jensen By-Pass | Signals |  |
| Cedar & Princeton | Signals |  |
| Central & Chestnut | Signals |  |
| Central & Clovis | Signals |  |
| Central & Elm | Signals |  |
| Central & Golden State | Signals |  |
| Chestnut & Clinton | Signals |  |
| Chestnut & Golden State | Signals |  |
| Chestnut & Jensen | Signals |  |
| Chestnut & North | Signals |  |
| Chestnut & Shields | Signals |  |
| Church & Orange | Signals |  |
| Clinton & Maple | Signals |  |
| Clinton & Millbrook | Signals |  |
| Clinton & Winery | Signals |  |
| Clovis & Golden State Frontage | Signals |  |
| Clovis & Jensen | Signals |  |
| Clovis & North | Signals |  |
| Clovis Frontage & Golden State | Signals |  |
| Dakota & Maple | Signals |  |
| Dickenson & Jensen (FRL) | Signals |  |
| Elm & Lincoln | Signals |  |
| Elm & North | Signals |  |
| Fig/Mlk & Jensen | Signals |  |
| Fowler & Jensen | Signals |  |
| Fowler & Olive | Signals |  |
| Fruit & Sierra | Signals |  |
| Gettysburg & Palm | Signals |  |
| Golden State & Lincoln |  | Signals |
| Golden State & Mountain View |  | Signals |
| Helm & Tulare |  | Signals |
| Herndon & Van Ness Ext. |  | Signals |
| Jensen & Maple |  | Signals |
| Jensen & McCall |  | Signals |
| LacJac & Manning |  | Signals |
| Manning & McCall |  | Signals |
| Manning & Newmark |  | Signals |
| Manning & Zediker |  | Signals |
| Maroa & Shaw |  | Signals |
| Mendocino & Mountain View |  | Signals |
| Mendocino & Parlier (FRL) |  | Signals |
| Millerton & Table Mountain |  | Signals |
| Olive & Willow |  | Signals |
| Palm & San Jose |  | Signals |
| Palm & Shaw | Signals |  |
| Palm & Sierra | Signals |  |
| Parlier & Smyrna (Flasher) | Signals |  |
| Peach & Tulare | Signals |  |
| Shields & Sierra Vista | Signals |  |
| Sierra & West | Signals |  |

LICENSE

All bidders must posses a valid C-10 California Contractors License.

Any “crane operator” used by the successful bidder when performing work specified under this RFQ must have a current certification that is recognized by the State of California.

ADDITIONAL REQUIREMENTS

- The successful bidder shall provide service on a twenty-four (24) hour, seven (7) day a week basis.

- The successful bidder shall dispatch a fully equipped service truck and qualified electrician within (30) minutes of being notified that emergency service is required.

Scope of Services for Traffic Signal & Highway Lighting Maintenance

To provide guidelines for the maintenance of traffic signals and highway lighting within the jurisdiction of the County of Fresno.  It provides descriptions of the type of work to be done, when work should be done, locations of facilities to be worked on, and the required authorization prior to performing the work.  The County of Fresno’s Guidelines for Scheduled Maintenance is included as further guidance.

LOCATIONS

A list of locations where maintenance, repair, or emergency services may be performed is shown in the Project Description/Requirements section.  The type of maintenance, repair, or emergency services provided for any particular location is dependant upon having acceptable authorization.  Changes to this list may be made by mutual agreement of the manager of the maintenance provider and the Manager of Maintenance & Operations.

SERVICES

The following services are necessary to maintain the Fresno County traffic signal & highway lighting facilities.

SCHEDULED MAINTENANCE

The work shall only be performed on the facilities shown in Group I.  The work involves inspection, replacement or repair on a predetermined schedule.  All work shall be done in accordance with either, Type I, Type II, Type III or Type IV scheduled maintenance.

Where signal ahead advance flashing beacons exist at a location, the flashing beacon shall be included in the scheduled maintenance for that location.

A Scheduled Maintenance Checklist included as Attachment “A” shall be used to confirm that the work has been completed at each location, for each scheduled event.

Inspection

- Electrical equipment

- Electrical circuits

Routine Replacement

- Lamps

- Cabinet filter

Cleaning

- Lenses

- Cabinets

Touch-Up Painting

- Poles

- Cabinets

- Signal backplates & visors

Recommend Improvements

- Timing changes

- Replacement of deteriorating equipment

- Replacement of obsolete equipment

ROUTINE & EMERGENCY MAINTENANCE

Work may be performed at any of the Group I or Group II location’s when authorized.  The work involves changes or repairs necessary to return the traffic signal and highway lighting facilities to normal or operable condition and includes work of a routine or emergency nature.  The work includes repair of facilities due to minor or major malfunctions, minor to extensive damage, or normal wear; and minor changes to equipment or material.  The following are examples of equipment and materials which may need to be repaired, changed, or replaced but is not an exclusive list.

Typical Equipment & Materials

| - Poles | - Conductor cable |
| --- | --- |
| - Mast arms | - Cabinets |
| - Lamps | - Control equipment |
| - Lenses | - Communication equipment |
| - Fixtures | - Foundations |
| - Conduits | - Sidewalk |
| - Pull boxes | - Pavement |
| - Conductors | - Paint |

IMPROVEMENTS

The work may be performed at any of the Group I or Group II locations when authorized.  Work may involve minor or major changes to traffic signals and highway lighting equipment, materials or operations that are requested by the County to improve operations.  This could include timing changes as well as anything included in either scheduled maintenance or routine & emergency maintenance.

TESTING & INSPECTION

May be performed at any of the Group I or Group II locations when authorized.  Work to include the following: inspecting, testing new and repaired traffic signal and highway lighting circuits and equipment, notifying the County of deficiencies and recommending changes to our practices and standards as they relate to the design, operation, and maintenance of traffic signals and highway lighting facilities.

| Circuits | Equipment |
| --- | --- |
| - Ground circuit | - Controller |
| - Control circuits | - Conflict monitor |
| - Lighting circuits | - Detector amplifiers |
| - Signal circuits | - Switch packs |
| - Detector circuits | - Flashers |
|  | - Relays |

UNDERGROUND SERVICE ALERTS (USA)

This work shall only to be performed on Group I facilities and involves marking underground traffic signal & highway lighting facilities in accordance with USA procedures.

ADMINISTRATIVE SERVICES:

Involves services indirectly associated with the maintenance of traffic signal & highway lighting facilities.

RECORDS:

Involves maintaining records of any work done and providing copies of the records to the County.  Any changes to controller timing is to be made on the timing card within the controller cabinet.  Any changes, inspections or tests to traffic signal facilities are to be noted briefly on the Cabinet Maintenance Log in the controller cabinet and detailed notes provided to the County.  Notes are to include the date and type of work performed and identification of the person or group performing the work.

NEW EQUIPMENT AND MATERIALS:

Involves purchasing and/or stockpiling an adequate supply of materials to allow for timely replacement of damaged or malfunctioning equipment.  The following is an example of the variety of materials needed but is not limited to:

| - Poles | - Control equipment |
| --- | --- |
| - Mast arms | - Filters |
| - Lamps | - Mounting hardware |
| - Lenses | - Paint |
| - Fixtures | - Conduits |
| - Cabinets | - Conductors |

DISPOSAL

All work to include the removal and disposal of damaged County owned materials that are beyond repair.

FACILITIES

The following are some of the facilities that may be necessary to provide the services mentioned above.

SHOP & YARD

A shop is needed to test & repair equipment and to store smaller equipment & materials.  A yard is needed to store larger materials.

SERVICE VEHICLES

A service vehicle is necessary to carry testing and replacement equipment to the site for routine maintenance.  A bucket truck may be necessary to provide maintenance for facilities on mast arms.  A crane or boom truck will be necessary to replace poles or mast arms.

TESTING EQUIPMENT

To include, all equipment necessary to test new and repaired circuits, and equipment to verify compliance and to troubleshoot all electrical circuits and equipment to determine problems except that the County will provide a conflict monitor tester.

NOTIFICATION AND AUTHORIZATION

All written correspondence will be between the manager of the maintenance provider and the Manager of Maintenance & Operations or his designee.  No work shall be performed without authorization as described as follows.

SCHEDULED MAINTENANCE

This work shall be done on the prescribed schedule as indicated herein, and beginning on the day established by the Manager of Maintenance & Operations.

ROUTINE MAINTENANCE

This work shall be done when requested and authorized by the Manager of Maintenance & Operations or his designee.

EMERGENCY MAINTENANCE

For any Group I locations, this work (up to a maximum of $500) shall be done when requested and authorized by persons on the County’s Emergency call-out list.  An up to date copy of this call-out list will be given to the maintenance provider.  Prior approval by the Manager of Maintenance & Operations or his designee will be necessary for any major changes, repair or replacements (work exceeding $500).  For any Group II locations this work shall be done when authorized by the Manager of Maintenance & Operations or his designee.  For invoicing and payment purposes the maintenance provider shall provide the name and telephone number of the person requesting the emergency repairs along with the invoice for the repairs.

IMPROVEMENT

Work shall be done when authorized by the Manager of Maintenance & Operations or his designee.

UNDERGROUND SERVICE ALERT

Work will be done when notified by USA or by the Manager of Maintenance & Operations or his designee.

TESTING & INSPECTION

Work shall be done when authorized by the Manager of Maintenance & Operations or his designee.

Guidelines for Scheduled Maintenance

General:  Scheduled maintenance is intended to ensure reliable mechanical and electrical operation of the field equipment.  The following guidelines should be used to ensure a comprehensive inspection.

Types:  Five (5) types of inspections/maintenance will be used to periodically service the field equipment.

| Type | Inspection/Maintenance | Frequency |
| --- | --- | --- |
|  | Operational Check/Solid State and 170 Controllers | 3 months |
|  | Conflict Monitor Unit Test | 6 months |
|  | Operational Check/Fixed Time Controllers | 6 months |
|  | Group Re-Lamping/Traffic Signals (non-LED only) | 12 months |
|  | Highway Lighting | 12 months |

Visual Inspection:  As much as practical should be done visually.  Avoid disturbing cables, connections and components if at all possible.  Check for connector and component seating by inserting or tightening only.

Guidelines:  All abnormal conditions should be repaired as a part of the inspection.  If this is not practical, it may be deferred.  All deferred work must be listed on the inspection work order.  The Electrician is responsible for following up and completing the deferred items in a timely manner.  If additional support or materials are needed, the Electrician will coordinate these with the Supervisor.

Documentation:  When completed, the routine will be documented on the appropriate work order form and in the cabinet maintenance record.

Type 1 – Operational Check/Solid State & 170

- Cabinet:

  - Replace filters (Upgrade if needed).

  - Lubricate locks & hinges as needed.

  - Check fan and thermostat operation.

  - Check for evidence of water leakage (caulk/seal as needed).

  - Check conduit sealant.

  - Check gaskets & seals (lubricate if needed).

  - Remove graffiti, tape residue, signs etc.

  - Spot paint/prime as needed.

  - Inspect wiring and terminations for burnt terminals and/or damaged insulation.

  - Test GFI receptacle prior to use.

  - Vacuum or Blow accumulated dirt/debris.

- Controller:

  - Observe indicators for proper operation.

  - Check phase extension per actuations.

  - Verify that cards or modules are properly seated.

  - Verify that connectors are secure.

  - Verify operation/timing per timing sheet.

- Conflict Monitor:

  - Verify CMU operation by shorting two conflicting field terminals together.

  - Reset the monitor.

  - Observe indicators for proper operation.

  - Inspect ribbon cable on Plus-Monitors for damage.

  - Verify that the program card is properly seated.

  - Verify that connectors are secure.

- Switch Packs:

  - Observe indicators for proper operation.

  - Verify that the switch is properly seated.

- Flashers:

  - Observe indicators for proper operation.

  - Verify that the switch is properly seated.

  - Check flash operation (cabinet & Police).

- Relays:

  - Check for burnt or overheated contacts.

  - Verify that the relays are properly seated.

- Clocks:

  - Check for correct time/DOW setting.

  - Manually verify output switch operation.

- Preemption:

  - Simulate actuation and verify proper operation.

- Coordination:

  - Observe that current plan is per TOD.

  - Check for correct time/DOW setting.

- Signal Heads:

  - Inspect alignment and visibility.

  - Check for broken lenses

  - Check for burned-out lamps.

  - Check for missing/damaged visors.

  - Check for missing/damaged back-plates.

- Poles & Mast arms:

  - Check for missing/damaged H/H covers.

  - Check anchor bolt hardware for tightness.

  - Check condition of grout.

  - Check plumb of pole.

  - Check for damage/dents etc.

  - If painted, spot paint/primer as needed.

  - Remove graffiti, tape residue, signs etc.

- Pedestrian Push Buttons:

  - Check all buttons for operation.

  - Check signs for legibility.

  - Verify Isolator input and signal operation.

- Detector Loops:

  - Inspect roadway along loop perimeter for exposed wire/conduit, potholes and/or missing sealant.

- Detector Amplifiers:

  - Check that vehicles are being detected.

  - Verify that appropriate call is registered on controller.

- Pull Boxes:

  - Check box and lid for proper fit and legend.

  - Check box and lid for breakage/cracking.

  - Check cables/wires for damaged insulation.

  - Remove accumulated dirt/water.

  - Treat for insects if needed.

  - Check condition of grout.

  - Check for missing or damaged delineator posts.

  - Check conduit sealant.

- Electrical Service:

  - Check lock for serviceability.

  - If pedestal; check meter window for clarity.

  - Remove graffiti, tape residue, signs etc.

  - Check conduit sealant.

  - If pole mounted; a) inspect conduit for damage, b) check ground connection for tightness.

Type 2 - Conflict Monitor Unit Test

- General:

  - Place the intersection in flash mode.

  - Remove and test the monitor using the MT-180 Tester using

  - Repair/Adjust as necessary to meet test parameters.  (Faults that do not adversely affect the safe operation of the signal are tolerable.  They must be documented with a full explanation of the circumstances.)

  - Reinstall the tested monitor & restore the signal to full operation.

  - Complete the necessary documentation.

  - Verify conflict operation by shorting two conflicting field terminals together.

  - Reset the Monitor.

  - Inspect the cables and connector for damage.

  - Verify that the program card is properly seated.

  - Verify that all connectors are secure.

Type 3 - Operational Check/Fixed Time

- Cabinet:

  - Lubricate locks and hinges as needed.

  - Check for evidence of water leakage (caulk/seal as needed).

  - Check conduit sealant.

  - Check gaskets & seals (lubricate as needed).

  - Remove graffiti, tape residue, signs etc.

  - Spot paint/prime as needed.

  - Inspect wiring and terminations for burnt terminals and/or damaged insulation.

  - Vacuum accumulated dirt/debris. No compressed air should be used to blow off dust.

- Controller:

  - Replace controller unit with a refurbished unit from stock.

  - Verify interval timing per timing sheet.

  - Verify that connector is secure.

- Flasher:

  - Verify that the flasher is properly seated.

  - Check flash operation.

- Relays:

  - Check for burnt or overheating contacts.

  - Verify that all relays are properly seated.

- Clocks:

  - Verify correct time/DOW setting.

  - Manually verify output switch operation

- Coordination:

  - Check sync pulse input.

  - Verify dial dwells with absence of sync pulse.

  - Verify re-sync when pulse is restored.

- Signal Heads:

  - Inspect alignment and visibility.

  - Check for broken lenses.

  - Check for burned out lamps.

  - Check for missing/damaged visors.

  - Check for missing/damaged back-plates.

- Poles & Mast-arms:

  - Check for missing/damaged H/H covers.

  - Check anchor bolt hardware for tightness.

  - Check condition of grout.

  - Check plumb of pole.

  - Check for damage/dents etc.

  - If painted, spot paint /primer as needed.

  - Remove graffiti, tape residue, signs etc.

- Pull Boxes:

  - Check box and lid for proper fit and legend.

  - Check box and lid for breaking /cracking

  - Remove any accumulated dirt/water.

  - Treat for insects if needed.

  - Check condition of grout.

  - Check for missing or damaged delineator posts.

  - Check conduit sealant.

- Electrical Service:

  - Check lock for serviceability.

  - If Pedestal, check meter window for clarity.

  - Remove graffiti, tape residue, signs etc.

  - If pole mounted; a) inspect conduit for damage, b) check ground connection for tightness.

Type 4 - Group Re-lamping

- General:

  - Replace lamps

  - Inspect alignment and visibility.

  - Check for broken lenses.

  - Check for missing/damaged visors.

  - Check for missing/damaged back-plates.

  - Check for evidence of water leakage (caulk/seal as needed).

  - Check gaskets & seals (lubricate as needed).

  - Remove graffiti, tape residue, signs etc.

  - Spot paint/prime as needed.

  - Inspect wiring and terminations for burnt terminals and/or damaged insulation.

Type 5 - Highway Lighting

- General:

  - Check for broken lenses.

  - Check for burned out lamps.

  - Check for evidence of water leakage (caulk/seal as needed).

  - Check gaskets & seals (lubricate as needed).

  - Inspect alignment and visibility.

  - Check for missing/damaged visors.

  - Remove graffiti, tape residue, signs etc.

  - Spot paint/prime as needed.

  - Inspect wiring and terminations for burnt terminals and/or damaged insulation.

- Poles & Mast-arms:

  - Check for missing/damaged H/H covers.

  - Check anchor bolt hardware for tightness.

  - Check condition of grout.

  - Check plumb of pole.

  - Check for damage/dents etc.

  - If painted, spot paint /primer as needed.

  - Remove graffiti, tape residue, signs etc.

- Pull Boxes:

  - Check box and lid for proper fit and legend.

  - Check box and lid for breaking /cracking

  - Remove any accumulated dirt/water.

  - Treat for insects if needed.

  - Check condition of grout.

  - Check for missing or damaged delineator posts.

  - Check conduit sealant.

- Electrical Service:

  - Check lock for serviceability.

  - If Pedestal, check meter window for clarity.

  - Remove graffiti, tape residue, signs etc.

  - If pole mounted; a) inspect conduit for damage, b) check ground connection for tightness.

Scheduled Maintenance Checklist 444-4919 Scheduled Maint Checklist.pdf

QUOTATION SCHEDULE

| Company Name |  |
| --- | --- |

| - SCHEDULED MAINTENANCE |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| All labor, material, equipment, permits, fees, taxes, etc. to perform scheduled maintenance at the locations listed below. Vendors shall bid on providing (1) scheduled maintenance services at the specified locations. Refer to Guidelines for Scheduled Maintenance for the breakdown of each maintenance type. The cost for non-scheduled services will be based on the rates, fees and changes offered by the bidder. |  |  |  |  |  |  |  |  |  |
| LOCATION | TYPE OF FACILITY |  |  | SCHEDULED MAINT. TYPE |  | QTY |  | UNIT OF MEASURE | TOTAL |
| - Central Ave. & Elm Ave. | Safety Lighting |  |  | Type 5 |  | 1 |  | Lot | $ |
| - American Ave. & Elm Ave. | Safety Lighting |  |  | Type 5 |  | 1 |  | Lot | $ |
| - 24511 W. Jayne Ave., Coalinga CA | Traffic Signal |  |  | Type 1 & 2 |  | 1 |  | Lot | $ |
| - HOURLY RATE BY JOB CLASS |  |  |  |  |  |  |  |  |  |
| - JOB |  |  | HOURLY RATES |  |  |  |  |  |  |
| Classification |  |  | Regular Time |  |  |  | Over-Time |  | Premium Over-Time |
|  |  |  | $ |  |  |  | $ |  | $ |
|  |  |  | $ |  |  |  | $ |  | $ |
|  |  |  | $ |  |  |  | $ |  | $ |
|  |  |  | $ |  |  |  | $ |  | $ |
| - Define each Job Classification |  |  |  |  |  |  |  |  |  |
| - Define |  |  |  |  |  |  |  |  |  |
| - Regular Time |  |  |  |  |  |  |  |  |  |
| - Overtime |  |  |  |  |  |  |  |  |  |
| - Premium Overtime |  |  |  |  |  |  |  |  |  |
| - State when chargeable time starts and stops |  |  |  |  |  |  |  |  |  |
| - State what is included in hourly rate (i.e. staff and fully equipped vehicle with all necessary equipment). |  |  |  |  |  |  |  |  |  |
| - How many chargeable staff will be sent on a typical call for service, (include job classification(s)). |  |  |  |  |  |  |  |  |  |
| - PARTS |  |  |  |  |  |  |  |  |  |
| Cost for parts shall be actual cost plus a percentage markup. Vendor must provide a copy of their supplier invoices showing parts used and prices |  |  |  |  |  |  |  |  |  |
| State markup percentage: |  |  |  |  | % |  |  |  |  |
| - MILEAGE |  |  |  |  |  |  |  |  |  |
| State mileage or trip charges, if any. Indicate address of trip origin and destination. State if applicable to and from job. |  |  |  |  |  |  |  |  |  |
| - OTHER CHARGES |  |  |  |  |  |  |  |  |  |
| * State all other charges or fees that will apply. State the amount of the charge or the pricing methodology that will be used to determine the amount. |  |  |  |  |  |  |  |  |  |

NOTE: * Charges, fees, reimbursements etc. not identified under the Quotation Schedule section will not be allowed.

CHECK LIST

This Checklist is provided to assist the vendors in the preparation of their bid response.  Included in this list, are important requirements and is the responsibility of the bidder to submit with the bid package in order to make the bid compliant.  Because this checklist is just a guideline, the bidder must read and comply with the bid in its entirety.

Check off each of the following:

|  |  | The Request for Quotation (RFQ) has been signed and completed. |
| --- | --- | --- |
|  |  | One (1) original and two (2) copies of the RFQ have been provided. |
|  |  | Addenda, if any, have been completed, signed and included in the bid package. |
|  |  | The completed Reference List as provided with this RFQ. |
|  |  | The Quotation Schedule as provided with this RFQ, has been completed, priced reviewed for accuracy and any corrections initialed in ink. |
|  |  | Indicate all of bidder exceptions to the County’s requirements, conditions and specifications as stated within this RFQ. |
|  |  | Bidder to Complete page as provided with this RFQ. |
|  |  | Lastly, on the LOWER LEFT HAND CORNER of the sealed envelope, box, etc. transmitting your bid include the following information: |

| County of Fresno RFQ No. |  |  | 444-4919 |
| --- | --- | --- | --- |
| Closing Date: | April 8, 2011 |  |  |
| Closing Time: | 2:00 P.M. |  |  |
| Commodity or Service: |  |  |  |

This Checklist does not need to be returned with your bid.