| COUNTY OF FRESNO |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ADDENDUM NUMBER: One (1) |  |  |  |  |  |  |  |  |  |
|  |  |  | RFQ NUMBER: 578-4085 |  |  |  |  |  |  |
| Pressurized Water Tank (10,000 gallon) – Remove & Replace |  |  |  |  |  |  |  |  |  |
| April 14, 2005 |  |  |  |  |  |  |  |  |  |
|  |  |  |  | PURCHASING USE |  |  |  |  |  |
|  |  | ORG/Requisition: 9150/ 1505000001 |  |  | Pdh | /tmp/in/input.doc |  |  |  |
|  | IMPORTANT: SUBMIT QUOTATION IN SEALED PACKAGE WITH QUOTATION NUMBER, CLOSING DATE AND BUYER’S NAME MARKED CLEARLY ON THE OUTSIDE TO: |  |  |  |  |  |  |  |  |
|  | COUNTY OF FRESNO, Purchasing 4525 EAST HAMILTON AVENUE FRESNO, CA 93702-4599 |  |  |  |  |  |  |  |  |
|  | Closing date of bid will be at 2:00 p.m., on April 29, 2005. QUOTES WILL BE CONSIDERED LATE WHEN THE OFFICIAL PURCHASING TIME CLOCK READS 2:00 P.M. |  |  |  |  |  |  |  |  |
|  | Quotes will be opened and publicly read at that time. All quotation information will be available for review after contract award. |  |  |  |  |  |  |  |  |
|  | Clarification of specifications are to be directed to: KEN VOZZA , phone (559) 456-7110, FAX (559) 456-7831. |  |  |  |  |  |  |  |  |
|  | NOTE THE FOLLOWING AND Attached ADDITIONS, DELETIONS AND/or CHANGES TO THE REQUIREMENTS OF REQUEST FOR QUOTATION NUMBER: 578-4085 AND INCLUDE THEM IN YOUR RESPONSE. PLEASE SIGN AND RETURN THIS ADDENDUM WITH YOUR QUOTATION. - The closing date for RFQ No. 578-4085 has been changed to April 29, 2005 at 2:00 P.M. |  |  |  |  |  |  |  |  |

| ACKNOWLEDGMENT OF ADDENDUM NUMBER One (1) TO RFQ 578-4085: |  |  |
| --- | --- | --- |
| COMPANY NAME: |  |  |
| (PRINT) |  |  |
| SIGNATURE: |  |  |
| NAME & TITLE: |  |  |
| (PRINT) |  |  |

RFQ No. 578-4085 Addendum No. 1

- Tank to be 10,000-gallon and AWWA certified at 100 psi.

- Use analog type turbo flow meter to include actual read and totalizer.

- Contractor must accommodate ports for I.E. chlorine injection, I.E. sampling and testing.

- Piping from check valve to tank may be reduced to 6”.

- Gate/butterfly valves may be 6” size.

- Contractor must install discharge gate valve to isolate tank during construction.

- Tank pad must be certified to meet all design and engineering requirements for the tank load.

- Existing pad may be used for sand separator.

- Paint all components from well to tank.  A green color.  Use approved AWWA coatings.

- Demolition of existing pit.

- Replacing existing control panel to accommodate all current functions.

- Site must have 3” deep of ¾“ gravel.

- Contractor must install temporary Hydro vessel during site work to adequately maintain water pressure and system operations to the existing forty-seven (47) residential properties. The temporary Hydro vessel will be inspected and approved by the Special Districts’ licensed Water Operator and/or Supervising Water/Wastewater Specialist prior to use.

- Contractor must plumb well to operate temporarily during construction.

- Reference “TIME OF COMPLETION”, page numbers nine and fifteen.

The time of completion has been changed to thirty (30) calendar days. The bidder is instructed to change all reference to the original fourteen (14) calendar day completion period to thirty (30) calendar days.