NOTICE

REQUEST FOR Proposal Number

Chemicals & Maintenance - Cooling Tower Water

NOW AVAILABLE

The County of Fresno has issued Request for Proposal Number , which solicits proposals for Chemicals & Maintenance - Cooling Tower Water.  This bid closes on May 16, 2013 at 2:00 P.M.

A pre-bid Vendor Conference will be held on May 3, 2013 at 10:00 A.M. at:

County of Fresno Purchasing 
4525 E. Hamilton Avenue 2nd Floor
Fresno, CA 93702

A copy of the RFP document is available at Purchasing or may be downloaded from the Fresno County Web site http://www2.co.fresno.ca.us/0440/Bidshome2.asp.

Follow all instructions when downloading to ensure that your company is added to the official list of potential bidders.  Only vendors on that list will be advised of future notices pertaining to the RFP, including addendums.

Please contact Debbie Scharnick, Buyer I, of the Purchasing Staff at (559) 600-7111 or email CountyPurchasing@co.fresno.ca.us with any questions.

DLS:fef

/tmp/in/input.doc

OVERVIEW

The County of Fresno on behalf of the Department of Internal Services – Facilities Services is requesting proposals from qualified vendors to provide all chemicals, reagents and related supplies for the establishment, testing and maintenance of the correct chemical balances as specified below for cooling tower water, systems throughout the County of Fresno; locations detailed herein and on as needed basis. All chemicals must be available within seven (7) days’ notice. Contractor shall be responsible for removal and disposal of all empty drums and containers as requested and provided at no additional charge. Pricing quoted for chemicals shall be all-inclusive for the products and services as required herein.

The County of Fresno is currently operating two distinctly different tower water treatment programs, each with a different goal in mind.

KEY DATES

| RFP Issue Date: | April 17, 2013 |
| --- | --- |
| Site Inspections: Vendor Conference: | April 30, 2013 at 9:00 A.M. Contact Debbie Scharnick at (559) 600-7111 for details. May 3, 2013 10:00 A.M. |
| Location: | County of Fresno Purchasing 4525 E Hamilton Ave, 2nd Floor Fresno, CA 93702 |
| Submit Written Questions via Email: | May 8, 2013 not later than 8:00 A.M. |
|  | CountyPurchasing@co.fresno.ca.us |
| RFP Closing Date: | May 16, 2013 at 2:00 P.M. |
| Deliver to: | County of Fresno Purchasing |
|  | 4525 E. Hamilton Avenue, 2nd Floor |
|  | Fresno, CA 93702 |