| COUNTY OF FRESNO |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ADDENDUM NUMBER: One (1) |  |  |  |  |  |  |  |  |  |
|  |  |  | RFQ NUMBER: |  |  |  |  |  |  |
| July 16, 2010 |  |  |  |  |  |  |  |  |  |
|  |  |  |  | PURCHASING USE |  |  |  |  |  |
|  |  |  |  |  | saw | /tmp/in/input.doc |  |  |  |
|  | IMPORTANT: SUBMIT QUOTATION IN SEALED PACKAGE WITH QUOTATION NUMBER, CLOSING DATE AND BUYER’S NAME MARKED CLEARLY ON THE OUTSIDE TO: |  |  |  |  |  |  |  |  |
|  | COUNTY OF FRESNO, Purchasing 4525 EAST HAMILTON AVENUE, 2ND FLOOR FRESNO, CA 93702-4599 |  |  |  |  |  |  |  |  |
|  | Closing date of bid will be at 2:00 p.m., on July 29, 2010. QUOTES WILL BE CONSIDERED LATE WHEN THE OFFICIAL PURCHASING TIME CLOCK READS 2:00 P.M. |  |  |  |  |  |  |  |  |
|  | Quotes will be opened and publicly read at that time. All quotation information will be available for review after contract award. |  |  |  |  |  |  |  |  |
|  | Clarifications of specifications are to be directed to: Jeannine Geare, phone (559) 456-7110, fax (559) 456-7831, e-mail: CountyPurchasing@co.fresno.ca.us. |  |  |  |  |  |  |  |  |
|  | NOTE THE FOLLOWING AND attached ADDITIONS, DELETIONS AND/or CHANGES TO THE REQUIREMENTS OF REQUEST FOR QUOTATION NUMBER: , AND INCLUDE THEM IN YOUR RESPONSE. PLEASE SIGN AND RETURN THIS ADDENDUM WITH YOUR QUOTATION. Floor Plan of redesigned interior – Attachment “C”: 910-4848 Attachment C Gillis Floor Plan.pdf |  |  |  |  |  |  |  |  |

| - ACKNOWLEDGMENT OF ADDENDUM NUMBER One (1) TO RFQ |  |  |
| --- | --- | --- |
| COMPANY NAME: |  |  |
| (PRINT) |  |  |
| SIGNATURE: |  |  |
| NAME & TITLE: |  |  |
| (PRINT) |  |  |

- The County intends to install new C & A carpet over existing carpeting, which in turn, is installed over vinyl tile that is firmly adhered to a concrete slab.  Will the carpet manufacturer warranty the new carpet installation given this condition?

Is there a particular backing that is specified given this installation condition?

  - The County Architect indicates the vinyl tile is firmly adhered to the concrete slab. The Collins and Ackman representative states that as long as the existing carpet is adhered to the tile, they will warrant their product when installed over existing carpet.

The backing should be Powerbond Cushion w/ Double RS.  "RS" refers to the adhesive that C&A apply at the mill.  They double it up when doing carpet over carpet installations.

- On Attachment B, Gillis Re-Carpeting Floor Plan, item E, 4” rubber base is specified.  However, the building code requires 6” high rubber base be installed in public bathrooms.  Please clarify what you are requesting.

      - Reference RFQ No. 910-4948, Attachment “B”, Item “L”…Include 6” high coved base in restrooms.  Rubber base shall be as follows:

| New Rubber Base |  |  |  |
| --- | --- | --- | --- |
| Burke Mercer 6” Top Set Cove Base |  |  |  |
| Style: | Commercial |  |  |
| Color: | 317 Greige |  |  |

- Does the VCT floor tile in the bathrooms have wax or polish on the surface?

      - Yes, the floors do have a wax finish on them; County Library Maintenance staff will strip wax or polish from the bathroom floors prior to new sheet vinyl being installed.

- Will the carpet contractor be responsible for removing and re-seating the toilets?

      - Yes, the carpet contractor will be responsible for removing and re-seating the toilets including the installation of new wax rings in both bathrooms.

- There may be areas in the existing carpet where there are holes or “cut-arounds” (e.g., carpet was not installed under a partition wall).  What does the County want done, should the carpet contactor encounter such a condition?

      - The carpet contractor will fill the holes or “cut-arounds” with carpet remnant.  The carpet contractor shall take care to assure the finish carpet level is not noticeably affected by filling of holes.

- At various locations on the floor, there are “Walker ducts.”  Will the County be utilizing the “Walker ducts” or will the carpet contractor be laying carpet over the “Walker duct” covers?

      - The “Walker duct” will not be used by the County.  Lay the carpet over the “Walker duct” covers.

- Where current carpet is repaired by sealant, is it silicone?

      - Carpet is repaired in places with silicone caulking.

Additional information

Reference RFQ No. 910-4848, Attachment “B”, Item E, New Rubber Base, Type 1, Color: Blue Bonnet is identified as the rubber base selection for this project.  Delete this information in its entirety and replace with the following:

| New Rubber Base – Type I |  |  |  |
| --- | --- | --- | --- |
| Burke Mercer 4” Top Set Cove Base |  |  |  |
| Style: | Commercial |  |  |
| Color: | 317 Greige |  |  |

The 4” rubber base shall be installed on all walls indicated on Attachment “C” with the following exceptions:

- Rubber base shall not be installed on walls where parameter shelving will be installed.  (See Attachment “C”)

- Rubber base shall not be installed along the north wall or “store front” of the building. (See Attachment “C”)

- As indicated above, 6” high rubber base will be installed in the bathroom.

There will be no County representative on site during installation.  Bidder is to use Attachment “B” and Bidder’s own measurements for product placement.