| COUNTY OF FRESNO |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Request for QUOTATION |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | NUMBER: 910-4956 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| June 9, 2011 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ORG/Requisition: 7205, 55122008/ 7201100023, 5511100008 |  |  |  |  |  |  | PURCHASING USE |  |  |  | /tmp/in/input.doc |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | ssj |  |  |  |  |  |  |  |  |  |  |  |
| IMPORTANT: SUBMIT QUOTATION IN SEALED PACKAGE WITH QUOTATION NUMBER, CLOSING DATE AND BUYER’S NAME MARKED CLEARLY ON THE OUTSIDE TO: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| COUNTY OF FRESNO, Purchasing 4525 EAST HAMILTON AVENUE, 2nd Floor FRESNO, CA 93702-4599 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Closing date of bid will be at 2:00 p.m., on July 13, 2011. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| QUOTATIONS WILL BE CONSIDERED LATE WHEN THE OFFICIAL PURCHASING TIME CLOCK READS 2:00 P.M. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Quotations will be opened and publicly read at that time. All quotation information will be available for review after contract award. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Clarification of specifications is to be directed to: Brian Tamblin, e-mail CountyPurchasing@co.fresno.ca.us, phone (559) 600-7110, FAX (559) 456-7831. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| GENERAL CONDITIONS: See “County Of Fresno Purchasing Standard Instructions And Conditions For Request For Proposals (RFP’S) and Requests for Quotations (RFQ’S)” attached. Check County of Fresno Purchasing’s Open Solicitations website at http://www2.co.fresno.ca.us/0440/Bidshome2.asp for RFQ/RFP documents and changes. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| BIDDER TO COMPLETE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| UNDERSIGNED AGREES TO FURNISH THE COMMODITY OR SERVICE STIPULATED IN THE ATTACHED QUOTATION SCHEDULE AT THE PRICES AND TERMS STATED, SUBJECT TO THE “COUNTY OF FRESNO PURCHASING STANDARD INSTRUCTIONS AND CONDITIONS FOR REQUEST FOR QUOTATIONS (RFP’S) AND REQUESTS FOR QUOTATIONS (RFQ’S)”ATTACHED. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Except as noted on individual items, the following will apply to all items in the Quotation Schedule. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Complete delivery will be made within |  |  |  |  |  |  |  | calendar days after receipt of Order. |  |  |  |  |  |  |  |  |  |  |
| - A cash discount of |  |  |  |  | % |  |  |  |  | days will apply. |  |  |  |  |  |  |  |  |
| Company |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Address |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| City |  |  |  |  |  |  |  |  |  |  |  |  | State |  | Zip Code |  |  |  |
| ( ) |  |  |  | ( ) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Telephone Number |  |  |  | Facsimile Number |  |  |  |  |  |  |  |  | E-mail Address |  |  |  |  |  |
| Signed By |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Print Name |  |  |  |  |  |  |  |  | Title |  |  |  |  |  |  |  |  |  |

COUNTY OF FRESNO PURCHASING

STANDARD INSTRUCTIONS AND CONDITIONS FOR
REQUESTS FOR PROPOSALS (RFP'S) AND REQUESTS FOR QUOTATIONS (RFQ'S)

Note: the reference to “bids” in the following paragraphs applies to RFP's and RFQ's

## GENERAL CONDITIONS

By submitting a bid the bidder agrees to the following conditions.  These conditions will apply to all subsequent purchases based on this bid.

- BID PREPARATION:

  - All prices and notations must be typed or written in ink.  No erasures permitted.  Errors may be crossed out, initialed and corrections printed in ink by person signing bid.

  - Brand Names: Brand names and numbers when given are for reference. Equal items will be considered, provided the offer clearly describes the article and how it differs from that specified.  In the absence of such information it shall be understood the offering is exactly as specified.

  - State brand or make of each item.  If bidding on other than specified, state make, model and brand being bid and attach supporting literature/specifications to the bid.

  - Bid on each item separately.  Prices should be stated in units specified herein.  All applicable charges must be quoted; charges on invoice not quoted herein will be disallowed.

  - Time of delivery is a part of the consideration and must be stated in definite terms and must be adhered to.  F.O.B. Point shall be destination or freight charges must be stated.

  - All bids must be dated and signed with the firm’s name and by an authorized officer or employee.

  - Unless otherwise noted, prices shall be firm for one hundred eighty (180) days after closing date of bid.

- SUBMITTING BIDS:

  - Each bid must be submitted on forms provided in a sealed envelope/package with bid number and closing date and time on the outside of the envelope/package.

  - Interpretation: Should any discrepancies or omissions be found in the bid specifications or doubt as to their meaning, the bidder shall notify the Buyer in writing at once.  The County shall not be held responsible for verbal interpretations.  Questions regarding the bid must be received by Purchasing at least five (5) working days before bid opening.  All addenda issued shall be in writing, duly issued by Purchasing and incorporated into the contract.

  - ISSUING AGENT/AUTHORIZED CONTACT: This RFP/RFQ has been issued by County of Fresno, Purchasing. Purchasing shall be the vendor’s sole point of contact with regard to the RFP/RFQ, its content, and all issues concerning it.

All communication regarding this RFP/RFQ shall be directed to an authorized representative of County Purchasing. The specific buyer managing this RFP/RFQ is identified on the cover page, along with his or her telephone number, and he or she should be the primary point of contact for discussions or information pertaining to the RFP/RFQ. Contact with any other County representative, including elected officials, for the purpose of discussing this RFP/RFQ, its content, or any other issue concerning it, is prohibited unless authorized by Purchasing. Violation of this clause, by the vendor having unauthorized contact (verbally or in writing) with such other County representatives, may constitute grounds for rejection by Purchasing of the vendor’s quotation.

The above stated restriction on vendor contact with County representatives shall apply until the County has awarded a purchase order or contract to a vendor or vendors, except as follows. First, in the event that a vendor initiates a formal protest against the RFP/RFQ, such vendor may contact the appropriate individual, or individuals who are managing that protest as outlined in the County’s established protest procedures. All such contact must be in accordance with the sequence set forth under the protest procedures. Second, in the event a public hearing is scheduled before the Board of Supervisors to hear testimony prior to its approval of a purchase order or contract, any vendor may address the Board.

  - Bids received after the closing time will NOT be considered.

  - Bidders are to bid what is specified or requested first. If unable to or unwilling to, bidder may bid alternative or option, indicating all advantages, disadvantages and their associated cost.

  - Public Contract Code Section 7028.15

Where the State of California requires a Contractor’s license, it is a misdemeanor for any person to submit a bid unless specifically exempted.

- FAILURE TO BID:

  - If not bidding, return bid sheet and state reason for no bid or your name may be removed from mailing list.

- TAXES, CHARGES AND EXTRAS:

  - County of Fresno is subject to California sales and/or use tax (8.975%). Please indicate as a separate line item if applicable.

  - DO NOT include Federal Excise Tax.  County is exempt under Registration No. 94-73-03401-K.

  - County is exempt from Federal Transportation Tax.  Exemption certificate is not required where shipping papers show consignee as County of Fresno.

  - Charges for transportation, containers, packing, etc. will not be paid unless specified in bid.

- W-9 – REQUEST FOR TAXPAYER IDENTIFICATION NUMBER AND CERTIFICATION:

Upon award of bid, the vendor shall submit to County Purchasing, a completed W-9 - Request for Taxpayer Identification Number and Certification if not already a current vendor with The County of Fresno. This form is available from the IRS to complete on line at http://www.irs.gov/pub/irs-pdf/fw9.pdf.

- AWARDS:

  - Subject to the local preference provisions referenced in Paragraph 7 below and more thoroughly set forth in the General Requirements section of this RFP/RFQ, award(s) will be made to the most responsive responsible bidder.  The evaluation will include such things as life-cycle cost, availability, delivery costs and whose product and/or service is deemed to be in the best interest of the County. The County shall be the sole judge in making such determination.

  - Unless bidder gives notice of all-or-none award in bid, County may accept any item, group of items or on the basis of total bid.

  - The County reserves the right to reject any and all bids and to waive informalities or irregularities in bids.

  - Award Notices are tentative: Acceptance of an offer made in response to this RFP/RFQ shall occur only upon execution of an agreement by both parties or issuance of a valid written Purchase Order by Fresno County Purchasing.

  - After award, all bids shall be open to public inspection. The County assumes no responsibility for the confidentiality of information offered in a bid.

- LOCAL VENDORS:

  - Local Vendor Preference (applicable to RFQ Process only)

The following provisions are applicable only to the County’s acquisition of materials, equipment or supplies through the RFQ process when the funding source does not require an exemption to the Local Vendor Preference.

THE PROVISIONS OF THIS PARAGRAPH ARE APPLICABLE, NOTWITHSTANDING ANY OTHER PROVISIONS OF THIS RFQ TO THE CONTRARY

If the apparent low bidder is not a local vendor, any local vendor who submitted a bid which was within five percent (5%) of the lowest responsive  bid as determined by the purchasing agent shall have the option of submitting a new bid within forty-eight (48) hours (not including weekends and holidays) of County’s delivery of notification. Such new bids must be in an amount less than or equal to the lowest responsive bid as determined by the purchasing agent.  If the purchasing agent receives any new bids from local vendors who have the option of submitting new bids within said forty-eight (48) hour period, it shall award the contract to the local vendor submitting the lowest responsible bid. If no new bids are received, the contract shall be awarded to the original low bidder as announced by the purchasing agent.

  - Local Vendor Defined

“Local Vendor” shall mean any business which:

- Has its headquarters, distribution point or locally-owned franchise located in or having a street address within the County for at least six (6) months immediately prior to the issuance of the request for competitive bids by the purchasing agent; and

- Holds any required business license by a jurisdiction located in Fresno County; and

- Employs at least one (1) full-time or two (2) part-time employees whose primary residence is located within Fresno County, or if the business has no employees, shall be at least fifty percent (50%) owned by one or more persons whose primary residence(s) is located within Fresno County.

- TIE BIDS:

All other factors being equal, the contract shall be awarded to the Fresno County vendor or, if neither or both are Fresno County vendors, it may be awarded by the flip of a coin in the presence of witnesses or the entire bid may be rejected and re-bid. If the General Requirements of this RFP/RFQ state that they are applicable, the provisions of the Fresno County Local Vendor Preference shall take priority over this paragraph.

- PATENT INDEMNITY:

The vendor shall hold the County, its officers, agents and employees, harmless from liability of any nature or kind, including costs and expenses, for infringement or use of any copyrighted or uncopyrighted composition, secret process, patented or unpatented invention, article or appliance furnished or used in connection with this bid.

- SAMPLES:

Samples, when required, must be furnished and delivered free and, if not destroyed by tests, will upon written request (within thirty (30) days of bid closing date) be returned at the bidder's expense. In the absence of such notification, County shall have the right to dispose of the samples in whatever manner it deems appropriate.

- RIGHTS AND REMEDIES OF COUNTY FOR DEFAULT:

  - In case of default by vendor, the County may procure the articles or service from another source and may recover the cost difference and related expenses occasioned thereby from any unpaid balance due the vendor or by proceeding against performance bond of the vendor, if any, or by suit against the vendor. The prices paid by the County shall be considered the prevailing market price at the time such purchase is made.

  - Articles or services, which upon delivery inspection do not meet specifications, will be rejected and the vendor will be considered in default. Vendor shall reimburse County for expenses related to delivery of non-specified goods or services.

  - Regardless of F.O.B. point, vendor agrees to bear all risks of loss, injury or destruction to goods and materials ordered herein which occur prior to delivery and such loss, injury or destruction shall not release vendor from any obligation hereunder.

- DISCOUNTS:

Terms of less than fifteen (15) days for cash payment will be considered as net in evaluating this bid. A discount for payment within fifteen (15) days or more will be considered in determining the award of bid. Discount period will commence either the later of delivery or receipt of invoice by the County. Standard terms are Net forty-five (45) days.

- SPECIAL CONDITIONS IN BID SCHEDULE SUPERSEDE GENERAL CONDITIONS:

The “General Conditions” provisions of this RFP/RFQ shall be superseded if in conflict with any other section of this bid, to the extent of any such conflict.

- SPECIAL REQUIREMENT:

With the invoice or within twenty-five (25) days of delivery, the seller must provide to the County a Material Safety Data Sheet for each product, which contains any substance on “The List of 800 Hazardous Substances”, published by the State Director of Industrial Relations. (See Hazardous Substances Information and Training Act. California State Labor Code Sections 6360 through 6399.7.)

- RECYCLED PRODUCTS/MATERIALS:

Vendors are encouraged to provide and quote (with documentation) recycled or recyclable products/materials which meet stated specifications.

- YEAR COMPLIANCE WARRANTY:

Vendor warrants that any product furnished pursuant to this Agreement/order shall support a four-digit year format and be able to accurately process date and time data from, into and between the twentieth and twenty-first centuries, as well as leap year calculations. "Product" shall include, without limitation, any piece or component of equipment, hardware, firmware, middleware, custom or commercial software, or internal components or subroutines therein. This warranty shall survive termination or expiration of this Agreement.

In the event of any decrease in product functionality or accuracy related to time and/or date data related codes and/or internal subroutines that impede the product from operating correctly using dates beyond December 31, 1999, vendor shall restore or repair the product to the same level of functionality as warranted herein, so as to minimize interruption to County's ongoing business process, time being of the essence. In the event that such warranty compliance requires the acquisition of additional programs, the expense for any such associated or additional acquisitions, which may be required, including, without limitation, data conversion tools, shall be borne exclusively by vendor. Nothing in this warranty shall be construed to limit any rights or remedies the County may otherwise have under this Agreement with respect to defects other than year performance.

- PARTICIPATION:

Bidder may agree to extend the terms of the resulting contract to other political subdivision, municipalities and tax-supported agencies.

Such participating Governmental bodies shall make purchases in their own name, make payment directly to bidder, and be liable directly to the bidder, holding the County of Fresno harmless.

- CONFIDENTIALITY:

All services performed by vendor shall be in strict conformance with all applicable Federal, State of California and/or local laws and regulations relating to confidentiality, including but not limited to, California Civil Code, California Welfare and Institutions Code, Health and Safety Code, California Code of Regulations, Code of Federal Regulations.

Vendor shall submit to County’s monitoring of said compliance.

Vendor may be a business associate of County, as that term is defined in the “Privacy Rule” enacted by the Health Insurance Portability and Accountability Act of 1996 (HIPAA). As a HIPAA Business Associate, vendor may use or disclose protected health information (“PHI”) to perform functions, activities or services for or on behalf of County as specified by the County, provided that such use or disclosure shall not violate HIPAA and its implementing regulations. The uses and disclosures if PHI may not be more expansive than those applicable to County, as the “Covered Entity” under HIPAA’s Privacy Rule, except as authorized for management, administrative or legal responsibilities of the Business Associate.

Vendor shall not use or further disclose PHI other than as permitted or required by the County, or as required by law without written notice to the County.

Vendor shall ensure that any agent, including any subcontractor, to which vendor provides PHI received from, or created or received by the vendor on behalf of County, shall comply with the same restrictions and conditions with respect to such information.

- APPEALS:

Appeals must be submitted in writing within seven (7) working days after notification of proposed recommendations for award. A “Notice of Award” is not an indication of County’s acceptance of an offer made in response to this RFP/RFQ. Appeals should be submitted to County of Fresno Purchasing, 4525 E. Hamilton Avenue, Fresno, California 93702-4599. Appeals should address only areas regarding RFP contradictions, procurement errors, quotation rating discrepancies, legality of procurement context, conflict of interest, and inappropriate or unfair competitive procurement grievance regarding the RFP/RFQ process.

Purchasing will provide a written response to the complainant within seven (7) working days unless the complainant is notified more time is required.

If the protesting bidder is not satisfied with the decision of Purchasing, he/she shall have the right to appeal to the Purchasing Agent/CAO within seven (7) business days after Purchasing’s notification; except if, notified to appeal directly to the Board of Supervisors at the scheduled date and time.

If the protesting bidder is not satisfied with Purchasing Agent/CAO’s decision, the final appeal is with the Board of Supervisors.

- OBLIGATIONS OF CONTRACTOR:

  - CONTRACTOR shall perform as required by the ensuing contract. CONTRACTOR also warrants on behalf of itself and all subcontractors engaged for the performance of the ensuing contract that only persons authorized to work in the United States pursuant to the Immigration Reform and Control Act of 1986 and other applicable laws shall be employed in the performance of the work hereunder.

  - CONTRACTOR shall obey all Federal, State, local and special district laws, ordinances and regulations.

- AUDITS & RETENTION:

The Contractor shall maintain in good and legible condition all books, documents, papers, data files and other records related to its performance under this contract. Such records shall be complete and available to Fresno County, the State of California, the federal government or their duly authorized representatives for the purpose of audit, examination, or copying during the term of the contract and for a period of at least three (3) years following the County's final payment under the contract or until conclusion of any pending matter (e.g., litigation or audit), whichever is later. Such records must be retained in the manner described above until all pending matters are closed.

- DISCLOSURE – CRIMINAL HISTORY & CIVIL ACTIONS:

Applies to Request for Proposal (RFP); does not apply to Request for Quotation (RFQ) unless specifically stated elsewhere in the RFQ document.

In their proposal, the bidder is required to disclose if any of the following conditions apply to them, their owners, officers, corporate managers and partners (hereinafter collectively referred to as “Bidder”):

- Within the three-year period preceding the proposal, they have been convicted of, or had a civil judgment rendered against them for:

  - fraud or a criminal offense in connection with obtaining, attempting to obtain, or performing a public (federal, state, or local) transaction or contract under a public transaction;

  - violation of a federal or state antitrust statute;

  - embezzlement, theft, forgery, bribery, falsification, or destruction of records; or

  - false statements or receipt of stolen property

Within a three-year period preceding their proposal, they have had a public transaction (federal, state, or local) terminated for cause or default.

- DATA SECURITY:

Individuals and/or agencies that enter into a contractual relationship with the COUNTY for the purpose of providing services must employ adequate controls and data security measures, both internally and externally to ensure and protect the confidential information and/or data provided to contractor by the COUNTY, preventing the potential loss, misappropriation or inadvertent access, viewing, use or disclosure of COUNTY data including sensitive or personal client information; abuse of COUNTY resources; and/or disruption to COUNTY operations.

Individuals and/or agencies may not connect to or use COUNTY networks/systems via personally owned mobile, wireless or handheld devices unless authorized by COUNTY for telecommuting purposes and provide a secure connection; up to date virus protection and mobile devices must have the remote wipe feature enabled.  Computers or computer peripherals including mobile storage devices may not be used (COUNTY or Contractor device) or brought in for use into the COUNTY’s system(s) without prior authorization from COUNTY’s Chief Information Officer and/or designee(s).

No storage of COUNTY’s private, confidential or sensitive data on any hard-disk drive, portable storage device or remote storage installation unless encrypted according to advance encryption standards (AES of 128 bit or higher).

The COUNTY will immediately be notified of any violations, breaches or potential breaches of security related to COUNTY’s confidential information, data and/or data processing equipment which stores or processes COUNTY data, internally or externally.

COUNTY shall provide oversight to Contractor’s response to all incidents arising from a possible breach of security related to COUNTY’s confidential client information.  Contractor will be responsible to issue any notification to affected individuals as required by law or as deemed necessary by COUNTY in its sole discretion.  Contractor will be responsible for all costs incurred as a result of providing the required notification.

- PURCHASING LOCATION & HOURS:

Fresno County Purchasing is located at 4525 E. Hamilton Avenue (second floor), Fresno, CA 93702.  Non-holiday hours of operation are Monday through Friday, 8:00 A.M. to 12:00 Noon and 1:00 P.M. to 5:00 P.M. PST; Purchasing is closed daily from 12:00 Noon to 1:00 P.M.  The following holiday office closure schedule is observed:

| January 1* |  | New Year's Day |
| --- | --- | --- |
| Third Monday in January |  | Martin Luther King, Jr.’s Birthday |
| Third Monday in February |  | Washington - Lincoln Day |
| March 31* |  | Cesar Chavez’ Birthday |
| Last Monday in May |  | Memorial Day |
| July 4* |  | Independence Day |
| First Monday in September |  | Labor Day |
| November 11* |  | Veteran's Day |
| Fourth Thursday in November |  | Thanksgiving Day |
| Friday following Thanksgiving |  |  |
| December 25* |  | Christmas |
| * When this date falls on a Saturday, the holiday is observed the preceding Friday. If the date falls on a Sunday, the holiday is observed the following Monday. |  |  |

BIDDING INSTRUCTIONS
CONTRACT SERVICE

The County of Fresno is soliciting bids to establish an agreement under which the successful bidder will provide testing for the presence of lead based paint, mold and asbestos containing materials in the residential structures included under the County’s Affordable Housing Program (AHP).  Service to include various reports and specifications as specified under this Request for Quotation No. 910-4956.

LOCAL VENDOR PREFERENCE:  The Local Vendor Preference does not apply to this Request for Quotation.

DEFINITIONS:  The terms Bidder, Proposer, Contractor and Vendor are all used interchangeably and refer to that person, partnership, corporation, organization, agency, etc. which is offering the quotation and is identified on page one of this Request For Quotation (RFQ).

VENDOR CONFERENCE: On June 23, 2011 at 10:00 A.M., a vendor's conference will be held in which the scope of the project and quotation requirements will be explained. The meeting will be held at the office of County of Fresno Purchasing, 4525 E. Hamilton (between Cedar and Maple), Fresno, California. Addenda will be prepared and distributed to all bidders only if necessary to clarify substantive items raised during the bidders' conference.

Bidders are to contact Brian Tamblin at County of Fresno Purchasing, (559) 600-7110, if they are planning to attend the conference.

INTERPRETATION OF RFQ: Vendors must make careful examination of the requirements, specifications and conditions expressed in the RFQ and fully inform themselves as to the quality and character of services required.  If any person planning to submit a quotation finds discrepancies in or omissions from the RFQ or has any doubt as to the true meaning or interpretation, correction thereof may be requested at the scheduled Vendor Conference. Any change in the RFQ will be made only by written addendum, duly issued by the County. The County will not be responsible for any other explanations or interpretations.

Questions may be submitted subsequent to the Vendor Conference, subject to the following conditions:

- Such questions are submitted in writing to County Purchasing not later than 9:00 A.M. on July 1, 2011. Questions must be directed to the attention of the buyer identified on page one.

- Such questions are submitted with the understanding that County can respond only to questions it considers material in nature.

Questions shall be delivered to County of Fresno Purchasing, 4525 E. Hamilton Avenue, Fresno, CA 93702 or emailed to countypurchasing@co.fresno.ca.us or faxed to (559) 456-7831. If faxing the bidder must confirm receipt by phone within one-half (1/2) hour of transmission.

NOTE: The bidder is encouraged to submit all questions at the Vendor Conference. Time limitations can prevent a response to questions submitted after the conference.

AWARD:  Award will be made to the vendor offering the services deemed to be to the best advantage of the County. The County shall be the sole judge in making such determination. Award Notices are tentative: Acceptance of an offer made in response to this RFQ shall occur only upon execution of an agreement by both parties or issuance of a valid written Purchase Order by Fresno County Purchasing.

RIGHT TO REJECT BIDS:  The County reserves the right to reject any and all bids and to waive informalities or irregularities in bids.

ISSUING AGENT: This RFQ has been issued by County of Fresno Purchasing. Purchasing shall be the vendor’s sole point of contact with regard to the RFQ, its content, and all issues concerning it.

AUTHORIZED CONTACT: All communication regarding this RFQ shall be directed to an authorized representative of County Purchasing. The specific buyer managing this RFQ is identified on the cover page, along with his or her telephone number, and he or she should be the primary point of contact for discussions or information pertaining to the RFQ. Contact with any other County representative, including elected officials, for the purpose of discussing this RFQ, it content, or any other issue concerning it, is prohibited unless authorized by Purchasing. Violation of this clause, by the vendor having unauthorized contact (verbally or in writing) with such other County representatives, may constitute grounds for rejection by Purchasing of the vendor’s quotation.

The above stated restriction on vendor contact with County representatives shall apply until the County has awarded a purchase order or contract to a vendor or vendors, except as follows. First, in the event that a vendor initiates a formal protest against the RFQ, such vendor may contact the appropriate individual, or individuals who are managing that protest as outlined in the County’s established protest procedures. All such contact must be in accordance with the sequence set forth under the protest procedures. Second, in the event a public hearing is scheduled before the Board of Supervisors to hear testimony prior to its approval of a purchase order or contract, any vendor may address the Board.

NUMBER OF COPIES:  Submit one (1) original and three (3) copies of your quotation no later than the quotation closing date and time as stated on the front of this document to County of Fresno Purchasing. Each copy to be identical to the original, include all supporting documentation (i.e. literature, brochures, reports, schedules etc.). The cover page of each quotation is to be appropriately marked “Original” or “Copy”.

FIRM QUOTATION: All quotations shall remain firm for a minimum of ninety (90) days.

TAXES:  The quoted amount must include all applicable taxes. If taxes are not specifically identified in the quotation it will be assumed that they are included in the total quoted.

SALES TAX: Fresno County pays California State Sales Tax in the amount of 8.975% regardless of vendor's place of doing business.

MINOR DEVIATIONS:  The County reserves the right to negotiate minor deviations from the prescribed terms, conditions and requirements with the selected vendor.

QUOTATION REJECTION: Failure to respond to all questions or not to supply the requested information could result in rejection of your quotation.

BIDDERS’ LIABILITIES:  County of Fresno will not be held liable for any cost incurred by vendors in responding to the RFQ.

PRICE RESPONSIBILITY:  The selected vendor will be required to assume full responsibility for all services and activities offered in the quotation, whether or not they are provided directly. Further, the County of Fresno will consider the selected vendor to be the sole point of contact with regard to contractual matters, including payment of any and all charges resulting from the contract.  The contractor may not subcontract or transfer the contract, or any right or obligation arising out of the contract, without first having obtained the express written consent of the County.

CONFIDENTIALITY:  Bidders shall not disclose information about the County's business or business practices and safeguard confidential data which vendor staff may have access to in the course of system implementation.

NEWS RELEASE:  Vendors shall not issue any news releases or otherwise release information to any third party about this RFQ or the vendor's quotation without prior written approval from the County of Fresno.

BACKGROUND REVIEW: The County reserves the right to conduct a background inquiry of each proposer/bidder which may include collection of appropriate criminal history information, contractual and business associations and practices, employment histories and reputation in the business community. By submitting a quotation/bid to the County, the vendor consents to such an inquiry and agrees to make available to the County such books and records the County deems necessary to conduct the inquiry.

EXCEPTIONS: Identify with explanation, any terms, conditions, specifications or stipulations of the RFQ with which you CAN NOT or WILL NOT comply.

ADDENDA: In the event that it becomes necessary to revise any part of this RFQ, addenda will be provided to all agencies and organizations that receive the basic RFQ.

SUBCONTRACTORS: If a subcontractor is proposed, complete identification of the subcontractor and his tasks shall be provided. The primary contractor is not relieved of any responsibility by virtue of using a subcontractor.

CONFLICT OF INTEREST:  The County shall not contract with, and shall reject any bid or quotation submitted by the persons or entities specified below, unless the Board of Supervisors finds that special circumstances exist which justify the approval of such contract:

- Employees of the County or public agencies for which the Board of Supervisors is the governing body.

- Profit-making firms or businesses in which employees described in Subsection (1) serve as officers, principals, partners or major shareholders.

- Persons who, within the immediately preceding twelve (12) months, came within the provisions of Subsection (1), and who were employees in positions of substantial responsibility in the area of service to be performed by the contract, or participated in any way in developing the contract or its service specifications.

- Profit-making firms or businesses in which the former employees described in Subsection (3) serve as officers, principals, partners or major shareholders.

- No County employee whose position in the County enables him to influence the selection of a contractor for this RFQ, or any competing RFQ, and no spouse or economic dependent of such employee, shall be employees in any capacity by a bidder, or have any other direct or indirect financial interest in the selection of a contractor.

INVOICING:  All invoices are to be delivered in duplicate to the ordering department. Each invoice shall reference the purchase order or contract no. The contractor shall obtain the “invoice to” address when receiving the order.

PAYMENT:  County will make partial payments for all purchases made under the contract/purchase order and accumulated during the month

PAYMENT TERMS: Payment terms shall be net 45 days. The bidder may offer a discount in accordance with item No.12 of the “GENERAL CONDITIONS’

CONTRACT TERM: It is County’s intent to contract with the successful bidder for a term of one (1) year with the option to renew for up to two (2) additional one (1) year periods.

PRICES:  Bidder agrees that prices quoted are maximum for the contract period, and in the event of a price decline such lower prices shall be extended to the County of Fresno.

QUANTITIES:  Quantities shown in the bid schedule are approximate and the County guarantees no minimum amount.  The County reserves the right to increase or decrease quantities.

INDEPENDENT CONTRACTOR: In performance of the work, duties, and obligations assumed by Contractor under any ensuing Agreement, it is mutually understood and agreed that CONTRACTOR, including any and all of Contractor’s officers, agents, and employees will at all times be acting and performing as an independent contractor, and shall act in an independent capacity and not as an officer, agent, servant, employee, joint venturer, partner, or associate of the COUNTY.  Furthermore, County shall have no right to control or supervise or direct the manner or method by which Contractor shall perform its work and function.  However, County shall retain the right to administer this Agreement so as to verify that Contractor is performing its obligations in accordance with the terms and conditions thereof.  Contractor and County shall comply with all applicable provisions of law and the rules and regulations, if any, of governmental authorities having jurisdiction over matters the subject thereof.

Because of its status as an independent contractor, Contractor shall have absolutely no right to employment rights and benefits available to County employees. Contractor shall be solely liable and responsible for providing to, or on behalf of, its employees all legally-required employee benefits.  In addition, Contractor shall be solely responsible and save County harmless from all matters relating to payment of Contractor's employees, including compliance with Social Security, withholding, and all other regulations governing such matters.  It is acknowledged that during the term of the Agreement, Contractor may be providing services to others unrelated to the County or to the Agreement.

HOLD HARMLESS CLAUSE:  Contractor agrees to indemnify, save, hold harmless and at County's request, defend the County, its officers, agents and employees, from any and all costs and expenses, damages, liabilities, claims and losses occurring or resulting to County in connection with the performance, or failure to perform, by Contractor, its officers, agents or employees under this Agreement and from any and all costs and expenses, damages, liabilities, claims and losses occurring or resulting to any person, firm or corporation who may be injured or damaged by the performance, or failure to perform, of Contractor, its officers, agents or employees under this Agreement.

INSURANCE:

Without limiting the COUNTY's right to obtain indemnification from CONTRACTOR or any third parties, CONTRACTOR, at its sole expense, shall maintain in full force and effect, the following insurance policies throughout the term of the Agreement:

- Commercial General Liability

Commercial General Liability Insurance with limits of not less than One Million Dollars ($1,000,000) per occurrence and an annual aggregate of Two Million Dollars ($2,000,000). This policy shall be issued on a per occurrence basis.   COUNTY may require specific coverages including completed operations, products liability, contractual liability, Explosion-Collapse-Underground, fire legal liability or any other liability insurance deemed necessary because of the nature of this contract.

General Liability to include special insurance or endorsement coverage for hazardous materials and environmental contamination.

- Automobile Liability

Comprehensive Automobile Liability Insurance with limits for bodily injury of not less than Two Hundred Fifty Thousand Dollars ($250,000.00) per person, Five Hundred Thousand Dollars ($500,000.00) per accident and for property damages of not less than Fifty Thousand Dollars ($50,000.00), or such coverage with a combined single limit of Five Hundred Thousand Dollars ($500,000.00).  Coverage should include owned and non-owned vehicles used in connection with this Agreement.

- Professional Liability

If CONTRACTOR employs licensed professional staff, (e.g., Ph.D., R.N., L.C.S.W., M.F.C.C.) in providing services, Professional Liability Insurance with limits of not less than One Million Dollars ($1,000,000.00) per occurrence, Three Million Dollars ($3,000,000.00) annual aggregate.

- Worker's Compensation

A policy of Worker's Compensation insurance as may be required by the California Labor Code.

CONTRACTOR shall obtain endorsements to the Commercial General Liability insurance naming the County of Fresno, its officers, agents, and employees, individually and collectively, as additional insured, but only insofar as the operations under this Agreement are concerned.  Such coverage for additional insured shall apply as primary insurance and any other insurance, or self-insurance, maintained by COUNTY, its officers, agents and employees shall be excess only and not contributing with insurance provided under CONTRACTOR's policies herein.  This insurance shall not be cancelled or changed without a minimum of thirty (30) days advance written notice given to COUNTY.

Within Thirty (30) days from the date CONTRACTOR executes this Agreement, CONTRACTOR shall provide certificates of insurance and endorsement as stated above for all of the foregoing policies, as required herein, to the County of Fresno, Purchasing Division Attn: Purchasing Supervisor, stating that such insurance coverage have been obtained and are in full force; that the County of Fresno, its officers, agents and employees will not be responsible for any premiums on the policies; that such Commercial General Liability insurance names the County of Fresno, its officers, agents and employees, individually and collectively, as additional insured, but only insofar as the operations under this Agreement are concerned; that such coverage for additional insured shall apply as primary insurance and any other insurance, or self-insurance, maintained by COUNTY, its officers, agents and employees, shall be excess only and not contributing with insurance provided under CONTRACTOR's policies herein; and that this insurance shall not be cancelled or changed without a minimum of thirty (30) days advance, written notice given to COUNTY.

In the event CONTRACTOR fails to keep in effect at all times insurance coverage as herein provided, the COUNTY may, in addition to other remedies it may have, suspend or terminate this Agreement upon the occurrence of such event.

All policies shall be with admitted insurers licensed to do business in the State of California.  Insurance purchased shall be purchased from companies possessing a current A.M. Best, Inc. rating of A FSC VII or better.

BIDDER TO COMPLETE

INSURANCE

| Name of Insurance Carrier: |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Automobile: |  |  |  |  | Expires: |  |
| Public Liability: |  |  |  |  | Expires: |  |
| Worker's Compensation: |  |  |  |  | Expires: |  |

Proof of maintenance of adequate insurance will be required before award is made to vendor.

Qualification Requirements of the Consultant, for the Ensuing Agreement

Asbestos

Must be a “Certified Asbestos Consultant” from the Department of Industrial Relations, from the Division of Occupational Safety and Health. (Include within your response a copy of this certification.) State certificate held.

Mold

Must demonstrate in-depth knowledge of mold testing procedures and abatement, through classes and education (include within your response a list of classes and/or certifications from specific organizations).

Lead

Certifications which will meet the minimum requirements for the lead based paint testing services are:

- Certified Lead Inspector/Assessor

- Certified Lead Supervisor

- Certified Lead Sampling Technician

- Certified Lead Worker

Must be certified by the California Department of Public Health. (Bidder to include any relevant copies of certifications with their response to this RFQ.) State Certification(s) held.

DISPUTE RESOLUTION:  The ensuing contract shall be governed by the laws of the state of California.

Any claim which cannot be amicably settled without court action will be litigated in the U. S. District Court for the Eastern District of California in Fresno, CA or in a state court for Fresno County.

TERMINATION:  This agreement may be terminated by the County at any time upon written notice.

DEFAULT: In case of default by the selected bidder, the County may procure the services from another source and may recover the loss occasioned thereby from any unpaid balance due the selected bidder, or by any other legal means available to the County.

ASSIGNMENTS:  The ensuing proposed contract will provide that the vendor may not assign any payment or portions of payments without prior written consent of the County of Fresno.

ASSURANCES:  Any contract awarded under this RFQ must be carried out in full compliance with The Civil Rights Act of 1964, The Americans With Disabilities Act of 1990, their subsequent amendments, and any and all other laws protecting the rights of individuals and agencies.

The County of Fresno has a zero tolerance for discrimination, implied or expressed, and wants to ensure that policy continues under this RFQ.  The contractor must also guarantee that services, or workmanship, provided will be performed in compliance with all applicable local, state, or federal laws and regulations pertinent to the types of services, or project, of the nature required under this RFQ.  In addition, the contractor may be required to provide evidence substantiating that their employees have the necessary skills and training to perform the required services or work.

AUDITS AND RETENTION: The Contractor shall maintain in good and legible condition all books, documents, papers, data files and other records related to its performance under this contract. Such records shall be complete and available to Fresno County, the State of California, the federal government or their duly authorized representatives for the purpose of audit, examination, or copying during the term of the contract and for a period of at least three years following the County's final payment under the contract or until conclusion of any pending matter (e.g., litigation or audit), whichever is later. Such records must be retained in the manner described above until all pending matters are closed.  The County of Fresno is soliciting bids to establish an agreement under which the successful bidder will provide testing for the presence of lead based paint and asbestos containing materials in the residential structures included under the County’s Affordable Housing Program (AHP).  Service to include various reports and specifications as specified under this Request for Quotation (RFQ).

SELF-DEALING TRANSACTION DISCLOSURE (financial)

Non-corporate bidders may disregard this section.

Bidders shall complete a SELF-DEALING TRANSACTION DISCLOSURE FORM, provided herein, for each applicable corporate director of the bidding company.  The signed form(s) shall be submitted as a part of the company’s proposal or quotation.

Complete the form and indicate “NONE” under part 3 when your company is a corporation and no directors are involved with a Self-Dealing Transaction. The form must be signed by an individual authorized to legally bind the corporation when no directors have a Self-Dealing Transaction.

DISCLOSURE OF SELF-DEALING TRANSACTIONS: The following provision will be incorporated into ensuing agreements.  It shall apply only when the CONTRACTOR is operating as a corporation (a for-profit or non-profit corporation) or if during the term of the agreement, CONTRACTOR changes its status to operate as a corporation.

This provision is only applicable if the CONTRACTOR is operating as a corporation (a for-profit or non-profit corporation) or if during the term of this agreement, the CONTRACTOR changes its status to operate as a corporation.

Members of the CONTRACTOR’s Board of Directors shall disclose any self-dealing transactions that they are a party to while CONTRACTOR is providing goods or performing services under this agreement. A self-dealing transaction shall mean a transaction to which the CONTRACTOR is a party and in which one or more of its directors has a material financial interest. Members of the Board of Directors shall disclose any self-dealing transactions that they are a party to by completing and signing a Self-Dealing Transaction Disclosure Form (Exhibit #) and submitting it to the COUNTY prior to commencing with the self-dealing transaction or immediately thereafter.

SELF-DEALING TRANSACTION DISCLOSURE FORM instructions

In order to conduct business with the County of Fresno (hereinafter referred to as “County”), members of a contractor’s board of directors (hereinafter referred to as “County Contractor”), must disclose any self-dealing transactions that they are a party to while providing goods, performing services, or both for the County.  A self-dealing transaction is defined below:

“A self-dealing transaction means a transaction to which the corporation is a party and which one or more of its directors has a material financial interest”

The definition above will be utilized for purposes of completing the disclosure form.

- Enter board member’s name, job title (if applicable), and date this disclosure is being made.

- Enter the board member’s company/agency name and address.

- Describe in detail the nature of the self-dealing transaction that is being disclosed to the County. At a minimum, include a description of the following:

  - The name of the agency/company with which the corporation has the transaction; and

  - The nature of the material financial interest in the Corporation’s transaction that the board member has.

- Describe in detail why the self-dealing transaction is appropriate based on applicable provisions of the Corporations Codes.

- Form must be signed by the board member that is involved in the self-dealing transaction described in Sections (3) and (4).

Form provided on following page.

SELF-DEALING TRANSACTION DISCLOSURE FORM

| - Company Board Member Information: |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Name: |  |  |  | Date: |  |
| Job Title: |  |  |  |  |  |
| - Company/Agency Name and Address: |  |  |  |  |  |
| - Disclosure (Please describe the nature of the self-dealing transaction you are a party to) |  |  |  |  |  |
| - Explain why this self-dealing transaction is consistent with the requirements of Corporations Code 5233 (a) |  |  |  |  |  |
| - Authorized Signature |  |  |  |  |  |
| Signature: |  |  | Date: |  |  |

- PARTICIPATION

The County of Fresno is a member of the Central Valley Purchasing Group.  This group consists of Fresno, Kern, Kings, and Tulare Counties and all governmental, tax supported agencies within these counties.

Whenever possible, these and other tax supported agencies co-op (piggyback) on contracts put in place by one of the other agencies.

Any agency choosing to avail itself of this opportunity, will make purchases in their own name, make payment directly to the contractor, be liable to the contractor and vice versa, per the terms of the original contract, all the while holding the County of Fresno harmless.  If awarded this contract, please indicate whether you would extend the same terms and conditions to all tax supported agencies within this group as you are proposing to extend to Fresno County.

|  | Yes, we will extend contract terms and conditions to all qualified agencies within the Central Valley Purchasing Group and other tax supported agencies. |
| --- | --- |
|  | No, we will not extend contract terms to any agency other than the County of Fresno. |
| (Authorized Signature) |  |
| Title |  |

| Firm: |  |
| --- | --- |

REFERENCE LIST

Provide a list of at least five (5) customers for whom you have recently provided similar services.  Be sure to include all requested information.

| Reference Name: |  |  |  |  |  |  |  | Contact: |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Address: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| City: |  |  |  |  |  |  |  |  | State: |  |  |  |  | Zip: |  |  |  |
| Phone No.: |  | ( |  |  | ) |  | Date: |  |  |  |  |  |  |  |  |  |  |
| Service Provided: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Reference Name: |  |  |  |  |  |  |  | Contact: |  |  |  |  |  |  |  |  |  |
| Address: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| City: |  |  |  |  |  |  |  |  |  | State: |  |  |  |  | Zip: |  |  |
| Phone No.: |  | ( |  |  | ) |  | Date: |  |  |  |  |  |  |  |  |  |  |
| Service Provided: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Reference Name: |  |  |  |  |  |  |  | Contact: |  |  |  |  |  |  |  |  |  |
| Address: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| City: |  |  |  |  |  |  |  |  | State: |  |  |  |  | Zip: |  |  |  |
| Phone No.: |  | ( |  |  | ) |  | Date: |  |  |  |  |  |  |  |  |  |  |
| Service Provided: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Reference Name: |  |  |  |  |  |  |  | Contact: |  |  |  |  |  |  |  |  |  |
| Address: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| City: |  |  |  |  |  |  |  |  |  | State: |  |  |  |  | Zip: |  |  |
| Phone No.: |  | ( |  |  | ) |  | Date: |  |  |  |  |  |  |  |  |  |  |
| Service Provided: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Reference Name: |  |  |  |  |  |  |  | Contact: |  |  |  |  |  |  |  |  |  |
| Address: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| City: |  |  |  |  |  |  |  |  | State: |  |  |  |  | Zip: |  |  |  |
| Phone No.: |  | ( |  |  | ) |  | Date: |  |  |  |  |  |  |  |  |  |  |
| Service Provided: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

Failure to provide a list of at least five (5) customers may be cause for rejection of this RFQ.

BIDDING INSTRUCTIONS FOR CONTRACT SERVICES

Scope of Work Specifications/Requirements/Conditions

The COUNTY of Fresno is soliciting bids from qualified firms to establish an agreement under which the successful bidder will provide labor, equipment, and related services to conduct Lead-Based Paint Testing, provide Risk Assessment Reports, Specifications for Lead-Based Paint Hazard Reduction Activities, Lead-Based Paint Clearance Reports, Limited Asbestos Surveys, mold investigation and mold clearance reports on residential properties approved for rehabilitation.  The services will be performed on approximately fifteen (15) residential properties per year of qualified Affordable Housing Program (AHP) clients within the COUNTY of Fresno.

The COUNTY annually receives Community Development Block Grant (CDBG) funds and Home Investments Partnership (HOME) funds from the U.S. Department of Housing and Urban Development (HUD).  These projects are subject to HUD Lead-Based Paint regulations at 24 CFR, Part 35, Subpart J, published September 15, 1999, and effective September 15, 2000.  The projects are also subject to California Department of Industrial Relations (DIR) asbestos regulations at 8 CCR §1529, and U.S. Department of Labor asbestos regulations at 29 CFR §1926.1101.

All services must comply with all pertinent laws and regulations, including, but not limited to, the above referenced regulations.  Vendors must be certified if required by the appropriate agencies to identify asbestos, lead-based paint and mold.  Vendors shall provide appropriate treatment methods, produce clearance reports, generate clear and succinct written specifications for removal or encapsulation, and have the ability to work with contractors who are certified for the removal or reduction of lead-based paint, asbestos and mold.

A typical substandard dwelling to be rehabilitated through the COUNTY’s AHP is as follows:

- 30 to 60+ years old

- 1200 square feet to 1800 square feet in size

- Wood or stucco siding

- Sheet rock or plastered walls

- Concrete or wood floors

- Wood sash or aluminum framed windows

- Wood or composition shingles

Typical rehabilitation activities include:

- Installation or repair of foundations

- Installation or repair of floors

- Installation or repair of plumbing systems

- Installation or repair of electrical systems

- Installation or repair of roof systems

- Removal/reinstallation of wall systems

- Removal/reinstallation of wall/ceiling coverings

- Removal/reinstallation of window units

- Removal/reinstallation of heating/cooling systems, including duct work

- Removal/reinstallation of cabinets

- Removal/reinstallation of exterior wall coverings/fascia board

- Installation of room additions, including bathrooms

The successful bidder shall provide all expertise, labor material, laboratory testing, etc. to perform asbestos, lead based paint testing and mold as specified below.  The following requested services apply to both the interior and exterior of the dwellings.

I.	Lead Based Paint Risk Assessment

A.	Lead Based Paint Risk Assessment Requirements

Perform the risk assessment, visual assessment, or lead based paint testing within five (5) COUNTY business days of the COUNTY’S request.  At the time of the request, the COUNTY will provide a general scope of work and an approximate cost for the rehabilitation project.

Conduct visual assessments for deteriorated paint that is cracked, scaled, peeling or chipping. People trained to identify deteriorated paint must conduct visual assessments.

Conduct risk assessments to identify lead based paint hazards that include paint testing, dust and soil samplings, and visual evaluation.  Risk assessments must be conducted by risk assessors certified under a State program authorized by the U.S. Environmental Protection Agency (EPA), or conducted by the EPA.

Conduct paint testing of surfaces to determine whether they contain lead based paint using methods such as XRF analyzer or laboratory analysis.  Certified paint inspectors or risk assessors must conduct paint testing.

Conduct lead hazard screens.  Lead hazard screens must be conducted by risk assessors certified under a State program authorized by EPA, or conducted by EPA.

Submit a detailed report to COUNTY AHP manager within seven (7) COUNTY business days of conducting the paint testing inspection.

B.	Lead Based Paint Specifications Report

Prepare and provide written specifications in a format that allows Fresno COUNTY Community Development staff to incorporate them into the AHP scope of work.  The specifications must detail the project lead hazard reduction requirements mandated by HUD Lead Based regulations at 24 CFR, Part 35, Sub-part J, published September 15, 1999 and effective September 15, 2000.

C.	Lead Based Paint Clearance Examinations

Conduct clearance examinations and provide appropriate clearance reports.  A certified risk assessor, certified lead based paint inspector, or a clearance technician must perform clearance.  A clearance examination involves a visual assessment, taking dust samples, and testing them for lead.  Lead clearance standards are specified in 24 CFR 35.120 (b) (2).  The clearance examiner must prepare a clearance report if lead hazard reduction activities other than abatement are performed in accordance with 24 CFR 35.1340.  If abatement is conducted, a certified supervisor must prepare an abatement report in accordance with 40 CFR 745.227 (e) (10).

D.	Lead Based Paint Training

Provide a minimum of two (2) hours of lead based paint training one (1) time every two (2) months to the COUNTY AHP staff in a group setting.  The subject is to be determined by the contractor in conjunction with the COUNTY AHP manager.  Training services are to be provided at no charge to the COUNTY.

E.	Usage estimate for Lead Based Paint Assessment

The COUNTY estimates that number of annual service requests under the ensuing agreement will be as follows:

| Risk Assessment | 15 each |
| --- | --- |
| Written Specification Report | 15 each |
| Clearance Examinations | 15 each |

Note that the stated quantities are estimates only.  The COUNTY makes no guarantee with regard to maximum or minimum quantities to be provided under the ensuing agreement.   The actual quantities of services required may be greater or less than those indicated above.

II.	Asbestos Risk Assessment

- Presumed Asbestos Containing Material (PACM) Sampling

Conduct spot sampling, bulk sampling, or other sampling as directed by COUNTY AHP manager.  Conduct asbestos testing using laboratory analysis.  People trained to identify asbestos must conduct the testing and be certified by the California Department of Industrial Relations.

For surfacing material, a minimum of three (3) samples shall be collected from homogenous areas of less than 1,000 square feet, five (5) from areas between 1,000 and 5,000 square feet, and seven (7) from areas larger that 5,000 square feet.  For Thermal System Insulation (TSI), a minimum of one (1) sample is adequate when collected from an homogenous area of less than six (6) square feet or linear feet.  For insulated mechanical systems and other miscellaneous materials, samples shall be collected in a quantity and manner that will determine whether the material is or is not Asbestos Containing Material (ACM), however at least one (1) representative sample, which can be expected to exhibit the average properties of the sample source, of each ACM shall be tested.

Tests of material containing PACM, evaluation and sample collection shall be conducted by an accredited inspector or by a Certified Industrial Hygienist (CIH).  Analysis of samples shall be performed by laboratories with proficiency demonstrated by current successful participation in a nationally recognized testing such as the National Voluntary Laboratory Accreditation Program (NVLAP) or the National Institute for Standards and Technology (NIST) or the Round Robin for bulk samples administered by the American Industrial Hygiene Association (AIHA) or an equivalent nationally recognized round robin testing program.

- Availability and Asbestos Reporting Requirements

    - The successful bidder shall perform sampling for asbestos within five (5) COUNTY business days of the COUNTY’S request.

    - Sample test results shall be delivered to the COUNTY AHP manager within seven (7) COUNTY business days after the sampling date.

    - The successful bidder shall, within seven (7) COUNTY business days of taking samples, submit a detailed report to the AHP manager.  Such report shall prioritize the information provided in the surveys according to type of material, friability, condition, location, and type of damage presumed for asbestos containing building material.

    - All contracted service shall be provided by vendor only upon the request or in coordination with the COUNTY AHP manager.  The COUNTY of Fresno provides no guarantees of a minimum quantity of assessments activities under the ensuing agreement.

C.	Usage estimate for Asbestos Risk Assessments

The COUNTY estimates that the number of annual service requests under the ensuing agreement will be as follows:

| Risk Assessment | 15 each |
| --- | --- |

Note that the stated quantities are estimates only.  The COUNTY makes no guarantee with regard to maximum or minimum quantities to be provided under the ensuing agreement.  The actual quantity of services required may be greater or less than those indicated above

  - Mold Investigation

- Mold Investigation Requirements

Conduct mold investigation within five (5) COUNTY business days of the COUNTY’S request. At the time of the request, the COUNTY will provide a general scope of work and an approximate cost for the rehabilitation project.

Moisture metering should be used to determine if the area of the structure is wet.  The investigation should include a visual inspection of the interior of the wall cavity using a bore-o-scope.

Collect tape lift or bulk samples where mold growth is discovered.  Samples shall be sent to a qualified third party laboratory for identification of the mold type(s) present at the location.  This should be in conjunction with any lead based paint or asbestos testing that may be required.

- Mold Investigation Report

Prepare written specifications for remediation of mold.  Specifications shall be submitted to the COUNTY AHP Manager within five (5) COUNTY business days of receipt of third party laboratory results.  The scope of work shall include work practices for effective remediation and work area containment; limits for the remediation contractor to bid; and unit pricing for situations when the extent of damage is greater than expected.

Specifications shall be prepared in a format that allows COUNTY Community Development staff to incorporate them into the AHP scope of work.

- Mold Clearance Examinations

Conduct air sampling to verify satisfactory completion of the remediation work prior to removal of the work area containment.  Indoor and outdoor spore trap air sampling shall be collected and submitted to qualified independent laboratory within seven (7) COUNTY business days of COUNTY’S request.

Submit a detailed report to COUNTY AHP Manager verifying successful remediation within five (5) COUNTY business days of receipt of air sample results.

- Usage Estimate for Mold Investigation

The COUNTY estimates that the number of annual service requests under the ensuing agreement will be as follows:

| Mold Investigation | 15 each |
| --- | --- |

Note that the stated quantities are estimates only.  The COUNTY makes no guarantee with regard to maximum or minimum quantities to be provided under the ensuing agreement.  The actual quantity of services required may be greater or less than those indicated above

  - Service Area

The successful bidder shall be responsible for providing service at any project site within the geographical boundaries of Fresno COUNTY.  The types of facilities that may require service include single family residences and multifamily residences.

  - General Requirements

The successful bidder shall provide all labor, material, equipment, etc. to conduct testing for lead based paint, asbestos containing building materials and mold.  All quotes for services shall include applicable taxes.  All services specified in this proposal shall be conducted in accordance with all applicable regulations for testing of hazardous materials to ensure the safety of the COUNTY of Fresno employees, clients, contractors, the contractor’s employees, the public, and vendors.  Testing shall be in accordance with all applicable laws and regulations at the time of the requested service.

Quotation Schedules

Lead Based Paint

The successful vendor shall provide all expertise, labor, materials, equipment, sampling, testing, transportation, training, fees, taxes and insurances, etc. to perform the following Lead Based Paint services as specified under this RFQ.  Vendor shall specify cost and time for expedited processing if requested by COUNTY.

| 1. | Risk Assessment, as specified |  |  | 1 | each |  | $ |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Expedited processing cost |  |  | 1 | each |  | $ |
|  | Expedited processing – number of COUNTY business days to complete |  |  |  | days |  |  |
| 2. | Written Specifications Report, as specified |  |  | 1 | each |  | $ |
|  | Expedited processing cost |  |  | 1 | each |  | $ |
|  | Expedited processing – number of COUNTY business days to complete |  |  |  | days |  |  |
| 3. | Clearance Examinations, as specified |  |  | 1 | each |  | $ |
|  | Expedited processing cost |  |  | 1 | each |  | $ |
|  | Expedited processing – number of COUNTY business days to complete |  |  |  | days |  |  |
| 4. | Mileage: (It is estimated that projects will be evenly split between Local and Remote Zones.) |  |  |  |  |  |  |
|  | - a. Local Zone: [Use this when project is located within twenty-five (25) miles of the County Plaza Building – 2220 Tulare Street, Fresno, CA] |  |  |  |  |  | $ |
|  | - b. Remote Zone: [Use this when project is located more than twenty-five (25) miles of the County Plaza Building – 2220 Tulare Street, Fresno, CA] |  |  |  |  |  | $ |
| 5. | OTHER SERVICES List other related services that may be needed when performing the services specified herein. Include a brief description and cost. |  |  |  |  |  |  |
|  | Service Name |  | Service Description |  |  |  | Cost |
|  |  |  |  |  |  |  | $ |
|  |  |  |  |  |  |  | $ |
|  |  |  |  |  |  |  | $ |
|  |  |  |  |  |  |  | $ |
|  |  |  |  |  |  |  | $ |

Asbestos

The successful vendor shall provide all expertise, labor, material, equipment, sampling, laboratory testing, etc. to identify the existence or non-existence of asbestos in residential structures, as specified under this RFQ.  Vendor shall specify cost and time for expedited processing if requested by COUNTY.

Award – Cost

The evaluation of quotations will include a cost component.  A hypothetical usage schedule will be used to determine which vendor has offered the lowest cost of service.  The quantities to be used in the hypothetical schedule will be announced at the public bid opening immediately prior to opening and reading the sealed bids.

All pricing used in the Quotation Schedule (Page 16) may be included in the Hypothetical Usage Schedule.

| 1. | Quantity | Unit | A Base Cost | B Add Travel Charge | C Add Complex Matrix Sample | D Add Point Count Analysis |
| --- | --- | --- | --- | --- | --- | --- |
| - Residential building up to one thousand (1,000) square feet. Price to include fifteen (15) composite samples, as specified. | 1 | Lot | $ | $ | $ | $ |
| Expedited processing cost | 1 | Lot | $ |  | $ | $ |
| Expedited processing – number of COUNTY business days to complete |  | Days |  |  |  |  |
| - Residential building over one thousand (1,000) square feet to thirteen hundred (1,300) square feet. Price to include twenty-five (25) composite samples, as specified. | 1 | Lot | $ | $ | $ | $ |
| Expedited processing cost | 1 | Lot | $ |  | $ | $ |
| Expedited processing – number of COUNTY business days to complete |  | Days |  |  |  |  |
| - Residential building over thirteen hundred (1,300) square feet. Price to include forty (40) composite samples, as specified. | 1 | Lot | $ | $ | $ | $ |
| Expedited processing cost | 1 | Lot | $ |  | $ | $ |
| Expedited processing – number of COUNTY business days to complete |  | Days |  |  |  |  |
|  |  |  | Use this when project is located within twenty-five (25) miles of the County Plaza Building – 2220 Tulare Street, Fresno, CA | Additional charges when project is located more than twenty-five (25) miles from County Plaza Building – 2220 Tulare Street, Fresno, CA | Additional charges for each Complex Matrix Sample of four (4) or more layers. Quantity one (1) | Additional charges for each “Point Count Analysis”. Quantity one (1) |

| 2. |  | Cost of additional Composite Samples when total quantity of samples is in excess of the quantities stated in columns 1A, 1B and 1C on Page 16. |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Price Addition (per composite sample) |  |  |  |
|  |  | - Residential structure up to one thousand (1,000) square feet, as specified. |  |  | 1 | Each | $ |  |  |
|  |  | Expedited processing cost |  |  | 1 | Each | $ |  |  |
|  |  | Expedited processing – number of COUNTY business days to complete |  |  |  | Days |  |  |  |
|  |  | - Residential structure over one thousand (1,000) square feet to thirteen hundred (1,300) square feet, as specified. |  |  | 1 | Each | $ |  |  |
|  |  | Expedited processing cost |  |  | 1 | Each | $ |  |  |
|  |  | Expedited processing – number of COUNTY business days to complete |  |  |  | Days |  |  |  |
|  |  | - Residential structure over thirteen hundred (1,300) square feet, as specified. |  |  | 1 | Each | $ |  |  |
|  |  | Expedited processing cost |  |  | 1 | Each | $ |  |  |
|  |  | Expedited processing – number of COUNTY business days to complete |  |  |  | Days |  |  |  |
| 3. |  | Price Reduction when total quantity of Composite Samples is less than the quantities stated in columns 1A, 1B and 1C on Page 16. |  |  |  |  |  |  |  |
|  |  |  |  |  |  | Price Reduction (per composite sample) |  |  |  |
|  |  | - Residential structure up to one thousand (1,000) square feet, as specified. |  |  | 1 | Each | $ |  |  |
|  |  | Expedited processing cost |  |  | 1 | Each | $ |  |  |
|  |  | Expedited processing – number of COUNTY business days to complete |  |  |  | Days |  |  |  |
|  |  | - Residential structure over one thousand (1,000) square feet to thirteen hundred (1,300) square feet, as specified. |  |  | 1 | Each | $ |  |  |
|  |  | Expedited processing cost |  |  | 1 | Each | $ |  |  |
|  |  | Expedited processing – number of COUNTY business days to complete |  |  |  | Days |  |  |  |
|  |  | - Residential structure over thirteen hundred (1,300) square feet, as specified. |  |  | 1 | Each | $ |  |  |
|  |  | Expedited processing cost |  |  | 1 | Each | $ |  |  |
|  |  | Expedited processing – number of COUNTY business days to complete |  |  |  | Days |  |  |  |
| 4. |  | The bidder may specify a minimum charge for each project. The Base Costs will be decreased when the actual Composite Samples taken and tested are less than the quantity included in the base cost; however, the bidder may specify a minimum charge for each project. Vendors electing to require minimum charges shall do so by completing the following section: |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | Minimum Charge |  |  |
|  |  | - Residential structure up to one thousand (1,000) square feet, as specified. |  |  | 1 | Each | $ |  |  |
|  |  | Expedited processing cost |  |  | 1 | Each | $ |  |  |
|  |  | - Residential structure over one thousand (1,000) square feet to thirteen hundred (1,300) square feet, as specified. |  |  | 1 | Each | $ |  |  |
|  |  | Expedited processing cost |  |  | 1 | Each | $ |  |  |
|  |  | - Residential structure over thirteen hundred (1,300) square feet, as specified. |  |  | 1 | Each |  |  |  |
|  |  | Expedited processing cost |  |  | 1 | Each | $ |  |  |
| 5. |  | Indicate Subsequent Sampling/Testing charges when it is necessary to return to the project site for additional samples and tests. |  |  |  |  |  |  |  |
|  |  | - Return Trip Charge – Within 25 miles of County Plaza Building |  |  |  |  | $ |  |  |
|  |  | - Return Trip Charge – More than 25 miles of County Plaza Building |  |  |  |  | $ |  |  |
|  |  | - Cost per Sample |  |  |  |  |  |  |  |
|  |  | Composite sample, as specified |  |  | 1 | Each | $ |  |  |
|  |  | Expedited processing cost |  |  | 1 | Each | $ |  |  |
|  |  | Expedited processing – number of COUNTY business days to complete |  |  |  | Days |  |  |  |
|  |  | Complex Matrix sample, as specified |  |  | 1 | Each | $ |  |  |
|  |  | Expedited processing cost |  |  | 1 | Each | $ |  |  |
|  |  | Expedited processing – number of COUNTY business days to complete |  |  |  | Days |  |  |  |
|  |  | Point Count Analysis sample, as specified |  |  | 1 | Each | $ |  |  |
|  |  | Expedited processing cost |  |  | 1 | Each | $ |  |  |
|  |  | Expedited processing – number of COUNTY business days to complete |  |  |  | Days |  |  |  |
|  |  | - Minimum charge per return trip– within 25 miles of County Plaza Building |  |  |  |  | $ |  |  |
|  |  | - Minimum charge per return trip– More than 25 miles of County Plaza Building |  |  |  |  | $ |  |  |
| 6. |  | OTHER SERVICES List other related services that may be needed when performing the services specified herein. Include a brief description and cost. |  |  |  |  |  |  |  |
|  | Service Name |  |  | Service Description |  |  |  | Cost |  |
|  |  |  |  |  |  |  |  | $ |  |
|  |  |  |  |  |  |  |  | $ |  |
|  |  |  |  |  |  |  |  | $ |  |
|  |  |  |  |  |  |  |  | $ |  |
|  |  |  |  |  |  |  |  | $ |  |

Mold Investigation

The successful vendor shall provide all expertise, labor, materials, sampling, testing, transportation, training, fees, etc. to perform the following Mold Investigation services as specified under this RFQ. Vendor shall specify cost and time for expedited processing if requested by COUNTY.

| 1. | Mold Investigation, as specified |  |  |  | 1 | each | $ |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Expedited processing cost |  |  |  | 1 | each | $ |  |  |
|  | Expedited processing – number of COUNTY business days to complete |  |  |  |  | days |  |  |  |
| 2. | Mold Investigation Report, as specified |  |  |  | 1 | each | $ |  |  |
|  | Expedited processing cost |  |  |  | 1 | each | $ |  |  |
|  | Expedited processing – number of COUNTY business days to complete |  |  |  |  | days |  |  |  |
| 3. | Clearance Examination, as specified |  |  |  | 1 | each | $ |  |  |
|  | Expedited processing cost |  |  |  | 1 | each | $ |  |  |
|  | Expedited processing – number of COUNTY business days to complete |  |  |  |  | days |  |  |  |
| 4. | Cost per Sample, including laboratory analysis (Mold Investigation and Clearance Examination) |  |  |  | Vendor |  |  |  | Laboratory |
|  | Bulk or tape lift samples |  |  |  |  |  |  |  |  |
|  | Standard processing |  |  | 1 each | $ |  |  |  | $ |
|  |  |  |  | 2 or more samples | $ |  |  |  | $ |
|  | Expedited processing |  |  | 1 each | $ |  |  |  | $ |
|  |  |  |  | 2 or more samples | $ |  |  |  | $ |
|  | Expedited processing – number of COUNTY business days to complete |  |  | days |  |  |  |  |  |
|  | Spore trap air samples |  |  |  |  |  |  |  |  |
|  | Standard processing |  |  | 1 each | $ |  |  |  | $ |
|  |  |  |  | 2 or more samples | $ |  |  |  | $ |
|  | Expedited processing |  |  | 1 each | $ |  |  |  | $ |
|  |  |  |  | 2 or more samples | $ |  |  |  | $ |
|  | Expedited processing – number of COUNTY business days to complete |  |  | days |  |  |  |  |  |
| 5. | Mileage: (It is estimated that projects will be evenly split between Local and Remote Zones.) |  |  |  |  |  |  |  |  |
|  | - Local Zone: [Use this when project is located within twenty-five (25) miles of the County Plaza Building – 2220 Tulare Street, Fresno, CA] |  |  |  | $ |  |  |  |  |
|  | - Remote Zone: [Use this when project is located more than twenty-five (25) miles of the County Plaza Building – 2220 Tulare Street, Fresno, CA] |  |  |  | $ |  |  |  |  |
| 6. | OTHER SERVICES List other related services that may be needed when performing the services specified herein. Include a brief description and cost. |  |  |  |  |  |  |  |  |
|  | Service Name |  | Service Description |  |  |  |  |  | Cost |
|  |  |  |  |  |  |  |  |  | $ |
|  |  |  |  |  |  |  |  |  | $ |
|  |  |  |  |  |  |  |  |  | $ |
|  |  |  |  |  |  |  |  |  | $ |
|  |  |  |  |  |  |  |  |  | $ |

| Firm: |  |
| --- | --- |

CHECK LIST

This Checklist is provided to assist the vendors in the preparation of their bid response.  Included in this list, are important requirements and is the responsibility of the bidder to submit with the bid package in order to make the bid compliant.  Because this checklist is just a guideline, the bidder must read and comply with the bid in its entirety.

Check off each of the following:

|  | - The completed and signed Page One of this RFQ. |
| --- | --- |
|  | - Complete, sign and submit page one of each and all Addendums to this RFQ which require signature (if any). |
|  | - The specified number of copies of the bidder’s Quotation. |
|  | - All sections for completion by bidder. (Bidder to Complete) |
|  | - Self-Dealing Transaction pages as provided with this RFQ |
|  | - The completed Participation Page of this RFQ |
|  | - The completed Reference List of this RFQ. |
|  | - The completed Quotation Schedule as provided with this RFQ. |
|  | - A list of all bidder exceptions to County’s requirements, conditions, and specifications as stated within this RFQ. |
|  | - Submit your quotation prior to the specified date and time. Submit in a sealed envelope, box, etc. with the following information displayed on the outside: |

| County of Fresno RFQ No. |  |  | 910-4956 |
| --- | --- | --- | --- |
| Closing Date: | July 13, 2011 |  |  |
| Closing Time: | 2:00 P.M. |  |  |
| Commodity or Service: |  |  |  |

This Checklist does not need to be returned with your bid.