| COUNTY OF FRESNO |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Request for Quotation |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | NUMBER: 928-4131 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| June 28, 2005 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ORG/Requisition: 0135,43600800/ 1325006204,4366008002 |  |  |  |  |  |  |  |  | PURCHASING USE |  |  |  |  | /tmp/in/input.doc |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | jol |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | IMPORTANT: SUBMIT QUOTATION IN SEALED PACKAGE WITH QUOTATION NUMBER, CLOSING DATE AND BUYER’S NAME MARKED CLEARLY ON THE OUTSIDE TO: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | COUNTY OF FRESNO, Purchasing 4525 EAST HAMILTON AVENUE FRESNO, CA 93702-4599 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Closing date of bid will be at 2:00 p.m., on AUGUST 4, 2005.. QUOTES WILL BE CONSIDERED LATE WHEN THE OFFICIAL PURCHASING TIME CLOCK READS 2:00 P.M. |  |  |  |
|  | Quotes will be opened and publicly read at that time. All quotation information will be available for review after contract award. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Clarification of specifications are to be directed to: Cathi J. Peters, phone (559) 456-7110, FAX (559) 456-7831. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | GENERAL CONDITIONS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | See “County Of Fresno Purchasing Standard Instructions And Conditions For Request For Proposals (RFP’S) and Requests for Quotations (RFQ’S)” attached. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| BIDDER TO COMPLETE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| UNDERSIGNED AGREES TO FURNISH THE COMMODITY OR SERVICE STIPULATED IN THE ATTACHED QUOTATION SCHEDULE AT THE PRICES AND TERMS STATED, SUBJECT TO THE “COUNTY OF FRESNO PURCHASING STANDARD INSTRUCTIONS AND CONDITIONS FOR REQUEST FOR PROPOSALS (RFP’S) AND REQUESTS FOR QUOTATIONS (RFQ’S)”ATTACHED. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Except as noted on individual items, the following will apply to all items in the Quotation Schedule. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | - Complete delivery will be made within |  |  |  |  |  |  |  |  | calendar days after receipt of Order. |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | - A cash discount of |  |  |  |  |  | % |  |  |  |  | days will apply. |  |  |  |  |  |  |  |  |  |
| Company |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Address |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| City |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | State |  | Zip Code |  |  |  |  |
| ( ) |  |  |  |  |  |  |  | ( ) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Telephone Number |  |  |  |  |  |  |  | Facsimile Number |  |  |  |  |  |  |  |  | E-mail Address |  |  |  |  |  |  |
| Taxpayer Federal I.D. No.: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Signed By |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Print Name |  |  |  |  |  |  |  |  |  |  |  |  | Title |  |  |  |  |  |  |  |  |  |  |

COUNTY OF FRESNO PURCHASING

STANDARD INSTRUCTIONS AND CONDITIONS FOR
REQUESTS FOR PROPOSALS (RFP'S) AND REQUESTS FOR QUOTATIONS (RFQ'S)

Note: the reference to “bids” in the following paragraphs applies to RFP's and RFQ's

## GENERAL CONDITIONS

By submitting a bid the bidder agrees to the following conditions.  These conditions will apply to all subsequent purchases based on this bid.

- BID PREPARATION:

  - All prices and notations must be typed or written in ink.  No erasures permitted.  Errors may be crossed out, initialed and corrections printed in ink by person signing bid.

  - Brand Names: Brand names and numbers when given are for reference. Equal items will be considered, provided the offer clearly describes the article and how it differs from that specified.  In the absence of such information it shall be understood the offering is exactly as specified.

  - State brand or make of each item.  If bidding on other than specified, state make, model and brand being bid and attach supporting literature/specifications to the bid.

  - Bid on each item separately.  Prices should be stated in units specified herein.  All applicable charges must be quoted; charges on invoice not quoted herein will be disallowed.

  - Time of delivery is a part of the consideration and must be stated in definite terms and must be adhered to.  F.O.B. Point shall be destination or freight charges must be stated.

  - All bids must be dated and signed with the firm’s name and by an authorized officer or employee.

  - Unless otherwise noted, prices shall be firm for 120 days after closing date of bid.

- SUBMITTING BIDS:

  - Each bid must be submitted on forms provided in a sealed envelope with bid number and closing date and time on the outside of the envelope/package.

  - Interpretation: Should any discrepancies or omissions be found in the bid specifications or doubt as to their meaning, the bidder shall notify the Buyer in writing at once.  The County shall not be held responsible for verbal interpretations.  Questions regarding the bid must be received by Purchasing at least 5 working days before bid opening.  All addenda issued shall be in writing, duly issued by Purchasing and incorporated into the contract.

  - ISSUING AGENT/AUTHORIZED CONTACT: This RFQ has been issued by County of Fresno Purchasing. Purchasing shall be the vendor’s sole point of contact with regard to the RFQ, its content, and all issues concerning it.

All communication regarding this RFQ shall be directed to an authorized representative of County Purchasing. The specific buyer managing this RFQ is identified on the cover page, along with his or her telephone number, and he or she should be the primary point of contact for discussions or information pertaining to the RFQ. Contact with any other County representative, including elected officials, for the purpose of discussing this RFQ, its content, or any other issue concerning it, is prohibited unless authorized by Purchasing. Violation of this clause, by the vendor having unauthorized contact (verbally or in writing) with such other County representatives, may constitute grounds for rejection by Purchasing of the vendor’s quotation.

The above stated restriction on vendor contact with County representatives shall apply until the County has awarded a purchase order or contract to a vendor or vendors, except as follows. First, in the event that a vendor initiates a formal protest against the RFQ, such vendor may contact the appropriate individual, or individuals who are managing that protest as outlined in the County’s established protest procedures. All such contact must be in accordance with the sequence set forth under the protest procedures. Second, in the event a public hearing is scheduled before the Board of Supervisors to hear testimony prior to its approval of a purchase order or contract, any vendor may address the Board.

  - Bids received after the closing time will NOT be considered.

  - Bidders are to bid what is specified or requested first. If unable to or willing to, bidder may bid alternative or option, indicating all advantages, disadvantages and their associated cost.

- FAILURE TO BID:

  - If not bidding, return bid sheet and state reason for no bid or your name may be removed from mailing list.

- TAXES, CHARGES AND EXTRAS:

  - County of Fresno is subject to California sales and/or use tax (7.975%). Please indicate as a separate line item if applicable.

  - DO NOT include Federal Excise Tax.  County is exempt under Registration No. 94-73-03401-K.

  - County is exempt from Federal Transportation Tax.  Exemption certificate is not required where shipping papers show consignee as County of Fresno.

  - Charges for transportation, containers, packing, etc. will not be paid unless specified in bid.

- W-9 – REQUEST FOR TAXPAYER IDENTIFICATION NUMBER AND CERTIFICATION:

Upon award of bid, the vendor shall submit to County Purchasing, a completed W-9 - Request for Taxpayer Identification Number and Certification if not already a current vendor with The County of Fresno. This form is available from the IRS to complete on line at http://www.irs.gov/pub/irs-pdf/fw9.pdf.

- AWARDS:

  - Subject to the local preference provisions referenced in Paragraph 6 below and more thoroughly set forth in the General Requirements section of this RFQ, award(s) will be made to the most responsive responsible bidder.  The evaluation will include such things as life-cycle cost, availability, delivery costs and whose product and/or service is deemed to be in the best interest of the County. The County shall be the sole judge in making such determination.

  - Unless bidder gives notice of all-or-none award in bid, County may accept any item, group of items or on the basis of total bid.

  - The County reserves the right to reject any and all bids and to waive informalities or irregularities in bids.

  - After award, all bids shall be open to public inspection. The County assumes no responsibility for the confidentiality of information offered in a bid.

- LOCAL VENDORS

  - Local Vendor Preference (applicable to RFQ Process only)

The following provisions are applicable only to the County’s acquisition of materials, equipment or supplies through the RFQ process when the funding source does not require an exemption to the Local Vendor Preference.

THE PROVISIONS OF THIS PARAGRAPH ARE APPLICABLE, NOTWITHSTANDING ANY OTHER PROVISIONS OF THIS RFQ TO THE CONTRARY

If the apparent low bidder is not a local vendor, any local vendor who submitted a bid which was within five percent (5%) of the lowest responsive  bid as determined by the purchasing agent shall have the option of submitting a new bid within forty-eight hours (not including weekends and holidays) of County’s delivery of notification. Such new bids must be in an amount less than or equal to the lowest responsive bid as determined by the purchasing agent.  If the purchasing agent receives any new bids from local vendors who have the option of submitting new bids within said forty-eight hour period, it shall award the contract to the local vendor submitting the lowest responsible bid. If no new bids are received, the contract shall be awarded to the original low bidder as announced by the purchasing agent.

  - Local Vendor Defined

“Local Vendor” shall mean any business which:

- Has its headquarters, distribution point or locally-owned franchise located in or having a street address within the County for at least six (6) months immediately prior to the issuance of the request for competitive bids by the purchasing agent; and

- Holds any required business license by a jurisdiction located in Fresno County; and

- Employs at least one (1) full-time or two (2) part-time employees whose primary residence is located within Fresno County, or if the business has no employees, shall be at least fifty percent (50%) owned by one or more persons whose primary residence(s) is located within Fresno County.

- TIE BIDS:

All other factors being equal, the contract shall be awarded to the Fresno County vendor or, if neither or both are Fresno County vendors, it may be awarded by the flip of a coin in the presence of witnesses or the entire bid may be rejected and re-bid. If the General Requirements of this RFQ state that they are applicable, the provisions of the Fresno County Local Vendor Preference shall take priority over this paragraph.

- PATENT INDEMNITY:

The vendor shall hold the County, its officers, agents and employees, harmless from liability of any nature or kind, including costs and expenses, for infringement or use of any copyrighted or uncopyrighted composition, secret process, patented or unpatented invention, article or appliance furnished or used in connection with this bid.

- SAMPLES:

Samples, when required, must be furnished and delivered free and, if not destroyed by tests, will upon written request (within 30 days of bid closing date) be returned at the bidder's expense. In the absence of such notification, County shall have the right to dispose of the samples in whatever manner it deems appropriate.

- RIGHTS AND REMEDIES OF COUNTY FOR DEFAULT:

  - In case of default by vendor, the County may procure the articles or service from another source and may recover the cost difference and related expenses occasioned thereby from any unpaid balance due the vendor or by proceeding against performance bond of the vendor, if any, or by suit against the vendor. The prices paid by the County shall be considered the prevailing market price at the time such purchase is made.

  - Articles or services, which upon delivery inspection do not meet specifications, will be rejected and the vendor will be considered in default. Vendor shall reimburse County for expenses related to delivery of non-specified goods or services.

  - Regardless of F.O.B. point, vendor agrees to bear all risks of loss, injury or destruction to goods and materials ordered herein which occur prior to delivery and such loss, injury or destruction shall not release vendor from any obligation hereunder.

- DISCOUNTS:

Terms of less than 15 days for cash payment will be considered as net in evaluating this bid. A discount for payment within fifteen (15) days or more will be considered in determining the award of bid. Discount period will commence either the later of delivery or receipt of invoice by the County. Standard terms are Net Forty-five (45) days.

- SPECIAL CONDITIONS IN BID SCHEDULE SUPERSEDE GENERAL CONDITIONS.

The “General Conditions” provisions of this RFP/RFQ shall be superseded if in conflict with any other section of this bid, to the extent of any such conflict.

- SPECIAL REQUIREMENT:

With the invoice or within twenty-five (25) days of delivery, the seller must provide to the County a Material Safety Data Sheet for each product, which contains any substance on “The List of 800 Hazardous Substances”, published by the State Director of Industrial Relations. (See Hazardous Substances Information and Training Act. California State Labor Code Sections 6360 through 6399.7.)

- RECYCLED PRODUCTS/MATERIALS:

Vendors are encouraged to provide and quote (with documentation) recycled or recyclable products/materials which meet stated specifications.

- YEAR COMPLIANCE WARRANTY

Vendor warrants that any product furnished pursuant to this Agreement/order shall support a four-digit year format and be able to accurately process date and time data from, into and between the twentieth and twenty-first centuries, as well as leap year calculations. "Product" shall include, without limitation, any piece or component of equipment, hardware, firmware, middleware, custom or commercial software, or internal components or subroutines therein. This warranty shall survive termination or expiration of this Agreement.

In the event of any decrease in product functionality or accuracy related to time and/or date data related codes and/or internal subroutines that impede the product from operating correctly using dates beyond December 31, 1999, vendor shall restore or repair the product to the same level of functionality as warranted herein, so as to minimize interruption to County's ongoing business process, time being of the essence. In the event that such warranty compliance requires the acquisition of additional programs, the expense for any such associated or additional acquisitions, which may be required, including, without limitation, data conversion tools, shall be borne exclusively by vendor. Nothing in this warranty shall be construed to limit any rights or remedies the County may otherwise have under this Agreement with respect to defects other than year performance.

- PARTICIPATION:

Bidder may agree to extend the terms of the resulting contract to other political subdivision, municipalities and tax-supported agencies.

Such participating Governmental bodies shall make purchases in their own name, make payment directly to bidder, and be liable directly to the bidder, holding the County of Fresno harmless.

- CONFIDENTIALITY:

All services performed by vendor shall be in strict conformance with all applicable Federal, State of California and/or local laws and regulations relating to confidentiality, including but not limited to, California Civil Code, California Welfare and Institutions Code, Health and Safety Code, California Code of Regulations, Code of Federal Regulations.

Vendor shall submit to County’s monitoring of said compliance.

Vendor may be a business associate of County, as that term is defined in the “Privacy Rule” enacted by the Health Insurance Portability and Accountability Act of 1996 (HIPAA). As a HIPAA Business Associate, vendor may use or disclose protected health information (“PHI”) to perform functions, activities or services for or on behalf of County as specified by the County, provided that such use or disclosure shall not violate HIPAA and its implementing regulations. The uses and disclosures if PHI may not be more expansive than those applicable to County, as the “Covered Entity” under HIPAA’S Privacy Rule, except as authorized for management, administrative or legal responsibilities of the Business Associate.

Vendor shall not use or further disclose PHI other than as permitted or required by the County, or as required by law without written notice to the County.

Vendor shall ensure that any agent, including any subcontractor, to which vendor provides PHI received from, or created or received by the vendor on behalf of County, shall comply with the same restrictions and conditions with respect to such information.

- APPEALS

Appeals must be submitted in writing within five (5) working days after the review committee notification of proposed recommendations. Appeals should be submitted to County of Fresno Purchasing, 4525 E. Hamilton Avenue, Fresno, California 93702-4599. Appeals should address only areas regarding RFP contradictions, procurement errors, quotation rating discrepancies, legality of procurement context, conflict of interest in rating process, and inappropriate or unfair competitive procurement grievance regarding the RFP process.

The Purchasing Manager will provide a written response to the complaint within five (5) working days unless the complainant is notified more time is required.

If the protesting bidder is not satisfied with the decision of the Purchasing Manager, he/she shall have the right to appeal to the Purchasing Agent within five (5) business days after notification of the Purchasing Manager’s decision.

If the protesting bidder is not satisfied with Purchasing Agent decision, the final appeal is with the Board of Supervisors.

BIDDING INSTRUCTIONS

- CONTRACT SERVICES

The County of Fresno is soliciting bids to establish an agreement under which the successful bidder will provide all labor, materials, taxes, insurance etc. as necessary to provide maintenance services for County generators as specified within this Request for Quotation.

LOCAL VENDOR PREFERENCE:  The Local Vendor Preference does not apply to this Request for Quotation.

DEFINITIONS:  The terms Bidder, Proposer, Contractor and Vendor are all used interchangeably and refer to that person, partnership, corporation, organization, agency, etc. which is offering the quotation and is identified on page one of this Request For Quotation (RFQ).

INTERPRETATION OF RFQ: Vendors must make careful examination of the requirements, specifications and conditions expressed in the RFQ and fully inform themselves as to the quality and character of services required. If any person planning to submit a quotation finds discrepancies in or omissions from the RFQ or has any doubt as to the true meaning or interpretation, correction thereof may be requested in or by FAX (FAX No. (559) 456-7831) from Purchasing. The deadline for submitting Requests for Clarification is July 15, 2005 8:00 A.M.

Questions shall be delivered to County of Fresno Purchasing, 4525 E. Hamilton Avenue, Fresno, California 93702 or faxed to (559) 456-7831. If faxing the bidder must confirm receipt by phone within one-half (1/2) hour of transmission.

NOTE: Time constraints will prevent County from responding to questions submitted after the cutoff date.

Any change in the Request for Quotation will be made by written addendum issued by the County. The County will not be responsible for any other explanations or interpretations.

AWARD:  Award will be made to the vendor(s) offering the services deemed to be to the best advantage of the County.  The County shall be the sole judge in making such determination.

RIGHT TO REJECT BIDS:  The County reserves the right to reject any and all bids and to waive informalities or irregularities in bids.

ISSUING AGENT: This RFQ has been issued by County of Fresno Purchasing. Purchasing shall be the vendor’s sole point of contact with regard to the RFQ, its content, and all issues concerning it.

AUTHORIZED CONTACT: All communication regarding this RFQ shall be directed to an authorized representative of County Purchasing. The specific buyer managing this RFQ is identified on the cover page, along with his or her telephone number, and he or she should be the primary point of contact for discussions or information pertaining to the RFQ. Contact with any other County representative, including elected officials, for the purpose of discussing this RFQ, it content, or any other issue concerning it, is prohibited unless authorized by Purchasing. Violation of this clause, by the vendor having unauthorized contact (verbally or in writing) with such other County representatives, may constitute grounds for rejection by Purchasing of the vendor’s quotation.

The above stated restriction on vendor contact with County representatives shall apply until the County has awarded a purchase order or contract to a vendor or vendors, except as follows. First, in the event that a vendor initiates a formal protest against the RFQ, such vendor may contact the appropriate individual, or individuals who are managing that protest as outlined in the County’s established protest procedures. All such contact must be in accordance with the sequence set forth under the protest procedures. Second, in the event a public hearing is scheduled before the Board of Supervisors to hear testimony prior to its approval of a purchase order or contract, any vendor may address the Board.

NUMBER OF COPIES:  Submit one (1) original and two (2) copies of your quotation no later than the quotation closing date and time as stated on the front of this document to County of Fresno Purchasing. Each copy to be identical to the original, include all supporting documentation (i.e. literature, brochures, reports, schedules etc.). The cover page of each quotation is to be appropriately marked “Original” or “Copy”.

FIRM QUOTATION: For purpose of award all quotations shall remain firm for at least one hundred twenty (120) days. The anticipated date of the new Agreement is October 1, 2005.

TAXES:  The quoted amount must include all applicable taxes. If taxes are not specifically identified in the quotation it will be assumed that they are included in the total quoted.

SALES TAX: Fresno County pays California State Sales Tax in the amount of 7.975% regardless of vendor's place of doing business.

MINOR DEVIATIONS:  The County reserves the right to negotiate minor deviations from the prescribed terms, conditions and requirements with the selected vendor.

QUOTATION REJECTION: Failure to respond to all questions or not to supply the requested information could result in rejection of your quotation.

BIDDERS’ LIABILITIES:  County of Fresno will not be held liable for any cost incurred by vendors in responding to the RFQ.

PRICE RESPONSIBILITY:  The selected vendor will be required to assume full responsibility for all services and activities offered in the quotation, whether or not they are provided directly. Further, the County of Fresno will consider the selected vendor to be the sole point of contact with regard to contractual matters, including payment of any and all charges resulting from the contract.  The contractor may not subcontract or transfer the contract, or any right or obligation arising out of the contract, without first having obtained the express written consent of the County.

CONFIDENTIALITY:  Bidders shall not disclose information about the County's business or business practices and safeguard confidential data which vendor staff may have access to in the course of system implementation.

NEWS RELEASE:  Vendors shall not issue any news releases or otherwise release information to any third party about this RFQ or the vendor's quotation without prior written approval from the County of Fresno.

BACKGROUND REVIEW: The County reserves the right to conduct a background inquiry of each proposer/bidder which may include collection of appropriate criminal history information, contractual and business associations and practices, employment histories and reputation in the business community. By submitting a quotation/bid to the County, the vendor consents to such an inquiry and agrees to make available to the County such books and records the County deems necessary to conduct the inquiry.

EXCEPTIONS: Identify with explanation, any terms, conditions, specifications or stipulations of the RFQ with which you CAN NOT or WILL NOT comply.

ADDENDUM: In the event that it becomes necessary to revise any part of this RFQ, an addendum will be provided to all agencies and organizations that receive the basic RFQ.

SUBCONTRACTORS: If a subcontractor is proposed, complete identification of the subcontractor and his tasks shall be provided. The primary contractor is not relieved of any responsibility by virtue of using a subcontractor.

CONFLICT OF INTEREST:  The County shall not contract with, and shall reject any bid or quotation submitted by the persons or entities specified below, unless the Board of Supervisors finds that special circumstances exist which justify the approval of such contract:

- Employees of the County or public agencies for which the Board of Supervisors is the governing body.

- Profit-making firms or businesses in which employees described in Subsection (1) serve as officers, principals, partners or major shareholders.

- Persons who, within the immediately preceding twelve (12) months, came within the provisions of Subsection (1), and who were employees in positions of substantial responsibility in the area of service to be performed by the contract, or participated in any way in developing the contract or its service specifications.

- Profit-making firms or businesses in which the former employees described in Subsection (3) serve as officers, principals, partners or major shareholders.

- No County employee whose position in the County enables him to influence the selection of a contractor for this RFQ, or any competing RFQ, and no spouse or economic dependent of such employee, shall be employees in any capacity by a bidder, or have any other direct or indirect financial interest in the selection of a contractor.

INVOICING:  All invoices are to be delivered in duplicate to the ordering department. Each invoice shall reference the purchase order or contract no. All invoices shall be mailed to requesting County Department as follows:

QUOTATION SCHEDULE “A”
GS-Facility Servicess
4590 E. Kings Canyon
Fresno, CA 93702

QUOTATION SCHEDULE “B”
Public Works-Resources/Special Districts
2220 Tulare St. Sixth Floor
Fresno, CA 93721

Invoice terms shall be net forty-five (45) days.

Note to vendors: Failure to invoice as instructed will result in a delay in payment.

PAYMENT:  County will make partial payments for all purchases made under the contract/purchase order and accumulated during the month.

CONTRACT TERM: It is County’s intent to contract with the successful bidder for a term of one (1) year with the option to renew for two (2) additional one (1) year periods.

PRICES:  Bidder agrees that prices quoted are maximum for the contract period, and in the event of a price decline such lower prices shall be extended to the County of Fresno.

QUANTITIES:  Quantities shown in the bid schedule are approximate and the County guarantees no minimum amount.  The County reserves the right to increase or decrease quantities.

MATERIALS TO BE NEW:  All materials shall be new and of merchantable grade, free from defect.  No bid will be considered unless it is accompanied by a complete list of manufacturer's catalog numbers of the items, which the bidder proposes to furnish, together with full descriptive literature on all items so enumerated.  If item proposed differs from these specifications, bidder shall present specific explanation of functioning and structural characteristics for those details which differ from the specifications listed herein.

EXAMINATION OF SITE:  Where work is to be performed on County site, each bidder shall have examined the site of work before bidding and shall be responsible for having acquired full knowledge of the job and of all problems affecting it.  No variations or allowance from the contract sum will be made because of lack of such examination.

DAMAGE TO EXISTING WORK:  Damage to existing construction, equipment, planting, etc., by the contractor in the performance of his work shall be replaced or repaired and restored to original condition by the contractor.

CLEAN-UP:  The Contractor shall at all times keep the premises clean from accumulation of waste materials or rubbish caused by his employees or work and shall remove all resulting work debris from the job site.

COORDINATE WORK WITH OWNER: Successful bidder shall coordinate and schedule the work with the County so that any interruption to the normal business operations be kept to a minimum.

SUPERVISION:  The Contractor shall give efficient supervision to the work, using therein the skill and diligence for which he is remunerated in the contract price.  He shall carefully inspect the site and study and compare all drawings, specifications and other instructions, as ignorance of any phase of any of the features or conditions affecting the contract will not excuse him from carrying out its provisions to its full intent.

STANDARD OF PERFORMANCE:  All work shall be performed in a good and workmanlike manner.

SAFEGUARDS:  The contractor shall provide safeguards, in conformity with all local codes and ordinances as may be required.

INDEPENDENT CONTRACTOR: In performance of the work, duties, and obligations assumed by Contractor under any ensuing Agreement, it is mutually understood and agreed that CONTRACTOR, including any and all of Contractor’s officers, agents, and employees will at all times be acting and performing as an independent contractor, and shall act in an independent capacity and not as an officer, agent, servant, employee, joint venturer, partner, or associate of the COUNTY.  Furthermore, County shall have no right to control or supervise or direct the manner or method by which Contractor shall perform its work and function.  However, County shall retain the right to administer this Agreement so as to verify that Contractor is performing its obligations in accordance with the terms and conditions thereof.  Contractor and County shall comply with all applicable provisions of law and the rules and regulations, if any, of governmental authorities having jurisdiction over matters the subject thereof.

Because of its status as an independent contractor, Contractor shall have absolutely no right to employment rights and benefits available to County employees. Contractor shall be solely liable and responsible for providing to, or on behalf of, its employees all legally-required employee benefits.  In addition, Contractor shall be solely responsible and save County harmless from all matters relating to payment of Contractor's employees, including compliance with Social Security, withholding, and all other regulations governing such matters.  It is acknowledged that during the term of the Agreement, Contractor may be providing services to others unrelated to the County or to the Agreement.

HOLD HARMLESS CLAUSE:  Contractor agrees to indemnify, save, hold harmless and at County's request, defend the County, its officers, agents and employees, from any and all costs and expenses, damages, liabilities, claims and losses occurring or resulting to County in connection with the performance, or failure to perform, by Contractor, its officers, agents or employees under this Agreement and from any and all costs and expenses, damages, liabilities, claims and losses occurring or resulting to any person, firm or corporation who may be injured or damaged by the performance, or failure to perform, of Contractor, its officers, agents or employees under this Agreement.

- INSURANCE:

Without limiting the COUNTY's right to obtain indemnification from CONTRACTOR or any third parties, CONTRACTOR, at its sole expense, shall maintain in full force and effect, the following insurance policies throughout the term of the Agreement:

- Commercial General Liability

Commercial General Liability Insurance with limits of not less than One Million Dollars ($1,000,000) per occurrence and an annual aggregate of Two Million Dollars ($2,000,000). This policy shall be issued on a per occurrence basis.   COUNTY may require specific coverages including completed operations, products liability, contractual liability, Explosion-Collapse-Underground, fire legal liability or any other liability insurance deemed necessary because of the nature of this contract.

- Automobile Liability

Comprehensive Automobile Liability Insurance with limits for bodily injury of not less than Two Hundred Fifty Thousand Dollars ($250,000.00) per person, Five Hundred Thousand Dollars ($500,000.00) per accident and for property damages of not less than Fifty Thousand Dollars ($50,000.00), or such coverage with a combined single limit of Five Hundred Thousand Dollars ($500,000.00).  Coverage should include owned and non-owned vehicles used in connection with this Agreement.

- Professional Liability

If CONTRACTOR employs licensed professional staff, (e.g., Ph.D., R.N., L.C.S.W., M.F.C.C.) in providing services, Professional Liability Insurance with limits of not less than One Million Dollars ($1,000,000.00) per occurrence, Three Million Dollars ($3,000,000.00) annual aggregate.

- Worker's Compensation

A policy of Worker's Compensation insurance as may be required by the California Labor Code.

CONTRACTOR shall obtain endorsements to the Commercial General Liability insurance naming the County of Fresno, its officers, agents, and employees, individually and collectively, as additional insured, but only insofar as the operations under this Agreement are concerned.  Such coverage for additional insured shall apply as primary insurance and any other insurance, or self-insurance, maintained by COUNTY, its officers, agents and employees shall be excess only and not contributing with insurance provided under CONTRACTOR's policies herein.  This insurance shall not be cancelled or changed without a minimum of thirty (30) days advance written notice given to COUNTY.

Within Thirty (30) days from the date CONTRACTOR executes this Agreement, CONTRACTOR shall provide certificates of insurance and endorsement as stated above for all of the foregoing policies, as required herein, to the County of Fresno, stating that such insurance coverage have been obtained and are in full force; that the County of Fresno, its officers, agents and employees will not be responsible for any premiums on the policies; that such Commercial General Liability insurance names the County of Fresno, its officers, agents and employees, individually and collectively, as additional insured, but only insofar as the operations under this Agreement are concerned; that such coverage for additional insured shall apply as primary insurance and any other insurance, or self-insurance, maintained by COUNTY, its officers, agents and employees, shall be excess only and not contributing with insurance provided under CONTRACTOR's policies herein; and that this insurance shall not be cancelled or changed without a minimum of thirty (30) days advance, written notice given to COUNTY.

In the event CONTRACTOR fails to keep in effect at all times insurance coverage as herein provided, the COUNTY may, in addition to other remedies it may have, suspend or terminate this Agreement upon the occurrence of such event.

All policies shall be with admitted insurers licensed to do business in the State of California.  Insurance purchased shall be purchased from companies possessing a current A.M. Best, Inc. rating of A FSC VII or better.

PERFORMANCE BOND:  The successful bidders may be required to furnish a faithful performance bond.

DISPUTE RESOLUTION:  The ensuing contract shall be governed by the laws of the state of California.

Any claim which cannot be amicably settled without court action will be litigated in the U. S. District Court for the Eastern District of California in Fresno, CA or in a state court for Fresno County.

TERMINATION:  The County reserves the right to terminate any resulting contract upon written notice.

DEFAULT: In case of default by the selected bidder, the County may procure the services from another source and may recover the loss occasioned thereby from any unpaid balance due the selected bidder, or by any other legal means available to the County.

ASSIGNMENTS:  The ensuing proposed contract will provide that the vendor may not assign any payment or portions of payments without prior written consent of the County of Fresno.

ASSURANCES:  Any contract awarded under this RFQ must be carried out in full compliance with The Civil Rights Act of 1964, The Americans With Disabilities Act of 1990, their subsequent amendments, and any and all other laws protecting the rights of individuals and agencies.  The County of Fresno has a zero tolerance for discrimination, implied or expressed, and wants to ensure that policy continues under this RFQ.  The contractor must also guarantee that services, or workmanship, provided will be performed in compliance with all applicable local, state, or federal laws and regulations pertinent to the types of services, or project, of the nature required under this RFQ.  In addition, the contractor may be required to provide evidence substantiating that their employees have the necessary skills and training to perform the required services or work.

AUDITS AND INSPECTIONS: The Contractor shall at any time during business hours, and as often as the County may deem necessary, make available to the County for examination all of its records and data and respect to the matters covered by this Agreement. The Contractor shall, upon request by the County, permit the County to audit and inspect all of such records and data necessary to ensure Contractor's compliance with the terms of this Agreement.

If this Agreement exceeds Ten Thousand and No/100 dollars ($10,000.00), Contractor shall be subject to the examination and audit of the Auditor General for a period of three (3) years after final payment under contract (Government Code Section 10532).

BIDDER TO COMPLETE:

WARRANTY AND SERVICE LOCATION:

State the warranty and/or guarantee provisions applicable to this equipment or attach warranty form with your bid.

State specific location where service and/or maintenance can be obtained.  Failure to furnish this information will be cause for rejection of bid.

State Purchase Order mailing address:

| Phone Number: |  |
| --- | --- |
| Fax Number: |  |
| e-mail |  |

- BIDDER TO COMPLETE THE FOLLOWING:

- PARTICIPATION

The County of Fresno is a member of the Central Valley Purchasing Group.  This group consists of Fresno, Kern, Kings, and Tulare Counties and all governmental, tax supported agencies within these counties.

Whenever possible, these agencies co-op (piggyback) on contracts put in place by one of the other agencies.

Any agency choosing to avail itself of this opportunity, will make purchases in their own name, make payment directly to the contractor, be liable to the contractor and vice versa, per the terms of the original contract, all the while holding the County of Fresno harmless.  If awarded this contract, please indicate whether you would extend the same terms and conditions to all tax supported agencies within this group as you are proposing to extend to Fresno County.

|  | Yes, we will extend contract terms and conditions to all qualified agencies within the Central Valley Purchasing Group. |
| --- | --- |
|  | No, we will not extend contract terms to any agency other than the County of Fresno. |
| (Authorized Signature) |  |
| Title |  |

Vendor must complete and return with Request for Quotation.

| Firm: |  |
| --- | --- |

REFERENCE LIST

The bidder shall submit a list of at least five (5) customer references. Such references shall be customers for whom the vendor has recently performed similar services.

| Reference Name: |  |  | City: |  |
| --- | --- | --- | --- | --- |
| Contact: |  |  | Phone No.: |  |
| Date and Service Provided: |  |  |  |  |
| Reference Name: |  |  | City: |  |
| Contact: |  |  | Phone No.: |  |
| Date and Service Provided: |  |  |  |  |
| Reference Name: |  |  | City: |  |
| Contact: |  |  | Phone No.: |  |
| Date and Service Provided: |  |  |  |  |
| Reference Name: |  |  | City: |  |
| Contact: |  |  | Phone No.: |  |
| Date and Service Provided: |  |  |  |  |
| Reference Name: |  |  | City: |  |
| Contact: |  |  | Phone No.: |  |
| Date and Service Provided: |  |  |  |  |

FAILURE TO PROVIDE A LIST OF AT LEAST FIVE (5) CUSTOMERS MAY BE CAUSE FOR REJECTION OF THIS RFQ.

SPECIFICATIONS
ATTACHMENT “A”
FACILITY SERVICESS

1.	INTRODUCTION

The County of Fresno has in operation twenty (20) emergency generators located in facilities throughout the County.  The intent of the RFQ is to identify vendor(s) for services to these systems.  Fresno County’s delivery of service to the citizens and employees of the county is dependent upon the reliable operation of these systems.

2.	OVERVIEW:

This Request for Quotation provides interested firms with the information required to prepare and submit to the County sealed quotations for scheduled and corrective maintenance.  The bidders will be responsible for supplying information on their ability to perform these services in a reliable, practical, cost-effective manner, while maintaining the highest technical standards regardless of the day or time.

The County has identified its needs for a maintenance program and the submitted Quotation shall meet these requirements.

Any questions requiring interpretation of the true meaning of specifications shall be requested in writing or by FAX (FAX  Number (559) 456-7831) from Purchasing. The deadline for submitting Requests for Clarification is July 15, 2005 at 8:00 A.M.

3.	COMPETENCE OF BIDDER

The importance of maintaining the identified equipment in a safe and efficient operating condition at all times demands that service be performed by a company who has satisfactorily maintained equipment of similar grade to the degree specified herein.

In order to demonstrate that the bidder can properly fulfill all of the services and conditions of these specifications, Contractor shall furnish with his bid a written statement showing that he has:

A.	A current license to perform the work in conformance with the Provisions of the State Business and Professions Code.  License Number shall be set forth in all bids and contracts.

B.	Satisfactorily preformed other contracts of similar nature and magnitude.

C.	Adequate capital and satisfactory business standing as required by the work.

D.	The requisite organization of skilled and experienced technicians thoroughly trained in the inspection, testing, maintenance and repair of fire/intrusion/duress system and device repair under his direct employment and supervision.

E.	The necessary facilities and plant, including parts inventory located within fifty (50) miles distance from the County sites involved.

F.	Toll free communication facilities on a 24 hour-per-day, 365 days-per-year basis so the bidders staff can be reached and will respond as specified herein.

G.	All proprietary information and diagnostic tools necessary to properly maintain, trouble shoot and adjust the County’s systems.

4.	GENERAL REQUIREMENTS

Provide all labor, materials, appliances, tools, transportation, and equipment required to complete scheduled system maintenance and corrective maintenance as required.

All work shall be in full compliance with current rules and regulations of all applicable codes.  Nothing in this RFQ is to be construed to permit work not conforming to these codes.  Applicable codes and regulations include, but are not limited to, the following:

1.	National Fire Protection Association - NFPA

2.	Uniform Building Code (Latest Edition)

3.	American Society of Mechanical Engineers - ASME

4.	American Society for Testing and Materials  - ASTM

5.	National Electrical Code - NEC (Latest Edition)

6.	National Electrical Manufacturer’s Association - NEMA

7.	Title 24, Building Safety, C.C.R.

8.	Occupational Safety and Health Act - OSHA

9.	Underwriters Laboratory - UL

10.	All Local Codes

5.	COMMENCEMENT AND DURATION OF CONTRACT

Services to be preformed under the contract(s) shall commence as specified on the face sheet of the bid and continue for a period of one (1) year with an option for two (2) additional one (1) year extensions.  The Agreement may be terminated by the County upon written notice.

6.	Facility Servicess and Purchasing Manager - RIGHTS AND RESPONSIBILITIES

The term Facility Services and Purchasing Manager shall refer to the General Services Department, Facility Services and Purchasing Manager of Fresno County or his agent acting for him in the supervision of this Contract.

It will be the duty of the Facility Services and Purchasing Manager to supervise the work as it progresses as well as to inspect materials, which are used in the work.  The duty of inspectors acting under the Facility Services and Purchasing Manager shall not be only to report deviations from the specifications, but they shall have the power to stop the work pending a decision by the Facility Services and Purchasing Manager.  The inspector shall have no power to alter the specifications.  Advice or directions given to the Contractor by the inspector shall not be binding upon the Facility Services and Purchasing Manager; neither shall it release the Contractor from his responsibilities as herein stated.

It will be the right of the Facility Services and Purchasing Manager at any time to stop defective work or to stop the entire work by the Contractor if he is not complying with the rules, specifications and contract entered into between the County of Fresno and the Contractor.

The Facility Services and Purchasing Manager shall have the right to require the Contractor to remove at any time any employee of the Contractor who shall be employed on this job and who appears to be incompetent, who acts in a disorderly, unsafe or improper manner, or fails to follow established protocols, including county rules and regulations and such person shall not again be put to work on this job without written consent of the Facility Services and Purchasing Manager.

The Facility Services and Purchasing Manager without invalidating the Contract, may order extra work or make changes by altering, adding to or deducting from the work only by written Orders, initiated by the Facility Services and Purchasing Manager and properly approved and authorized and setting forth the amount of money to be added or deducted.

7.	DELIVERY REQUIREMENTS:

The Fresno County General Services Facility Services will be responsible for the administration of the work requested through this Request for Quotation (RFQ). (Specifications “A”)

Coordination and communication with GS-Facility Services will be essential to the successful completion of this work.  All facilities will remain in full normal operation for the duration of the agreement and any need for disruption of the services provided in these facilities shall be presented with the quotation.

Upon award the Facility Services and Purchasing Manager shall issue a Notice to Proceed and identify his designee(s) therein.  Only those designated by the Facility Services and Purchasing Manager and the Facility Services and Purchasing Manager shall have authority to make determinations under the agreement.

Corrective maintenance and any system component or parts replacement shall be approved by Facility Services and Purchasing Manager or his designee prior to the start of work and be so indicated in writing on the approved service form.

8.	CONTROL OF WORK AND INSTRUCTIONS:

The contractor shall provide diligent supervision of the work to the satisfaction of the Facility Services and Purchasing Manager.

Contractor shall confine storage of materials to such limits as may be directed by the Facility Services and Purchasing Manager and shall not unreasonably encumber the premises with materials and equipment.  Contractor shall enforce any instructions of the Facility Services and Purchasing Manager regarding signs, advertising, fire, danger signals, barricades, and smoking, and shall require all persons employed on the work to comply with all building regulations while on the premises.

9.	SCHEDULING OF WORK

All maintenance service shall be scheduled subject to the review and approval of GS-Facility Services.  The contractor(s) shall be required to provide yearly schedules of the work within 30 days of contract execution and on or before January 1, of the subsequent years.  These schedules must be adhered to throughout the term of the agreement.

No work shall interfere with the operation of the existing facilities on or adjacent to the site.  Normal Facility hours are, Monday to Friday 0700 to 1630. Work may be scheduled outside of normal working hours as approved by the Facility Services and Purchasing Manager.

Contractor shall provide for approval by the Facility Services and Purchasing Manager within 30 days of contract execution the contractor report of service form.  This form will be required to document services rendered.  The form at a minimum shall include, date of service, time of arrival/departure, printed name and signature of technician providing the service, building number, location in the building, type of service (preventative/corrective/extra services), corrective action taken, location of devices serviced or repaired, parts utilization, status of service/repair, printed name and signature of County representative authorizing the work, completion of work County representative printed name and signature.

10.	SAFEGUARDS :

The Contractor shall provide, in conformity with all local codes and ordinances and as may be required, lock-outs, fences, guardrails, barricades, lights, danger signs, enclosures, etc. and maintain such safeguards until work is complete.

Any fire hazardous operation shall have proper fire extinguisher, furnished by the contractor, close by and the adjacent area shall be policed before starting or stopping work for the day.  The contractor shall be responsible for all costs incurred by the County as a result of damaged caused by the contractors operations, including costs associated with false fire alarms caused by the contractor.

The contractor shall ensure that the health and welfare of occupants of the building will not be effected by noise and fumes produced by the work.  The Facility Services and Purchasing Manager reserves the right to halt any work, at any time he feels it adversely affects the building occupants.

Any asbestos removal shall be by the County.  If the contractor discovers asbestos, which has not been removed, the contractor shall immediately cease work in that area and promptly notify the Facility Services and Purchasing Manager or his representative.

11.	MATERIALS & WORKMANSHIP

Materials and equipment shall be new unless otherwise approved by the Facility Services and Purchasing Manager. Materials and equipment of a given type shall be of the same manufacture. Materials and equipment shall be free of dents, scratches, marks, shipping tags, and all defacing features.

All material, equipment, devices, etc. shall be installed in accordance with the recommendations of the manufacture of the particular item.  The Contractor shall be responsible for all installations contrary to the manufacture’s recommendations.  The contractor shall make all necessary changes and revisions necessary for compliance.  Manufacturer’s installation instructions shall be delivered to and maintained on the jobsite through the duration of the project.

Any work which is done as an addition, expansion or remodel to an existing system or system component shall be compatible with that system and be approved prior to the installation.

Workmanship shall be to the best of trade practices, preformed by workers thoroughly trained and familiar with the respective systems. All defective workmanship shall be corrected by the contractor at the contractor expense.

The contractor shall thoroughly clean all of his work, removing all debris, stain and marks resulting from his work.  This includes but is not limited to building surfaces, piping, and equipment. Surfaces shall be free of dirt, grease, labels, tags, tape, rust, and all foreign material.

Contractor shall ensure that before testing or servicing the systems notification is given to the appropriate County representative(s).  Contractor shall be responsible for all costs associated with alarms or signals that result in interruption of business or unplanned evacuation.

Wiring in panel boards, and cabinets shall be neatly installed.  Wiring shall be grouped, laced, or clipped and fanned out to wiring terminals.

Wiring in all cabinets, panel boards, control panels shall be identified and clearly marked at termination.

Installation of conduit, junction boxes, and associated equipment shall be done in a neat manner secured to the structure or suspended on conduit hangers.

All wiring and construction prints or diagrams of systems covered under this contract are the property of the County and upon termination of this contract shall be delivered to the Facility Services and Purchasing Manager.  Absolutely no changes are to be made to the circuitry or mechanical systems without prior approval of the Facility Services and Purchasing Manager.  Any changes without prior approval may be considered a breach of contract.  All changes in circuitry made by Contractor shall be properly recorded on the diagrams, including date of change and name of person making same.  It is the responsibility of the Contractor to maintain clean, legible, readable and accurate schematics and wiring diagrams at all times.  Prints and diagrams are to remain on the job site.

12.	RESPONSIBILITY OF CONTRACTOR:

Contractor shall take responsibility for the work, and shall bear all losses resulting to him on account of the negligence of the Contractor.  Contractor shall be responsible for all work of subcontractors and shall assume the defense of and indemnify and save harmless the County of Fresno and any of its officers and their agents from claims of any kind arising from the negligent performance of this Contract by the Contractor or any of his subcontractors.  Contractor shall not be liable for injuries or damage to persons or property except those directly due to his own acts or omissions, and the responsibility of the County for injuries or damage to persons or property while on or about the equipment being maintained hereunder is in no way affected by this Agreement.  Contractor shall not be liable for any loss, damage or delay caused by strikes, lock-outs, fire, theft, floods, riot, civil commotion, war, malicious mischief, act of God or any cause beyond his reasonable control.

No equipment-requiring repair shall be allowed to remain out of service due to the lack of diligent effort by the Contractor.  Any part or equipment locally available will be purchased locally if necessary to expedite the job.  Repairs shall be begun and carried to completion as soon as possible unless other arrangements are approved by the Facility Services and Purchasing Manager.

Contractor shall in no case allow the performance of work by subcontract unless the subcontractor has been approved by the Facility Services and Purchasing Manager, and in no case shall the use of subcontractors in any way alter the position of the Contractor or his sureties with relation to his Contract with Fresno County.  When a subcontractor is used the responsibility for every portion of the work shall still remain with the Contractor.

Contractor shall obtain prior approval of the Facility Services and Purchasing Manager in writing for any area or space required for the Contractor’s storage during operations. This space will be maintained in a clean and orderly fashion.

Materials, equipment, etc. shall not be piled or stored in any location, which shall interfere with the conduct of the normal functions of the building or property.  All required safety precautions such as barricades, signs, danger signals, etc., shall be furnished and installed by the Contractor during operations.

Upon demand of the Facility Services and Purchasing Manager the Contractor shall correct any dangerous or hazardous situations that the Facility Services and Purchasing Manager may indicate.

Contractor shall completely protect against damage from either materials or equipment all surfaces, equipment and facilities, adjoining his work, including, but not limited to woodwork, wall and floors.  All repair or replacement costs resulting from this damage shall be borne by the Contractor.  At the conclusion of each day’s work, the Contractor shall remove refuse, debris or waste materials and leave the premises in an orderly condition as required by the Facility Services and Purchasing Manager.

Contractor must specify the degree of support the County may be required to furnish to accomplish the requirements of this agreement, if any.  Specify the man-hours required, and the nature of County’s participation within the scope of the agreement.

Contractor shall provide sufficient technicians for the service of the systems listed in this agreement in accordance with the specifications herein. Technicians utilized for fire alarm systems shall be qualified and experienced in the inspection, testing, and maintenance of fire alarm systems. Contractor may be required at any time to provide substantiation and verification of qualifications of their employee(s) upon request of the Facility Services and Purchasing Manager.

Contractor shall provide, for approval by the Facility Services and Purchasing Manager, the procedure to be followed for requesting services provided in this agreement.  This procedure will include, Method of requesting service, ability to provide estimated arrival time of technician to site, reporting of call completion, communication with requesting staff and technician servicing the contract, etc.

13.	EXTRA WORK - CHANGE IN WORK:

The County, without invalidating the Contract, may order extra work or make changes by altering, adding to or deducting from the work only by written Orders, initiated by the Facility Services and Purchasing Manager and properly approved and authorized and setting forth the amount of money to be added or deducted.

14.	SPECIAL CONDITIONS:

In the event that the County will withdraw any equipment from service, or the usefulness of any equipment shall end, during the term of this Contract, the Contractor shall agree to negotiate an acceptable reduction of cost for services for the balance of the duration of said Contract.

15.	MANNER AND TIME OF CONDUCTING THE WORK:

All work shall be performed by skilled Motor Generator technicians and helpers directly employed and supervised by the Contractor.  Only qualified system technicians with a minimum of 4 years journeyman experience shall be allowed to perform service or maintenance work.  Helpers must work under the direct supervision of a journeyman technician.

Except for emergency callback service and minor repairs and/or adjustments hereinafter provided for, all work shall be performed during regular working hours and days.  Regular working hours are from 7:00 a.m. until 6:00 p.m. Monday through Friday.  County holidays excluded.

All equipment shutdowns for regular maintenance or extra examinations shall be scheduled in advance with the designated County representative and approved by the Facility Services and Purchasing Manager so as not to interfere with building operations during the peak usage times.  Shutdowns in excess of one hour may require scheduling outside of normal business hours.  No extra charges will be incurred because of a scheduled shutdown regardless of day or time.

16.	EMERGENCY WORK:

All work of a callback nature or trouble calls shall be treated as an emergency and work commenced shall be carried through to completion without delay.

Provide 24 - hour emergency callback service for all equipment maintained hereunder.  Emergency callback service shall consist of prompt response to requests from the Facility Services and Purchasing Manager or his authorized representatives for emergency services on any day of the week, at any hour of the day or night.  An emergency callback is defined as any necessity for maintenance, minor repair and/or adjustment of equipment between regular service calls to restore normal equipment operation.  Emergency call backs will be categorize as follows:

LEVEL I - I	Requires onsite response in one (1) hours or less.

LEVEL II - 	Requires onsite response in four (4) hours or less.

LEVEL III- 	Requires onsite response at 0700 hrs. The next normal working day.

Determination of call level is at the discretion of the Facility Services and Purchasing Manager or his authorized representative.  Failure to furnish emergency call-back service within the above specified time of notification of need may result in termination of contract, withholding of payment, and/or another contractor to be hired to complete the work at the current contractor’s expense.

Cost for corrective services, during normal hours, described herein shall be:

___________________ Per Hour

Cost for corrective services, after normal hours, described herein shall be:

___________________ Per Hour

MINIMUM REQUIREMENTS:

1.	All spark plugs will be checked and cleaned or replaced if necessary on the gasoline engines.  All injectors will be checked, cleaned and tested on the diesel engines.

2.	Ignition systems will be checked and cleaned as necessary.  The timing will be checked and adjusted as necessary.

3.	The equipment will be lubricated and the engine oil and filters changed, oil and filters to meet OEM specification.

4.	Visual inspection of fuel system to include, inspection of day tank, fuel lines and connections for leaks and assure proper operation.  Clean or replace all fuel filters as per manufacture specifications.

5.	All equipment will be checked for fuel, oil and water leaks.  All hoses that need to be replaced shall be replaced with silicone hoses for an additional charge.

6.	All batteries will be inspected for damage, electrolyte level, and specific gravity.  Clean and tighten all battery cable connections.

7.	All air cleaners will be replaced as necessary.

8.	All instruments and safety devices will be tested and adjusted for proper operation.

- Inspection of exhaust system.

- Cooling systems shall be drained flushed and replenished to OEM specifications the first year of this agreement and every other year there after.

- Inspect, clean, and tighten all generator output connections per OEM specifications. Verify output voltage, phasing, and proper operation of all electrical monitoring devices.

A written report indicating the general operating condition of each unit will be submitted to the Facility Servicess Supervisor upon completion of service to all the units.  The report shall state repairs made to each unit as well as any extraordinary repairs, which may be necessary in the immediate future.

Note: The above service requirements are to be performed annual with the exception of Item 10.

SPECIFICATIONS
ATTACHMENT “B”
RESOURCES-SPECIAL DISTRICTS

INTRODUCTION

The Special Districts Section of the Resources Division of the Planning & Resource Management Department of Fresno County is soliciting bids for maintenance service for eleven (11) generators located in the Shaver Lake Area (Waterworks Districts 41S and 41W and County Service Area 31B), the Brighton Crest Subdivision (County Service Area 34A), the Quail Lake Subdivision (County Service Area 47) and the Monte Verdi Subdivision (Friant Area – County Service Area 44D).  The following is a list of generators that are requiring regular maintenance:

- Two 75 kW Generac generators with CAT engine – Waterworks District 41 (Shaver Lake)

-	One 35 kW Generac generator with CAT engine – County Service Area 31B (Shaver Lake)

-	Two 75 kW Olympian generators with CAT engine – One in County Service Area 31B (Shaver Lake) and one in County Service Area 34A (Brighton Crest)

- Four 5000 watt Onan generators – Waterworks District 41 (Shaver Lake)

- One 250 kW with CAT engine – County Service Area 47 (Quail Lake)

- One 125 kW with CAT engine – County Service Area 44D (Friant Area)

Bidders are to  provide a quote for each of the two maintenance schedules listed below.  The quote should include all costs excluding materials and parts

#### LEVEL I

#### QUARTERLY OR SEMI-ANNUALLY

1.	Check battery electrolyte level and specific gravity.

2.	Clean and tighten all battery cable connections.

3.	Load test batteries.

4.	Inspect air filters and radiator core.

5.	Check radiator louvers for proper operation.

6.	Inspect exhaust system for leaks and defects.

7.	Check all fuel systems connections.

8.	Check fluid levels, note the condition of coolant and add conditioner (if required).

9.	Inspect generator and check controls.

10.	Start engine and run under facility load, if possible.

11.	Test safety shutdown systems.

12.	Take oil sample for analysis of wear metals and other contaminates.

- Inspect engine for oil and water leaks.

14.	Inspect condition of engine drive belts and hoses.

15.	Wipe down engine and clean area.

- Submit written report of work done, repairs needed, problems found, and approximate cost of repair.

- Check transfer switch operation.

#### LEVEL 2

#### ANNUALLY

1.	All items listed under level 1.

2.	Inspect air cleaners and replace, if necessary.

3.	Change water filter, if installed.

4.	Change oil and oil filters.

5.	Change fuel filters.

6.	Test coolant for proper ethylene glycol and conditioner concentration.

7.	Includes the handling and disposal of the hazardous waste oil and coolant.

In addition, bidders are requested to provide the following on Quotation Schedule “B”, Page 25.

1.	Labor rates for additional work that would be required for maintenance of the generator, including over time rates.

2.	Travel time costs for any extra items and the mileage that would be charged to each area.

3.	Price list of replacement parts (including brand name) that would normally be used for repair’s (Attach to Quotation)

GENERAL REQUIREMENTS

Provide all labor, materials, appliances, tools, transportation, and equipment required to complete scheduled system maintenance and corrective maintenance as required.

All work shall be in full compliance with current rules and regulations of all applicable codes.

## SCHEDULING OF WORK

Prior to commencement of the requested work, the contractor shall contact the Supervising Water/Wastewater Specialist at (559) 841-2394 to schedule the work.

Vendor Name

QUOTATION SCHEDULE “A”

FACILITY SERVICES

All labor, materials, taxes, etc. to provide generator maintenance in accordance with Specifications Attachment “A”.

LOCATION	UNIT DESCRIPTION	 PARTS*	 LABOR	  	TOTAL

Fresno County Plaza	500KW  Cummins	$		$		$

2200Tulare Street	S/N OE3308448

Sheriff Admin. Bldg.	150KW CAT Cummins	$		$		$

2200 Fresno Street	Diesel  S/N 1040688316

So. Annex Jail	300KW CAT Diesel	$		$		$

1155 M Street	3406 S/N 75Z01187

So. Annex Kitchen	50KW Kohler N/Gas	$		$		$

1155 M Street	S/N EF3310384

Courthouse	140KW ONAN N/Gas	$		$		$

1100 Van Ness Avenue	Roiline 65X2375

Hall of Records	200KW Cummins	$		$		$

2281 Tulare Street	S/N A000040120

Juvenile Hall Annex	150KW Cummins	$		$		$

744 S. Tenth Street	S/N 393361

Satellite Jail	275W CAT Diesel	$		$		$

110 M Street	3408 S/N 67U09481

Brix/Mercer Bldg.	155KW CAT Diesel	$		$		$

1221 Fulton Mall 	3306 S/N 66D36835

Elkhorn Correctional Facility	230KW Cummins Diesel	$		$		$

500 E. Elkhorn, Caruthers	S/N 30103413

Elkhorn Correctional Facility	Cummins Fire Pump	$		$		$

500 E. Elkhorn, Caruthers	S/N 45427318

Main Detention Facility	1100KW CAT Diesel	$		$		$

1225 “ M “ Street	3512 S/N 24Z01743

Vendor Name

QUOTATION SCHEDULE “A”

FACILITY SERVICES

LOCATION	UNIT DESCRIPTION	 PARTS*	 LABOR	  	TOTAL

North Detention Facility	1250 Cummins	$		$		$

1225 “M” Street	S/N J010294265

Computer Services Dept	750KW CAT Diesel	$		$		$

1020 S. 10th Street	3508 S/N 23Z03648

Juvenile Probation	20KW Ford-Onan N/G	$		$		$

808 So. 10th Street

Central Kitchen	750KW Onan 	$		$		$

200 N. H Street	S/N E010244526

Squaw Valley Comm. Center	20KW Cummins-Onan 	$		$		$

30691 Kings Canyon Rd.	Ford Engine LPG Fired

Serial # B010212252

Health Dept.	250KW 	$		$		$

Portable Generators (3)	Serial # C020343957

4590 E. Kings Canyon

250KW	$		$		$

Serial # C020343958

35KW 	$		$		$

Serial # D010232799

All labor, materials, taxes, insurance, permits, handling and proper disposal of the hazardous waste coolant to perform Item #10, Page 20 Minimum Requirements.

$	 First Year

$	 Third Year

Vendor Name

QUOTATION SCHEDULE “B”

RESOURCES-SPECIAL DISTRICTS

All labor, materials, taxes, insurance etc. to provide generator maintenance in accordance with Specifications-Attachment “B”.

# LEVEL 1

35 kW 					$_________

75kW					$_________

125 kW				$_________

250 kW				$_________

5000 W				$_________

# LEVEL 2

35 kW 					$_________

75kW					$_________

125 kW				$_________

250 kW				$_________

5000 W				$_________

# EXTRA SERVICES

Standard Labor Rate			$_________

Overtime Labor Rate			$_________

# TRAVEL TIME TO VARIOUS AREAS

SHAVER LAKE			$__________

FRIANT				$__________

BRIGHTON CREST SUBDIVISION	$__________
(NEAR MILLERTON LAKE)

QUAIL LAKE SUBDIVISION)		$__________
(ACADEMY AND SHAW

Mileage				$__________ per mile

*Indicate where mileage starts and stops (i.e. portal to portal,
Fresno to Jobsite, etc.

# PARTS

RETAIL LESS				 __________%