| COUNTY OF FRESNO |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Request for QUOTATION |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | NUMBER: 928-4950 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| June 6, 2011 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ORG/Requisition: 9140, 8935/ 1401100074, 1321101151 |  |  |  |  |  |  | PURCHASING USE |  |  |  | /tmp/in/input.doc |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | saw |  |  |  |  |  |  |  |  |  |  |  |
| IMPORTANT: SUBMIT QUOTATION IN SEALED PACKAGE WITH QUOTATION NUMBER, CLOSING DATE AND BUYER’S NAME MARKED CLEARLY ON THE OUTSIDE TO: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| COUNTY OF FRESNO, Purchasing 4525 EAST HAMILTON AVENUE, 2nd Floor FRESNO, CA 93702-4599 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Closing date of bid will be at 2:00 p.m., on July 6, 2011. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| QUOTATIONS WILL BE CONSIDERED LATE WHEN THE OFFICIAL PURCHASING TIME CLOCK READS 2:00 P.M. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Quotations will be opened and publicly read at that time. All quotation information will be available for review after contract award. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Clarifications of specifications are to be directed to: Jeannine Geare, e-mail CountyPurchasing@co.fresno.ca.us, phone (559) 600-7110, FAX (559) 456-7831. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| GENERAL CONDITIONS: See “County Of Fresno Purchasing Standard Instructions And Conditions For Request For Proposals (RFP’S) and Requests for Quotations (RFQ’S)” attached. Check County of Fresno Purchasing’s Open Solicitations website at http://www2.co.fresno.ca.us/0440/Bidshome2.asp for RFQ/RFP documents and changes. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| BIDDER TO COMPLETE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| UNDERSIGNED AGREES TO FURNISH THE COMMODITY OR SERVICE STIPULATED IN THE ATTACHED QUOTATION SCHEDULE AT THE PRICES AND TERMS STATED, SUBJECT TO THE “COUNTY OF FRESNO PURCHASING STANDARD INSTRUCTIONS AND CONDITIONS FOR REQUEST FOR QUOTATIONS (RFP’S) AND REQUESTS FOR QUOTATIONS (RFQ’S)”ATTACHED. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Except as noted on individual items, the following will apply to all items in the Quotation Schedule. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Complete delivery will be made within |  |  |  |  |  |  |  | calendar days after receipt of Order. |  |  |  |  |  |  |  |  |  |  |
| - A cash discount of |  |  |  |  | % |  |  |  |  | days will apply. |  |  |  |  |  |  |  |  |
| Company |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Address |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| City |  |  |  |  |  |  |  |  |  |  |  |  | State |  | Zip Code |  |  |  |
| ( ) |  |  |  | ( ) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Telephone Number |  |  |  | Facsimile Number |  |  |  |  |  |  |  |  | E-mail Address |  |  |  |  |  |
| Signed By |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Print Name |  |  |  |  |  |  |  |  | Title |  |  |  |  |  |  |  |  |  |

COUNTY OF FRESNO PURCHASING

STANDARD INSTRUCTIONS AND CONDITIONS FOR
REQUESTS FOR PROPOSALS (RFP'S) AND REQUESTS FOR QUOTATIONS (RFQ'S)

Note: the reference to “bids” in the following paragraphs applies to RFP's and RFQ's

## GENERAL CONDITIONS

By submitting a bid the bidder agrees to the following conditions.  These conditions will apply to all subsequent purchases based on this bid.

- BID PREPARATION:

  - All prices and notations must be typed or written in ink.  No erasures permitted.  Errors may be crossed out, initialed and corrections printed in ink by person signing bid.

  - Brand Names: Brand names and numbers when given are for reference. Equal items will be considered, provided the offer clearly describes the article and how it differs from that specified.  In the absence of such information it shall be understood the offering is exactly as specified.

  - State brand or make of each item.  If bidding on other than specified, state make, model and brand being bid and attach supporting literature/specifications to the bid.

  - Bid on each item separately.  Prices should be stated in units specified herein.  All applicable charges must be quoted; charges on invoice not quoted herein will be disallowed.

  - Time of delivery is a part of the consideration and must be stated in definite terms and must be adhered to.  F.O.B. Point shall be destination or freight charges must be stated.

  - All bids must be dated and signed with the firm’s name and by an authorized officer or employee.

  - Unless otherwise noted, prices shall be firm for one hundred eighty (180) days after closing date of bid.

- SUBMITTING BIDS:

  - Each bid must be submitted on forms provided in a sealed envelope/package with bid number and closing date and time on the outside of the envelope/package.

  - Interpretation: Should any discrepancies or omissions be found in the bid specifications or doubt as to their meaning, the bidder shall notify the Buyer in writing at once.  The County shall not be held responsible for verbal interpretations.  Questions regarding the bid must be received by Purchasing at least five (5) working days before bid opening.  All addenda issued shall be in writing, duly issued by Purchasing and incorporated into the contract.

  - ISSUING AGENT/AUTHORIZED CONTACT: This RFP/RFQ has been issued by County of Fresno, Purchasing. Purchasing shall be the vendor’s sole point of contact with regard to the RFP/RFQ, its content, and all issues concerning it.

All communication regarding this RFP/RFQ shall be directed to an authorized representative of County Purchasing. The specific buyer managing this RFP/RFQ is identified on the cover page, along with his or her telephone number, and he or she should be the primary point of contact for discussions or information pertaining to the RFP/RFQ. Contact with any other County representative, including elected officials, for the purpose of discussing this RFP/RFQ, its content, or any other issue concerning it, is prohibited unless authorized by Purchasing. Violation of this clause, by the vendor having unauthorized contact (verbally or in writing) with such other County representatives, may constitute grounds for rejection by Purchasing of the vendor’s quotation.

The above stated restriction on vendor contact with County representatives shall apply until the County has awarded a purchase order or contract to a vendor or vendors, except as follows. First, in the event that a vendor initiates a formal protest against the RFP/RFQ, such vendor may contact the appropriate individual, or individuals who are managing that protest as outlined in the County’s established protest procedures. All such contact must be in accordance with the sequence set forth under the protest procedures. Second, in the event a public hearing is scheduled before the Board of Supervisors to hear testimony prior to its approval of a purchase order or contract, any vendor may address the Board.

  - Bids received after the closing time will NOT be considered.

  - Bidders are to bid what is specified or requested first. If unable to or unwilling to, bidder may bid alternative or option, indicating all advantages, disadvantages and their associated cost.

  - Public Contract Code Section 7028.15

Where the State of California requires a Contractor’s license, it is a misdemeanor for any person to submit a bid unless specifically exempted.

- FAILURE TO BID:

  - If not bidding, return bid sheet and state reason for no bid or your name may be removed from mailing list.

- TAXES, CHARGES AND EXTRAS:

  - County of Fresno is subject to California sales and/or use tax (8.975%). Please indicate as a separate line item if applicable.

  - DO NOT include Federal Excise Tax.  County is exempt under Registration No. 94-73-03401-K.

  - County is exempt from Federal Transportation Tax.  Exemption certificate is not required where shipping papers show consignee as County of Fresno.

  - Charges for transportation, containers, packing, etc. will not be paid unless specified in bid.

- W-9 – REQUEST FOR TAXPAYER IDENTIFICATION NUMBER AND CERTIFICATION:

Upon award of bid, the vendor shall submit to County Purchasing, a completed W-9 - Request for Taxpayer Identification Number and Certification if not already a current vendor with The County of Fresno. This form is available from the IRS to complete on line at http://www.irs.gov/pub/irs-pdf/fw9.pdf.

- AWARDS:

  - Subject to the local preference provisions referenced in Paragraph 7 below and more thoroughly set forth in the General Requirements section of this RFP/RFQ, award(s) will be made to the most responsive responsible bidder.  The evaluation will include such things as life-cycle cost, availability, delivery costs and whose product and/or service is deemed to be in the best interest of the County. The County shall be the sole judge in making such determination.

  - Unless bidder gives notice of all-or-none award in bid, County may accept any item, group of items or on the basis of total bid.

  - The County reserves the right to reject any and all bids and to waive informalities or irregularities in bids.

  - Award Notices are tentative: Acceptance of an offer made in response to this RFP/RFQ shall occur only upon execution of an agreement by both parties or issuance of a valid written Purchase Order by Fresno County Purchasing.

  - After award, all bids shall be open to public inspection. The County assumes no responsibility for the confidentiality of information offered in a bid.

- LOCAL VENDORS:

  - Local Vendor Preference (applicable to RFQ Process only)

The following provisions are applicable only to the County’s acquisition of materials, equipment or supplies through the RFQ process when the funding source does not require an exemption to the Local Vendor Preference.

THE PROVISIONS OF THIS PARAGRAPH ARE APPLICABLE, NOTWITHSTANDING ANY OTHER PROVISIONS OF THIS RFQ TO THE CONTRARY

If the apparent low bidder is not a local vendor, any local vendor who submitted a bid which was within five percent (5%) of the lowest responsive  bid as determined by the purchasing agent shall have the option of submitting a new bid within forty-eight (48) hours (not including weekends and holidays) of County’s delivery of notification. Such new bids must be in an amount less than or equal to the lowest responsive bid as determined by the purchasing agent.  If the purchasing agent receives any new bids from local vendors who have the option of submitting new bids within said forty-eight (48) hour period, it shall award the contract to the local vendor submitting the lowest responsible bid. If no new bids are received, the contract shall be awarded to the original low bidder as announced by the purchasing agent.

  - Local Vendor Defined

“Local Vendor” shall mean any business which:

- Has its headquarters, distribution point or locally-owned franchise located in or having a street address within the County for at least six (6) months immediately prior to the issuance of the request for competitive bids by the purchasing agent; and

- Holds any required business license by a jurisdiction located in Fresno County; and

- Employs at least one (1) full-time or two (2) part-time employees whose primary residence is located within Fresno County, or if the business has no employees, shall be at least fifty percent (50%) owned by one or more persons whose primary residence(s) is located within Fresno County.

- TIE BIDS:

All other factors being equal, the contract shall be awarded to the Fresno County vendor or, if neither or both are Fresno County vendors, it may be awarded by the flip of a coin in the presence of witnesses or the entire bid may be rejected and re-bid. If the General Requirements of this RFP/RFQ state that they are applicable, the provisions of the Fresno County Local Vendor Preference shall take priority over this paragraph.

- PATENT INDEMNITY:

The vendor shall hold the County, its officers, agents and employees, harmless from liability of any nature or kind, including costs and expenses, for infringement or use of any copyrighted or uncopyrighted composition, secret process, patented or unpatented invention, article or appliance furnished or used in connection with this bid.

- SAMPLES:

Samples, when required, must be furnished and delivered free and, if not destroyed by tests, will upon written request (within thirty (30) days of bid closing date) be returned at the bidder's expense. In the absence of such notification, County shall have the right to dispose of the samples in whatever manner it deems appropriate.

- RIGHTS AND REMEDIES OF COUNTY FOR DEFAULT:

  - In case of default by vendor, the County may procure the articles or service from another source and may recover the cost difference and related expenses occasioned thereby from any unpaid balance due the vendor or by proceeding against performance bond of the vendor, if any, or by suit against the vendor. The prices paid by the County shall be considered the prevailing market price at the time such purchase is made.

  - Articles or services, which upon delivery inspection do not meet specifications, will be rejected and the vendor will be considered in default. Vendor shall reimburse County for expenses related to delivery of non-specified goods or services.

  - Regardless of F.O.B. point, vendor agrees to bear all risks of loss, injury or destruction to goods and materials ordered herein which occur prior to delivery and such loss, injury or destruction shall not release vendor from any obligation hereunder.

- DISCOUNTS:

Terms of less than fifteen (15) days for cash payment will be considered as net in evaluating this bid. A discount for payment within fifteen (15) days or more will be considered in determining the award of bid. Discount period will commence either the later of delivery or receipt of invoice by the County. Standard terms are Net forty-five (45) days.

- SPECIAL CONDITIONS IN BID SCHEDULE SUPERSEDE GENERAL CONDITIONS:

The “General Conditions” provisions of this RFP/RFQ shall be superseded if in conflict with any other section of this bid, to the extent of any such conflict.

- SPECIAL REQUIREMENT:

With the invoice or within twenty-five (25) days of delivery, the seller must provide to the County a Material Safety Data Sheet for each product, which contains any substance on “The List of 800 Hazardous Substances”, published by the State Director of Industrial Relations. (See Hazardous Substances Information and Training Act. California State Labor Code Sections 6360 through 6399.7.)

- RECYCLED PRODUCTS/MATERIALS:

Vendors are encouraged to provide and quote (with documentation) recycled or recyclable products/materials which meet stated specifications.

- YEAR COMPLIANCE WARRANTY:

Vendor warrants that any product furnished pursuant to this Agreement/order shall support a four-digit year format and be able to accurately process date and time data from, into and between the twentieth and twenty-first centuries, as well as leap year calculations. "Product" shall include, without limitation, any piece or component of equipment, hardware, firmware, middleware, custom or commercial software, or internal components or subroutines therein. This warranty shall survive termination or expiration of this Agreement.

In the event of any decrease in product functionality or accuracy related to time and/or date data related codes and/or internal subroutines that impede the product from operating correctly using dates beyond December 31, 1999, vendor shall restore or repair the product to the same level of functionality as warranted herein, so as to minimize interruption to County's ongoing business process, time being of the essence. In the event that such warranty compliance requires the acquisition of additional programs, the expense for any such associated or additional acquisitions, which may be required, including, without limitation, data conversion tools, shall be borne exclusively by vendor. Nothing in this warranty shall be construed to limit any rights or remedies the County may otherwise have under this Agreement with respect to defects other than year performance.

- PARTICIPATION:

Bidder may agree to extend the terms of the resulting contract to other political subdivision, municipalities and tax-supported agencies.

Such participating Governmental bodies shall make purchases in their own name, make payment directly to bidder, and be liable directly to the bidder, holding the County of Fresno harmless.

- CONFIDENTIALITY:

All services performed by vendor shall be in strict conformance with all applicable Federal, State of California and/or local laws and regulations relating to confidentiality, including but not limited to, California Civil Code, California Welfare and Institutions Code, Health and Safety Code, California Code of Regulations, Code of Federal Regulations.

Vendor shall submit to County’s monitoring of said compliance.

Vendor may be a business associate of County, as that term is defined in the “Privacy Rule” enacted by the Health Insurance Portability and Accountability Act of 1996 (HIPAA). As a HIPAA Business Associate, vendor may use or disclose protected health information (“PHI”) to perform functions, activities or services for or on behalf of County as specified by the County, provided that such use or disclosure shall not violate HIPAA and its implementing regulations. The uses and disclosures if PHI may not be more expansive than those applicable to County, as the “Covered Entity” under HIPAA’s Privacy Rule, except as authorized for management, administrative or legal responsibilities of the Business Associate.

Vendor shall not use or further disclose PHI other than as permitted or required by the County, or as required by law without written notice to the County.

Vendor shall ensure that any agent, including any subcontractor, to which vendor provides PHI received from, or created or received by the vendor on behalf of County, shall comply with the same restrictions and conditions with respect to such information.

- APPEALS:

Appeals must be submitted in writing within seven (7) working days after notification of proposed recommendations for award. A “Notice of Award” is not an indication of County’s acceptance of an offer made in response to this RFP/RFQ. Appeals should be submitted to County of Fresno Purchasing, 4525 E. Hamilton Avenue, Fresno, California 93702-4599. Appeals should address only areas regarding RFP contradictions, procurement errors, quotation rating discrepancies, legality of procurement context, conflict of interest, and inappropriate or unfair competitive procurement grievance regarding the RFP/RFQ process.

Purchasing will provide a written response to the complainant within seven (7) working days unless the complainant is notified more time is required.

If the protesting bidder is not satisfied with the decision of Purchasing, he/she shall have the right to appeal to the Purchasing Agent/CAO within seven (7) business days after Purchasing’s notification; except if, notified to appeal directly to the Board of Supervisors at the scheduled date and time.

If the protesting bidder is not satisfied with Purchasing Agent/CAO’s decision, the final appeal is with the Board of Supervisors.

- OBLIGATIONS OF CONTRACTOR:

  - CONTRACTOR shall perform as required by the ensuing contract. CONTRACTOR also warrants on behalf of itself and all subcontractors engaged for the performance of the ensuing contract that only persons authorized to work in the United States pursuant to the Immigration Reform and Control Act of 1986 and other applicable laws shall be employed in the performance of the work hereunder.

  - CONTRACTOR shall obey all Federal, State, local and special district laws, ordinances and regulations.

- AUDITS & RETENTION:

The Contractor shall maintain in good and legible condition all books, documents, papers, data files and other records related to its performance under this contract. Such records shall be complete and available to Fresno County, the State of California, the federal government or their duly authorized representatives for the purpose of audit, examination, or copying during the term of the contract and for a period of at least three (3) years following the County's final payment under the contract or until conclusion of any pending matter (e.g., litigation or audit), whichever is later. Such records must be retained in the manner described above until all pending matters are closed.

- DISCLOSURE – CRIMINAL HISTORY & CIVIL ACTIONS:

Applies to Request for Proposal (RFP); does not apply to Request for Quotation (RFQ) unless specifically stated elsewhere in the RFQ document.

In their proposal, the bidder is required to disclose if any of the following conditions apply to them, their owners, officers, corporate managers and partners (hereinafter collectively referred to as “Bidder”):

- Within the three-year period preceding the proposal, they have been convicted of, or had a civil judgment rendered against them for:

  - fraud or a criminal offense in connection with obtaining, attempting to obtain, or performing a public (federal, state, or local) transaction or contract under a public transaction;

  - violation of a federal or state antitrust statute;

  - embezzlement, theft, forgery, bribery, falsification, or destruction of records; or

  - false statements or receipt of stolen property

Within a three-year period preceding their proposal, they have had a public transaction (federal, state, or local) terminated for cause or default.

- DATA SECURITY:

Individuals and/or agencies that enter into a contractual relationship with the COUNTY for the purpose of providing services must employ adequate controls and data security measures, both internally and externally to ensure and protect the confidential information and/or data provided to contractor by the COUNTY, preventing the potential loss, misappropriation or inadvertent access, viewing, use or disclosure of COUNTY data including sensitive or personal client information; abuse of COUNTY resources; and/or disruption to COUNTY operations.

Individuals and/or agencies may not connect to or use COUNTY networks/systems via personally owned mobile, wireless or handheld devices unless authorized by COUNTY for telecommuting purposes and provide a secure connection; up to date virus protection and mobile devices must have the remote wipe feature enabled.  Computers or computer peripherals including mobile storage devices may not be used (COUNTY or Contractor device) or brought in for use into the COUNTY’s system(s) without prior authorization from COUNTY’s Chief Information Officer and/or designee(s).

No storage of COUNTY’s private, confidential or sensitive data on any hard-disk drive, portable storage device or remote storage installation unless encrypted according to advance encryption standards (AES of 128 bit or higher).

The COUNTY will immediately be notified of any violations, breaches or potential breaches of security related to COUNTY’s confidential information, data and/or data processing equipment which stores or processes COUNTY data, internally or externally.

COUNTY shall provide oversight to Contractor’s response to all incidents arising from a possible breach of security related to COUNTY’s confidential client information.  Contractor will be responsible to issue any notification to affected individuals as required by law or as deemed necessary by COUNTY in its sole discretion.  Contractor will be responsible for all costs incurred as a result of providing the required notification.

- PURCHASING LOCATION & HOURS:

Fresno County Purchasing is located at 4525 E. Hamilton Avenue (second floor), Fresno, CA 93702.  Non-holiday hours of operation are Monday through Friday, 8:00 A.M. to 12:00 Noon and 1:00 P.M. to 5:00 P.M. PST; Purchasing is closed daily from 12:00 Noon to 1:00 P.M.  The following holiday office closure schedule is observed:

| January 1* |  | New Year's Day |
| --- | --- | --- |
| Third Monday in January |  | Martin Luther King, Jr.’s Birthday |
| Third Monday in February |  | Washington - Lincoln Day |
| March 31* |  | Cesar Chavez’ Birthday |
| Last Monday in May |  | Memorial Day |
| July 4* |  | Independence Day |
| First Monday in September |  | Labor Day |
| November 11* |  | Veteran's Day |
| Fourth Thursday in November |  | Thanksgiving Day |
| Friday following Thanksgiving |  |  |
| December 25* |  | Christmas |
| * When this date falls on a Saturday, the holiday is observed the preceding Friday. If the date falls on a Sunday, the holiday is observed the following Monday. |  |  |

BIDDING INSTRUCTIONS
CONTRACT SERVICE AND SUPPLY

The County of Fresno is soliciting bids to provide all labor, materials, equipment, taxes, etc., for the repair and maintenance of pumps and electric motors as specified in this Request for Quotation.  The users will be the Special Districts and Disposal Facilities Sections of the Resources Division of the Department of Public Works and Planning (Group I) and the Facility Services Section of General Services (Group II).

Because of the large area that will need coverage, the County intends to retain more than one firm resulting from this Request for Quotation.

LOCAL VENDOR PREFERENCE:  The Local Vendor Preference does not apply to this Request for Quotation.

AWARD:  Award will be made to the vendor(s) offering the equipment and system deemed to be to the best advantage of the County.  The County shall be the sole judge in making such determination.  Award Notices are tentative: Acceptance of an offer made in response to this RFQ shall occur only upon execution of an agreement by both parties or issuance of a valid written Purchase Order by Fresno County Purchasing.

COPIES:  Submit one (1) original and three (3) copies of your quotation no later than the RFQ closing date and time as stated on the front of this document, to County of Fresno Purchasing.

ISSUING AGENT: This RFQ has been issued by County of Fresno, Purchasing.  Purchasing shall be the vendor’s sole point of contact with regard to the RFQ, its content, and all issues concerning it.

AUTHORIZED CONTACT: All communication regarding this RFQ shall be directed to an authorized representative of County Purchasing.  The specific buyer managing this RFQ is identified on the cover page, along with his or her telephone number, and he or she should be the primary point of contact for discussions or information pertaining to the RFQ.  Contact with any other County representative, including elected officials, for the purpose of discussing this RFQ, it content, or any other issue concerning it, is prohibited unless authorized by Purchasing.  Violation of this clause, by the vendor having unauthorized contact (verbally or in writing) with such other County representatives, may constitute grounds for rejection by Purchasing of the vendor’s quotation.

The above stated restriction on vendor contact with County representatives shall apply until the County has awarded a purchase order or contract to a vendor or vendors, except as follows.  First, in the event that a vendor initiates a formal protest against the RFQ, such vendor may contact the appropriate individual, or individuals who are managing that protest as outlined in the County’s established protest procedures.  All such contact must be in accordance with the sequence set forth under the protest procedures.  Second, in the event a public hearing is scheduled before the Board of Supervisors to hear testimony prior to its approval of a purchase order or contract, any vendor may address the Board.

INTERPRETATION OF RFQ: Vendors must make careful examination of the requirements, specifications and conditions expressed in the RFQ and fully inform themselves as to the quality and character of services required.  If any person planning to submit a quotation finds discrepancies in or omissions from the RFQ or has any doubt as to the true meaning or interpretation, correction thereof may be requested at the scheduled Vendor Conference (see below). Any change in the RFQ will be made only by written addendum, duly issued by the County. The County will not be responsible for any other explanations or interpretations.

Questions may be submitted subsequent to the Vendor Conference, subject to the following conditions:

- Such questions are submitted in writing to County Purchasing not later than June 21, 2011. Questions must be directed to the attention of the buyer identified on page one.

- Such questions are submitted with the understanding that County can respond only to questions it considers material in nature.

Questions shall be delivered to County of Fresno Purchasing, 4525 E. Hamilton Avenue, Fresno, CA 93702, e-mailed CountyPurchasing@co.fresno.ca.us or faxed to (559) 456-7831. If faxing, the bidder must confirm receipt, by phone, within one-half (1/2) hour of transmission.

NOTE: The bidder is encouraged to submit all questions at the Vendor Conference. Time limitations can prevent a response to questions submitted after the conference.

VENDOR CONFERENCE:  On June 14, 2011 at 10:00 a.m., a vendor's conference will be held in which the scope of the project and quotation requirements will be explained. The meeting will be held at the office of County of Fresno Purchasing, 4525 E. Hamilton (between Cedar and Maple), 2nd Floor, Fresno, California. Minutes will be prepared and distributed to all bidders only if necessary to clarify substantive items raised during the bidders' conference.

Bidders are to contact Jeannine Geare at County of Fresno Purchasing, (559) 600-7110, if they are planning to attend the conference.

PAYMENT:  County will make partial payments for all purchases made under this contract/purchase order and accumulated during the month.

RIGHT TO REJECT BIDS:  The County reserves the right to reject any and all bids and to waive informalities or irregularities in bids.

CONTRACT TERM:  The initial contract term shall be three (3) years with the option to renew for two (2) additional one (1) year periods.

QUANTITIES:  Quantities shown in the bid schedule are approximate and the County guarantees no minimum amount.  The County reserves the right to increase or decrease quantities.

SPECIFICATIONS AND EQUALS:  Brand names, where used, are a means of establishing quality and style.  Bidders are invited to quote their equals.  Alternate offers are to be supported by literature, which fully describes items that you are bidding.

No exceptions to or deviations from this specification will be considered unless each exception or deviation is specifically stated by the bidder, in the designated places.  If no exceptions or deviations are shown, the bidder will be required to furnish items exactly as specified herein. The burden of proof of compliance with this specification is the responsibility of the bidder.

LITERATURE:  Bidders shall submit literature, which fully describes items on which they are bidding, not later than the closing date of this bid. Any and all literature submitted must be stamped with bidders name and address.

MERCHANDISE RETURNABLE FOR FULL CREDIT:  Bidder agrees to accept for full credit any merchandise sold by him on contract or award resulting from this bid, if returned in good condition by the County.

GUARANTEE AGAINST DEFECTS:  All items are to carry a full guarantee against defects in materials and workmanship and guarantee against breakage and other malfunctions when performing work for which they are designed.

ORDERING:  Orders will be placed as required by the various County Departments.

INVOICING:

For work ordered by the Department of Public Works and Planning, Resources Division, mail all invoices to 2220 Tulare St., 6th floor, Fresno, CA 93721.  For Special Districts, send to the attention of Joe Prado, Principal Staff Analyst.  For Disposal Sites, send to the attention of Baldomero Berber.

For work ordered by Facility Services Division, all invoices are to be delivered in duplicate to Mike Bartosch, Facility Services Department; 4590 E. Kings Canyon Road, Fresno, CA  93702.

Reference shall be made to the purchase order/contract number and equipment number if applicable on all invoices.

RENEWAL:  Contract may be renewed for an additional year by mutual written consent.

VENDOR ASSISTANCE:  Successful bidder shall furnish, at no cost to the County, a representative to assist County departments in determining their requirements for products and services.

TERMINATION:  The ensuing agreement may be terminated by the County at any time upon written notice.

HOLD HARMLESS CLAUSE:  Contractor agrees to indemnify, save, hold harmless and at County's request, defend the County, its officers, agents and employees, from any and all costs and expenses, damages, liabilities, claims and losses occurring or resulting to County in connection with the performance, or failure to perform, by Contractor, its officers, agents or employees under this Agreement and from any and all costs and expenses, damages, liabilities, claims and losses occurring or resulting to any person, firm or corporation who may be injured or damaged by the performance, or failure to perform, of Contractor, its officers, agents or employees under this Agreement.

ASSURANCES:  Any contract awarded under this RFQ must be carried out in full compliance with The Civil Rights Act of 1964, The Americans With Disabilities Act of 1990, their subsequent amendments, and any and all other laws protecting the rights of individuals and agencies.  The County of Fresno has a zero tolerance for discrimination, implied or expressed, and wants to ensure that policy continues under this RFQ.  The contractor must also guarantee that services, or workmanship, provided will be performed in compliance with all applicable local, state, or federal laws and regulations pertinent to the types of services, or project, of the nature required under this RFQ.  In addition, the contractor may be required to provide evidence substantiating that their employees have the necessary skills and training to perform the required services or work.

INDEPENDENT CONTRACTOR:  In performance of the work, duties and obligations assumed by Bidder under this agreement, it is mutually understood and agreed that Bidder, including any and all of Bidder's officers, agents, and employees will at all times be acting and performing as an independent contractor, and shall act in an independent capacity and not as an officer, agent, servant, employee, joint venturer, partner, or associate of the County. Furthermore, County shall have no right to control or supervise or direct the manner or method by which Bidder shall perform its work and function. However, County shall retain the right to administer this agreement so as to verify that Bidder is performing its obligations in accordance with the terms and conditions thereof. Bidder and County shall comply with all applicable provisions of law and the rules and regulations, if any, of Governmental authorities having jurisdiction over matters the subject thereof.

Because of its status as an independent contractor, Bidder waives any and all employment rights and benefits available to County employees. Bidder shall be solely liable and responsible for providing to, or on behalf of, its employees all legally required employee benefits. In addition, Bidder shall be solely responsible and save County harmless from all matters relating to payment of Contractor's employees, including compliance with Social Security, withholding, and all other regulations governing such matters. It is acknowledged that during the term of this agreement, Bidder may be providing services to others unrelated to the County or to this agreement.

PRICES:  Bidder agrees that prices quoted are maximum for the contract period, and in the event of a price decline such lower prices shall be extended to the County of Fresno.

MATERIALS TO BE NEW:  All materials shall be new and of merchantable grade, free from defect.  No bid will be considered unless it is accompanied by a complete list of manufacturer's catalog numbers of the items, which the bidder proposes to furnish, together with full descriptive literature on all items so enumerated.  If item proposed differs from these specifications, bidder shall present specific explanation of functioning and structural characteristics for those details which differ from the specifications listed herein.

EXAMINATION OF SITE:  Where work is to be performed on County site, each bidder shall have examined the site of work before bidding and shall be responsible for having acquired full knowledge of the job and of all problems affecting it.  No variations or allowance from the contract sum will be made because of lack of such examination.

DAMAGE TO EXISTING WORK:  Damage to existing construction, equipment, planting, etc., by the contractor in the performance of his work shall be replaced or repaired and restored to original condition by the contractor.

CLEAN-UP:  The Contractor shall at all times, keep the premises clean from accumulation of waste materials or rubbish caused by his employees or work and shall remove all resulting work debris from the job site.

SUPERVISION:  The Contractor shall give efficient supervision to the work, using therein the skill and diligence for which he is remunerated in the contract price.  He shall carefully inspect the site and study and compare all drawings, specifications and other instructions, as ignorance of any phase of any of the features or conditions affecting the contract will not excuse him from carrying out its provisions to its full intent.

STANDARD OF PERFORMANCE:  All work shall be performed in a good and workmanlike manner.

SAFEGUARDS:  The contractor shall provide safeguards, in conformity with all local codes and ordinances as may be required.

INSURANCE:

Without limiting the COUNTY's right to obtain indemnification from CONTRACTOR or any third parties, CONTRACTOR, at its sole expense, shall maintain in full force and effect, the following insurance policies or a program of self-insurance, including but not limited to, an insurance pooling arrangement or Joint Powers Agreement (JPA) throughout the term of the Agreement:

- Commercial General Liability

Commercial General Liability Insurance with limits of not less than One Million Dollars ($1,000,000) per occurrence and an annual aggregate of Two Million Dollars ($2,000,000). This policy shall be issued on a per occurrence basis.  COUNTY may require specific coverages including completed operations, products liability, contractual liability, Explosion-Collapse-Underground, fire legal liability or any other liability insurance deemed necessary because of the nature of this contract.

- Automobile Liability

Comprehensive Automobile Liability Insurance with limits for bodily injury of not less than Two Hundred Fifty Thousand Dollars ($250,000.00) per person, Five Hundred Thousand Dollars ($500,000.00) per accident and for property damages of not less than Fifty Thousand Dollars ($50,000.00), or such coverage with a combined single limit of Five Hundred Thousand Dollars ($500,000.00).  Coverage should include owned and non-owned vehicles used in connection with this Agreement.

- Professional Liability

If CONTRACTOR employs licensed professional staff, (e.g., Ph.D., R.N., L.C.S.W., M.F.C.C.) in providing services, Professional Liability Insurance with limits of not less than One Million Dollars ($1,000,000.00) per occurrence, Three Million Dollars ($3,000,000.00) annual aggregate.

- Worker's Compensation

A policy of Worker's Compensation insurance as may be required by the California Labor Code.

Contractor shall obtain endorsements to the Commercial General Liability insurance naming the County of Fresno, its officers, agents, and employees, individually and collectively, as additional insured, but only insofar as the operations under this Agreement are concerned. Such coverage for additional insured shall apply as primary insurance and any other insurance, or self-insurance, maintained by County, its officers, agents and employees shall be excess only and not contributing with insurance provided under contractor's policies herein. This insurance shall not be cancelled or changed without a minimum of thirty (30) days advance written notice given to County.

Within thirty (30) days from the date contractor executes this Agreement, CONTRACTOR shall provide certificates of insurance and endorsement as stated above for all of the foregoing policies, as required herein, to the County of Fresno, stating that such insurance coverage have been obtained and are in full force; that the County of Fresno, its officers, agents and employees will not be responsible for any premiums on the policies; that such Commercial General Liability insurance names the County of Fresno, its officers, agents and employees, individually and collectively, as additional insured, but only insofar as the operations under this Agreement are concerned; that such coverage for additional insured shall apply as primary insurance and any other insurance, or self-insurance, maintained by County, its officers, agents and employees, shall be excess only and not contributing with insurance provided under contractor's policies herein; and that this insurance shall not be cancelled or changed without a minimum of thirty (30) days advance, written notice given to County.

In the event contractor fails to keep in effect at all times insurance coverage as herein provided, the County may, in addition to other remedies it may have, suspend or terminate this Agreement upon the occurrence of such event.

All policies shall be with admitted insurers licensed to do business in the State of California.  Insurance purchased shall be purchased from companies possessing a current A.M. Best, Inc. rating of A FSC VII or better.

| Name of Insurance Carrier: |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Public Liability: |  |  |  | Expires: |  |
| Worker's Compensation: |  |  |  | Expires: |  |

Proof of maintenance of adequate insurance will be required before award is made to vendor.

INSURANCE GUARANTEE: The bidder shall state his written guarantee here:

PICK-UP AND/OR DELIVERY:

Bidders for on-site repairs and in-shop repairs shall state in their quotation if pick-up and delivery services are available and state the costs for such services, if any.

LICENSES

Bidder to possess appropriate license for the servicing and repair of the pumps and electric motors, in accordance with current regulations/statutes.

| Business, Contractor and Specialty Licenses | Issuing Entity | Number or Classification | Expiration Date |
| --- | --- | --- | --- |

WARRANTY AND SERVICE LOCATION:

- BIDDER TO COMPLETE:

ON-SITE REPAIRS: State the warranty and/or guarantee provisions applicable to labor or attach warranty form with your bid.

IN-SHOP REPAIRS, FOR PUMP MOTOR PARTS AND SUPPLIES: State specific location(s) where service and/or maintenance can be obtained. Failure to furnish this information may be cause for rejection of bid.

The County may require additional items from those in bid schedule.

Price list for additional items:

| A |  | percent discount from manufacturer's enclosed price list will be allowed on |
| --- | --- | --- |
| purchases of all additional items. |  |  |

State name of price list, indicate applicable price column and give effective date of price list here:

Prices on additional items will be based on successful bidder's firm discount prices from manufacturer's enclosed published price list.

State Purchase Order mailing address:

- BIDDER TO COMPLETE THE FOLLOWING:

- PARTICIPATION

The County of Fresno is a member of the Central Valley Purchasing Group.  This group consists of Fresno, Kern, Kings, and Tulare Counties and all governmental, tax supported agencies within these counties.

Whenever possible, these and other tax supported agencies co-op (piggyback) on contracts put in place by one of the other agencies.

Any agency choosing to avail itself of this opportunity, will make purchases in their own name, make payment directly to the contractor, be liable to the contractor and vice versa, per the terms of the original contract, all the while holding the County of Fresno harmless.  If awarded this contract, please indicate whether you would extend the same terms and conditions to all tax supported agencies within this group as you are proposing to extend to Fresno County.

|  | Yes, we will extend contract terms and conditions to all qualified agencies within the Central Valley Purchasing Group and other tax supported agencies. |
| --- | --- |
|  | No, we will not extend contract terms to any agency other than the County of Fresno. |
| (Authorized Signature) |  |
| Title |  |

- SELF-DEALING TRANSACTION DISCLOSURE (financial)

Non-corporate bidders may disregard this section.

Bidders shall complete a SELF-DEALING TRANSACTION DISCLOSURE FORM, provided herein, for each applicable corporate director of the bidding company.  The signed form(s) shall be submitted as a part of the company’s proposal or quotation.

Complete the form and indicate “NONE” under part 3 when your company is a corporation and no directors are involved with a Self-Dealing Transaction. The form must be signed by an individual authorized to legally bind the corporation when no directors have a Self-Dealing Transaction.

DISCLOSURE OF SELF-DEALING TRANSACTIONS: The following provision will be incorporated into ensuing agreements.  It shall apply only when the CONTRACTOR is operating as a corporation (a for-profit or non-profit corporation) or if during the term of the agreement, CONTRACTOR changes its status to operate as a corporation.

This provision is only applicable if the CONTRACTOR is operating as a corporation (a for-profit or non-profit corporation) or if during the term of this agreement, the CONTRACTOR changes its status to operate as a corporation.

Members of the CONTRACTOR’s Board of Directors shall disclose any self-dealing transactions that they are a party to while CONTRACTOR is providing goods or performing services under this agreement. A self-dealing transaction shall mean a transaction to which the CONTRACTOR is a party and in which one or more of its directors has a material financial interest. Members of the Board of Directors shall disclose any self-dealing transactions that they are a party to by completing and signing a Self-Dealing Transaction Disclosure Form (Exhibit #) and submitting it to the COUNTY prior to commencing with the self-dealing transaction or immediately thereafter.

SELF-DEALING TRANSACTION DISCLOSURE FORM instructions

In order to conduct business with the County of Fresno (hereinafter referred to as “County”), members of a contractor’s board of directors (hereinafter referred to as “County Contractor”), must disclose any self-dealing transactions that they are a party to while providing goods, performing services, or both for the County.  A self-dealing transaction is defined below:

“A self-dealing transaction means a transaction to which the corporation is a party and which one or more of its directors has a material financial interest”

The definition above will be utilized for purposes of completing the disclosure form.

- Enter board member’s name, job title (if applicable), and date this disclosure is being made.

- Enter the board member’s company/agency name and address.

- Describe in detail the nature of the self-dealing transaction that is being disclosed to the County. At a minimum, include a description of the following:

  - The name of the agency/company with which the corporation has the transaction; and

  - The nature of the material financial interest in the Corporation’s transaction that the board member has.

- Describe in detail why the self-dealing transaction is appropriate based on applicable provisions of the Corporations Codes.

- Form must be signed by the board member that is involved in the self-dealing transaction described in Sections (3) and (4).

Form provided on following page.

SELF-DEALING TRANSACTION DISCLOSURE FORM

| - Company Board Member Information: |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Name: |  |  |  | Date: |  |
| Job Title: |  |  |  |  |  |
| - Company/Agency Name and Address: |  |  |  |  |  |
| - Disclosure (Please describe the nature of the self-dealing transaction you are a party to) |  |  |  |  |  |
| - Explain why this self-dealing transaction is consistent with the requirements of Corporations Code 5233 (a) |  |  |  |  |  |
| - Authorized Signature |  |  |  |  |  |
| Signature: |  |  | Date: |  |  |

Vendor must complete and return with Request for Quotation.

| Firm: |  |
| --- | --- |

REFERENCE LIST

Provide a list of at least three (3) customers for whom you are presently providing and have recently provided services being quoted.  Be sure to include all requested information.

| Reference Name: |  |  |  |  |  |  |  | Contact: |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Address: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| City: |  |  |  |  |  |  |  |  | State: |  |  |  |  | Zip: |  |  |  |
| Phone No.: |  | ( |  |  | ) |  | Date: |  |  |  |  |  |  |  |  |  |  |
| Service Provided: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Reference Name: |  |  |  |  |  |  |  | Contact: |  |  |  |  |  |  |  |  |  |
| Address: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| City: |  |  |  |  |  |  |  |  |  | State: |  |  |  |  | Zip: |  |  |
| Phone No.: |  | ( |  |  | ) |  | Date: |  |  |  |  |  |  |  |  |  |  |
| Service Provided: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Reference Name: |  |  |  |  |  |  |  | Contact: |  |  |  |  |  |  |  |  |  |
| Address: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| City: |  |  |  |  |  |  |  |  | State: |  |  |  |  | Zip: |  |  |  |
| Phone No.: |  | ( |  |  | ) |  | Date: |  |  |  |  |  |  |  |  |  |  |
| Service Provided: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Reference Name: |  |  |  |  |  |  |  | Contact: |  |  |  |  |  |  |  |  |  |
| Address: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| City: |  |  |  |  |  |  |  |  |  | State: |  |  |  |  | Zip: |  |  |
| Phone No.: |  | ( |  |  | ) |  | Date: |  |  |  |  |  |  |  |  |  |  |
| Service Provided: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Reference Name: |  |  |  |  |  |  |  | Contact: |  |  |  |  |  |  |  |  |  |
| Address: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| City: |  |  |  |  |  |  |  |  | State: |  |  |  |  | Zip: |  |  |  |
| Phone No.: |  | ( |  |  | ) |  | Date: |  |  |  |  |  |  |  |  |  |  |
| Service Provided: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

Failure to provide a list of at least three (3) customers may be cause for rejection of this RFQ.

Group I SPECIAL DISTRICTS AND DISPOSAL SITE specifications

GROUP i

special districts & Disposal Sites

on-site repair specifications:

PUMP AND ELECTRICAL MOTOR PULLING, REPLACEMENT AND ON-SITE REPAIRS
 AND REPLACEMENT OF WATER AND WASTEWATER RELATED ITEMS

GENERAL INFORMATION:

The County of Fresno Public Works and Planning Resources Division provides for the operations and maintenance of numerous water and/or wastewater treatment facilities and disposal sites throughout Fresno County (from as far west as El Porvenir located near Interstate 5 to Tamarack located to the east at the 7,300 foot elevation in the Sierras).

Resources Division utilizes various types of pumps and electrical motor systems in its facilities.  These systems include but are not limited to domestic lift pumping systems, sewage lift systems, submersible water pumps in the mountain areas, turbine water pumps in the valley areas, variable frequency drive loops systems, storm water discharge systems, etc.

The successful vendors shall provide all labor, material, parts, equipment, transportation, taxes, etc. to provide the requested services. Examples of the types of services requested are as follows:

- On-site repair of various pumps and ancillary equipment that does not require in-shop repair service.

- Possible supplier of water pumps and electrical components for on-site work.

- Pump removal and possible delivery to a pump or electric motor shop determined by County Special District staff.

- Possible pick-up of pump from pump or electric motor vendor or repair shop, delivery to County facility.

- Installation of pump or electric motors at water and wastewater facilities using a crane with the appropriate capabilities.

- Repair or replacement of water and wastewater pressure related items and lines.

- Rip wastewater treatment ponds.

Examples of the types of equipment that may be encountered are as follows:

|  | Submersible water pumps; |
| --- | --- |
|  | Sewage pumps; |
|  | Vertical jet pumps; |
|  | Pump related electrical motors; |
|  | Electrical pump controls; |
|  | Motor rewinds; |
|  | Electrical motor controls; |
|  | Motor rebuilds; |
|  | End suction type pumps; |
|  | Horizontal split case pumps; |
|  | Vertical multi-stage pumps; |
|  | Gorman-Rupp sewage ejection pumps. |

If the repair or replacement requires the pick-up or delivery of parts or supplies the vendor will identify on the quote schedule the rate or charges for that service.

Because of the large area that will need coverage, the County intends to retain multiple firms as a result of this Request for Quotation.  Multiple firms may be selected to provide services to Valley District Facilities, Mountain Districts Facilities, Western County Facilities, Disposal Sites and for the County of Fresno, Facility Services.  In situations where there is an urgent need, and an immediate response cannot be obtained from firms designated to an area, firms designated to other areas may be requested to respond. Presented in the tables below are the individual facility names in Valley Districts, Mountain Districts, Western County Districts and Disposal Sites.  EXHIBIT A provides a map showing Group I, Special Districts and Disposal Sites locations with more detailed maps in EXHIBITS B-I (Valley District Facilities), B-II (Mountain District Facilities), B-III (Western County District Facilities) and B-IV (Disposal Sites).

| VALLEY DISTRICT FACILITIES |  |  |
| --- | --- | --- |
| District I.D. | Facility Name | Service |
| CSA 5 | Wildwood Island | Water |
| CSA 10 | Cumorah Knolls (Tract 1838) | Water |
| CSA 10A | Mansionette Estates | Water |
| CSA 14 | Belmont Manor (Tract 2031) | Water |
| CSA 34A | Brighton Crest | Water & Sewer |
| CSA 34B | Ventana Hills | Water |
| CSA 34C | Granite Crest (Under Development) | Water & Sewer |
| CSA 39AB | Beran Way | Water |
| CSA 44A | Millerton Lake Mobile Home Village | Sewer |
| CSA 44C | River View Subdivision | Water |
| CSA 44D | Monte Verdi Estates Subdivision | Water & Sewer |
| CSA 47 | Quail Lake Estates | Water & Sewer |
| WWD 38 | Millerton Lake Park Estates Subdivision | Water & Sewer |
| WWD 42 | Alluvial Avenue / Fancher Avenue | Water |
| JJC | Juvenile Justice Campus | Water & Sewer |
| MOUNTAIN DISTRICT FACILITIES |  |  |
| District I.D. | Facility Name | Service |
| CSA 1 | Tamarack Estates | Water & Sewer |
| CSA 23 | Exchequer Heights (Tract 1994) | Water |
| CSA 31B | Zone "B: Downtown Shaver | Sewer |
| WWD 37 | Auberry Road (Mile High) | Water |
| WWD 40 | Shaver Springs | Water & Sewer |
| WWD 41S | South of Shaver Lake | Sewer |
| WWD 41W | South of Shaver Lake | Water |
| WESTERN COUNTY DISTRICT FACILITIES |  |  |
| City Location | Facility Name | Service |
| CSA 30 | El Porvenir Subdivision | Water & Sewer |
| CSA 32 | Cantua Creek Subdivision | Water & Sewer |
| CSA 43W | Raisin City | Water |
| CSA 49 | O'Neill Farming Community | Water |
| DISPOSAL SITES |  |  |
| City Location | Facility Name | Service |
| Kerman | American Avenue Disposal Site | 2 -Blower Motors |
| E. Selma | Southeast Regional Disposal Site | 1-Blower Motor |

SERVICE RESPONSE REQUIREMENTS:

The selected contractors / vendors must be available on a 24-hour, 7-day per week basis.  Although most facilities have a back-up system which allows for repairs during normal business hours, in emergency situations, the contractors / vendors should be mobilized with staff and equipment to be able to reach any of the designated Facilities and Disposal Sites in the Mountain, Valley, Western County areas within four hours of being contacted by Special Districts or Disposal Sites staff.

ADDITIONAL WORK:

If additional repairs or direction concerning the requested work is determined necessary, the contractor / vendor is to contact the proper representative for authorization of additional repairs or direction concerning these repairs.

PRICING SCHEDULE:

Indicate in the Quotation Schedule the hourly rate for repairs, maintenance and replacement work.

For each of the two possible one year extensions past the initial three year term, the price quote amount will be adjusted based on the Consumer Price Index (CPI) All Urban Consumers for San Francisco-Oakland-San Jose, CA, Standard Metropolitan Statistical Area published by the United States Department of Labor, Bureau of Labor Statistics or any successor index annual percentage change between the previous calendar year up to five percent for each year.

GROUP I

special districts

and Disposal Sites

in-shop repair and parts / supplies specifications

PUMP / MOTOR AND RELATED ELECTRICAL COMPONENT REPAIR SERVICES AND REPLACEMENT PARTS / SUPPLIES

IN-SHOP REPAIR SERVICE:

Special Districts: The selected vendor will receive the pump and/or electrical components with a repair order.

Disposal Sites: The selected vendor will be responsible to pull, ship the pump to their facility providing services and reinstall at the disposal site.  The selected vendor will provide all necessary labor, materials, parts, and equipment for repair of pumps and related electrical components.

REPLACEMENT PARTS / SUPPLIES:

Various materials and supply parts need to be made available for General Electric, Cutler, Hammer, Square D., Klochner, Moler, Furnas, Subtrol, Franklin, Baldor and Flyght.  The vendor must have the ability to supply all parts listed with these brands.

It is critical that Special Districts and Disposal Sites obtain various materials and supply parts on short notice to accommodate possible health and safety emergencies.

Replacement parts and materials would be for, but not limited to, the following equipment:

| - Flyght pumps | - Vertical jet pumps |
| --- | --- |
| - Pump related electrical motors | - End suction type pumps |
| - Electrical pump controls | - Horizontal split case pumps |
| - Motor rewinds | - Vertical multi-stage pumps |
| - Electrical motor controls | - Gorman-Rupp sewage ejection pumps |
| - Motor rebuilds | - Mercoid pressure switches |
| - Floats | - Capacitors |
| - Sealed electrical connections | - G. E. motor starters |
| - Fuses – approximately 250 per year | - Relays |
| - Testing equipment | - Submersible water pumps |
| - Phase monitors | - Wire |
| - Well pump protection | - Electrical tools |
| - Sewage pumps |  |

Note:  All motor/pumps range from 0.5 to 50 horsepower

Please indicate on the attached Parts List which brands your firm stocks or can order, and the approximate time it takes to fill the order.  Also, indicate if an extended warranty is available and if so, for what periods.

The quantities for fuses should average 250 fuses.  Quantities of other items will be as needed as equipment malfunctions and needs repair or replacement.

PRICING SCHEDULE:

Indicate in the Quotation Schedule the hourly rate for repairs, maintenance and replacement work.

For each of the two (2) possible one (1) year extensions past the three (3) year initial term, the price quote amount will be adjusted based on the Consumer Price Index (CPI) All Urban Consumers for San Francisco-Oakland-San Jose, CA, Standard Metropolitan Statistical Area published by the United States Department of Labor, Bureau of Labor Statistics or any successor index annual percentage change between the previous calendar year up to five percent (5%) for each year.

Group II FACILITY SERVICES specifications

GROUP II

facility services
specifications

The County of Fresno, Facility Services Division is responsible for the maintenance and operation of various types of pumping systems in facilities located throughout the County.  These systems include but are not limited to, Domestic Lift Pumping Systems, Steam make-up and Condensate Systems, Hot and Chilled HVAC Water Systems, Variable Frequency Drive Loop Systems, etc.  The selected vendor(s) may be responsible for troubleshooting, repairing, and providing maintenance services for these types of systems as well as Shop and Onsite work for pump rebuilding / parts replacement, motor replacement / rebuilding, parts machining, shaft alignment, etc.

The successful vendor(s) shall provide all labor, material, parts, equipment, transportation, taxes, etc. to provide the requested services.  These services may include but are not limited to the following:

- Submersible water pumps;

- Sewage pumps;

- Vertical jet pumps;

- Pump related electrical motors;

- Electrical pump controls;

- Motor rewinds

- Electrical motor controls;

- Motor rebuilds;

- End suction-type pumps;

- Horizontal split case pumps;

- Vertical multi-stage pumps;

- Gorman-Rupp sewage ejection pumps;

SHOP REQUIREMENTS:

The successful vendor(s) must have the necessary shop equipment and tools to perform repairs, diagnosis and service as requested.  The County reserves the right to inspect the vendor’s service and parts facility at a mutually agreed upon date and time.

EMERGENCY SERVICE:

The successful vendor(s) shall be available within 24 hours of being contacted to provide requested emergency maintenance. Facility Services shall require the successful vendor(s) be available on a 24 hour, 7 days per week basis.

ADDITIONAL WORK:

If additional repairs or direction concerning the requested work is determined necessary, the vendor is to contact the proper representative for authorization of additional repairs or direction concerning these repairs.  The successful vendor(s) will be furnished with names and phone numbers of authorized representatives.

PRICING SCHEDULE:

Indicate in the Quotation Schedule the pricing methodology, hourly rate for repairs, maintenance and replacement work.  Bidders may bid on any part of, or entire GROUP I, GROUP II or a combination of both.

QUOTATION SCHEDULES NOTE: QUOTATION PRICES APPLICABLE FOR ALL USERS - QUOTATION SCHEDULE – PRICING METHODOLOGY - QUOTATION SCHEDULE ‘GROUP I’ – SPECIAL DISTRICTS, FACILITIES AND DISPOSAL SITES - QUOTATION SCHEDULE ‘GROUP II’ – FACILITY SERVICES - BIDDERS MAY BID ON ANY ONE SITE, MULTIPLE SITES OR ENTIRE ON SITE REPAIRS. - BIDDERS MAY BID ON ANY PART OR ALL OF IN SHOP REPAIRS - BIDDERS MAY BID ON EACH GROUP OR BOTH GROUPS I AND II.

QUOTATION SCHEDULE - 
PRICING METHODOLOGY

Vendor to complete and submit as a part of his Quotation.

- Clearly explain the pricing methodology that was used to determine the prices stated on your completed QUOTATION SCHEDULE. Pricing must be based on a readily available, published price schedule.

- Identify the price schedule that was used. Include name, number, date and any other identifying information.

- Include three copies of the price schedule identified under No. Two.

Company Name

Agrees that the price schedule indicated above (name and number) will be used as a basis for requesting future price changes and for the pricing of parts discounts stated on the Quotation Schedule.

| Signature |  | Print Name & Title |
| --- | --- | --- |

GROUP I - ON-SITE repairs
Valley District Facilities

special districts, faciliTIES
and disposal sites

QUOTATION SCHEDULE

PUMP AND ELECTRICAL MOTOR PULLING, REPLACEMENT AND ON-SITE REPAIRS
REPAIR AND REPLACEMENT OF WATER AND WASTEWATER RELATED ITEMS

| Hourly Labor Rate (On Site) |  |  |  |  |  |  | $ |  | per hour. |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| State when hourly charge begins and ends. |  |  |  |  |  |  |  |  |  |  |
| State the increment the hourly rate is billed (i.e.: ¼, 1/3, ½) |  |  |  |  |  |  |  |  |  | hour |
| Travel Time: |  |  |  |  |  |  | $ |  | per mile |  |
| PARTS DISCOUNT OFFERED: |  | Yes |  |  | No |  |  |  |  |  |
| Parts – Billed at Retail minus percentage discount |  |  |  |  |  |  |  |  | % |  |
| (from the Pricing Methodology stated on page 25.) |  |  |  |  |  |  |  |  |  |  |

PUMP RIG:

| Service Truck – 1 Man | $ | per hour. |
| --- | --- | --- |
| Service Truck – 2 Men | $ | per hour. |

THREE TO FIVE TON SERVICE TRUCK

| 1 Man | $ | per hour. |
| --- | --- | --- |
| 2 Men | $ | per hour. |

Ten Ton Service Truck

| 1 Man | $ | per hour. |
| --- | --- | --- |
| 2 Men | $ | per hour. |
| Backhoe | $ | per hour. |

| Equipment Available Description | Rental Rate | Per Hour |
| --- | --- | --- |
|  | $ |  |
|  | $ |  |
|  | $ |  |
|  | $ |  |
|  | $ |  |
|  | $ |  |
|  | $ |  |
|  | $ |  |

GROUP I - ON-SITE repairs 
Mountain District Facilities

SPECIAL DISTRICTS, FACILITIES
AND DISPOSAL SITES

QUOTATION SCHEDULE

PUMP AND ELECTRICAL MOTOR PULLING, REPLACEMENT AND ON-SITE REPAIRS
REPAIR AND REPLACEMENT OF WATER AND WASTEWATER RELATED ITEMS

| Hourly Labor Rate (On Site) |  |  |  |  |  |  | $ | per hour. |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| State when hourly charge begins and ends. |  |  |  |  |  |  |  |  |
| State the increment the hourly rate is billed (i.e.: ¼, 1/3, ½) |  |  |  |  |  |  |  | hour |
| Travel Time: |  |  |  |  |  |  | $ | per mile |
| PARTS DISCOUNT OFFERED: |  | Yes |  |  | No |  |  |  |
| Parts – Billed at Retail minus percentage discount |  |  |  |  |  |  |  | % |
| (from the Pricing Methodology stated on page 25.) |  |  |  |  |  |  |  |  |

PUMP RIG:

| Service Truck – 1 Man | $ | per hour. |
| --- | --- | --- |
| Service Truck – 2 Men | $ | per hour. |

THREE TO FIVE TON SERVICE TRUCK

| 1 Man | $ | per hour. |
| --- | --- | --- |
| 2 Men | $ | per hour. |

Ten Ton Service Truck

| 1 Man | $ | per hour. |
| --- | --- | --- |
| 2 Men | $ | per hour. |
| Backhoe | $ | per hour. |

| Equipment Available Description | Rental Rate | Per Hour |
| --- | --- | --- |
|  | $ |  |
|  | $ |  |
|  | $ |  |
|  | $ |  |
|  | $ |  |
|  | $ |  |
|  | $ |  |

GROUP I - ON-SITE repairs
Western County District Facilities

SPECIAL DISTRICTS, FACILITIES
AND DISPOSAL SITES

QUOTATION SCHEDULE

PUMP AND ELECTRICAL MOTOR PULLING, REPLACEMENT AND ON-SITE REPAIRS
REPAIR AND REPLACEMENT OF WATER AND WASTEWATER RELATED ITEMS

| Hourly Labor Rate (On Site) |  |  |  |  |  |  | $ | per hour. |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| State when hourly charge begins and ends. |  |  |  |  |  |  |  |  |
| State the increment the hourly rate is billed (i.e.: ¼, 1/3, ½) |  |  |  |  |  |  |  | hour |
| Travel Time: |  |  |  |  |  |  | $ | per mile |
| PARTS DISCOUNT OFFERED: |  | Yes |  |  | No |  |  |  |
| Parts – Billed at Retail minus percentage discount |  |  |  |  |  |  |  | % |
| (from the Pricing Methodology stated on page 25.) |  |  |  |  |  |  |  |  |

PUMP RIG:

| Service Truck – 1 Man | $ | per hour. |
| --- | --- | --- |
| Service Truck – 2 Men | $ | per hour. |

THREE TO FIVE TON SERVICE TRUCK

| 1 Man | $ | per hour. |
| --- | --- | --- |
| 2 Men | $ | per hour. |

Ten Ton Service Truck

| 1 Man | $ | per hour. |
| --- | --- | --- |
| 2 Men | $ | per hour. |
| Backhoe | $ | per hour. |

| Equipment Available Description | Rental Rate | Per Hour |
| --- | --- | --- |
|  | $ |  |
|  | $ |  |
|  | $ |  |
|  | $ |  |
|  | $ |  |
|  | $ |  |
|  | $ |  |
|  | $ |  |

GROUP I - ON-SITE repairs
DISPOSAL SITES

SPECIAL DISTRICTS, FACILITIES
AND DISPOSAL SITES

QUOTATION SCHEDULE

PUMP AND ELECTRICAL MOTOR PULLING, REPLACEMENT AND ON-SITE REPAIRS
REPAIR AND REPLACEMENT OF WATER AND WASTEWATER RELATED ITEMS

| Hourly Labor Rate (On Site) |  |  |  |  |  |  | $ | per hour. |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| State when hourly charge begins and ends. |  |  |  |  |  |  |  |  |
| State the increment the hourly rate is billed (i.e.: ¼, 1/3, ½) |  |  |  |  |  |  |  | hour |
| Travel Time: |  |  |  |  |  |  | $ | per mile |
| PARTS DISCOUNT OFFERED: |  | Yes |  |  | No |  |  |  |
| Parts – Billed at Retail minus percentage discount |  |  |  |  |  |  |  | % |
| (from the Pricing Methodology stated on page 25.) |  |  |  |  |  |  |  |  |

PUMP RIG:

| Service Truck – 1 Man | $ | per hour. |
| --- | --- | --- |
| Service Truck – 2 Men | $ | per hour. |

THREE TO FIVE TON SERVICE TRUCK

| 1 Man | $ | per hour. |
| --- | --- | --- |
| 2 Men | $ | per hour. |

Ten Ton Service Truck

| 1 Man | $ | per hour. |
| --- | --- | --- |
| 2 Men | $ | per hour. |
| Backhoe | $ | per hour. |

| Equipment Available Description | Rental Rate | Per Hour |
| --- | --- | --- |
|  | $ |  |
|  | $ |  |
|  | $ |  |
|  | $ |  |
|  | $ |  |
|  | $ |  |
|  | $ |  |
|  | $ |  |
|  | $ |  |

GROUP I - in-shop repairs

special districts and Disposal Services

QUOTATION SCHEDULE

PUMP AND RELATED ELECTRICAL REPAIR SERVICES 
AND REPLACEMENT PARTS / SUPPLIES

| Regular Hourly Labor Rate (In-Shop) |  | $ | Per hour |
| --- | --- | --- | --- |
| State when hourly charge begins and ends. |  |  |  |
| State the increment the hourly rate is billed (i.e.: ¼, 1/3, ½) |  |  | hour |

FIXED RATE SERVICES:

| PARTS DISCOUNT OFFERED: |  | Yes |  | No |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Parts – Billed at Retail minus percentage discount |  |  |  |  |  |  | % |
| (from the Pricing Methodology stated on page 25.) |  |  |  |  |  |  |  |

PICK-UP AND DELIVERY:

| If a pump or related equipment needs to be picked up from a site and delivered to bidder’s repair shop or vice versa, what would be the rate? | $ | Per Mile |
| --- | --- | --- |
| POINT OF ORIGIN: State Point of Origin |  |  |
| - OR - |  |  |
| State Flat Fee | $ | (Flat Fee) |

GROUP I - parts information

Special Districts And Disposal Services
Parts And Supplies

SUPPLIER OF FOLLOWING MANUFACTURES / BRAND NAMES

| Brand Name and types of parts | Stocked (Yes or No) | Non Stock Can Order (Yes or No) | Order Lead Time | Extended Warranty available? (Yes or No) | Discount off List Price | Catalog/Price Source |
| --- | --- | --- | --- | --- | --- | --- |
| Baldor |  |  |  |  |  |  |
| Flyght pumps |  |  |  |  |  |  |
| Square D parts |  |  |  |  |  |  |
| Siemens parts |  |  |  |  |  |  |
| G.E. parts |  |  |  |  |  |  |
| Furnace parts |  |  |  |  |  |  |
| Meyers pumps |  |  |  |  |  |  |
| Gould's pumps |  |  |  |  |  |  |
| Turck controls |  |  |  |  |  |  |
| Franklin motors |  |  |  |  |  |  |
| Warrick controls |  |  |  |  |  |  |
| Grundfos pumps |  |  |  |  |  |  |
| Mercoid controls |  |  |  |  |  |  |
| Cuttler hammer |  |  |  |  |  |  |

GROUP Ii - ON-SITE repairs

facility Services

QUOTATION SCHEDULE

PUMP AND ELECTRICAL MOTOR PULLING, REPLACEMENT AND ON-SITE REPAIRS
REPAIR AND REPLACEMENT OF WATER AND WASTEWATER PRESSURE RELATED ITEMS

| Regular Hourly Labor Rate (On-Site) |  |  |  |  | $ |  | Per hour |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Overtime Hourly Labor Rate, including weekends (On-Site) |  |  |  |  | $ |  | Per hour |
| After Hour / Emergency Rate (On-Site) |  |  |  |  | $ |  | Per hour |
| NORMAL SHOP HOURS: |  | a.m. to |  | p.m. |  | Monday through Friday |  |
| OVERTIME: After |  | p.m. |  |  |  | Monday through Friday |  |

- Overtime rate applies for two (2) hours in excess of eight (8) hours straight time during normal working hours and Saturdays up to ten (10) hours.

- Double time rate applies for time worked on Sundays, Holidays and hours in excess of applicable overtime hours.

FIXED RATE SERVICES:

| Travel time | $ | Per mile. |
| --- | --- | --- |
| Parts – Billed at Retail minus percentage discount |  | % |
| (from the Pricing Methodology stated on page 25.) |  |  |

PUMP RIG:

| Service Truck – One (1) man | $ | Per hour. |
| --- | --- | --- |
| Service Truck – Two (2) men | $ | Per hour. |

THREE TO FIVE TON SERVICE TRUCK:

| Service Truck – One (1) man | $ | Per hour. |
| --- | --- | --- |
| Service Truck – Two (2) men | $ | Per hour. |

TEN-TON SERVICE TRUCK:

| Service Truck – One (1) man | $ | Per hour. |
| --- | --- | --- |
| Service Truck – Two (2) men | $ | Per hour. |
| Backhoe | $ | Per hour. |

GROUP II - in-shop repairs

facility services

QUOTATION SCHEDULE

PUMP AND RELATED ELECTRICAL REPAIR SERVICES 
AND REPLACEMENT PARTS / SUPPLIES

| Regular Hourly Labor Rate (In-Shop) |  |  |  |  |  | $ |  |  | Per hour |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| State when hourly charge begins and ends. |  |  |  |  |  |  |  |  |  |
| State the increment the hourly rate is billed (i.e.: ¼, 1/3, ½) |  |  |  |  |  |  |  |  | hour |
| Overtime Hourly Labor Rate, including weekends (In-Shop) |  |  |  |  |  | $ |  |  | Per hour |
| After Hour / Emergency Rate (In-Shop) |  |  |  |  |  | $ |  |  | Per hour |
| NORMAL SHOP HOURS: |  | a.m. to |  |  | p.m. |  | Monday through Friday |  |  |
| OVERTIME: After |  | p.m. |  |  |  |  | Monday through Friday |  |  |

- Overtime rate applies for two (2) hours in excess of eight (8) hours straight time during normal working hours and Saturdays up to ten (10) hours.

- Double time rate applies for time worked on Sundays, Holidays and hours in excess of applicable overtime hours.

FIXED RATE SERVICES:

| Travel time | $ | Per mile. |
| --- | --- | --- |
| Parts – Billed at Retail minus percentage discount |  | % |
| (from the Pricing Methodology stated on page 25.) |  |  |

GROUP II
facility services
 parts and supplies
parts information

SUPPLIER OF FOLLOWING MANUFACTURES / BRAND NAMES

| Brand Name and types of parts | Stocked (Yes or No) | Non Stock Can Order (Yes or No) | Order Lead Time | Extended Warranty available? (Yes or No) | Discount off List Price | Catalog/Price Source |
| --- | --- | --- | --- | --- | --- | --- |
| Baldor |  |  |  |  |  |  |
| Flyght pumps |  |  |  |  |  |  |
| Square D parts |  |  |  |  |  |  |
| Siemens parts |  |  |  |  |  |  |
| G.E. parts |  |  |  |  |  |  |
| Furnace parts |  |  |  |  |  |  |
| Meyers pumps |  |  |  |  |  |  |
| Gould's pumps |  |  |  |  |  |  |
| Turck controls |  |  |  |  |  |  |
| Franklin motors |  |  |  |  |  |  |
| Warrick controls |  |  |  |  |  |  |
| Grundfos pumps |  |  |  |  |  |  |
| Mercoid controls |  |  |  |  |  |  |
| Cuttler hammer |  |  |  |  |  |  |

CHECK LIST

This Checklist is provided to assist the vendors in the preparation of their bid response.  Included in this list, are important requirements and is the responsibility of the bidder to submit with the bid package in order to make the bid compliant.  Because this checklist is just a guideline, the bidder must read and comply with the bid in its entirety.

Check off each of the following:

|  |  | The Request for Quotation (RFQ) has been signed and completed. |
| --- | --- | --- |
|  |  | One (1) original and three (3) copies of the RFQ have been provided. |
|  |  | Addenda, if any, have been completed, signed and included in the bid package. |
|  |  | Bidder to Complete page as provided with this RFQ |
|  |  | The completed Self Dealing Transactions form, as provided with this RFQ. |
|  |  | The completed Reference List as provided with this RFQ. |
|  |  | The Quotation Schedule as provided with this RFQ has been completed, priced reviewed for accuracy and any corrections initialed in ink. |
|  |  | Indicate all of bidder exceptions to the County’s requirements, conditions and specifications as stated within this RFQ. |
|  |  | Lastly, on the LOWER LEFT HAND CORNER of the sealed envelope, box, etc. transmitting your bid include the following information: |

| County of Fresno RFQ No. |  |  | 928-4950 |
| --- | --- | --- | --- |
| Closing Date: | July 6, 2011 |  |  |
| Closing Time: | 2:00 P.M. |  |  |
| Commodity or Service: |  |  |  |

This Checklist does not need to be returned with your bid.

maps - Exhibit A – Group I – Special Districts and Disposal Sites: 928-4950 Exhibit A.pdf - Exhibit B-I – Group I – Valley District Facilities: 928-4950 Exhibit B-I.pdf - Exhibit B-II – Group I – Mountain District Facilities: 928-4950 Exhibit B-II.pdf - Exhibit B-III – Group I – Western County District Facilities: 928-4950 Exhibit B-III.pdf - Exhibit B-IV – Group I – Disposal Sites: 928-4950 Exhibit B-IV.pdf