LETTER OF INTEREST NUMBER 936-4139

LONG TERM MAINTENANCE AGREEMENT-CUMMINS GENERATOR

Program Data

The County of Fresno is seeking vendors that are interested in providing a Long Term Service Agreement (LTSA) for the equipment listed below.  The LTSA shall be ‘Full Service” and include all parts, materials, labor, etc. to perform scheduled maintenance as recommended by the manufacturer and all unscheduled maintenance.  Unscheduled maintenance is defined as maintenance due to forced equipment outages not caused by operator error.  Maintenance caused by operator error shall be supplied, but at an extra cost.

All scheduled maintenance shall be provided by Vendor during non-summer part-peak or off-peak times as defined by PG&E’s E-20P rate schedule.  All unscheduled maintenance shall be provided at the time of the failure or as agreed upon by County personnel.

The equipment listed below is currently being installed at 1225 L Street, Fresno, CA, 93721.

Agreement Term

The LTSA shall be for a term of ten years.

Equipment Data

Engine Generator Data: Cummins QSV 91G  1250GQNA, Rated for 1250 kW Net

CO Catalyst Data:  Oxibox Model CBC36

SCR Data:  Miratech Model EM35/6-20

Heat Recovery Steam Generator Data:  Vaporphase Model ECSXH

Qualification Statements

Vendor must have at least two qualified technicians within 50 miles of Fresno to maintain a one hour response time.

Technicians must be factory trained on the specific equipment defined above.

Technicians must have at least five years experience on continuous running natural gas fired engines.

Technicians must have at least two years experience on the Cummins QSV 91G 1250 GQNA.

Vendors must maintain the OEM recommended spare parts at their local facility.

Vendor must have been established in the area for a minimum of five years to show stability.

If you have the required qualifications and would like to receive a bid package, please complete the attached form and return it to County of Fresno, Purchasing Division no later than 2:00 p.m. on Tuesday, July 27, 2005.

Deliver to: County of Fresno
4525 E. Hamilton Ave. Attn: Ken Vozza
Fresno, CA 93702

Email to: kvozza@co.fresno.ca.us

Fax to: (559) 456-7831, Attn: Ken Vozza

| Letter of Interest No. 936-4139, Long-Term Service Agreement, Cummins Generator |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Organization is interested in submitting a proposal to provide Long Term Maintenance for one Cummins Generator. |  |  |  |  |  |  |
| Individual/Contact Person |  |  | Title |  |  |  |
| Street Address/P.O. Box |  |  |  |  |  |  |
| City |  |  |  |  | State | Zip Code |
| Telephone | Fax Number |  |  | E-Mail Address |  |  |