| COUNTY OF FRESNO |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ADDENDUM NUMBER: ONE |  |  |  |  |  |  |  |  |  |
|  |  |  | RFQ NUMBER: |  |  |  |  |  |  |
| September 17, 2008 |  |  |  |  |  |  |  |  |  |
|  |  |  |  | PURCHASING USE |  |  |  |  |  |
|  |  | ORG/Requisition: 7295/ 5108000257 |  |  | CJN | /tmp/in/input.doc |  |  |  |
|  | IMPORTANT: SUBMIT QUOTATION IN SEALED PACKAGE WITH QUOTATION NUMBER, CLOSING DATE AND BUYER’S NAME MARKED CLEARLY ON THE OUTSIDE TO: |  |  |  |  |  |  |  |  |
|  | COUNTY OF FRESNO, Purchasing 4525 EAST HAMILTON AVENUE FRESNO, CA 93702-4599 |  |  |  |  |  |  |  |  |
|  | Closing date of bid will be at 2:00 p.m., on October 1, 2008. QUOTES WILL BE CONSIDERED LATE WHEN THE OFFICIAL PURCHASING TIME CLOCK READS 2:00 P.M. |  |  |  |  |  |  |  |  |
|  | Quotes will be opened and publicly read at that time. All quotation information will be available for review after contract award. |  |  |  |  |  |  |  |  |
|  | Clarification of specifications are to be directed to: Craig Nickel, phone (559) 456-7110, FAX (559) 456-7831. |  |  |  |  |  |  |  |  |
|  | NOTE THE Attached ADDITIONS, DELETIONS AND/or CHANGES TO THE REQUIREMENTS OF REQUEST FOR QUOTATION NUMBER: AND INCLUDE THEM IN YOUR RESPONSE. PLEASE SIGN AND RETURN THIS ADDENDUM WITH YOUR QUOTATION. - Please see the attached page for additional information on wells. |  |  |  |  |  |  |  |  |

| ACKNOWLEDGMENT OF ADDENDUM NUMBER ONE TO RFQ |  |  |
| --- | --- | --- |
| COMPANY NAME: |  |  |
| (PRINT) |  |  |
| SIGNATURE: |  |  |
| NAME & TITLE: |  |  |
| (PRINT) |  |  |

Shaver Yard Site and Well Description

SITE DESCRIPTION

The site is located at the Fresno County Shaver Road Maintenance Yard located at 41686 Dinkey Creek Road on the eastern edge of the community of Shaver Lake, California, in eastern Fresno County.  The site is a storage, service, and maintenance facility for road work operations and snow plowing.

WATER SUPPLY WELL TO BE ABANDONED

According to Mr. Dave Nunes, former Fresno County Road Superintendent, the County drilled a supply well on the site in the late 1970’s, but the well was deemed a dry hole and was capped (bedrock well with 8”steel casing), (see site map).  Mr. Nunes had the well cap removed sometime around 2000-2001 and reported that the well had a total depth of 300 feet and standing water at approximately 200 feet.  Currently water is supplied to the site by a well located on the Southern California Edison Yard approximately 1,000 feet to the south of the site.

MONITORING WELLS TO BE ABANDONED

BSK workplan dated September 14, 2000 stated that the monitoring wells would be constructed with Schedule 40, two-inch (inside diameter), polyvinyl chloride (PVC) casing.  Flush-joint well casing will be utilized and no chemical cements or solvents will be used in construction of the wells.  The top of each well casing will be covered with a locking watertight plug and a threaded PVC plug will be installed at the bottom of each well.

Seven soil borings were drilled at the site on November 9 and 10, 2000 with four borings converted to groundwater monitoring wells (MW-1, MW-2, MW-3 and MW-4) as shown on the site map.  Monitoring well design and construction was limited to the shallow alluvial soils encountered at the site.  Bedrock caused auger refusal at depths between approximately 12 and 21 feet below ground surface (bgs) beneath the site.  During drilling in November 2000, groundwater was encountered in MW-3 at approximately 19 feet bgs (total well depth 20 feet).  A very slight petroleum odor was observed during drilling of MW-1 at approximately 10 feet bgs.  Following installation, MW-3 was bailed dry several times.  MW-3 was not sampled at the time since other wells (MW-1, MW-2 and MW-4) did not yield water.