| COUNTY OF FRESNO |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ADDENDUM NUMBER: Two (2) |  |  |  |  |  |  |  |  |  |
|  |  |  | RFP NUMBER: 962-4945 |  |  |  |  |  |  |
| July 15, 2011 |  |  |  |  |  |  |  |  |  |
|  |  |  |  | PURCHASING USE |  |  |  |  |  |
|  |  |  |  |  | saw | /tmp/in/input.doc |  |  |  |
|  | IMPORTANT: SUBMIT PROPOSAL IN SEALED PACKAGE WITH PROPOSAL NUMBER, CLOSING DATE AND BUYER’S NAME MARKED CLEARLY ON THE OUTSIDE TO: |  |  |  |  |  |  |  |  |
|  | COUNTY OF FRESNO, Purchasing 4525 EAST HAMILTON AVENUE, 2nd Floor FRESNO, CA 93702-4599 |  |  |  |  |  |  |  |  |
|  | Closing date of proposal will be at 2:00 p.m., on July 27, 2011. PROPOSALS WILL BE CONSIDERED LATE WHEN THE OFFICIAL PURCHASING TIME CLOCK READS 2:00 P.M. |  |  |  |  |  |  |  |  |
|  | Proposals will be opened and publicly read at that time. All proposal information will be available for review after contract award. |  |  |  |  |  |  |  |  |
|  | Clarifications of specifications are to be directed to: Ken Vozza, phone (559) 600-7110, fax (559) 600-7126 or e-mail CountyPurchasing@co.fresno.ca.us |  |  |  |  |  |  |  |  |
|  | NOTE THE following and attached ADDITIONS, DELETIONS AND/OR CHANGES TO THE REQUIREMENTS OF REQUEST FOR PROPOSAL NUMBER: 962-4945 AND INCLUDE THEM IN YOUR RESPONSE. PLEASE SIGN AND RETURN THIS ADDENDUM WITH YOUR PROPOSAL. - The Close Date for RFP No. 962-4945 has been changed to July 27, 2011 at 2:00 p.m. |  |  |  |  |  |  |  |  |

| ACKNOWLEDGMENT OF ADDENDUM NUMBER Two (2) TO RFP 962-4945 |  |  |
| --- | --- | --- |
| COMPANY NAME: |  |  |
| (PRINT) |  |  |
| SIGNATURE: |  |  |
| NAME & TITLE: |  |  |
| (PRINT) |  |  |

The following are responses to vendor questions concerning current building conditions and requirements.  It is not possible to provide complete and definitive responses to all questions. Certain responses instruct vendors that it is their responsibility to meet code requirements; we understand that this could affect a vendor’s proposed pricing.

Bidders may offer pricing that is subject to building conditions that they specify in their proposal; they may offer to negotiate different pricing when the actual building conditions differ from those they specify.  The County will select one or more proposals that it feels will be most suitable for its needs and the facility.  Discussions and negotiations will take place with the selected vendor(s) to determine the most desired proposal.

- The Plaza Building is County owned. County permits and plan review shall be through the County Department of Public Works and Planning.

General Questions

- Access – Access to space can be provided with prior arrangements.  Contact Larry Wages at (559) 600-1721 to schedule.

- Deliveries – Freight elevator located in the food service area will not be used.  Accommodations can be made for delivery during normal business hours.

- Electric Power – County will provide electrical power to the electrical panels.

- Contact Extensions/Renewals – The County will consider vendor offers for contract extensions when included as part of their proposal.

- Hot Water – Building has central hot water delivery.  Area hot water delivery would have to be reviewed and meet building codes.

- HVAC Drawings – HVAC plans will require a review by County staff.

- HVAC Systems – Are operational in the area of the proposed food service.  Vendor is responsible to determine if HVAC meets code for food service.

- Construction Requirements – County will provide information about existing systems when available.  Pest control shall be the responsibility of the food vendor.

- Existing Floor Drains – Investigation would be necessary to determine if the drains are functioning and meet code.

- Existing Lighting – Lighting is available in the food service area.  Vendor responsible to determine if lighting meets code.

- Existing Ceiling Tile – Vendor responsible to determine if ceiling tile meets code for food service facilities.

- Closing Off Existing Oven Space and Secondary Eating Area– County will review closing off the existing oven space area and secondary dining area depending on the type of proposal made by the food vendor.

- Existing Electrical – Vendor would be responsible to verify if the existing panels and electrical outlets meet code and usable for their food service.

- Existing Fire Sprinkler System – Vendor would be responsible to verify if the existing sprinkler system meets code.

- Entrances and Exits – Vendor would be responsible to determine if entry doors meet code and install doors that meet code.

- Hot Water Requirements – Vendor would be responsible to verify if instant hot water would be acceptable in the food service area.

- Drawings – Drawing would have to meet requirements set by the County’s Department of Public Works and Planning -Permitting.

- Restrooms – Restrooms are within 300 hundred feet of food service area.