| COUNTY OF FRESNO |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ADDENDUM NUMBER: One (1) |  |  |  |  |  |  |  |  |  |
|  |  |  | RFQ NUMBER: |  |  |  |  |  |  |
| December 27, 2012 |  |  |  |  |  |  |  |  |  |
|  |  |  |  | PURCHASING USE |  |  |  |  |  |
|  |  |  |  |  | swa | /tmp/in/input.doc |  |  |  |
|  | IMPORTANT: SUBMIT QUOTATION IN SEALED PACKAGE WITH QUOTATION NUMBER, CLOSING DATE AND BUYER’S NAME MARKED CLEARLY ON THE OUTSIDE TO: |  |  |  |  |  |  |  |  |
|  | COUNTY OF FRESNO, Purchasing 4525 EAST HAMILTON AVENUE, 2nd Floor FRESNO, CA 93702-4599 |  |  |  |  |  |  |  |  |
|  | Closing date of bid will be at 2:00 p.m., on January 9, 2013. QUOTES WILL BE CONSIDERED LATE WHEN THE OFFICIAL PURCHASING TIME CLOCK READS 2:00 P.M. |  |  |  |  |  |  |  |  |
|  | Quotes will be opened and publicly read at that time. All quotation information will be available for review after contract award. |  |  |  |  |  |  |  |  |
|  | Clarification of specifications are to be directed to: Debbie Scharnick, e-mail CountyPurchasing@co.fresno.ca.us, phone (559) 600-7110, FAX (559) 600-7126. |  |  |  |  |  |  |  |  |
|  | NOTE THE following and attached ADDITIONS, DELETIONS AND/or CHANGES TO THE REQUIREMENTS OF REQUEST FOR QUOTATION NUMBER: AND INCLUDE THEM IN YOUR RESPONSE. PLEASE SIGN AND RETURN THIS ADDENDUM WITH YOUR QUOTATION. - Under the General Schedule there are 245 samples per years listed. These samples are at various disposal sites and are estimates. - Due to this agreement having the potential term of five years, the 5-year constituent of concern schedule for 100 samples on page 20 were included in this bid and are in addition to the Sample requested on the General Schedule. - Occasionally surface water analysis will need to be performed as such the number of samples are estimates. These samples are to be unfiltered and are also in addition to the General Schedule and the five year sample collections. |  |  |  |  |  |  |  |  |

- Laboratories may utilize a third party company for sample container delivery and pickup, provided all time frames/deadlines for sample pickup, holding times, draft and final reports etc. included in this bid are met.

- Reporting limits for all reported monitoring data shall be no greater than the Practical Quantitation Limit (PQL).

- The Standard Methods testing for Ph and TDS Alkalinity may be used instead of the 150.1 and the 160.1 are acceptable. No other alternate methods for any other tests stated in this RFQ will be permissible or accepted.

- The County’s current agreement is with BC Laboratories and expires December 31, 2012.

- Item H of the Specific Bid Requirements is further defined as quality control procedures are to be described in detail. “Costs to be used when performing sample analyses and issuing reports within the response of this RFQ” refers to pages 19 through 22, the cost/quote sheets.