| COUNTY OF FRESNO |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Request for QUOTATION |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | NUMBER: 968-4520 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| January 17, 2008 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ORG/Requisition: 43600800/ 4368008025 |  |  |  |  |  |  | PURCHASING USE |  |  |  | /tmp/in/input.doc |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | jol |  |  |  |  |  |  |  |  |  |  |  |
| IMPORTANT: SUBMIT QUOTATION IN SEALED PACKAGE WITH QUOTATION NUMBER, CLOSING DATE AND BUYER’S NAME MARKED CLEARLY ON THE OUTSIDE TO: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| COUNTY OF FRESNO, Purchasing 4525 EAST HAMILTON AVENUE FRESNO, CA 93702-4599 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Closing date of bid will be at 2:00 p.m., on February 8, 2008. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| QUOTATIONS WILL BE CONSIDERED LATE WHEN THE OFFICIAL PURCHASING TIME CLOCK READS 2:00 P.M. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Quotations will be opened and publicly read at that time. All quotation information will be available for review after contract award. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Clarification of specifications are to be directed to: Ken Vozza, phone (559) 456-7110, FAX (559) 456-7831. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| GENERAL CONDITIONS: See “County Of Fresno Purchasing Standard Instructions And Conditions For Request For Proposals (RFP’S) and Requests for Quotations (RFQ’S)” attached. Check County of Fresno Purchasing’s Open Solicitations website at www.co.fresno.ca.us/0440/Bidshome.asp for RFQ/RFP documents and changes. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| BIDDER TO COMPLETE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| UNDERSIGNED AGREES TO FURNISH THE COMMODITY OR SERVICE STIPULATED IN THE ATTACHED QUOTATION SCHEDULE AT THE PRICES AND TERMS STATED, SUBJECT TO THE “COUNTY OF FRESNO PURCHASING STANDARD INSTRUCTIONS AND CONDITIONS FOR REQUEST FOR QUOTATIONS (RFP’S) AND REQUESTS FOR QUOTATIONS (RFQ’S)”ATTACHED. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Except as noted on individual items, the following will apply to all items in the Quotation Schedule. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Complete delivery will be made within |  |  |  |  |  |  |  | calendar days after receipt of Order. |  |  |  |  |  |  |  |  |  |  |
| - A cash discount of |  |  |  |  | % |  |  |  |  | days will apply. |  |  |  |  |  |  |  |  |
| Company |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Address |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| City |  |  |  |  |  |  |  |  |  |  |  |  | State |  | Zip Code |  |  |  |
| ( ) |  |  |  | ( ) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Telephone Number |  |  |  | Facsimile Number |  |  |  |  |  |  |  |  | E-mail Address |  |  |  |  |  |
| Signed By |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Print Name |  |  |  |  |  |  |  |  | Title |  |  |  |  |  |  |  |  |  |

COUNTY OF FRESNO PURCHASING

STANDARD INSTRUCTIONS AND CONDITIONS FOR
REQUESTS FOR PROPOSALS (RFP'S) AND REQUESTS FOR QUOTATIONS (RFQ'S)

Note: the reference to “bids” in the following paragraphs applies to RFP's and RFQ's

## GENERAL CONDITIONS

By submitting a bid the bidder agrees to the following conditions.  These conditions will apply to all subsequent purchases based on this bid.

- BID PREPARATION:

  - All prices and notations must be typed or written in ink.  No erasures permitted.  Errors may be crossed out, initialed and corrections printed in ink by person signing bid.

  - Brand Names: Brand names and numbers when given are for reference. Equal items will be considered, provided the offer clearly describes the article and how it differs from that specified.  In the absence of such information it shall be understood the offering is exactly as specified.

  - State brand or make of each item.  If bidding on other than specified, state make, model and brand being bid and attach supporting literature/specifications to the bid.

  - Bid on each item separately.  Prices should be stated in units specified herein.  All applicable charges must be quoted; charges on invoice not quoted herein will be disallowed.

  - Time of delivery is a part of the consideration and must be stated in definite terms and must be adhered to.  F.O.B. Point shall be destination or freight charges must be stated.

  - All bids must be dated and signed with the firm’s name and by an authorized officer or employee.

  - Unless otherwise noted, prices shall be firm for 120 days after closing date of bid.

- SUBMITTING BIDS:

  - Each bid must be submitted on forms provided in a sealed envelope with bid number and closing date and time on the outside of the envelope/package.

  - Interpretation: Should any discrepancies or omissions be found in the bid specifications or doubt as to their meaning, the bidder shall notify the Buyer in writing at once.  The County shall not be held responsible for verbal interpretations.  Questions regarding the bid must be received by Purchasing at least 5 working days before bid opening.  All addenda issued shall be in writing, duly issued by Purchasing and incorporated into the contract.

  - ISSUING AGENT/AUTHORIZED CONTACT: This RFQ has been issued by County of Fresno Purchasing. Purchasing shall be the vendor’s sole point of contact with regard to the RFQ, its content, and all issues concerning it.

All communication regarding this RFQ shall be directed to an authorized representative of County Purchasing. The specific buyer managing this RFQ is identified on the cover page, along with his or her telephone number, and he or she should be the primary point of contact for discussions or information pertaining to the RFQ. Contact with any other County representative, including elected officials, for the purpose of discussing this RFQ, its content, or any other issue concerning it, is prohibited unless authorized by Purchasing. Violation of this clause, by the vendor having unauthorized contact (verbally or in writing) with such other County representatives, may constitute grounds for rejection by Purchasing of the vendor’s quotation.

The above stated restriction on vendor contact with County representatives shall apply until the County has awarded a purchase order or contract to a vendor or vendors, except as follows. First, in the event that a vendor initiates a formal protest against the RFQ, such vendor may contact the appropriate individual, or individuals who are managing that protest as outlined in the County’s established protest procedures. All such contact must be in accordance with the sequence set forth under the protest procedures. Second, in the event a public hearing is scheduled before the Board of Supervisors to hear testimony prior to its approval of a purchase order or contract, any vendor may address the Board.

  - Bids received after the closing time will NOT be considered.

  - Bidders are to bid what is specified or requested first. If unable to or willing to, bidder may bid alternative or option, indicating all advantages, disadvantages and their associated cost.

  - Public Contract Code Section 7028.15

Where the State of California requires a Contractor’s license, it is a misdemeanor for any person to submit a bid unless specifically exempted.

- FAILURE TO BID:

  - If not bidding, return bid sheet and state reason for no bid or your name may be removed from mailing list.

- TAXES, CHARGES AND EXTRAS:

  - County of Fresno is subject to California sales and/or use tax (7.975%). Please indicate as a separate line item if applicable.

  - DO NOT include Federal Excise Tax.  County is exempt under Registration No. 94-73-03401-K.

  - County is exempt from Federal Transportation Tax.  Exemption certificate is not required where shipping papers show consignee as County of Fresno.

  - Charges for transportation, containers, packing, etc. will not be paid unless specified in bid.

- W-9 – REQUEST FOR TAXPAYER IDENTIFICATION NUMBER AND CERTIFICATION:

Upon award of bid, the vendor shall submit to County Purchasing, a completed W-9 - Request for Taxpayer Identification Number and Certification if not already a current vendor with The County of Fresno. This form is available from the IRS to complete on line at http://www.irs.gov/pub/irs-pdf/fw9.pdf.

- AWARDS:

  - Subject to the local preference provisions referenced in Paragraph 6 below and more thoroughly set forth in the General Requirements section of this RFQ, award(s) will be made to the most responsive responsible bidder.  The evaluation will include such things as life-cycle cost, availability, delivery costs and whose product and/or service is deemed to be in the best interest of the County. The County shall be the sole judge in making such determination.

  - Unless bidder gives notice of all-or-none award in bid, County may accept any item, group of items or on the basis of total bid.

  - The County reserves the right to reject any and all bids and to waive informalities or irregularities in bids.

  - After award, all bids shall be open to public inspection. The County assumes no responsibility for the confidentiality of information offered in a bid.

- LOCAL VENDORS

  - Local Vendor Preference (applicable to RFQ Process only)

The following provisions are applicable only to the County’s acquisition of materials, equipment or supplies through the RFQ process when the funding source does not require an exemption to the Local Vendor Preference.

THE PROVISIONS OF THIS PARAGRAPH ARE APPLICABLE, NOTWITHSTANDING ANY OTHER PROVISIONS OF THIS RFQ TO THE CONTRARY

If the apparent low bidder is not a local vendor, any local vendor who submitted a bid which was within five percent (5%) of the lowest responsive  bid as determined by the purchasing agent shall have the option of submitting a new bid within forty-eight hours (not including weekends and holidays) of County’s delivery of notification. Such new bids must be in an amount less than or equal to the lowest responsive bid as determined by the purchasing agent.  If the purchasing agent receives any new bids from local vendors who have the option of submitting new bids within said forty-eight hour period, it shall award the contract to the local vendor submitting the lowest responsible bid. If no new bids are received, the contract shall be awarded to the original low bidder as announced by the purchasing agent.

  - Local Vendor Defined

“Local Vendor” shall mean any business which:

- Has its headquarters, distribution point or locally-owned franchise located in or having a street address within the County for at least six (6) months immediately prior to the issuance of the request for competitive bids by the purchasing agent; and

- Holds any required business license by a jurisdiction located in Fresno County; and

- Employs at least one (1) full-time or two (2) part-time employees whose primary residence is located within Fresno County, or if the business has no employees, shall be at least fifty percent (50%) owned by one or more persons whose primary residence(s) is located within Fresno County.

- TIE BIDS:

All other factors being equal, the contract shall be awarded to the Fresno County vendor or, if neither or both are Fresno County vendors, it may be awarded by the flip of a coin in the presence of witnesses or the entire bid may be rejected and re-bid. If the General Requirements of this RFQ state that they are applicable, the provisions of the Fresno County Local Vendor Preference shall take priority over this paragraph.

- PATENT INDEMNITY:

The vendor shall hold the County, its officers, agents and employees, harmless from liability of any nature or kind, including costs and expenses, for infringement or use of any copyrighted or uncopyrighted composition, secret process, patented or unpatented invention, article or appliance furnished or used in connection with this bid.

- SAMPLES:

Samples, when required, must be furnished and delivered free and, if not destroyed by tests, will upon written request (within 30 days of bid closing date) be returned at the bidder's expense. In the absence of such notification, County shall have the right to dispose of the samples in whatever manner it deems appropriate.

- RIGHTS AND REMEDIES OF COUNTY FOR DEFAULT:

  - In case of default by vendor, the County may procure the articles or service from another source and may recover the cost difference and related expenses occasioned thereby from any unpaid balance due the vendor or by proceeding against performance bond of the vendor, if any, or by suit against the vendor. The prices paid by the County shall be considered the prevailing market price at the time such purchase is made.

  - Articles or services, which upon delivery inspection do not meet specifications, will be rejected and the vendor will be considered in default. Vendor shall reimburse County for expenses related to delivery of non-specified goods or services.

  - Regardless of F.O.B. point, vendor agrees to bear all risks of loss, injury or destruction to goods and materials ordered herein which occur prior to delivery and such loss, injury or destruction shall not release vendor from any obligation hereunder.

- DISCOUNTS:

Terms of less than 15 days for cash payment will be considered as net in evaluating this bid. A discount for payment within fifteen (15) days or more will be considered in determining the award of bid. Discount period will commence either the later of delivery or receipt of invoice by the County. Standard terms are Net Forty-five (45) days.

- SPECIAL CONDITIONS IN BID SCHEDULE SUPERSEDE GENERAL CONDITIONS.

The “General Conditions” provisions of this RFP/RFQ shall be superseded if in conflict with any other section of this bid, to the extent of any such conflict.

- SPECIAL REQUIREMENT:

With the invoice or within twenty-five (25) days of delivery, the seller must provide to the County a Material Safety Data Sheet for each product, which contains any substance on “The List of 800 Hazardous Substances”, published by the State Director of Industrial Relations. (See Hazardous Substances Information and Training Act. California State Labor Code Sections 6360 through 6399.7.)

- RECYCLED PRODUCTS/MATERIALS:

Vendors are encouraged to provide and quote (with documentation) recycled or recyclable products/materials which meet stated specifications.

- YEAR COMPLIANCE WARRANTY

Vendor warrants that any product furnished pursuant to this Agreement/order shall support a four-digit year format and be able to accurately process date and time data from, into and between the twentieth and twenty-first centuries, as well as leap year calculations. "Product" shall include, without limitation, any piece or component of equipment, hardware, firmware, middleware, custom or commercial software, or internal components or subroutines therein. This warranty shall survive termination or expiration of this Agreement.

In the event of any decrease in product functionality or accuracy related to time and/or date data related codes and/or internal subroutines that impede the product from operating correctly using dates beyond December 31, 1999, vendor shall restore or repair the product to the same level of functionality as warranted herein, so as to minimize interruption to County's ongoing business process, time being of the essence. In the event that such warranty compliance requires the acquisition of additional programs, the expense for any such associated or additional acquisitions, which may be required, including, without limitation, data conversion tools, shall be borne exclusively by vendor. Nothing in this warranty shall be construed to limit any rights or remedies the County may otherwise have under this Agreement with respect to defects other than year performance.

- PARTICIPATION:

Bidder may agree to extend the terms of the resulting contract to other political subdivision, municipalities and tax-supported agencies.

Such participating Governmental bodies shall make purchases in their own name, make payment directly to bidder, and be liable directly to the bidder, holding the County of Fresno harmless.

- CONFIDENTIALITY:

All services performed by vendor shall be in strict conformance with all applicable Federal, State of California and/or local laws and regulations relating to confidentiality, including but not limited to, California Civil Code, California Welfare and Institutions Code, Health and Safety Code, California Code of Regulations, Code of Federal Regulations.

Vendor shall submit to County’s monitoring of said compliance.

Vendor may be a business associate of County, as that term is defined in the “Privacy Rule” enacted by the Health Insurance Portability and Accountability Act of 1996 (HIPAA). As a HIPAA Business Associate, vendor may use or disclose protected health information (“PHI”) to perform functions, activities or services for or on behalf of County as specified by the County, provided that such use or disclosure shall not violate HIPAA and its implementing regulations. The uses and disclosures if PHI may not be more expansive than those applicable to County, as the “Covered Entity” under HIPAA’S Privacy Rule, except as authorized for management, administrative or legal responsibilities of the Business Associate.

Vendor shall not use or further disclose PHI other than as permitted or required by the County, or as required by law without written notice to the County.

Vendor shall ensure that any agent, including any subcontractor, to which vendor provides PHI received from, or created or received by the vendor on behalf of County, shall comply with the same restrictions and conditions with respect to such information.

- APPEALS

Appeals must be submitted in writing within seven (7) working days after the review committee notification of proposed recommendations. Appeals should be submitted to County of Fresno Purchasing, 4525 E. Hamilton Avenue, Fresno, California 93702-4599. Appeals should address only areas regarding RFP contradictions, procurement errors, quotation rating discrepancies, legality of procurement context, conflict of interest, and inappropriate or unfair competitive procurement grievance regarding the RFP process.

The Purchasing Manager will provide a written response to the complaint within seven (7) working days unless the complainant is notified more time is required.

If the protesting bidder is not satisfied with the decision of the Purchasing Manager, he/she shall have the right to appeal to the Purchasing Agent within seven (7) business days after notification of the Purchasing Manager’s decision.

If the protesting bidder is not satisfied with Purchasing Agent decision, the final appeal is with the Board of Supervisors.

- OBLIGATIONS OF CONTRACTOR:

  - CONTRACTOR shall perform as required by the ensuing contract. CONTRACTOR also warrants on behalf of itself and all subcontractors engaged for the performance of the ensuing contract that only persons authorized to work in the United States pursuant to the Immigration Reform and Control Act of 1986 and other applicable laws shall be employed in the performance of the work hereunder.

  - CONTRACTOR shall obey all Federal, State, local and special district laws, ordinances and regulations.

- AUDITS & RETENTION:

The Contractor shall maintain in good and legible condition all books, documents, papers, data files and other records related to its performance under this contract. Such records shall be complete and available to Fresno County, the State of California, the federal government or their duly authorized representatives for the purpose of audit, examination, or copying during the term of the contract and for a period of at least three years following the County's final payment under the contract or until conclusion of any pending matter (e.g., litigation or audit), whichever is later. Such records must be retained in the manner described above until all pending matters are closed.

- BIDDING INSTRUCTIONS

GENERAL REQUIREMENTS

The County of Fresno is soliciting bids from appropriately licensed vendors to provide all labor, material, equipment, taxes, fees, permits etc. to perform inspections on approximately 136 water system backflow devices. Services to be provided at Fresno County Service Area (CSA) Numbers 34A, 44A, 44C, 44D,47, 39-AB, 43W, Waterworks District (WWD) No. 38 and American Avenue Landfill. Additionally, the successful bidder shall perform repairs on, and replacement of, improperly functioning devices as determined by the inspections. Services to be performed in accordance with the terms, conditions, requirements etc., as specified under this Request for Quotation.

LOCAL VENDOR PREFERENCE:  The Local Vendor Preference does not apply to this Request for Quotation.

ISSUING AGENT: This RFQ has been issued by County of Fresno Purchasing. The County Purchasing shall be the vendor’s sole point of contact with regard to the RFQ, its content, and all issues concerning it.

AUTHORIZED CONTACT: All communication regarding this RFQ shall be directed to an authorized representative of County Purchasing. The specific buyer managing this RFQ is identified on the cover page, along with his or her telephone number, and he or she should be the primary point of contact for discussions or information pertaining to the RFQ. Contact with any other County representative, including elected officials, for the purpose of discussing this RFQ, it content, or any other issue concerning it, is prohibited unless authorized by Purchasing. Violation of this clause, by the vendor having unauthorized contact (verbally or in writing) with such other County representatives, may constitute grounds for rejection by Purchasing of the vendor’s quotation.

The above stated restriction on vendor contact with County representatives shall apply until the County has awarded a purchase order or contract to a vendor or vendors, except as follows. First, in the event that a vendor initiates a formal protest against the RFQ, such vendor may contact the appropriate individual, or individuals who are managing that protest as outlined in the County’s established protest procedures. All such contact must be in accordance with the sequence set forth under the protest procedures. Second, in the event a public hearing is scheduled before the Board of Supervisors to hear testimony prior to its approval of a purchase order or contract, any vendor may address the Board.

AWARD: Award will be made to the bidder whose product(s) service, price, and delivery is most advantageous to the County. The County will be the sole judge in making this determination.

NUMBER OF COPIES:  Submit one (1) original and four (4) copies of your quotation no later than the quotation closing date and time as stated on the front of this document to the County of Fresno County Purchasing. Each copy to be identical to the original, including all supporting documentation (i.e. literature, brochures, reports, schedules, specifications, drawings etc.). The cover page of each quotation is to be appropriately marked “Original” or “Copy”.

FIRM PROPOSAL:  For purposes of award, all bids shall remain firm for at least one hundred eighty (180) calendar days from the closing date of this RFQ.

RIGHT TO REJECT BIDS: The County reserves the right to reject any and all bids and to waive informalities or irregularities in bids.

INTERPRETATION OF RFQ: Vendors must make careful examination of the requirements, specifications and conditions expressed in the RFQ and fully inform themselves as to the quality and character of equipment and services required. If any person planning to submit a quotation finds discrepancies in or omissions from the RFQ or has any doubt as to the true meaning or interpretation, correction thereof may be requested in writing from Purchasing, not later than January 31, 2008 at 8:00 A.M.

Questions shall be delivered to County of Fresno Purchasing, 4525 E. Hamilton Avenue, Fresno, CA 93702 or emailed to kvozza@co.fresno.ca.us faxed to (559) 456-7831. If faxing the bidder must confirm receipt by phone within one-half (1/2) hour of transmission.

NOTE: Time constraints will prevent County from responding to questions submitted after the cutoff date.

Any change in the Request for Quotation will be made by written addendum issued by the County. The County will not be responsible for any other explanations or interpretations.

NOTICE TO PROCEED:  Following execution of the agreement by both parties (County and Contractor), the County will issue a written Notice to Proceed for the project specified herein. The completion period as defined below, shall commence upon the date indicated in the Notice to Proceed.

CODES AND REGULATIONS: All work and material to conform to all applicable state and local building and other codes and regulations.

MATERIALS TO BE NEW: All materials shall be new and of merchantable grade, free from defect. No bid will be considered unless it is accompanied by a complete list of catalog numbers of the items, which the bidder proposes to furnish, together with full descriptive literature on all items so enumerated. If item proposed differs from these specifications, bidder shall present specific explanation of functioning and structural characteristics for those details which differ from the specifications listed herein.

DAMAGE TO EXISTING WORK: Damage to existing construction, equipment, planting, etc., by the successful bidder in the performance of his work shall be replaced or repaired and restored to original condition by the successful bidder.

CLEAN-UP: The successful bidder shall at all times keep the premises clean from accumulation of waste materials or rubbish caused by his employees or work and shall remove all resulting work debris from the job site.

WATER, POWER & TOILET FACILITIES: Successful bidder may use County owned water, power and toilet facilities at job site (when existing) at no expense to the successful bidder. Successful bidder will be required, however, to provide piping, fittings and other items as necessary to bring water and power from existing service to job site.

COORDINATE WORK WITH OWNER: Successful bidder shall coordinate and schedule the work with the County so that any interruption to the normal business operations be kept to a minimum.

TAXES, PERMITS & FEES: The successful bidder shall pay for and include all federal, state and local taxes direct or indirect upon all materials; pay all fees for, and obtain all necessary permits and licenses, unless otherwise specified herein.

INSPECTION: All material and workmanship shall be subject to inspection, examination and test by the County at any and all times during which manufacture and/or construction are carried on. The County shall have the right to reject defective material and workmanship or require its correction.

SUPERVISION: The successful bidder shall give efficient supervision to the work, using therein the skill and diligence for which he is remunerated in the contract price. He shall carefully inspect the site and study and compare all drawings, specifications and other instructions, as ignorance of any phase of any of the features or conditions affecting the contract will not excuse him from carrying out its provisions to its full intent.

SAFEGUARDS:  The successful bidder shall provide, in conformity with all local codes and ordinances and as may be required, such temporary walls, fences, guardrails, barricades, lights, danger signs, enclosures, etc., and shall maintain such safeguards until all work is completed.

PAYMENT: Upon satisfactory completion of work, specified herein and approval by the County, payment will be made in full.  Terms of payment will be net forty-five (45) days. County will consider the Bidder’s Cash discount Offer, as previously stated under the General Terms and Conditions in lieu of the net forty-five (45) days payment terms.

INDEPENDENT CONTRACTOR: In performance of the work, duties and obligations assumed by Contractor under this Agreement, it is mutually understood and agreed that Contractor, including any and all of Contractor's officers, agents, and employees will at all times be acting and performing as an independent contractor, and shall act in an independent capacity and not as an officer, agent, servant, employee, joint venturer, partner, or associate of the County. Furthermore, County shall have no right to control or supervise or direct the manner or method by which Contractor shall perform its work and function.  However, County shall retain the right to administer this Agreement so as to verify that Contractor is performing its obligations in accordance with the terms and conditions thereof.  Contractor and County shall comply with all applicable provisions of law and the rules and regulations, if any, of governmental authorities having jurisdiction over matters the subject thereof.

Because of its status as an independent contractor, Contractor shall have absolutely no right to employment rights and benefits available to County employees.  Contractor shall be solely liable and responsible for providing to, or on behalf of, its employees all legally required employee benefits.  In addition, Contractor shall be solely responsible and save County harmless from all matters relating to payment of Contractor's employees, including compliance with Social Security, withholding, and all other regulations governing such matters.  It is acknowledged that during the term of this Agreement, Contractor may be providing services to others unrelated to the County or to this Agreement.

HOLD HARMLESS CLAUSE:  Contractor agrees to indemnify, save, hold harmless and at County's request, defend its officers, agents and employees, from any and all costs and expenses, damages, liabilities, claims and losses occurring or resulting to County in connection with the performance, or failure to perform, by Contractor, its officers, agents or employees under this agreement and from any and all costs and expenses, damages, liabilities, claims and losses occurring or resulting to any person, firm or corporation who may be injured or damaged by the performance, or failure to perform, of Contractor, its officers, agents or employees under this agreement.

ASSURANCES:  Any contract awarded under this RFQ must be carried out in full compliance with The Civil Rights Act of 1964, The Americans With Disabilities Act of 1990, their subsequent amendments, and any and all other laws protecting the rights of individuals and agencies.  The County of Fresno has a zero tolerance for discrimination, implied or expressed, and wants to ensure that policy continues under this RFQ.  The contractor must also guarantee that services, or workmanship, provided will be performed in compliance with all applicable local, state, or federal laws and regulations pertinent to the types of services, or project, of the nature required under this RFQ.  In addition, the contractor may be required to provide evidence substantiating that their employees have the necessary skills and training to perform the required services or work.

PREVAILING WAGES: In accordance with the provisions of Section 1770 of the Labor Code, the Director of the Department of Industrial Relations of the State of California has determined the general prevailing rates of wages and employer payments for health and welfare pension, vacation, travel time and subsistence pay as provided for in Section 1773.8, apprenticeship or other training programs authorized by Section 3093, and similar purposes applicable to the work to be done. A copy of the above-mentioned wage rates shall be posted by the successful bidder at the job site where it will be available to any interested party.

Information pertaining to Prevailing Wage Rates can be found on the web site for the State of California – Division of Labor Statistics and Research:

http://www.dir.ca.gov/dlsr/statistics_research.html

- INSURANCE:

Without limiting the County's right to obtain indemnification from contractor or any third parties, contractor, at its sole expense, shall maintain in full force and effect the following insurance policies throughout the term of the Agreement:

- Commercial General Liability

Commercial General Liability Insurance with limits of not less than One Million Dollars ($1,000,000) per occurrence and an annual aggregate of Two Million Dollars ($2,000,000). This policy shall be issued on a per occurrence basis. County may require specific coverages including completed operations, products liability, contractual liability, Explosion-Collapse-Underground, fire legal liability or any other liability insurance deemed necessary because of the nature of this contract.

- Automobile Liability

Comprehensive Automobile Liability Insurance with limits for bodily injury of not less than Two Hundred Fifty Thousand Dollars ($250,000.00) per person, Five Hundred Thousand Dollars ($500,000.00) per accident and for property damages of not less than Fifty Thousand Dollars ($50,000.00), or such coverage with a combined single limit of Five Hundred Thousand Dollars ($500,000.00).  Coverage should include owned and non-owned vehicles used in connection with this Agreement.

- Worker's Compensation

A policy of Worker's Compensation insurance as may be required by the California Labor Code.

Contractor shall obtain endorsements to the Commercial General Liability insurance naming the County of Fresno, its officers, agents, and employees, individually and collectively, as additional insured, but only insofar as the operations under this Agreement are concerned.  Such coverage for additional insured shall apply as primary insurance and any other insurance, or self-insurance, maintained by County, its officers, agents and employees shall be excess only and not contributing with insurance provided under contractor's policies herein. This insurance shall not be cancelled or changed without a minimum of thirty (30) days advance written notice given to County.

Within Thirty (30) days from the date contractor executes this Agreement, contractor shall provide certificates of insurance and endorsement as stated above for all of the foregoing policies, as required herein, to the County of Fresno, Purchasing-Attn: Ken Vozza, stating that such insurance coverage have been obtained and are in full force; that the County of Fresno, its officers, agents and employees will not be responsible for any premiums on the policies; that such Commercial General Liability insurance names the County of Fresno, its officers, agents and employees, individually and collectively, as additional insured, but only insofar as the operations under this Agreement are concerned; that such coverage for additional insured shall apply as primary insurance and any other insurance, or self-insurance, maintained by County, its officers, agents and employees, shall be excess only and not contributing with insurance provided under contractor's policies herein; and that this insurance shall not be cancelled or changed without a minimum of thirty (30) days advance, written notice given to County.

In the event contractor fails to keep in effect at all times insurance coverage as herein provided, the County may, in addition to other remedies it may have, suspend or terminate this Agreement upon the occurrence of such event.

All policies shall be with admitted insurers licensed to do business in the State of California.  Insurance purchased shall be purchased from companies possessing a current A.M. Best, Inc. rating of A FSC VII or better.

BONDS:  The successful bidder may be required to furnish a Faithful Performance Bond and a Labor and Materials Bond in an amount equal to one hundred percent (100%) of the contract price. The Bond cost will be added to the contract amount subject to the County’s determination that the Bond’s cost is reasonable.

BONDING COMPANY:  The Company issuing bonds shall be a corporate surety admitted by the California Insurance Commissioner to do business in the State of California with an A.M Best rating of B++ VIII or better.

COORDINATION AND COMPLETION: The successful bidder shall contact and meet with the County Coordinator at the job site prior to commencement and completion of any work.

Successful bidder shall complete the job as instructed and described in writing by the contract, bid or amendment. Any problem or questions that arise in the scope of work, the County must be contacted and the appropriate written amendment generated.

COMPLETION PERIOD: Time of completion for this project shall be forty-five (45) calendar days, excepting delays caused by acts of God. Such completion period shall commence upon the date indicated in the “NOTICE TO PROCEED” issued by County to Contractor

LIQUIDATED DAMAGES:  The Contractor will be assessed liquidated damages in the amount of one hundred dollars ($100.00) per day for each calendar day delay over the specified time of completion.

GUARANTEE:  The successful bidder shall fully guarantee all aspects of the project for the minimum period of one (1) year.  Such one (1) year period shall commence upon the date of final acceptance by County. The guarantee shall include but in no way be limited to workmanship, equipment and materials.

TERMINATION OF AGREEMENT: The terms of this Agreement, and the services to be provided thereunder, are contingent on the approval of funds by the appropriating government agency.  Should sufficient funds not be allocated, the services provided may be modified, or this Agreement terminated at any time by giving the contractor thirty (30) days advance written notice.

- BIDDER TO COMPLETE

- SUBCONTRACTORS:

List all subcontractors that would perform work in excess of one/half of one percent of the total amount of your bid, and state general type of work such subcontractor would be performing:

CONTRACTOR'S LICENSE:

The bidder shall possess a current State of California plumbing contractor’s license, Class C36 or another license class that covers the work to be performed. The proposal must indicate the license held by the bidder, which enables him/her to perform the work.

If the license is other than a ClassC36, the bidder must explain why his/her license(s) is acceptable.  The County will review and determine if acceptable.

| Number and Class: |  |
| --- | --- |
| Date of Issue: |  |

INSURANCE:

| Name of Insurance Carrier: |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Public Liability: |  |  |  | Expires: |  |
| Workman's Compensation: |  |  |  | Expires: |  |

Proof of maintenance of adequate insurance will be required before award is made to vendor.

GUARANTEE: The bidder shall state his written guarantee here:

- Vendor must complete and return with Request for Quotation.

| Firm: |  |
| --- | --- |

REFERENCE LIST

Submit a list of at least five (5) customer references.  Such references shall be customers for whom the bidder has recently provided services that are similar to those requested herein.

| Reference Name: |  | City: |  |  |  |  |  | State |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Contact |  | Phone No.: |  | ( |  | ) |  |  |  |
| Date: |  |  |  |  |  |  |  |  |  |
| Service Provided: |  |  |  |  |  |  |  |  |  |
| Reference Name: |  | City: |  |  |  |  |  | State |  |
| Contact |  | Phone No.: |  | ( |  | ) |  |  |  |
| Date: |  |  |  |  |  |  |  |  |  |
| Service Provided: |  |  |  |  |  |  |  |  |  |
| Reference Name: |  | City: |  |  |  |  |  | State |  |
| Contact |  | Phone No.: |  | ( |  | ) |  |  |  |
| Date: |  |  |  |  |  |  |  |  |  |
| Service Provided: |  |  |  |  |  |  |  |  |  |
| Reference Name: |  | City: |  |  |  |  |  | State |  |
| Contact |  | Phone No.: |  | ( |  | ) |  |  |  |
| Date: |  |  |  |  |  |  |  |  |  |
| Service Provided: |  |  |  |  |  |  |  |  |  |
| Reference Name: |  | City: |  |  |  |  |  | State |  |
| Contact |  | Phone No.: |  | ( |  | ) |  |  |  |
| Date: |  |  |  |  |  |  |  |  |  |
| Service Provided: |  |  |  |  |  |  |  |  |  |

FAILURE TO PROVIDE A LIST OF AT LEAST FIVE (5) CUSTOMERS MAY BE CAUSE FOR REJECTION OF THIS RFQ.

SPECIFICATIONS

BACKFLOW PREVENTION DEVICE

INSPECT AND REPAIR SERVICES

PROJECT DESCRIPTION

The County is seeking a licensed vendor to inspect and repair existing backflow prevention devices located in County Service Areas (CSAs), Waterworks Districts (WWDs) and a County solid waste disposal facility possessing water systems maintained by staff of the Resources Division.  A back-flow prevention device is a standard and recognized mechanism utilizing gaskets, seals and differing pressures to prevent water located within the pipes on the property of a water recipient from flowing back into the system’s laterals and potentially contaminating the system as a whole.

The affected CSAs, WWDs and County solid waste disposal facility are presented in the table below with the number of devices:

| District | Tract, Community or County Facility | ¾” connection | 1” connection | 1 1/2” connection | 2” connection |
| --- | --- | --- | --- | --- | --- |
| CSA 34A | Brighton Crest |  | 1 |  | 1 |
| CSA 44A | Millerton Lake Mobile Home Village |  | 1 |  |  |
| CSA 44C | Riverview Estates |  |  |  | 1 |
| CSA 44D | Monte Verdi Estates |  | 5 |  | - |
| CSA 47 | Quail Lake Estates |  | 5 |  | - |
| WWD 38 | Millerton Lakes Park Estates |  | 2 |  | - |
| American Avenue Landfill | County solid waste disposal facility |  | 4 |  | - |
| CSA 39 - AB | Berran Way & Prospect / Grove |  | 138 |  | - |
| CSA 43 W | Raisin City | 63 | 1 | 1 |  |
| TOTAL |  | 63 | 157 | 1 | 2 |

SCOPE OF WORK & PROJECT REQUIREMENTS

The individual or company proposing to undertake the inspections and repairs must have a valid Backflow Prevention Device Assembly Tester Certificate from the California Nevada Section of the American Water Works Association and be a licensed plumbing contractor in the State of California or another license class that covers the work to be performed.

- The individual or company must be knowledgeable of the workings of backflow inspection devices and the procedures used to inspect and repair these devices including inspection of the unit’s rubber gaskets and seals, testing each unit and measuring pressures of both influent and effluent components, ensuring the unit does not leak, and if leaking or failure occurs have the ability to make necessary repairs and service recommendations to County staff.

The successful bidder will provide all labor, materials, equipment, taxes, fees, permits etc. to perform an inspection of each backflow prevention device once during the calendar year.

The contractor will develop a schedule of dates and times inspections are anticipated and submit it to the Special Districts Section of the Resources Division of the Department of Public Works and Planning.  The Special Districts Section staff will review may request and negotiate adjustments to the schedules.  The County Special Districts Administrator or a designee must issue a notice to proceed prior to the contractor undertaking inspections.

The inspections will determine whether or not the device is properly functioning.  A written report will be submitted to the County indicating the condition of each backflow prevention device.  The report shall indicate the size make, model and location of devices in need of repair or replacement and provide cost breakdown based on the labor cost quoted in the bidder’s response to this RFQ.  The report shall indicate the cost of the appropriate repair kit or replacement device and all parts; the cost to County shall be the price paid by the contractor to his supplier. The contractor must provide copies of supplier invoices showing his costs of devices, kits and parts.

The Special Districts Section staff will review the report and determine if repairs or replacements will need to be provided in phases.  The contractor shall not commence to make repairs or replace malfunctioning devices until a written notice to proceed has been issued by the Special Districts Administrator or his/her designee.

Charges for inspecting and reporting will be a specific fee for each backflow prevention device by its size in each of CSA, WWD and County Facility.

When invoicing for work, the contractor must identify separately on the invoice charges for each CSA, WWD and County Facility.  Work identified on invoices must be completed prior to payment authorization by the County.

Attached is a map of Fresno County showing the location of the water systems identified above.  Also attached are maps of the individual water system service areas.  Most water systems have one or a few backflow prevention devices on the main water lines.  However, in CSA 39-AB and CSA 43W there is a backflow prevention device installed near each residential meter.

QUOTATION SCHEDULE

Inspection / Reporting

VENDOR REQUIREMENTS:

- Possession of a valid Back Flow Prevention Device Assembly Tester Certificate from the California-Nevada Section of the American Water Works Association. The Bidder must provide a copy of their wallet certificate with the bid submittals

- Possess a California Plumbing Contractor’ license or another license class that covers the work to be performed.

- The successful bidder must be able to:

- Inspect, test, and repair backflow prevention assemblies.

- Maintain service records on backflow prevention assemblies

- Explain requirements and policies to County’s field operations staff.

- The successful bidder shall have knowledge of the following:

- Proper backflow prevention device assembly inspection, testing and repairing.

- Knowledge of tools, equipment, and parts used in maintaining backflow prevention assemblies.

- Knowledge of municipal and community water systems and their water service components.

- QUOTATION SCHEDULE
INSPECTION OF BACKFLOW PREVENTION DEVICES

The vendor shall submit a quotation for the cost of performing the inspection of water system backflow prevention devices, subsequent reporting, etc., as specified under this RFQ.

The Vendor’s quotation, submitted on the schedule below, shall include all labor, travel, inspection and testing equipment, taxes, permits etc. to perform the specified work (including reporting) and comply with all stated Requirements and Conditions.

|  | A | *B | *C | D | E |
| --- | --- | --- | --- | --- | --- |
|  |  | Quantity | Quantity | Backflow Devices Inspections |  |
| District | Connection Size | Backflow Device | Backflow Device Inspections | Unit Cost | Total (C x D) |
| CSA 34A | 1” | 1 | 1 | $ | $ |
| // | 2” | 1 | 1 | $ | $ |
| CSA 44A | 1” | 1 | 1 | $ | $ |
| CSA 44C | 2” | 1 | 1 | $ | $ |
| CSA 44D | 1” | 5 | 5 | $ | $ |
| CSA 47 | 1” | 5 | 5 | $ | $ |
| WIND 38 | 1” | 1 | 1 | $ | $ |
| America Ave. Landfill | 1” | 4 | 4 | $ | $ |
| CSA 39 - AB | 1” | 138 | 138 | $ | $ |
| CSA 43 W | ¾” | 63 | 63 | $ | $ |
| // | 1 ½” | 1 | 1 | $ | $ |
|  |  |  | INSPECTIONS GRAND TOTAL |  | $ |

* The quantity of inspections may vary; the actual quantity of inspections may be grater than or less than the quantity shown. The County does not guarantee a minimum quantity of inspections, replacements or repairs. County will pay only for the work performed.

- QUOTATION SCHEDULE
REPAIR & REPLACEMENT OF BACKFLOW PREVENTION DEVICES

County estimates that approximately twenty percent (20%) of the backflow devices will require repair and five percent (5%) replacement. As such the vendor is required to quote a rate for each service for each connection size. The vendor shall complete the schedule below using their quoted rate. The quantities shown are estimated and will be used in determining the award of contract; the County does not guarantee a minimum quantity of work.

The quotation shall include all labor, inspection and testing equipment, travel, permits, taxes, etc.  Do not include costs for parts, repair kits or devices for replacement.  Costs for parts, repair kits and replacement devices shall be provided in the written report after inspections are conducted. The contractor shall not markup parts etc.; the County shall be charged the same price as paid by the contractor to his supplier. Supplier invoices shall be submitted with the contractor’s invoice to County.

|  | Column A | Column B | Column C |  | Column D | Column E | Column F | Column G |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Replace Device |  |  |  | Repair Device |  |  | Total |
| Connection Size | Qty | Unit Cost | Total (A x B) |  | Qty | Unit Cost | Total (D x E) | Replacement& repair (C + F) |
| 3/4” | 4 | $ | $ |  | 13 | $ | $ | $ |
| 1” | 8 | $ | $ |  | 31 | $ | $ | $ |
| 1 ½” | 1 | $ | $ |  | 1 | $ | $ | $ |
| 2” | 1 | $ | $ |  | 1 | $ | $ | $ |
|  |  |  |  |  |  | GRAND TOTAL |  | $ |

- TOTAL SUMMARY

|  | GRAND TOTAL-INSPECTIONS (Total Item I) | $ $ |
| --- | --- | --- |
|  | GRAND TOTAL –LABOR, REPLACEMENT & REPAIRS (Total Item ll) |  |
|  | TOTAL ALL SERVICES | $ |

| Firm: |  |
| --- | --- |

RFQ SUBMITTALS
(*Check List)

# The bidder shall provide the following with their Quotation:

|  | - The completed and signed Page One of this RFQ. |
| --- | --- |
|  | - Complete, sign and submit page one of each and all Addendums to this RFQ which require signature (if any). |
|  | - The specified number of copies of the bidder’s Quotation. |
|  | - The completed Bidder to Complete page of this RFQ. |
|  | - The completed Reference List of this RFQ. |
|  | - The completed Quotation Schedule as provided with this RFQ. |
|  | - A list of all bidder exceptions to County’s requirements, conditions, and specifications as stated within this RFQ. |
|  | - A completed W-9 form (download from IRS website: http://www.irs.gov/pub/irs-pdf/fw9.pdf?portlet=3) |
|  | - The completed RFQ SUBMITTALS page. - Copy of the bidder’s wallet certificate issued by the California-Nevada Section of the American Water Works |
|  | - Submit your quotation prior to the specified date and time. Submit in a sealed envelope, box, etc. with the following information displayed on the outside: |

| County of Fresno RFQ No. |  |  | 968-4520 |
| --- | --- | --- | --- |
| Closing Date: | February 8, 2008 |  |  |
| Closing Time: | 2:00 P.M. |  |  |
| Commodity or Service: |  |  |  |

*a.	Submit this page as a part of your Quotation.

b.	Submit all items listed on this page.

c.	State Yes on the line to the left of each item to confirm that the requested information has been included, state No if it is not provided and explain why.

d.	The County does not guarantee that all items to be submitted with vendor’s bid are listed above.  The absence of items from the list does not exempt the bidder from providing them. The bidder must read the RFQ thoroughly to determine all items that are to be submitted with his/her quotation.