| COUNTY OF FRESNO |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Request for QUOTATION |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | NUMBER: 968-4746 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| September 17, 2009 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ORG/Requisition: 9030/ 9179000002 |  |  |  |  |  |  | PURCHASING USE |  |  |  | /tmp/in/input.doc |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | saw |  |  |  |  |  |  |  |  |  |  |  |
| IMPORTANT: SUBMIT QUOTATION IN SEALED PACKAGE WITH QUOTATION NUMBER, CLOSING DATE AND BUYER’S NAME MARKED CLEARLY ON THE OUTSIDE TO: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| COUNTY OF FRESNO, Purchasing 4525 EAST HAMILTON AVENUE FRESNO, CA 93702-4599 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Closing date of bid will be at 2:00 p.m., on October 13, 2009. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| QUOTATIONS WILL BE CONSIDERED LATE WHEN THE OFFICIAL PURCHASING TIME CLOCK READS 2:00 P.M. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Quotations will be opened and publicly read at that time. All quotation information will be available for review after contract award. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Clarification of specifications is to be directed to: Craig Nickel, phone (559) 456-7110, e-mail CountyPurchasing@co.fresno.ca.us FAX (559) 456-7831. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| GENERAL CONDITIONS: See “County Of Fresno Purchasing Standard Instructions And Conditions For Request For Proposals (RFP’S) and Requests for Quotations (RFQ’S)” attached. Check County of Fresno Purchasing’s Open Solicitations website at http://www2.co.fresno.ca.us/0440/Bidshome2.asp for RFQ/RFP documents and changes. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| BIDDER TO COMPLETE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| UNDERSIGNED AGREES TO FURNISH THE COMMODITY OR SERVICE STIPULATED IN THE ATTACHED QUOTATION SCHEDULE AT THE PRICES AND TERMS STATED, SUBJECT TO THE “COUNTY OF FRESNO PURCHASING STANDARD INSTRUCTIONS AND CONDITIONS FOR REQUEST FOR PROPOSALS (RFP’S) AND REQUESTS FOR QUOTATIONS (RFQ’S)”ATTACHED. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Except as noted on individual items, the following will apply to all items in the Quotation Schedule. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Complete delivery will be made within |  |  |  |  |  |  |  | calendar days after receipt of Order. |  |  |  |  |  |  |  |  |  |  |
| - A cash discount of |  |  |  |  | % |  |  |  |  | days will apply. |  |  |  |  |  |  |  |  |
| Company |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Address |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| City |  |  |  |  |  |  |  |  |  |  |  |  | State |  | Zip Code |  |  |  |
| ( ) |  |  |  | ( ) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Telephone Number |  |  |  | Facsimile Number |  |  |  |  |  |  |  |  | E-mail Address |  |  |  |  |  |
| Signed By |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Print Name |  |  |  |  |  |  |  |  | Title |  |  |  |  |  |  |  |  |  |

COUNTY OF FRESNO PURCHASING

STANDARD INSTRUCTIONS AND CONDITIONS FOR
REQUESTS FOR PROPOSALS (RFP'S) AND REQUESTS FOR QUOTATIONS (RFQ'S)

Note: the reference to “bids” in the following paragraphs applies to RFP's and RFQ's

## GENERAL CONDITIONS

By submitting a bid the bidder agrees to the following conditions.  These conditions will apply to all subsequent purchases based on this bid.

- BID PREPARATION:

  - All prices and notations must be typed or written in ink.  No erasures permitted.  Errors may be crossed out, initialed and corrections printed in ink by person signing bid.

  - Brand Names: Brand names and numbers when given are for reference. Equal items will be considered, provided the offer clearly describes the article and how it differs from that specified.  In the absence of such information it shall be understood the offering is exactly as specified.

  - State brand or make of each item.  If bidding on other than specified, state make, model and brand being bid and attach supporting literature/specifications to the bid.

  - Bid on each item separately.  Prices should be stated in units specified herein.  All applicable charges must be quoted; charges on invoice not quoted herein will be disallowed.

  - Time of delivery is a part of the consideration and must be stated in definite terms and must be adhered to.  F.O.B. Point shall be destination or freight charges must be stated.

  - All bids must be dated and signed with the firm’s name and by an authorized officer or employee.

  - Unless otherwise noted, prices shall be firm for 180 days after closing date of bid.

- SUBMITTING BIDS:

  - Each bid must be submitted on forms provided in a sealed envelope/package with bid number and closing date and time on the outside of the envelope/package.

  - Interpretation: Should any discrepancies or omissions be found in the bid specifications or doubt as to their meaning, the bidder shall notify the Buyer in writing at once.  The County shall not be held responsible for verbal interpretations.  Questions regarding the bid must be received by Purchasing at least 5 working days before bid opening.  All addenda issued shall be in writing, duly issued by Purchasing and incorporated into the contract.

  - ISSUING AGENT/AUTHORIZED CONTACT: This RFQ/RFP has been issued by County of Fresno Purchasing. Purchasing shall be the vendor’s sole point of contact with regard to the RFQ/RFP, its content, and all issues concerning it.

All communication regarding this RFQ/RFP shall be directed to an authorized representative of County Purchasing. The specific buyer managing this RFQ is identified on the cover page, along with his or her telephone number, and he or she should be the primary point of contact for discussions or information pertaining to the RFQ/RFP. Contact with any other County representative, including elected officials, for the purpose of discussing this RFQ/RFP, its content, or any other issue concerning it, is prohibited unless authorized by Purchasing. Violation of this clause, by the vendor having unauthorized contact (verbally or in writing) with such other County representatives, may constitute grounds for rejection by Purchasing of the vendor’s quotation.

The above stated restriction on vendor contact with County representatives shall apply until the County has awarded a purchase order or contract to a vendor or vendors, except as follows. First, in the event that a vendor initiates a formal protest against the RFQ/RFP, such vendor may contact the appropriate individual, or individuals who are managing that protest as outlined in the County’s established protest procedures. All such contact must be in accordance with the sequence set forth under the protest procedures. Second, in the event a public hearing is scheduled before the Board of Supervisors to hear testimony prior to its approval of a purchase order or contract, any vendor may address the Board.

  - Bids received after the closing time will NOT be considered.

  - Bidders are to bid what is specified or requested first. If unable to or unwilling to, bidder may bid alternative or option, indicating all advantages, disadvantages and their associated cost.

  - Public Contract Code Section 7028.15

Where the State of California requires a Contractor’s license, it is a misdemeanor for any person to submit a bid unless specifically exempted.

- FAILURE TO BID:

  - If not bidding, return bid sheet and state reason for no bid or your name may be removed from mailing list.

- TAXES, CHARGES AND EXTRAS:

  - County of Fresno is subject to California sales and/or use tax (8.975%). Please indicate as a separate line item if applicable.

  - DO NOT include Federal Excise Tax.  County is exempt under Registration No. 94-73-03401-K.

  - County is exempt from Federal Transportation Tax.  Exemption certificate is not required where shipping papers show consignee as County of Fresno.

  - Charges for transportation, containers, packing, etc. will not be paid unless specified in bid.

- W-9 – REQUEST FOR TAXPAYER IDENTIFICATION NUMBER AND CERTIFICATION:

Upon award of bid, the vendor shall submit to County Purchasing, a completed W-9 - Request for Taxpayer Identification Number and Certification if not already a current vendor with The County of Fresno. This form is available from the IRS to complete on line at http://www.irs.gov/pub/irs-pdf/fw9.pdf.

- AWARDS:

  - Subject to the local preference provisions referenced in Paragraph 6 below and more thoroughly set forth in the General Requirements section of this RFQ/RFP, award(s) will be made to the most responsive responsible bidder.  The evaluation will include such things as life-cycle cost, availability, delivery costs and whose product and/or service is deemed to be in the best interest of the County. The County shall be the sole judge in making such determination.

  - Unless bidder gives notice of all-or-none award in bid, County may accept any item, group of items or on the basis of total bid.

  - The County reserves the right to reject any and all bids and to waive informalities or irregularities in bids.

  - After award, all bids shall be open to public inspection. The County assumes no responsibility for the confidentiality of information offered in a bid.

- LOCAL VENDORS

  - Local Vendor Preference (applicable to RFQ Process only)

The following provisions are applicable only to the County’s acquisition of materials, equipment or supplies through the RFQ process when the funding source does not require an exemption to the Local Vendor Preference.

THE PROVISIONS OF THIS PARAGRAPH ARE APPLICABLE, NOTWITHSTANDING ANY OTHER PROVISIONS OF THIS RFQ TO THE CONTRARY

If the apparent low bidder is not a local vendor, any local vendor who submitted a bid which was within five percent (5%) of the lowest responsive  bid as determined by the purchasing agent shall have the option of submitting a new bid within forty-eight hours (not including weekends and holidays) of County’s delivery of notification. Such new bids must be in an amount less than or equal to the lowest responsive bid as determined by the purchasing agent.  If the purchasing agent receives any new bids from local vendors who have the option of submitting new bids within said forty-eight hour period, it shall award the contract to the local vendor submitting the lowest responsible bid. If no new bids are received, the contract shall be awarded to the original low bidder as announced by the purchasing agent.

  - Local Vendor Defined

“Local Vendor” shall mean any business which:

- Has its headquarters, distribution point or locally-owned franchise located in or having a street address within the County for at least six (6) months immediately prior to the issuance of the request for competitive bids by the purchasing agent; and

- Holds any required business license by a jurisdiction located in Fresno County; and

- Employs at least one (1) full-time or two (2) part-time employees whose primary residence is located within Fresno County, or if the business has no employees, shall be at least fifty percent (50%) owned by one or more persons whose primary residence(s) is located within Fresno County.

- TIE BIDS:

All other factors being equal, the contract shall be awarded to the Fresno County vendor or, if neither or both are Fresno County vendors, it may be awarded by the flip of a coin in the presence of witnesses or the entire bid may be rejected and re-bid. If the General Requirements of this RFQ state that they are applicable, the provisions of the Fresno County Local Vendor Preference shall take priority over this paragraph.

- PATENT INDEMNITY:

The vendor shall hold the County, its officers, agents and employees, harmless from liability of any nature or kind, including costs and expenses, for infringement or use of any copyrighted or uncopyrighted composition, secret process, patented or unpatented invention, article or appliance furnished or used in connection with this bid.

- SAMPLES:

Samples, when required, must be furnished and delivered free and, if not destroyed by tests, will upon written request (within 30 days of bid closing date) be returned at the bidder's expense. In the absence of such notification, County shall have the right to dispose of the samples in whatever manner it deems appropriate.

- RIGHTS AND REMEDIES OF COUNTY FOR DEFAULT:

  - In case of default by vendor, the County may procure the articles or service from another source and may recover the cost difference and related expenses occasioned thereby from any unpaid balance due the vendor or by proceeding against performance bond of the vendor, if any, or by suit against the vendor. The prices paid by the County shall be considered the prevailing market price at the time such purchase is made.

  - Articles or services, which upon delivery inspection do not meet specifications, will be rejected and the vendor will be considered in default. Vendor shall reimburse County for expenses related to delivery of non-specified goods or services.

  - Regardless of F.O.B. point, vendor agrees to bear all risks of loss, injury or destruction to goods and materials ordered herein which occur prior to delivery and such loss, injury or destruction shall not release vendor from any obligation hereunder.

- DISCOUNTS:

Terms of less than 15 days for cash payment will be considered as net in evaluating this bid. A discount for payment within fifteen (15) days or more will be considered in determining the award of bid. Discount period will commence either the later of delivery or receipt of invoice by the County. Standard terms are Net Forty-five (45) days.

- SPECIAL CONDITIONS IN BID SCHEDULE SUPERSEDE GENERAL CONDITIONS.

The “General Conditions” provisions of this RFP/RFQ shall be superseded if in conflict with any other section of this bid, to the extent of any such conflict.

- SPECIAL REQUIREMENT:

With the invoice or within twenty-five (25) days of delivery, the seller must provide to the County a Material Safety Data Sheet for each product, which contains any substance on “The List of 800 Hazardous Substances”, published by the State Director of Industrial Relations. (See Hazardous Substances Information and Training Act. California State Labor Code Sections 6360 through 6399.7.)

- RECYCLED PRODUCTS/MATERIALS:

Vendors are encouraged to provide and quote (with documentation) recycled or recyclable products/materials which meet stated specifications.

- YEAR COMPLIANCE WARRANTY

Vendor warrants that any product furnished pursuant to this Agreement/order shall support a four-digit year format and be able to accurately process date and time data from, into and between the twentieth and twenty-first centuries, as well as leap year calculations. "Product" shall include, without limitation, any piece or component of equipment, hardware, firmware, middleware, custom or commercial software, or internal components or subroutines therein. This warranty shall survive termination or expiration of this Agreement.

In the event of any decrease in product functionality or accuracy related to time and/or date data related codes and/or internal subroutines that impede the product from operating correctly using dates beyond December 31, 1999, vendor shall restore or repair the product to the same level of functionality as warranted herein, so as to minimize interruption to County's ongoing business process, time being of the essence. In the event that such warranty compliance requires the acquisition of additional programs, the expense for any such associated or additional acquisitions, which may be required, including, without limitation, data conversion tools, shall be borne exclusively by vendor. Nothing in this warranty shall be construed to limit any rights or remedies the County may otherwise have under this Agreement with respect to defects other than year performance.

- PARTICIPATION:

Bidder may agree to extend the terms of the resulting contract to other political subdivision, municipalities and tax-supported agencies.

Such participating Governmental bodies shall make purchases in their own name, make payment directly to bidder, and be liable directly to the bidder, holding the County of Fresno harmless.

- CONFIDENTIALITY:

All services performed by vendor shall be in strict conformance with all applicable Federal, State of California and/or local laws and regulations relating to confidentiality, including but not limited to, California Civil Code, California Welfare and Institutions Code, Health and Safety Code, California Code of Regulations, Code of Federal Regulations.

Vendor shall submit to County’s monitoring of said compliance.

Vendor may be a business associate of County, as that term is defined in the “Privacy Rule” enacted by the Health Insurance Portability and Accountability Act of 1996 (HIPAA). As a HIPAA Business Associate, vendor may use or disclose protected health information (“PHI”) to perform functions, activities or services for or on behalf of County as specified by the County, provided that such use or disclosure shall not violate HIPAA and its implementing regulations. The uses and disclosures if PHI may not be more expansive than those applicable to County, as the “Covered Entity” under HIPAA’S Privacy Rule, except as authorized for management, administrative or legal responsibilities of the Business Associate.

Vendor shall not use or further disclose PHI other than as permitted or required by the County, or as required by law without written notice to the County.

Vendor shall ensure that any agent, including any subcontractor, to which vendor provides PHI received from, or created or received by the vendor on behalf of County, shall comply with the same restrictions and conditions with respect to such information.

- APPEALS

Appeals must be submitted in writing within seven (7) working days after notification of proposed recommendations. Appeals should be submitted to County of Fresno Purchasing, 4525 E. Hamilton Avenue, Fresno, California 93702-4599. Appeals should address only areas regarding RFP contradictions, procurement errors, quotation rating discrepancies, legality of procurement context, conflict of interest, and inappropriate or unfair competitive procurement grievance regarding the RFP process.

Purchasing will provide a written response to the complainant within seven (7) working days unless the complainant is notified more time is required.

If the protesting bidder is not satisfied with the decision of Purchasing, he/she shall have the right to appeal to the Purchasing Agent/CAO within seven (7) business days after Purchasing’s notification; except if, notified to appeal directly to the Board of Supervisors at the scheduled date and time.

If the protesting bidder is not satisfied with Purchasing Agent/CAO’s decision, the final appeal is with the Board of Supervisors.

- OBLIGATIONS OF CONTRACTOR:

  - CONTRACTOR shall perform as required by the ensuing contract. CONTRACTOR also warrants on behalf of itself and all subcontractors engaged for the performance of the ensuing contract that only persons authorized to work in the United States pursuant to the Immigration Reform and Control Act of 1986 and other applicable laws shall be employed in the performance of the work hereunder.

  - CONTRACTOR shall obey all Federal, State, local and special district laws, ordinances and regulations.

- AUDITS & RETENTION:

The Contractor shall maintain in good and legible condition all books, documents, papers, data files and other records related to its performance under this contract. Such records shall be complete and available to Fresno County, the State of California, the federal government or their duly authorized representatives for the purpose of audit, examination, or copying during the term of the contract and for a period of at least three years following the County's final payment under the contract or until conclusion of any pending matter (e.g., litigation or audit), whichever is later. Such records must be retained in the manner described above until all pending matters are closed.

- DISCLOSURE – CRIMINAL HISTORY & CIVIL ACTIONS:

Applies to Request for Proposal (RFP); does not apply to Request for Quotation (RFQ) unless specifically stated elsewhere in the RFQ document.

In their proposal, the bidder is required to disclose if any of the following conditions apply to them, their owners, officers, corporate managers and partners (hereinafter collectively referred to as “Bidder”):

- Within the three-year period preceding the proposal, they have been convicted of, or had a civil judgment rendered against them for:

  - fraud or a criminal offense in connection with obtaining, attempting to obtain, or performing a public (federal, state, or local) transaction or contract under a public transaction;

  - violation of a federal or state antitrust statute;

  - embezzlement, theft, forgery, bribery, falsification, or destruction of records; or

  - false statements or receipt of stolen property

Within a three-year period preceding their proposal, they have had a public transaction (federal, state, or local) terminated for cause or default.

BIDDING INSTRUCTIONS
GENERAL REQUIREMENTS

The County of Fresno Purchasing on behalf of the Department of Public Works and Planning, Resources Division, Special Districts Section is soliciting bids to establish an agreement or agreements in which the successful bidder(s) will provide all labor, materials, taxes, tools, insurance, etc. as necessary to operate and maintain the domestic water and/or wastewater system for the following County Facilities:

- County Service Area 30 (El Porvenir) - domestic water / wastewater treatment

  - Anticipated beginning of contract services: January 2010

- County Service Area 32 (Cantua Creek) - domestic water / wastewater treatment

  - Anticipated beginning of contract services: January 2010

- County Service Area 43W (Raisin City Community Water System)

  - Anticipated beginning of contract services: January 2010

- County Service Area 49 (O’Neill Farming Community) – domestic water

- Services will begin when permits are obtained by the California Department of Health which is anticipated around January 2010

- Juvenile Justice Campus Domestic Water / Wastewater System

  - Anticipated beginning of contract service: January 2010

DISTRICT AND SYSTEM DESCRIPTION

CSA 30

County Service Area 30 was formed for the subdivision known as El Porvenir, located on the west side of Derrick Avenue (Highway 33) near Clarkson Avenue.  The subdivision consists of 58 parcels (53 recorded residential lots, a County park, and four County owned outlots).

Water System

Metered Connections:  56

Source(s):  California Aqueduct (through a Westlands Water District turnout located on State Hwy 33 near Clarkson Avenue) plus a back-up well located at the plant site.

Number of Pressure Zones:	One

Sampling Frequency:	One time per month

Treatment Facilities:  Treated and disinfected at the El Porvenir water treatment plant.

Storage Facilities:  60,000 & 100,000 Gallon Reservoirs

Number of backflow prevention devices:  1

Fire hydrants:  4

Wastewater Treatment

The system is designed for 50,000 gallons per day (gpd) flow, but is estimated at 20,000 gpd.  It consists of open pit disposal, and a newly constructed evaporation and percolation aeration ponds.

CSA 32

County Service Area 32 was formed in 1981 to provide needed services for the Cantua Creek farm labor housing development.  It is located at Clarkson Avenue, west of San Mateo Avenue in the community of Cantua Creek.  The district provides potable water and wastewater treatment for approximately 72 residential lots, an outlot with a community building on it, and out-of-district elementary school and a farm labor trailer camp.  In addition, the District provides raw water to the elementary school for irrigating landscaping and grounds.

Water System

Metered Connections:  81

Source(s): California Aqueduct via one of two Westlands Water District pipelines

Number of Pressure Zones:  One

Sampling Frequency:  One time per month

Treatment Facilities:  Water Treatment Plant with chlorination at the rate of 140 g.p.m.

Storage Facilities:  40,000 & 100,000 gallon storage tanks

Number of backflow prevention devices:  1

Fire hydrants:  6

Wastewater Treatment

Wastewater treatment consists of open pond aeration through evaporation and percolation.

CSA 43W

County Service Area 43W was formed to provide water services to the unincorporated community of Raisin City.  It is roughly bounded by Henderson to the north-east, Springfield to the south, Bryan to the west, and Hayes to the east.  As of March 27, 2008, there are 62 water service connections.  Most services are for residential uses, however, the system also serves the Raisin City Elementary School and a few commercial uses.

Water System:

Metered Connections:  63

Source(s):  Domestic water well with 25 h.p. submersible pump

Number of Pressure Zones:  One

Sampling Frequency:  One time per month

Storage Facilities:  200,000 storage gallon and 3,000 gallon Hydro-pneumatic tank and appurtenances

Number of backflow prevention devices:  63

Fire hydrants:  none

CSA 49

County Service Area 49 was formed to provide water services, and local park/recreation services to the farming community of J.E. O’Neill located approximately three miles southwest of the community of Five Points.  Only water service will be provided subject to approved fees. There are nine parcels in the district; eight parcels are developed with 42 residences and one parcel with the Westside Elementary School.

Water System

Metered Connections:  46

Source(s):  Westlands Water District pipeline

Treatment Facilities:  Surface Water Treatment Plant, treatment with chlorimine

Storage Facilities:  80,000 gallon tank

Number of backflow prevention devices:  1

Fire hydrants:  4

Completion of the upgraded water system is scheduled for June 2009.

JUVENILE JUSTICE CAMPUS

The Juvenile Justice Campus is used primarily as a detention facility to hold minors who have committed a law violation while they are being processed through the Juvenile Court.  It also holds minors pending delivery to other commitment facilities.  Phase I includes a 240 bed detention facility, a 240 bed commitment facility, a delinquency court facility, an institutional core building that incorporates intake and release, medical, probation administration, and mental health offices and an institutional support facility.  The facility is located near American Avenue and Highway 99.

Water System

The water system is supplied by two ground wells and is chlorinated.

Number of backflow prevention devices:  10+

Fire hydrants:  40+

Wastewater Treatment

Wastewater is processed through a tertiary treatment that has tricking and sand filtration, and storage ponds for reclamation.  The treatment processes include influent screening, flow equalization, three-stage trickling filtration, clarification, flocculation, tertiary filtration, disinfection, sludge digestion, and sludge dewatering.

REQUIRED MINIMUM CERTIFICTIONS FOR OPERATING DOMESTIC WATER AND/OR WASTEWATER TREATMENT SYSTEMS: The water and wastewater system operator shall have no less than the certification grade stated below for each system.

CSA 30

| Water System Operator’s Certificates: | Distribution 1 (D1) and Treatment 2 (T2) Grades |
| --- | --- |
| Backflow Device Inspection: | Backflow Prevention Tester Certification by the California Nevada section of the American Water Works Association or a Backflow Device Tester License certified by the American Backflow Prevention Association |
| Backflow Device Repair: | California State Plumbing Contractor’s License Class C-36 or another License Class that covers the work to be performed |
| Alternative: | Water Operator may subcontract with a firm or firms with the above certifications and contractor’s licenses |
| Wastewater System Operator’s Certificates: | Wastewater Treatment Plant Operator Grade II |

CSA 32

| Water System Operator’s Certificates: | D1 and T2 Grades |
| --- | --- |
| Backflow Device Inspections: | Backflow Prevention Tester Certification by the California Nevada section of the American Water Works Association or a Backflow Device Tester License certified by the American Backflow Prevention Association |
| Backflow Device Repair: | California State Plumbing Contractor’s License Class C-36 or another License Class that covers the work to be performed |
| Alternative: | Water Operator may subcontract with a firm or firms with the above certifications and contractor’s licenses |
| Wastewater System Operator’s Certificates: | Wastewater Treatment Plant Operator Grade II |

CSA 43W

| Water System Operator’s Certificates: | D1 and T2 Grades |
| --- | --- |
| Backflow Device Inspections: | Backflow Prevention Tester Certification by the California Nevada section of the American Water Works Association or a Backflow Device Tester License certified by the American Backflow Prevention Association |
| Backflow Device Repair | California State Plumbing Contractor’s License Class C-36 or another License Class that covers the work to be performed |
| Alternative: | Water Operator may subcontract with a firm or firms with the above certifications and contractor’s licenses |

CSA 49

| Water System Operator’s Certificates: | D1 and T3 Grades |
| --- | --- |
| Backflow Device Inspections: | Backflow Prevention Tester Certification by the California Nevada section of the American Water Works Association or a Backflow Device Tester License certified by the American Backflow Prevention Association |
| Backflow Device Repair: | California State Plumbing Contractor’s License Class C-36 or another License Class that covers the work to be performed |
| Alternative: | Water Operator may subcontract with a firm or firms with the above certifications and contractor’s licenses |

Juvenile Justice Center

| Water System Operator’s Certificates: | D1 and T2 Grades |
| --- | --- |
| Backflow Device Inspections: | Backflow Prevention Tester Certification by the California Nevada section of the American Water Works Association or a Backflow Device Tester License certified by the American Backflow Prevention Association |
| Backflow Device Repair: | California State Plumbing Contractor’s License Class C-36 or another License Class that covers the work to be performed |
| Alternative: | Water Operator may subcontract with a firm or firms with the above certifications and contractor’s licenses |
| Wastewater System Operator’s Certificates: | Wastewater Treatment Plant Operator Grade III |

Vendors may offer services for water systems or only wastewater systems or both water and wastewater systems if the minimum qualifications are met.  Quotes will be accepted for only one type of system or both at facilities with both water and wastewater systems.

OPERATOR’S RESPONSIBILITIES AND SCOPE OF WORK

Below is a description of the general responsibilities and scope of services expected of contractors for each water and wastewater treatment system.  There may be some variances from system to system.

All responsibilities and work, with the exception of Item 3 (Emergency Services) below, will be for a set monthly fee.

General Responsibilities for Water Systems:

- Operate and maintain the system and abide by the operations schedule that will be approved by the County prior to commencement of duties for a set monthly fee.

- Comply with all regulatory agency permits, orders and enforcement letters.  If the County is fined or assessed a penalty due to Contractor’s errors or omission, the Contractor will be held responsible to pay the fine or penalty and the cost the County incurs to produce and mail and post notices required by law.

- Respond to emergency situations on a 24 hour, 7 day a week basis.  Contractors must have mobile communication and be able to accept and respond to calls on a 24 hour, 7 day a week basis from County and Sheriff Department staff.  Compensation for emergency situations will be set at an hourly rate based on the employees’ job classification.

- Post 48-hour notices of water shut-off due to non-payment of bill(s).  County staff will provide a list of addresses for posting the 48-hour notices on a monthly or bi-monthly basis.

- Following the posting of 48-hour notices, County staff will inform Contractor of the property addresses that have not paid-up accounts and request that the Contractor disconnect the water service.  County staff will then inform the Contractor of any accounts paid up and the Contractor must restore these water services within 24-hours after the County’s contact.

- Lock-up a water service connection that had been determined could cause a health hazard.

- Consider and recommend to the County staff any cost and time saving measures.

- Whenever a part or component needs replacement because of failure, the contractor shall contact the Special Districts staff and ask for a determination if the part or component is under warrantee.  If so, the Special Districts staff will make the arrangements to have the manufacturer’s representative inspect the part and component and oversee its installation.  If the part or component is not under warrantee, Special Districts staff will contact approved vendors to obtain the most advantageous cost.  The Contractor may be directed by County staff to obtain price quotes for labor, parts and materials needed for the project, then, submit them to Special Districts staff for review and consideration.  If a part or component is replaced, obtain make, serial numbers, warrantees and operation and maintenance manuals and transmits copies to County staff.

- If requested by County, interface with County’s software and network for sampling, testing and reporting schedules, asset management and other system components.

- Provide to County staff and to regulator agencies system records on a quarterly basis.

- Make available all site system records for inspection by County staff during unscheduled site visits.  The County may request that the Contractor provide copies system records during the contract period and for up to years after termination of the contract.

- Immediately file a written report with the Fresno County Sheriff’s Department and the Resources Division detailing any loss of County property due to theft or vandalism which might be covered by insurance.  Also report to County Resources Division any property losses do to natural or human causes for insurance purposes.

- Keep track of accumulated actual costs and make projections of the estimated costs for the year, so as not to exceed the maximum contract amount.

- Submit all maintenance logs and correspondence with regulatory agencies to the COUNTY for review.

- Report any unauthorized connections to the COUNTY systems.

- Correct any malfunction or breakage of the facility’s equipment caused by Contractor’s operations and maintenance of the facility.

Scope of Services For Water Treatment:

- Prior to initiation of maintenance and operations, the Contractor shall be responsible to:

  - Prepare an Emergency Notification Plan and submit to the County for review. If one exists, review and make revisions, if necessary.

  - Prepare a Bacteriological Sampling Siting Plan and submit to County for review. If one exists, review and make revisions, if necessary.

  - Provide a copy of Required Water Distribution Operator Services Certificate and also display one at the facility site.

  - Display System Permit(s)

  - Conduct an inspection of the facilities and provide a written statement of any equipment that is damaged, not functioning or is in need of immediate repair.  The Contractor will be held responsible for any damage caused by the Contractor.

  - Prepare an operations schedule showing the days of the weeks and time periods operators will be at each facility and the types of activities that will be conducted.  The minimum hours per week qualified staff will be present at the facility providing services shall be consistent with item 1 on the Quote Sheet.

  - Prepare a written schedule for exercising fire hydrant system, no less than twice a year, and for testing the operation of back-up equipment and systems.  The schedule shall be submitted to the County Special Districts staff for pre-approval.

- During servicing period for maintenance and operations, the CONTRACTOR shall:

  - Provide routine water quality monitoring by collecting water samples as dictated by the current TNC1 Water Quality Monitoring Schedule, which will be provided by the County.  If additional monitoring is required due to abnormal results, the CONTRACTOR shall be responsible for collecting additional water samples.  The CONTRACTOR shall deliver collected water samples to a COUNTY approved laboratory.  Sampling shall occur at approved sample points listed within the Bacteriological Site Sampling Plan.  The County shall pay the laboratory invoices for sample test results directly from the District’s budget and not from the Contractor’s contract amount.

  - Conduct daily testing or continuous monitoring of chlorine levels and turbidity as required for compliance with the State’s Surface Water Treatment Rule (the results of which are to be reported monthly to the California Department of Health or designated regulatory agency.  If turbidity levels are too high, conduct mixing and blending to reduce to acceptable levels.

  - Provide sampling and reporting to comply with the EPA Lead and Copper Rule.

  - Complete the mandatory annual Consumer Confidence Report (CCR) and Annual Report due each year required by the California Department of Public Health and submit it to the County for review no less than one month prior to the submission deadline.  Other reports the Contractor will be responsible for preparing and submitting are the yearly health statistics, and Hazardous Materials Business Plan.

  - Purchase and apply chemicals to the domestic water treatment systems as required.  Costs for chemicals shall be the responsibility of the Contractor.

  - Compile an annual water consumption tabulated by month and reported by maximum day demand and maximum month demand usage.  This report is due to the COUNTY no later than April 1 of each contract year.

  - Conduct backflow prevention device inspections and prepare reports, identifying those in need of repair or replacement.  The report shall also provide an estimate of the costs for labor and parts.  Upon review of the report, the County Special Districts Administrator or his/her designee shall have the discretion to authorize the Contractor to conduct the repairs and replacement under a separate purchase order, or arrange to have another contractor perform the work.  If such authorization is issued by the County, it will be in writing prior to commencement of work.  The Contactor may sub-contract for these services provided that the subcontractor has the required backflow devices inspection certifications and an appropriate contractor’s license for backflow device repairs and replacement.  The Contactor shall be responsible to pay the subcontractor for backflow device inspections and reports, but not repair and replacement.

  - Read raw water, residential and the out-of-district water (if applicable) meters monthly and provide the readings to the Special Districts staff by the tenth of each month.  If requested by County staff, reread meter(s) to verify readings.

  - Blow out compressors/pump motors; vacuum electric panels; check, adjust and/or reset equipment controllers/timers and previously installed telemetry devices as needed (no more than 12 times per item per year).

  - Replace seals and/or repack pumps, as necessary.

  - Check all facilities including storage tanks, hydro-pneumatic tanks at least twice a week for signs of excessive wear, malfunctions, blockages or signals that preventative maintenance is appropriate.

  - Maintain water connections including monthly leak-detection, repair of minor leaks, removal of debris, and identification of meter malfunctions or incipient failure.  Only with prior approval from the COUNTY Special Districts staff, expenses incurred by the CONTRACTOR for labor and materials such as piping, water meters and replacement parts shall be reimbursed at Contractor’s cost, when adequate documentation is provided.

  - Maintain and periodically test to verify the operation of back-up equipment and systems such as pumps and generators and standby water sources, e.g., wells. Record dates and condition of equipment and turn over records to County Special Districts staff.

  - Exercise and flush fire hydrants to schedule.  Record dates and condition of equipment and turn over records to County staff for review upon request.

  - All routine and non-routine tasks, excluding emergency situations, connected with the maintenance and operations of the water system.

General Responsibilities For Wastewater Treatment

- Operate and maintain the system and abide by the operations schedule that will be approved by the County prior to commencement of duties for a set monthly fee.

- Comply with all regulatory agency permits, orders and enforcement letters.  If the County is fined or assessed a penalty due to Contractor’s errors or omission, the Contractor will be held responsible to pay the fine or penalty and the cost the County incurs to produce and mail and post notices required by law.

- Respond to emergency situations on a 24 hour, 7 day a week basis.  Contractors must have mobile communication and be able to accept and respond to calls on a 24 hour, 7 day a week basis from County and Sheriff Department staff.  Compensation for emergency situations will be set at an hourly rate based on the employees’ job classification.

- Consider and recommend to the County staff any cost and time saving measures.

- Whenever a part or component needs replacement because of failure, the contractor shall contact the Special Districts staff and ask for a determination if the part or component is under warrantee.  If so, the Special Districts staff will make the arrangements to have the manufacturer’s representative inspect the part and component and oversee its installation.  If the part or component is not under warrantee, Special Districts staff will contact approved vendors to obtain the most advantageous cost.  The Contractor may be directed by County staff to obtain price quotes for labor, parts and materials needed for the project, then, submit them to Special Districts staff for review and consideration.  If a part or component is replaced, obtain make, serial numbers, warrantees and operation and maintenance manuals and transmits copies to County staff.

- If requested by County, interface with County’s software and network for sampling, testing and reporting schedules, asset management and other system components.

- Provide to County staff and to regulator agencies system records on a quarterly basis.

- Make available all site system records for inspection by County staff during unscheduled site visits.  The County may request that the Contractor provide copies system records during the contract period and for up to years after termination of the contract.

- Immediately file a written report with the Fresno County Sheriff’s Department and the Resources Division detailing any loss of County property due to theft or vandalism which might be covered by insurance.  Also report to County Resources Division any property losses do to natural or human causes for insurance purposes.

- Keep track of accumulated actual costs and make projections of the estimated costs for the year, so as not to exceed the maximum contract amount.

- Submit all maintenance logs and correspondence with regulatory agencies to the COUNTY for review.

- Report any unauthorized connections to the COUNTY systems.

- Correct any malfunction or breakage of the facility’s equipment caused by Contractor’s operations and maintenance of the facility.

Scope of Services for Wastewater Treatment:

- Prior to initiation of maintenance and operations, the CONTRACTOR shall be responsible to:

- Review the California Regional Water Quality Control Board (CRWQCB) Wastewater Discharge Reports (WDR).

- Provide a copy of Required Wastewater Treatment Operators Certificates of all operators that will work at the Facility. A copy must also be displayed at the facility site.

- Conduct an inspection of the facilities and provide a written statement of any equipment that is damaged, not functioning or is in need of immediate repair.  The Contractor will be held responsible for any damage caused by the Contractor.

- Prepare a schedule showing the days of the weeks and time periods operators will be at each facility and the types of activities that will be conducted.  The minimum hours per week qualified staff will be present at the facility providing services shall be consistent with item 1 on the Quote Sheet.

- Make arrangements with and schedule a licensed sludge pumping contractor to remove sludge build up from tanks and ponds.  The frequency of sludge pumping and removal events must be no less than what is stated in Item 3 of the Quotation Sheet, unless prior written authorization is issued by the County.  The County wants to insure that adequate pumping and removal events occur to reduce downstream maintenance.  All sludge pumping expenses shall be the responsibility of the Contractor.

- During servicing period for maintenance and operations, the CONTRACTOR shall:

- Carry out Wastewater Treatment Facilities Monitoring and Reporting Program.  The program includes: 1) effluent monitoring (consisting of weekly measurement of flow,  weekly measurement of dissolved oxygen, monthly measurement of specific electrical conductance and pH); 2) water supply monitoring (consisting of a monthly testing of specific conductivity of a representative water supply in the plant area); 3) monitoring of any sludge disposal; 4) weekly visual pond observations; 5) monthly monitoring reports to the CRWQCB summarizing results of Items 1 through 4 (above) and 6) an annual update of previously submitted operational format.  Any lab charges / consumable testing materials to a County approved lab shall be paid by the County.

- Comply with all other requirements of the Waste Discharge Requirements and Orders.

- Provide weed/rodent control at least once a year on the banks of and within the sewage treatment plan pond and at the water treatment plant.  Any costs for herbicides/chemicals/single-use traps/permits and the like will be the Contractor’s responsibility.

- Inspect and hydro-flush sewer lines, as necessary.  The CONTRACTOR shall be responsible for the cost of equipment and or rental fees for hydro-flushing.

- Have a licensed sludge removal contractor remove solids from tanks and or ponds.  The frequency of sludge removal must be no less than what is stated in Item 3 of the Quotation Sheet, unless prior written authorization is issued by the County.  All sludge pumping expenses shall be the responsibility of the Contractor.

- Maintain and lubricate all motors, pumps, lift stations, etc. including annually changing the oil in motors and quarterly lubricating lift stations, pumps, motors, etc. The cost of oils/lubricants shall be the responsibility of the Contractor and paid for by the Contractor.

- Inspect electrical panels, apparatus, controllers, timers, programmable devices and alarms.  Notify the Count as soon as possible of breakdowns, failures, or appearance of eminent breakdown.

- Maintain all gate valves and air release valves in proper operating condition including turning each valve a minimum of once a year.

- Purchase and apply chemicals to the domestic water and wastewater treatment systems as required.  Costs for chemicals shall be the responsibility of the Contractor.

- Paint equipment as needed but no more than once a year with industrial enamel paint.  The CONTRACTOR shall be responsible for the cost of paint.

- Keep facility areas clean and neat, free of debris, weeds, trim vegetation, etc., including proper disposal of debris, weeds etc.

- All routine and non-routine tasks, excluding emergency situations, connected with the maintenance and operations of the wastewater system.

EMERGENCY SERVICES:  Emergency Services consists of work and/or coordinating activities to address situations that must be addressed in a very timely manner in order to preserve the system’s integrity.  The Contractor should make every reasonable effort to notify County Representatives of the emergency situation.  If an emergency situation arises and contact with County Representatives cannot be established, the contractor should take all prudent measures to preserve the system.  Compensation for Contractor’s work in emergency situation will be at the rates for emergency services.

FIRM QUOTATION:  For purposes of award, all bids shall remain firm for at least one hundred eighty (180) calendar days from the closing date of this RFQ.

RIGHT TO REJECT BIDS:  The County reserves the right to reject any and all bids and to waive informalities or irregularities in bids.

AWARD:  Award will be made to the vendor(s) offering the services deemed to be to the best advantage of the County.  The County shall be the sole judge in making such determination.

COPIES:  Submit one (1) original and two (2) copies of your quotation no later than the RFQ closing date and time as stated on the front of this document, to County of Fresno Purchasing.

ISSUING AGENT: This RFQ has been issued by County of Fresno Purchasing Division. The Purchasing Division shall be the vendor’s sole point of contact with regard to the RFQ, its content, and all issues concerning it.

AUTHORIZED CONTACT: All communication regarding this RFQ shall be directed to an authorized representative of County Purchasing. The specific buyer managing this RFQ is identified on the cover page, along with his or her telephone number, and he or she should be the primary point of contact for discussions or information pertaining to the RFQ. Contact with any other County representative, including elected officials, for the purpose of discussing this RFQ, its content, or any other issue concerning it, is prohibited unless authorized by Purchasing. Violation of this clause, by the vendor having unauthorized contact (verbally or in writing) with such other County representatives, may constitute grounds for rejection by Purchasing of the vendor’s quotation.

The above stated restriction on vendor contact with County representatives shall apply until the County has awarded a purchase order or contract to a vendor or vendors, except as follows: First, in the event that a vendor initiates a formal protest against the RFQ, such vendor may contact the appropriate individual, or individuals who are managing that protest as outlined in the County’s established protest procedures. All such contact must be in accordance with the sequence set forth under the protest procedures.  Second, in the event a public hearing is scheduled before the Board of Supervisors to hear testimony prior to its approval of a purchase order or contract, any vendor may address the Board.

PAYMENT: The County shall pay the CONTRACTOR each month after the services are rendered upon receipt of an approved itemization and cost of the services rendered. Invoice terms shall be net forty-five (45) days. The itemization shall include the following:

a.	A brief description of each routine operation and maintenance service provided monthly which was covered by the monthly service fee.

b.	The name, address and identification number of any meter installed, repaired, or notice for non-payment during the month.

c.	Copies of all reports sent to other agencies, and copies of all district test results/logs.

d.	Copies of all invoices/receipts for which the CONTRACTOR request reimbursement.

e.	A description of each emergency repair charged to the service area during the month.

TERM: It is County’s intent to contract with the successful bidder for a term of three (3) years with the option to renew for two additional one (1) year periods.

No exceptions to or deviations from this specification will be considered unless each exception or deviation is specifically stated by the bidder, in the designated places.  If no exceptions or deviations are shown the bidder will be required to furnish items exactly as specified herein. The burden of proof of compliance with this specification is the responsibility of the bidder.

INVOICING: Invoices shall be delivered in duplicate to: County of Fresno Dept. of Public Works and Planning, Resources Division, Special Districts Section, 2220 Tulare Street, Sixth Floor, Fresno, CA 93721.

HOLD HARMLESS CLAUSE:  Contractor agrees to indemnify, save, hold harmless and at County's request, defend the County, its officers, agents and employees, from any and all costs and expenses, damages, liabilities, claims and losses occurring or resulting to County in connection with the performance, or failure to perform, by Contractor, its officers, agents or employees under this Agreement and from any and all costs and expenses, damages, liabilities, claims and losses occurring or resulting to any person, firm or corporation who may be injured or damaged by the performance, or failure to perform, of Contractor, its officers, agents or employees under this Agreement.

ASSURANCES:  Any contract awarded under this RFQ must be carried out in full compliance with The Civil Rights Act of 1964, The Americans With Disabilities Act of 1990, their subsequent amendments, and any and all other laws protecting the rights of individuals and agencies.  The County of Fresno has a zero tolerance for discrimination, implied or expressed, and wants to ensure that policy continues under this RFQ.  The contractor must also guarantee that services, or workmanship, provided will be performed in compliance with all applicable local, state, or federal laws and regulations pertinent to the types of services, or project, of the nature required under this RFQ.  In addition, the contractor may be required to provide evidence substantiating that their employees have the necessary skills and training to perform the required services or work.

INDEPENDENT CONTRACTOR:  In performance of the work, duties and obligations assumed by Bidder under this agreement, it is mutually understood and agreed that Bidder, including any and all of Bidder's officers, agents, and employees will at all times be acting and performing as an independent contractor, and shall act in an independent capacity and not as an officer, agent, servant, employee, joint venturer, partner, or associate of the County. Furthermore, County shall have no right to control or supervise or direct the manner or method by which Bidder shall perform its work and function. However, County shall retain the right to administer this agreement so as to verify that Bidder is performing its obligations in accordance with the terms and conditions thereof. Bidder and County shall comply with all applicable provisions of law and the rules and regulations, if any, of Governmental authorities having jurisdiction over matters the subject thereof.

Because of its status as an independent contractor, Bidder waives any and all employment rights and benefits available to County employees. Bidder shall be solely liable and responsible for providing to, or on behalf of, its employees all legally required employee benefits. In addition, Bidder shall be solely responsible and save County harmless from all matters relating to payment of Contractor's employees, including compliance with Social Security, withholding, and all other regulations governing such matters. It is acknowledged that during the term of this agreement, Bidder may be providing services to others unrelated to the County or to this agreement.

PRICES:  Bidder agrees that prices quoted are maximum for the contract period, and in the event of a price decline such lower prices shall be extended to the County of Fresno.

PRE-BID CONFERENCE AND EXAMINATION OF SITE:  On September 30, 2009 at 9:00 a.m. there will be a pre-bid conference held at the Juvenile Justice Campus Wastewater Treatment Plant, located at 3333 E. American Ave. Fresno, CA 93725.  Operations staff will take questions.  Following a question and answer session, there will be Site tours provided:  Attendance is strongly recommended.  Please contact Craig Nickel by phone at (559) 456-7110 or email at countypurchasing@co.fresno.ca.us.

DAMAGE TO EXISTING WORK:  Damage to existing construction, equipment, planting, etc., by the contractor in the performance of his work shall be replaced or repaired and restored to original condition by the contractor.

CLEAN-UP:  The Contractor shall at all times, keep the premises clean from accumulation of waste materials or rubbish caused by his employees or work and shall remove all resulting work debris from the job site.

SUPERVISION:  The Contractor shall give efficient supervision to the work, using therein the skill and diligence for which he is remunerated in the contract price.  He shall carefully inspect the site and study and compare all drawings, specifications and other instructions, as ignorance of any phase of any of the features or conditions affecting the contract will not excuse him from carrying out its provisions to its full intent.

STANDARD OF PERFORMANCE:  All work shall be performed in a good and workmanlike manner.

SAFEGUARDS:  The contractor shall provide safeguards, in conformity with all local codes and ordinances as may be required.

WATER, POWER & TOILET FACILITIES: Successful bidder may use County owned water, power and toilet facilities at job site (when existing) at no expense to the successful bidder. Successful bidder will be required, however, to provide piping, fittings and other items as necessary to bring water and power from existing service to job site.

INSURANCE:

Without limiting the COUNTY's right to obtain indemnification from CONTRACTOR or any third parties, CONTRACTOR, at its sole expense, shall maintain in full force and effect, the following insurance policies or a program of self-insurance, including but not limited to, an insurance pooling arrangement or Joint Powers Agreement (JPA) throughout the term of the Agreement:

- Commercial General Liability

Commercial General Liability Insurance with limits of not less than One Million Dollars ($1,000,000) per occurrence and an annual aggregate of Two Million Dollars ($2,000,000). This policy shall be issued on a per occurrence basis.   COUNTY may require specific coverages including completed operations, products liability, contractual liability, Explosion-Collapse-Underground, fire legal liability or any other liability insurance deemed necessary because of the nature of this contract.

- Automobile Liability

Comprehensive Automobile Liability Insurance with limits for bodily injury of not less than Two Hundred Fifty Thousand Dollars ($250,000.00) per person, Five Hundred Thousand Dollars ($500,000.00) per accident and for property damages of not less than Fifty Thousand Dollars ($50,000.00), or such coverage with a combined single limit of Five Hundred Thousand Dollars ($500,000.00).  Coverage should include owned and non-owned vehicles used in connection with this Agreement.

- Professional Liability

If CONTRACTOR employs licensed professional staff, (e.g., Ph.D., R.N., L.C.S.W., M.F.C.C.) in providing services, Professional Liability Insurance with limits of not less than One Million Dollars ($1,000,000.00) per occurrence, Three Million Dollars ($3,000,000.00) annual aggregate.

- Worker's Compensation

A policy of Worker's Compensation insurance as may be required by the California Labor Code.

Contractor shall obtain endorsements to the Commercial General Liability insurance naming the County of Fresno, its officers, agents, and employees, individually and collectively, as additional insured, but only insofar as the operations under this Agreement are concerned. Such coverage for additional insured shall apply as primary insurance and any other insurance, or self-insurance, maintained by County, its officers, agents and employees shall be excess only and not contributing with insurance provided under contractor's policies herein. This insurance shall not be cancelled or changed without a minimum of thirty (30) days advance written notice given to County.

Within Thirty (30) days from the date contractor executes this Agreement, CONTRACTOR shall provide certificates of insurance and endorsement as stated above for all of the foregoing policies, as required herein, to the County of Fresno, Public Works and Planning – Resources Division, stating that such insurance coverage have been obtained and are in full force; that the County of Fresno, its officers, agents and employees will not be responsible for any premiums on the policies; that such Commercial General Liability insurance names the County of Fresno, its officers, agents and employees, individually and collectively, as additional insured, but only insofar as the operations under this Agreement are concerned; that such coverage for additional insured shall apply as primary insurance and any other insurance, or self-insurance, maintained by County, its officers, agents and employees, shall be excess only and not contributing with insurance provided under contractor's policies herein; and that this insurance shall not be cancelled or changed without a minimum of thirty (30) days advance, written notice given to County.

In the event contractor fails to keep in effect at all times insurance coverage as herein provided, the County may, in addition to other remedies it may have, suspend or terminate this Agreement upon the occurrence of such event.

All policies shall be with admitted insurers licensed to do business in the State of California.  Insurance purchased shall be purchased from companies possessing a current A.M. Best, Inc. rating of A FSC VII or better.

- BIDDER TO COMPLETE

- BIDDER INFORMATION:

| Mailing Address: |  |
| --- | --- |
| Phone: |  |
| Fax: |  |
| E-Mail |  |
| Business Hours: |  |

INSURANCE

| Name of Insurance Carrier: |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Public Liability: |  |  |  | Expires: |  |
| Workman's Compensation: |  |  |  | Expires: |  |

Proof of maintenance of adequate insurance will be required before award is made to vendor.

CERTIFICATIONS FOR OPERATING DOMESTIC WATER AND/OR WASTEWATER TREATMENT SYSTEMS

The bidder shall list the grade of water and/or wastewater operator’s certificates, backflow testing inspector certificates and or California Contractors License Classifications:

Vendor must complete and return with Request for Quotation

| Firm: |  |
| --- | --- |

REFERENCE LIST

Provide a list of at least five (5) customers for whom you have recently provided similar services (preferably California State or local government agencies).  Be sure to include all requested information.

| Reference Name: |  |  |  |  |  |  |  | Contact: |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Address: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| City: |  |  |  |  |  |  |  |  | State: |  |  |  |  | Zip: |  |  |  |
| Phone No.: |  | ( |  |  | ) |  | Date: |  |  |  |  |  |  |  |  |  |  |
| Service Provided: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Reference Name: |  |  |  |  |  |  |  | Contact: |  |  |  |  |  |  |  |  |  |
| Address: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| City: |  |  |  |  |  |  |  |  |  | State: |  |  |  |  | Zip: |  |  |
| Phone No.: |  | ( |  |  | ) |  | Date: |  |  |  |  |  |  |  |  |  |  |
| Service Provided: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Reference Name: |  |  |  |  |  |  |  | Contact: |  |  |  |  |  |  |  |  |  |
| Address: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| City: |  |  |  |  |  |  |  |  | State: |  |  |  |  | Zip: |  |  |  |
| Phone No.: |  | ( |  |  | ) |  | Date: |  |  |  |  |  |  |  |  |  |  |
| Service Provided: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Reference Name: |  |  |  |  |  |  |  | Contact: |  |  |  |  |  |  |  |  |  |
| Address: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| City: |  |  |  |  |  |  |  |  |  | State: |  |  |  |  | Zip: |  |  |
| Phone No.: |  | ( |  |  | ) |  | Date: |  |  |  |  |  |  |  |  |  |  |
| Service Provided: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Reference Name: |  |  |  |  |  |  |  | Contact: |  |  |  |  |  |  |  |  |  |
| Address: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| City: |  |  |  |  |  |  |  |  | State: |  |  |  |  | Zip: |  |  |  |
| Phone No.: |  | ( |  |  | ) |  | Date: |  |  |  |  |  |  |  |  |  |  |
| Service Provided: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

Failure to provide a list of at least five (5) customers may be cause for rejection of this RFQ.

QUOTATION Sheet
CSA 30 (EL PORVENIR)

Domestic Water System

| - Provide the minimum hours per week qualified staff will be present at the facility providing services: |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| - Monthly fixed fee for all responsibilities and services detailed in the scope of work section except for emergency services. |  |  |  |  |  |  |
|  | $ |  |  |  | x 12 = | $ |
|  | Cost per month |  |  |  |  | Cost for one year |
| - Emergency Services: List the labor rates for each class of employee must be provided. |  |  |  |  |  |  |
|  |  | Employee |  | Hourly Rate for |  |  |
|  |  | Classification |  | Emergency Services |  |  |
|  |  |  |  | $ |  |  |
|  |  |  |  | $ |  |  |
|  |  |  |  | $ |  |  |

Wastewater System

| - Provide the minimum hours per week qualified staff will be present at the facility providing services: |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| - Provide the minimum number of times per year that a licensed sludge pumping |  |  |  |  |  |  |  |
|  | contractor will remove sludge: |  |  |  | and the estimated cost $ |  |  |
| - Monthly fixed fee for all responsibilities and services detailed in the scope of work section except for emergency services. |  |  |  |  |  |  |  |
|  | $ |  | x 12 = |  |  | $ |  |
|  | Cost per month |  |  |  |  | Cost for one year |  |

- Emergency Services:  List the labor rates for each class of employee must be provided.

| Employee |  | Hourly Rate for |
| --- | --- | --- |
| Classification |  | Emergency Services |
|  |  | $ |
|  |  | $ |
|  |  | $ |

| Percentage Discount for award of both systems: |  |
| --- | --- |

QUOTATION Sheet
CSA 32 (CANTUA CREEK)

Domestic Water System

| - Provide the minimum hours per week qualified staff will be present at the facility providing services: |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| - Monthly fixed fee for all responsibilities and services detailed in the scope of work section except for emergency services. |  |  |  |  |  |  |
|  | $ |  |  |  | x 12 = | $ |
|  | Cost per month |  |  |  |  | Cost for one year |
| - Emergency Services: List the labor rates for each class of employee must be provided. |  |  |  |  |  |  |
|  |  | Employee |  | Hourly Rate for |  |  |
|  |  | Classification |  | Emergency Services |  |  |
|  |  |  |  | $ |  |  |
|  |  |  |  | $ |  |  |
|  |  |  |  | $ |  |  |

Wastewater System

| - Provide the minimum hours per week qualified staff will be present at the facility providing services: |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| - Provide the minimum number of times per year that a licensed sludge pumping |  |  |  |  |  |  |  |
|  | contractor will remove sludge: |  |  |  | and the estimated cost $ |  |  |
| - Monthly fixed fee for all responsibilities and services detailed in the scope of work section except for emergency services. |  |  |  |  |  |  |  |
|  | $ |  | x 12 = |  |  | $ |  |
|  | Cost per month |  |  |  |  | Cost for one year |  |

- Emergency Services:  List the labor rates for each class of employee must be provided.

| Employee |  | Hourly Rate for |
| --- | --- | --- |
| Classification |  | Emergency Services |
|  |  | $ |
|  |  | $ |
|  |  | $ |

| Percentage Discount for award of both systems: |  |
| --- | --- |

QUOTATION Sheet

CSA 49 (O’NEILL FARMING COMMUNITY)

Domestic Water System

| - Provide the minimum hours per week qualified staff will be present at the facility providing services: |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| - Monthly fixed fee for all responsibilities and services detailed in the scope of work section except for emergency services. |  |  |  |  |  |  |
|  | $ |  |  |  | x 12 = | $ |
|  | Cost per month |  |  |  |  | Cost for one year |
| - Emergency Services: List the labor rates for each class of employee must be provided. |  |  |  |  |  |  |
|  |  | Employee |  | Hourly Rate for |  |  |
|  |  | Classification |  | Emergency Services |  |  |
|  |  |  |  | $ |  |  |
|  |  |  |  | $ |  |  |
|  |  |  |  | $ |  |  |

| Percentage Discount for award of both systems: |  |
| --- | --- |

QUOTATION Sheet

juvenile justice campus

Domestic Water System

| - Provide the minimum hours per week qualified staff will be present at the facility providing services: |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| - Monthly fixed fee for all responsibilities and services detailed in the scope of work section except for emergency services. |  |  |  |  |  |  |
|  | $ |  |  |  | x 12 = | $ |
|  | Cost per month |  |  |  |  | Cost for one year |
| - Emergency Services: List the labor rates for each class of employee must be provided. |  |  |  |  |  |  |
|  |  | Employee |  | Hourly Rate for |  |  |
|  |  | Classification |  | Emergency Services |  |  |
|  |  |  |  | $ |  |  |
|  |  |  |  | $ |  |  |
|  |  |  |  | $ |  |  |

Wastewater System

| - Provide the minimum hours per week qualified staff will be present at the facility providing services: |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| - Provide the minimum number of times per year that a licensed sludge pumping |  |  |  |  |  |  |  |
|  | contractor will remove sludge: |  |  |  | and the estimated cost $ |  |  |
| - Monthly fixed fee for all responsibilities and services detailed in the scope of work section except for emergency services. |  |  |  |  |  |  |  |
|  | $ |  | x 12 = |  |  | $ |  |
|  | Cost per month |  |  |  |  | Cost for one year |  |

- Emergency Services:  List the labor rates for each class of employee must be provided.

| Employee |  | Hourly Rate for |
| --- | --- | --- |
| Classification |  | Emergency Services |
|  |  | $ |
|  |  | $ |
|  |  | $ |

| Percentage Discount for award of both systems: |  |
| --- | --- |

QUOTATION sheet

CSA 43w (RAISIN CITY)

Domestic Water System

| - Provide the minimum hours per week qualified staff will be present at the facility providing services: |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| - Monthly fixed fee for all responsibilities and services detailed in the scope of work section except for emergency services. |  |  |  |  |  |  |
|  | $ |  |  |  | x 12 = | $ |
|  | Cost per month |  |  |  |  | Cost for one year |
| - Emergency Services: List the labor rates for each class of employee must be provided. |  |  |  |  |  |  |
|  |  | Employee |  | Hourly Rate for |  |  |
|  |  | Classification |  | Emergency Services |  |  |
|  |  |  |  | $ |  |  |
|  |  |  |  | $ |  |  |
|  |  |  |  | $ |  |  |

| Percentage Discount for award of both systems: |  |
| --- | --- |

CHECK LIST

This Checklist is provided to assist the vendors in the preparation of their bid response.  Included in this list, are important requirements and is the responsibility of the bidder to submit with the bid package in order to make the bid compliant.  Because this checklist is just a guideline, the bidder must read and comply with the bid in its entirety.

Check off each of the following:

|  |  | The Request for Quotation (RFQ) has been signed and completed. |
| --- | --- | --- |
|  |  | One (1) original and two (2) copies of the RFQ have been provided. |
|  |  | Addenda, if any, have been completed, signed and included in the bid package. |
|  |  | The completed Reference List as provided with this RFQ. |
|  |  | The Quotation Sheets as provided with this RFQ has been completed, priced reviewed for accuracy and any corrections initialed in ink. |
|  |  | Indicate all of bidder exceptions to the County’s requirements, conditions and specifications as stated within this RFQ. |
|  |  | Bidder to Complete page as provided with this RFQ. |
|  |  | Lastly, on the LOWER LEFT HAND CORNER of the sealed envelope, box, etc. transmitting your bid, attach the “Request for Quotation Label” and include the following information: |

| County of Fresno RFQ No. |  |  | 968-4746 |
| --- | --- | --- | --- |
| Closing Date: | October 13, 2009 |  |  |
| Closing Time: | 2:00 P.M. |  |  |
| Commodity or Service: |  |  |  |

This Checklist does not need to be returned with your bid.

LIST OF EXHIBITS

EXHIBIT A	CSA 30, 32, 43W & 49 VICINITY MAP

968-4746 Exhibit A.pdf

EXHIBIT B-1	CSA 30 – EL PROVENIR DISTRICT BOUNDARIES

968-4746 Exhibit B-1.pdf

EXHIBIT B-2-	CSA 30 – BACTERIOLOGICAL SAMPLE SITING PLAN

968-4746 Exhibit B-2.pdf

EXHIBIT B-3	CSA 30 – WASTE DISCHARGE REQUIREMENTS

968-4746 Exhibit B-3.pdf

EXHIBIT C-1	CSA 32 - CANTUA CREEK DISTRICT BOUNDARIES

968-4746 Exhibit C-1.pdf

EXHIBIT C-2	CSA 32 - BACTERIOLOGICAL SAMPLE SITING PLAN

968-4746 Exhibit C-2.pdf

EXHIBIT C-3	CSA 32 - WASTE DISCHARGE REQUIREMENTS

968-4746 Exhibit C-3.pdf

EXHIBIT D	CSA 49 – O’NEILL FARMING COMMUNITY DISTRICT BOUNDARIES

968-4746 Exhibit D.pdf

EXHIBIT E-1	CSA 43 - RAISIN CITY DISTRICT BOUNDARIES

968-4746 Exhibit E-1.pdf

EXHIBIT E-2	CSA 43 - BACTERIOLOGICAL SAMPLE SITING PLAN

968-4746 Exhibit E-2.pdf

EXHIBIT E-3	CSA 43 - BACTERIOLOGICAL SAMPLE SITING PLAN MAP

968-4746 Exhibit E-3.pdf

EXHIBIT F-1a	CSA JUVENILE JUSTICE CAMPUS - WATER TREATMENT AREA

968-4746 Exhibit F-1a.pdf

EXHIBIT F-1b	JUVENILE JUSTICE CAMPUS DETAIL

968-4746 Exhibit F-1b.pdf

EXHIBIT F-2	JUVENILE JUSTICE CAMPUS WASTE DISCHARGE REQUIREMENTS

968-4746 Exhibit F-2.pdf