| COUNTY OF FRESNO |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Request for QUOTATION |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | NUMBER: 968-4898 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| January 12, 2011 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ORG/Requisition: 9026/ 9261100066 |  |  |  |  |  |  | PURCHASING USE |  |  |  | /tmp/in/input.doc |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | ssj |  |  |  |  |  |  |  |  |  |  |  |
| IMPORTANT: SUBMIT QUOTATION IN SEALED PACKAGE WITH QUOTATION NUMBER, CLOSING DATE AND BUYER’S NAME MARKED CLEARLY ON THE OUTSIDE TO: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| COUNTY OF FRESNO, Purchasing 4525 EAST HAMILTON AVENUE, 2nd Floor FRESNO, CA 93702-4599 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Closing date of bid will be at 2:00 p.m., on February 17, 2011. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| QUOTATIONS WILL BE CONSIDERED LATE WHEN THE OFFICIAL PURCHASING TIME CLOCK READS 2:00 P.M. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Quotations will be opened and publicly read at that time. All quotation information will be available for review after contract award. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Clarification of specifications is to be directed to: Craig Nickel, e-mail CountyPurchasing@co.fresno.ca.us, phone (559) 456-7110, FAX (559) 456-7831. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| GENERAL CONDITIONS: See “County Of Fresno Purchasing Standard Instructions And Conditions For Request For Proposals (RFP’S) and Requests for Quotations (RFQ’S)” attached. Check County of Fresno Purchasing’s Open Solicitations website at http://www2.co.fresno.ca.us/0440/Bidshome2.asp for RFQ/RFP documents and changes. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| BIDDER TO COMPLETE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| UNDERSIGNED AGREES TO FURNISH THE COMMODITY OR SERVICE STIPULATED IN THE ATTACHED QUOTATION SCHEDULE AT THE PRICES AND TERMS STATED, SUBJECT TO THE “COUNTY OF FRESNO PURCHASING STANDARD INSTRUCTIONS AND CONDITIONS FOR REQUEST FOR PROPOSALS (RFP’S) AND REQUESTS FOR QUOTATIONS (RFQ’S)”ATTACHED. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Except as noted on individual items, the following will apply to all items in the Quotation Schedule. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Complete delivery will be made within |  |  |  |  |  |  |  | calendar days after receipt of Order. |  |  |  |  |  |  |  |  |  |  |
| - A cash discount of |  |  |  |  | % |  |  |  |  | days will apply. |  |  |  |  |  |  |  |  |
| Company |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Address |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| City |  |  |  |  |  |  |  |  |  |  |  |  | State |  | Zip Code |  |  |  |
| ( ) |  |  |  | ( ) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Telephone Number |  |  |  | Facsimile Number |  |  |  |  |  |  |  |  | E-mail Address |  |  |  |  |  |
| Signed By |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Print Name |  |  |  |  |  |  |  |  | Title |  |  |  |  |  |  |  |  |  |

COUNTY OF FRESNO PURCHASING

STANDARD INSTRUCTIONS AND CONDITIONS FOR
REQUESTS FOR PROPOSALS (RFP'S) AND REQUESTS FOR QUOTATIONS (RFQ'S)

Note: the reference to “bids” in the following paragraphs applies to RFP's and RFQ's

## GENERAL CONDITIONS

By submitting a bid the bidder agrees to the following conditions.  These conditions will apply to all subsequent purchases based on this bid.

- BID PREPARATION:

  - All prices and notations must be typed or written in ink.  No erasures permitted.  Errors may be crossed out, initialed and corrections printed in ink by person signing bid.

  - Brand Names: Brand names and numbers when given are for reference. Equal items will be considered, provided the offer clearly describes the article and how it differs from that specified.  In the absence of such information it shall be understood the offering is exactly as specified.

  - State brand or make of each item.  If bidding on other than specified, state make, model and brand being bid and attach supporting literature/specifications to the bid.

  - Bid on each item separately.  Prices should be stated in units specified herein.  All applicable charges must be quoted; charges on invoice not quoted herein will be disallowed.

  - Time of delivery is a part of the consideration and must be stated in definite terms and must be adhered to.  F.O.B. Point shall be destination or freight charges must be stated.

  - All bids must be dated and signed with the firm’s name and by an authorized officer or employee.

  - Unless otherwise noted, prices shall be firm for one hundred eighty (180) days after closing date of bid.

- SUBMITTING BIDS:

  - Each bid must be submitted on forms provided in a sealed envelope/package with bid number and closing date and time on the outside of the envelope/package.

  - Interpretation: Should any discrepancies or omissions be found in the bid specifications or doubt as to their meaning, the bidder shall notify the Buyer in writing at once.  The County shall not be held responsible for verbal interpretations.  Questions regarding the bid must be received by Purchasing at least five (5) working days before bid opening.  All addenda issued shall be in writing, duly issued by Purchasing and incorporated into the contract.

  - ISSUING AGENT/AUTHORIZED CONTACT: This RFP/RFQ has been issued by County of Fresno, Purchasing. Purchasing shall be the vendor’s sole point of contact with regard to the RFP/RFQ, its content, and all issues concerning it.

All communication regarding this RFP/RFQ shall be directed to an authorized representative of County Purchasing. The specific buyer managing this RFP/RFQ is identified on the cover page, along with his or her telephone number, and he or she should be the primary point of contact for discussions or information pertaining to the RFP/RFQ. Contact with any other County representative, including elected officials, for the purpose of discussing this RFP/RFQ, its content, or any other issue concerning it, is prohibited unless authorized by Purchasing. Violation of this clause, by the vendor having unauthorized contact (verbally or in writing) with such other County representatives, may constitute grounds for rejection by Purchasing of the vendor’s quotation.

The above stated restriction on vendor contact with County representatives shall apply until the County has awarded a purchase order or contract to a vendor or vendors, except as follows. First, in the event that a vendor initiates a formal protest against the RFP/RFQ, such vendor may contact the appropriate individual, or individuals who are managing that protest as outlined in the County’s established protest procedures. All such contact must be in accordance with the sequence set forth under the protest procedures. Second, in the event a public hearing is scheduled before the Board of Supervisors to hear testimony prior to its approval of a purchase order or contract, any vendor may address the Board.

  - Bids received after the closing time will NOT be considered.

  - Bidders are to bid what is specified or requested first. If unable to or unwilling to, bidder may bid alternative or option, indicating all advantages, disadvantages and their associated cost.

  - Public Contract Code Section 7028.15

Where the State of California requires a Contractor’s license, it is a misdemeanor for any person to submit a bid unless specifically exempted.

- FAILURE TO BID:

  - If not bidding, return bid sheet and state reason for no bid or your name may be removed from mailing list.

- TAXES, CHARGES AND EXTRAS:

  - County of Fresno is subject to California sales and/or use tax (8.975%). Please indicate as a separate line item if applicable.

  - DO NOT include Federal Excise Tax.  County is exempt under Registration No. 94-73-03401-K.

  - County is exempt from Federal Transportation Tax.  Exemption certificate is not required where shipping papers show consignee as County of Fresno.

  - Charges for transportation, containers, packing, etc. will not be paid unless specified in bid.

- W-9 – REQUEST FOR TAXPAYER IDENTIFICATION NUMBER AND CERTIFICATION:

Upon award of bid, the vendor shall submit to County Purchasing, a completed W-9 - Request for Taxpayer Identification Number and Certification if not already a current vendor with The County of Fresno. This form is available from the IRS to complete on line at http://www.irs.gov/pub/irs-pdf/fw9.pdf.

- AWARDS:

  - Subject to the local preference provisions referenced in Paragraph 7 below and more thoroughly set forth in the General Requirements section of this RFP/RFQ, award(s) will be made to the most responsive responsible bidder.  The evaluation will include such things as life-cycle cost, availability, delivery costs and whose product and/or service is deemed to be in the best interest of the County. The County shall be the sole judge in making such determination.

  - Unless bidder gives notice of all-or-none award in bid, County may accept any item, group of items or on the basis of total bid.

  - The County reserves the right to reject any and all bids and to waive informalities or irregularities in bids.

  - Award Notices are tentative: Acceptance of an offer made in response to this RFP/RFQ shall occur only upon execution of an agreement by both parties or issuance of a valid written Purchase Order by Fresno County Purchasing.

  - After award, all bids shall be open to public inspection. The County assumes no responsibility for the confidentiality of information offered in a bid.

- LOCAL VENDORS:

  - Local Vendor Preference (applicable to RFQ Process only)

The following provisions are applicable only to the County’s acquisition of materials, equipment or supplies through the RFQ process when the funding source does not require an exemption to the Local Vendor Preference.

THE PROVISIONS OF THIS PARAGRAPH ARE APPLICABLE, NOTWITHSTANDING ANY OTHER PROVISIONS OF THIS RFQ TO THE CONTRARY

If the apparent low bidder is not a local vendor, any local vendor who submitted a bid which was within five percent (5%) of the lowest responsive  bid as determined by the purchasing agent shall have the option of submitting a new bid within forty-eight (48) hours (not including weekends and holidays) of County’s delivery of notification. Such new bids must be in an amount less than or equal to the lowest responsive bid as determined by the purchasing agent.  If the purchasing agent receives any new bids from local vendors who have the option of submitting new bids within said forty-eight (48) hour period, it shall award the contract to the local vendor submitting the lowest responsible bid. If no new bids are received, the contract shall be awarded to the original low bidder as announced by the purchasing agent.

  - Local Vendor Defined

“Local Vendor” shall mean any business which:

- Has its headquarters, distribution point or locally-owned franchise located in or having a street address within the County for at least six (6) months immediately prior to the issuance of the request for competitive bids by the purchasing agent; and

- Holds any required business license by a jurisdiction located in Fresno County; and

- Employs at least one (1) full-time or two (2) part-time employees whose primary residence is located within Fresno County, or if the business has no employees, shall be at least fifty percent (50%) owned by one or more persons whose primary residence(s) is located within Fresno County.

- TIE BIDS:

All other factors being equal, the contract shall be awarded to the Fresno County vendor or, if neither or both are Fresno County vendors, it may be awarded by the flip of a coin in the presence of witnesses or the entire bid may be rejected and re-bid. If the General Requirements of this RFP/RFQ state that they are applicable, the provisions of the Fresno County Local Vendor Preference shall take priority over this paragraph.

- PATENT INDEMNITY:

The vendor shall hold the County, its officers, agents and employees, harmless from liability of any nature or kind, including costs and expenses, for infringement or use of any copyrighted or uncopyrighted composition, secret process, patented or unpatented invention, article or appliance furnished or used in connection with this bid.

- SAMPLES:

Samples, when required, must be furnished and delivered free and, if not destroyed by tests, will upon written request (within thirty (30) days of bid closing date) be returned at the bidder's expense. In the absence of such notification, County shall have the right to dispose of the samples in whatever manner it deems appropriate.

- RIGHTS AND REMEDIES OF COUNTY FOR DEFAULT:

  - In case of default by vendor, the County may procure the articles or service from another source and may recover the cost difference and related expenses occasioned thereby from any unpaid balance due the vendor or by proceeding against performance bond of the vendor, if any, or by suit against the vendor. The prices paid by the County shall be considered the prevailing market price at the time such purchase is made.

  - Articles or services, which upon delivery inspection do not meet specifications, will be rejected and the vendor will be considered in default. Vendor shall reimburse County for expenses related to delivery of non-specified goods or services.

  - Regardless of F.O.B. point, vendor agrees to bear all risks of loss, injury or destruction to goods and materials ordered herein which occur prior to delivery and such loss, injury or destruction shall not release vendor from any obligation hereunder.

- DISCOUNTS:

Terms of less than fifteen (15) days for cash payment will be considered as net in evaluating this bid. A discount for payment within fifteen (15) days or more will be considered in determining the award of bid. Discount period will commence either the later of delivery or receipt of invoice by the County. Standard terms are Net forty-five (45) days.

- SPECIAL CONDITIONS IN BID SCHEDULE SUPERSEDE GENERAL CONDITIONS:

The “General Conditions” provisions of this RFP/RFQ shall be superseded if in conflict with any other section of this bid, to the extent of any such conflict.

- SPECIAL REQUIREMENT:

With the invoice or within twenty-five (25) days of delivery, the seller must provide to the County a Material Safety Data Sheet for each product, which contains any substance on “The List of 800 Hazardous Substances”, published by the State Director of Industrial Relations. (See Hazardous Substances Information and Training Act. California State Labor Code Sections 6360 through 6399.7.)

- RECYCLED PRODUCTS/MATERIALS:

Vendors are encouraged to provide and quote (with documentation) recycled or recyclable products/materials which meet stated specifications.

- YEAR COMPLIANCE WARRANTY:

Vendor warrants that any product furnished pursuant to this Agreement/order shall support a four-digit year format and be able to accurately process date and time data from, into and between the twentieth and twenty-first centuries, as well as leap year calculations. "Product" shall include, without limitation, any piece or component of equipment, hardware, firmware, middleware, custom or commercial software, or internal components or subroutines therein. This warranty shall survive termination or expiration of this Agreement.

In the event of any decrease in product functionality or accuracy related to time and/or date data related codes and/or internal subroutines that impede the product from operating correctly using dates beyond December 31, 1999, vendor shall restore or repair the product to the same level of functionality as warranted herein, so as to minimize interruption to County's ongoing business process, time being of the essence. In the event that such warranty compliance requires the acquisition of additional programs, the expense for any such associated or additional acquisitions, which may be required, including, without limitation, data conversion tools, shall be borne exclusively by vendor. Nothing in this warranty shall be construed to limit any rights or remedies the County may otherwise have under this Agreement with respect to defects other than year performance.

- PARTICIPATION:

Bidder may agree to extend the terms of the resulting contract to other political subdivision, municipalities and tax-supported agencies.

Such participating Governmental bodies shall make purchases in their own name, make payment directly to bidder, and be liable directly to the bidder, holding the County of Fresno harmless.

- CONFIDENTIALITY:

All services performed by vendor shall be in strict conformance with all applicable Federal, State of California and/or local laws and regulations relating to confidentiality, including but not limited to, California Civil Code, California Welfare and Institutions Code, Health and Safety Code, California Code of Regulations, Code of Federal Regulations.

Vendor shall submit to County’s monitoring of said compliance.

Vendor may be a business associate of County, as that term is defined in the “Privacy Rule” enacted by the Health Insurance Portability and Accountability Act of 1996 (HIPAA). As a HIPAA Business Associate, vendor may use or disclose protected health information (“PHI”) to perform functions, activities or services for or on behalf of County as specified by the County, provided that such use or disclosure shall not violate HIPAA and its implementing regulations. The uses and disclosures if PHI may not be more expansive than those applicable to County, as the “Covered Entity” under HIPAA’s Privacy Rule, except as authorized for management, administrative or legal responsibilities of the Business Associate.

Vendor shall not use or further disclose PHI other than as permitted or required by the County, or as required by law without written notice to the County.

Vendor shall ensure that any agent, including any subcontractor, to which vendor provides PHI received from, or created or received by the vendor on behalf of County, shall comply with the same restrictions and conditions with respect to such information.

- APPEALS:

Appeals must be submitted in writing within seven (7) working days after notification of proposed recommendations for award. A “Notice of Award” is not an indication of County’s acceptance of an offer made in response to this RFP/RFQ. Appeals should be submitted to County of Fresno Purchasing, 4525 E. Hamilton Avenue, Fresno, California 93702-4599. Appeals should address only areas regarding RFP contradictions, procurement errors, quotation rating discrepancies, legality of procurement context, conflict of interest, and inappropriate or unfair competitive procurement grievance regarding the RFP/RFQ process.

Purchasing will provide a written response to the complainant within seven (7) working days unless the complainant is notified more time is required.

If the protesting bidder is not satisfied with the decision of Purchasing, he/she shall have the right to appeal to the Purchasing Agent/CAO within seven (7) business days after Purchasing’s notification; except if, notified to appeal directly to the Board of Supervisors at the scheduled date and time.

If the protesting bidder is not satisfied with Purchasing Agent/CAO’s decision, the final appeal is with the Board of Supervisors.

- OBLIGATIONS OF CONTRACTOR:

  - CONTRACTOR shall perform as required by the ensuing contract. CONTRACTOR also warrants on behalf of itself and all subcontractors engaged for the performance of the ensuing contract that only persons authorized to work in the United States pursuant to the Immigration Reform and Control Act of 1986 and other applicable laws shall be employed in the performance of the work hereunder.

  - CONTRACTOR shall obey all Federal, State, local and special district laws, ordinances and regulations.

- AUDITS & RETENTION:

The Contractor shall maintain in good and legible condition all books, documents, papers, data files and other records related to its performance under this contract. Such records shall be complete and available to Fresno County, the State of California, the federal government or their duly authorized representatives for the purpose of audit, examination, or copying during the term of the contract and for a period of at least three (3) years following the County's final payment under the contract or until conclusion of any pending matter (e.g., litigation or audit), whichever is later. Such records must be retained in the manner described above until all pending matters are closed.

- DISCLOSURE – CRIMINAL HISTORY & CIVIL ACTIONS:

Applies to Request for Proposal (RFP); does not apply to Request for Quotation (RFQ) unless specifically stated elsewhere in the RFQ document.

In their proposal, the bidder is required to disclose if any of the following conditions apply to them, their owners, officers, corporate managers and partners (hereinafter collectively referred to as “Bidder”):

- Within the three-year period preceding the proposal, they have been convicted of, or had a civil judgment rendered against them for:

  - fraud or a criminal offense in connection with obtaining, attempting to obtain, or performing a public (federal, state, or local) transaction or contract under a public transaction;

  - violation of a federal or state antitrust statute;

  - embezzlement, theft, forgery, bribery, falsification, or destruction of records; or

  - false statements or receipt of stolen property

Within a three-year period preceding their proposal, they have had a public transaction (federal, state, or local) terminated for cause or default.

- DATA SECURITY:

Individuals and/or agencies that enter into a contractual relationship with the COUNTY for the purpose of providing services must employ adequate controls and data security measures, both internally and externally to ensure and protect the confidential information and/or data provided to contractor by the COUNTY, preventing the potential loss, misappropriation or inadvertent access, viewing, use or disclosure of COUNTY data including sensitive or personal client information; abuse of COUNTY resources; and/or disruption to COUNTY operations.

Individuals and/or agencies may not connect to or use COUNTY networks/systems via personally owned mobile, wireless or handheld devices unless authorized by COUNTY for telecommuting purposes and provide a secure connection; up to date virus protection and mobile devices must have the remote wipe feature enabled.  Computers or computer peripherals including mobile storage devices may not be used (COUNTY or Contractor device) or brought in for use into the COUNTY’s system(s) without prior authorization from COUNTY’s Chief Information Officer and/or designee(s).

No storage of COUNTY’s private, confidential or sensitive data on any hard-disk drive, portable storage device or remote storage installation unless encrypted according to advance encryption standards (AES of 128 bit or higher).

The COUNTY will immediately be notified of any violations, breaches or potential breaches of security related to COUNTY’s confidential information, data and/or data processing equipment which stores or processes COUNTY data, internally or externally.

COUNTY shall provide oversight to Contractor’s response to all incidents arising from a possible breach of security related to COUNTY’s confidential client information.  Contractor will be responsible to issue any notification to affected individuals as required by law or as deemed necessary by COUNTY in its sole discretion.  Contractor will be responsible for all costs incurred as a result of providing the required notification.

- PURCHASING LOCATION & HOURS:

Fresno County Purchasing is located at 4525 E. Hamilton Avenue (second floor), Fresno, CA 93702.  Non-holiday hours of operation are Monday through Friday, 8:00 A.M. to 12:00 Noon and 1:00 P.M. to 5:00 P.M. PST; Purchasing is closed daily from 12:00 Noon to 1:00 P.M.  The following holiday office closure schedule is observed:

| January 1* |  | New Year's Day |
| --- | --- | --- |
| Third Monday in January |  | Martin Luther King, Jr.’s Birthday |
| Third Monday in February |  | Washington - Lincoln Day |
| March 31* |  | Cesar Chavez’ Birthday |
| Last Monday in May |  | Memorial Day |
| July 4* |  | Independence Day |
| First Monday in September |  | Labor Day |
| November 11* |  | Veteran's Day |
| Fourth Thursday in November |  | Thanksgiving Day |
| Friday following Thanksgiving |  |  |
| December 25* |  | Christmas |
| * When this date falls on a Saturday, the holiday is observed the preceding Friday. If the date falls on a Sunday, the holiday is observed the following Monday. |  |  |

- BiDDING INSTRUCTIONS

GENERAL REQUIREMENTS

The County of Fresno is soliciting bids from qualified vendors to provide all labor, equipment, instrumentation, materials, taxes etc. to operate and maintain the Landfill Gas Collection Control System at its American Avenue Landfill Facility. Applicable requirement’s conditions etc. shall be as stated under this Request for Quotation (RFQ).

LOCAL VENDOR PREFERENCE:  The Local Vendor Preference does not apply to this Request for Quotation.

ISSUING AGENT: This RFQ has been issued by County of Fresno, Purchasing.  The County Purchasing shall be the vendor’s sole point of contact with regard to the RFQ, its content, and all issues concerning it.

AUTHORIZED CONTACT: All communication regarding this RFQ shall be directed to an authorized representative of County Purchasing. The specific buyer managing this RFQ is identified on the cover page, along with his or her telephone number, and he or she should be the primary point of contact for discussions or information pertaining to the RFQ. Contact with any other County representative, including elected officials, for the purpose of discussing this RFQ, it content, or any other issue concerning it, is prohibited unless authorized by Purchasing. Violation of this clause, by the vendor having unauthorized contact (verbally or in writing) with such other County representatives, may constitute grounds for rejection by Purchasing of the vendor’s quotation.

The above stated restriction on vendor contact with County representatives shall apply until the County has awarded a purchase order or contract to a vendor or vendors, except as follows. First, in the event that a vendor initiates a formal protest against the RFQ, such vendor may contact the appropriate individual, or individuals who are managing that protest as outlined in the County’s established protest procedures. All such contact must be in accordance with the sequence set forth under the protest procedures. Second, in the event a public hearing is scheduled before the Board of Supervisors to hear testimony prior to its approval of a purchase order or contract, any vendor may address the Board.

AWARD: Award will be made to the bidder(s) whose product(s) service, price, and delivery is most advantageous to the County. The County will be the sole judge in making this determination.  Award Notices are tentative: Acceptance of an offer made in response to this RFQ shall occur only upon execution of an agreement by both parties or issuance of a valid written Purchase Order by Fresno County Purchasing.

NUMBER OF COPIES:  Submit one (1) original and three (3) copies of your quotation no later than the quotation closing date and time as stated on the front of this document to the County of Fresno Purchasing.  Each copy is to be identical to the original, including all supporting documentation (i.e. literature, brochures, reports, schedules, specifications, drawings etc.).  The cover page of each quotation is to be appropriately marked “Original” or “Copy”.

FIRM PROPOSAL:  For purposes of award, all bids shall remain firm for at least one hundred eighty (180) calendar days from the closing date of this RFQ.

RIGHT TO REJECT BIDS: The County reserves the right to reject any and all bids and to waive informalities or irregularities in bids.

INTERPRETATION OF RFQ: Vendors must make careful examination of the requirements, specifications and conditions expressed in the RFQ and fully inform themselves as to the quality and character of services required.  If any person planning to submit a quotation finds discrepancies in or omissions from the RFQ or has any doubt as to the true meaning or interpretation, correction thereof may be requested at the scheduled Site Inspection/Vendor Conference (see below).  Any change in the RFQ will be made only by written addendum, duly issued by the County.  The County will not be responsible for any other explanations or interpretations.

Questions may be submitted subsequent to the Site Inspection/Vendor Conference, subject to the following conditions:

- Such questions are submitted in writing to County Purchasing at least seven (7) County business days prior to the Request for Quotation closing date. Questions must be directed to the attention of the buyer identified on page one.

- Such questions are submitted with the understanding that County can respond only to questions it considers material in nature.

Questions shall be delivered to County of Fresno Purchasing, 4525 E. Hamilton Avenue, Fresno, California 93702, e-mailed to CountyPurchasing@co.fresno.ca.us or faxed to (559) 456-7831. If faxing, the bidder must confirm receipt by phone within one-half (1/2) hour of transmission.

NOTE: The bidder is encouraged to submit all questions at the Vendor Conference. Time limitations can prevent a response to questions submitted after the conference.

Site Inspection/Vendor Conference: Each bidder shall have examined the site of work before bidding and shall be responsible for having acquired full knowledge of the job and of all problems affecting it. No variations or allowance from the contract sum will be made because of lack of such examination.  The date inspection will be held as follows:

DATE: 	January 24, 2011

TIME: 	1:00 P.M.

LOCATION:  	American Avenue Disposal Site
18950 W. American Avenue
Kerman, CA 93630

CODES AND REGULATIONS: All work and material to conform to all applicable state and local building and other codes and regulations.

MATERIALS TO BE NEW: All materials shall be new and of merchantable grade, free from defect. No bid will be considered unless it is accompanied by a complete list of catalog numbers of the items, which the bidder proposes to furnish, together with full descriptive literature on all items so enumerated. If item proposed differs from these specifications, bidder shall present specific explanation of functioning and structural characteristics for those details which differ from the specifications listed herein.

DAMAGE TO EXISTING WORK: Damage to existing construction, equipment, planting, etc., by the successful bidder in the performance of his work shall be replaced or repaired and restored to original condition by the successful bidder.

CLEAN-UP: The successful bidder shall at all times keep the premises clean from accumulation of waste materials or rubbish caused by his employees or work and shall remove all resulting work debris from the job site.

WATER, POWER & TOILET FACILITIES: Successful bidder may use County owned water, power and toilet facilities at job site (when existing) at no expense to the successful bidder. Successful bidder will be required, however, to provide piping, fittings and other items as necessary to bring water and power from existing service to job site.

COORDINATE WORK WITH OWNER: Successful bidder shall coordinate and schedule the work with the County so that any interruption to the normal business operations be kept to a minimum.

TAXES, PERMITS & FEES: The successful bidder shall pay for and include all federal, state and local taxes direct or indirect upon all materials; pay all fees for, and obtain all necessary permits and licenses, unless otherwise specified herein.

INSPECTION: All material and workmanship shall be subject to inspection, examination and test by the County at any and all times during which manufacture and/or construction are carried on. The County shall have the right to reject defective material and workmanship or require its correction.

SUPERVISION: The successful bidder shall give efficient supervision to the work, using therein the skill and diligence for which he is remunerated in the contract price. He shall carefully inspect the site and study and compare all drawings, specifications and other instructions, as ignorance of any phase of any of the features or conditions affecting the contract will not excuse him from carrying out its provisions to its full intent.

SAFEGUARDS:  The successful bidder shall provide, in conformity with all local codes and ordinances and as may be required, such temporary walls, fences, guardrails, barricades, lights, danger signs, enclosures, etc., and shall maintain such safeguards until all work is completed.

INDEPENDENT CONTRACTOR: In performance of the work, duties and obligations assumed by Contractor under this Agreement, it is mutually understood and agreed that Contractor, including any and all of Contractor's officers, agents, and employees will at all times be acting and performing as an independent contractor, and shall act in an independent capacity and not as an officer, agent, servant, employee, joint venturer, partner, or associate of the County. Furthermore, County shall have no right to control or supervise or direct the manner or method by which Contractor shall perform its work and function.  However, County shall retain the right to administer this Agreement so as to verify that Contractor is performing its obligations in accordance with the terms and conditions thereof.  Contractor and County shall comply with all applicable provisions of law and the rules and regulations, if any, of governmental authorities having jurisdiction over matters the subject thereof.

Because of its status as an independent contractor, Contractor shall have absolutely no right to employment rights and benefits available to County employees.  Contractor shall be solely liable and responsible for providing to, or on behalf of, its employees all legally required employee benefits.  In addition, Contractor shall be solely responsible and save County harmless from all matters relating to payment of Contractor's employees, including compliance with Social Security, withholding, and all other regulations governing such matters.  It is acknowledged that during the term of this Agreement, Contractor may be providing services to others unrelated to the County or to this Agreement.

HOLD HARMLESS CLAUSE:  Contractor agrees to indemnify, save, hold harmless and at County's request, defend its officers, agents and employees, from any and all costs and expenses, damages, liabilities, claims and losses occurring or resulting to County in connection with the performance, or failure to perform, by Contractor, its officers, agents or employees under this agreement and from any and all costs and expenses, damages, liabilities, claims and losses occurring or resulting to any person, firm or corporation who may be injured or damaged by the performance, or failure to perform, of Contractor, its officers, agents or employees under this agreement.

ASSURANCES:  Any contract awarded under this RFQ must be carried out in full compliance with The Civil Rights Act of 1964, The Americans With Disabilities Act of 1990, their subsequent amendments, and any and all other laws protecting the rights of individuals and agencies.  The County of Fresno has a zero tolerance for discrimination, implied or expressed, and wants to ensure that policy continues under this RFQ.  The contractor must also guarantee that services, or workmanship, provided will be performed in compliance with all applicable local, state, or federal laws and regulations pertinent to the types of services, or project, of the nature required under this RFQ.  In addition, the contractor may be required to provide evidence substantiating that their employees have the necessary skills and training to perform the required services or work.

PREVAILING WAGES: In accordance with the provisions of Section 1770 of the Labor Code, the Director of the Department of Industrial Relations of the State of California has determined the general prevailing rates of wages and employer payments for health and welfare pension, vacation, travel time and subsistence pay as provided for in Section 1773.8, apprenticeship or other training programs authorized by Section 3093, and similar purposes applicable to the work to be done. A copy of the above-mentioned wage rates shall be posted by the successful bidder at the job site where it will be available to any interested party.

Information pertaining to Prevailing Wage Rates can be found on the web site for the State of California – Division of Labor Statistics and Research:

http://www.dir.ca.gov/dlsr/statistics_research.html

- INSURANCE:

Without limiting the COUNTY's right to obtain indemnification from CONTRACTOR or any third parties, CONTRACTOR, at its sole expense, shall maintain in full force and effect, the following insurance policies or a program of self-insurance, including but not limited to, an insurance pooling arrangement or Joint Powers Agreement (JPA) throughout the term of the Agreement:

- Commercial General Liability

Commercial General Liability Insurance with limits of not less than One Million Dollars ($1,000,000) per occurrence and an annual aggregate of Two Million Dollars ($2,000,000). This policy shall be issued on a per occurrence basis. County may require specific coverages including completed operations, products liability, contractual liability, Explosion-Collapse-Underground, fire legal liability or any other liability insurance deemed necessary because of the nature of this contract.

- Automobile Liability

Comprehensive Automobile Liability Insurance with limits for bodily injury of not less than Two Hundred Fifty Thousand Dollars ($250,000.00) per person, Five Hundred Thousand Dollars ($500,000.00) per accident and for property damages of not less than Fifty Thousand Dollars ($50,000.00), or such coverage with a combined single limit of Five Hundred Thousand Dollars ($500,000.00).  Coverage should include owned and non-owned vehicles used in connection with this Agreement.

- Professional Liability

If CONTRACTOR employs licensed professional staff, (e.g., Ph.D., R.N., L.C.S.W., M.F.C.C.) in providing services, Professional Liability Insurance with limits of not less than One Million Dollars ($1,000,000.00) per occurrence, Three Million Dollars ($3,000,000.00) annual aggregate.

- Worker's Compensation

A policy of Worker's Compensation insurance as may be required by the California Labor Code.

Contractor shall obtain endorsements to the Commercial General Liability insurance naming the County of Fresno, its officers, agents, and employees, individually and collectively, as additional insured, but only insofar as the operations under this Agreement are concerned.  Such coverage for additional insured shall apply as primary insurance and any other insurance, or self-insurance, maintained by County, its officers, agents and employees shall be excess only and not contributing with insurance provided under contractor's policies herein. This insurance shall not be cancelled or changed without a minimum of thirty (30) days advance written notice given to County.

Within thirty (30) days from the date contractor executes this Agreement, contractor shall provide certificates of insurance and endorsement as stated above for all of the foregoing policies, as required herein, to the County of Fresno, stating that such insurance coverage have been obtained and are in full force; that the County of Fresno, its officers, agents and employees will not be responsible for any premiums on the policies; that such Commercial General Liability insurance names the County of Fresno, its officers, agents and employees, individually and collectively, as additional insured, but only insofar as the operations under this Agreement are concerned; that such coverage for additional insured shall apply as primary insurance and any other insurance, or self-insurance, maintained by County, its officers, agents and employees, shall be excess only and not contributing with insurance provided under contractor's policies herein; and that this insurance shall not be cancelled or changed without a minimum of thirty (30) days advance, written notice given to County.

In the event contractor fails to keep in effect at all times insurance coverage as herein provided, the County may, in addition to other remedies it may have, suspend or terminate this Agreement upon the occurrence of such event.

All policies shall be with admitted insurers licensed to do business in the State of California.  Insurance purchased shall be purchased from companies possessing a current A.M. Best, Inc. rating of A FSC VII or better.

COORDINATION AND COMPLETION: The successful bidder shall contact and meet with the County Coordinator at the job site prior to commencement and completion of any work.

Successful bidder shall complete the job as instructed and described in writing by the contract, bid or amendment. Any problem or questions that arise in the scope of work, the County must be contacted and the appropriate written amendment generated.

- BIDDER TO COMPLETE

- SUBCONTRACTORS:

List all subcontractors that would perform work in excess of one/half of one percent of the total amount of your bid, and state general type of work such subcontractor would be performing:

CONTRACTOR'S LICENSE:

Bidder to possess appropriate license for the project, in accordance with current regulations/statutes.

The vendor shall possess a current State of California contractor’s License, Class A or another license class that covers the work to be performed. The proposal must indicate the license held by the bidder, which enables him/her to perform the work.

If the license is other than a Class A, the bidder must explain why his/her license(s) is acceptable.  The County will review and determine if acceptable.

| Number and Class: |  |
| --- | --- |
| Date of Issue: |  |

- Scope of Work

American Avenue Disposal Site (Site)

Landfill Gas Collection/Control System (LFGCCS) Operation and Maintenance Services

The Public Works and Planning Department of the County of Fresno (County) is requesting quotations for the following work to be performed at the American Avenue Disposal Site:

The Site is in rural central Fresno County, approximately 17 miles west of the City of Fresno on American Avenue, between Highway 145 and Placer Avenue (Figure 1).  The Site address is 18950 West American Avenue in Kerman, California 93630. The Site is an existing disposal facility owned and operated by the County of Fresno Public Works and Planning Department.  The Site totals 440 acres with 367 acres permitted for waste disposal.

The existing LFGCCS includes 11 vertical wells installed in the inactive Fill Area I, 54 vertical wells installed and 8 Leachate Collection and Recovery System riser connections in the inactive, Fill Area II (Figure 2).  The County anticipates additional landfill gas (LFG) wells to be installed in Fill Area II, or in the immediate vicinity of Fill Area II due to LFG migration.  The number of additional wells to be installed is unknown at this time.  The existing wells are 6 inches in diameter with 4 inch diameter extensions as necessary to facilitate operations and are constructed of high-density polyethylene (HDPE) pipe.  Well boreholes are typically 30 inches in diameter and range in (original, pre-extension) installation depths of 36 to 89 feet.  To meet regulatory requirements; it is anticipated that Fill Area III (currently the active fill area) will have LFG wells installed and connected to the LFGCCS by April 1, 2011.

The LFG header and laterals are constructed of fusion-welded HDPE pipe, varying in size from 4 to 12 inches in diameter.  Most of the collection system header and lateral piping is installed above-grade except for: a lateral that is sub-grade of a haul road in two locations for connection of EW-21 and EW-22 to the LFGCCS and; a short length of 12–inch diameter header to the east of the Self Hauler Disposal and Recycling Facility, where the header passes under the paved road before entering the flare station.

The LFG collected by the LFGCCS is conveyed to the flare station via the 12-inch HDPE header.  The flare station is located to the west of the scale house, between Fill Areas I and II. The flaring system is comprised of the blower skid (gas moving equipment), vertical ground flare, condensate injection system, and the air compressors.

The vertical ground flare is manufactured by the John Zink Company and is 8 feet in diameter and 40 feet high.  The flare is rated for a maximum heat output of 51 MMBTU/hr, with a total throughput of LFG flow not to exceed 1,700 scfm per San Joaquin Valley Air Pollution Control District (APCD) permit requirements. The Site is operated under the conditions of Title V Permit No. C-3115, et. al. (Attachment A).

The LFG moving equipment consists of two multi-stage centrifugal blowers with a rated capacity of 1,700 scfm each.  The blowers are connected in parallel configuration and one blower operates at a time while the other is used as a standby.

Condensate collected in the LFG headers is drained into five automatic pneumatic condensate sumps adjacent to the Fill Area II, one located on the northern side, one located on the western side, one located on the south eastern side and two located immediately north of the flare (see Figure 2).  Two air compressors (one operating and the other as a standby); located in the flare station, furnish compressed air to the pump in each sump.  The condensate collected in these five sumps is pumped into a 3,150-gallon double-walled condensate storage tank.  Condensate is disposed of by injecting it into the flare using high-pressure electric centrifugal pumps installed in parallel, with one operating and the other as a standby.

The County is seeking a contractor to provide the labor, equipment, instrumentation, and materials to operate and maintain the LFGCCS. The chosen contractor must hold and maintain at a minimum, a Class A and any other appropriate a valid California contractor’s license and demonstrate experience by listing references for operation of three similar systems within the last three years. All actions will be required to comply with all necessary components of the New Source Performance Standards/Emissions Guidelines (NSPS/EG), state, local regulations and permits, as well as with the site specific Startup, Shutdown, and Malfunction Plan (SSM) (Attachment B) and Compliance Manual (Attachment C).  Tasks 1, 2, 3 and 4 will be performed on a flat rate basis; Extra services will be performed on a time and materials basis, according to the current rate schedule to be submitted by the contractor and made a part of the final agreement for service.  Task 5 and Extra Services will require written authorization prior to commencement of work with the exception of emergency services.  Emergency services will only be performed after verbal authorization from Fresno County staff, to be followed by a written authorization confirmation.

- Routine LFGCCS operation, monitoring, maintenance, and reporting

- LFG surface emissions testing and reporting

  - Annual testing in accordance with California Code of Regulations (CCR) Title 17 §95460 et. al. requirements using:

    - 25-foot intervals

    - 100-foot intervals

  - Annual Reporting

  - Quarterly testing in accordance with CCR 17 §95460 et. al. requirements using:

    - 25-foot intervals

    - 100-foot intervals

  - Quarterly reporting

- Annual LFG Flare Source Test (FST)

- Report preparation (Semi-annual Report of Required Monitoring, Semi-Annual NSPS Reporting, Annual Compliance Certificate)

- Consultation/regulatory agency response

Extra Services

Tasks 1 through 4 are to be quoted based on the frequencies required under the NSPS/EG and CCR 17 §95460 et. al.  Task 5 and Extra Services will be established as a not to exceed item in the agreement based on the contractor’s hourly rate schedule and material cost or proposal submittal.

A schedule listing the date and time for all Tasks and Extra Services (excluding authorized emergency services) shall be provided to the County no later than 48 hours in advance of initiation of the Task.

- Routine LFGCCS operation, monitoring, maintenance and reporting as required by 40 CFR 60 (NSPS and EG) and CCR 17 §95460 et. al, will include, at a minimum, the following services:

  - Operation - Biweekly

Landfill gas extraction wells and the blower/flare station total flow will be adjusted as required to control landfill gas migration and optimize system performance.  The intent is to maintain methane gas levels below five percent by volume at the property boundaries and surface emissions below 500 parts per million.  The initial biweekly operation event shall occur within ±2 calendar days of notice to proceed with the second biweekly operation event occurring 14 days ± 2 days of the first biweekly operation event, etc.  All blower/flare adjustments will be made by County staff to the settings requested by the contractor during the contractor’s performance of duties associated with this scope of work.  The County will have staff available during the contractors visit to the site for the purpose of blower/flare adjustments.

  - Monitoring - Monthly

The blower/flare station will be inspected and, at a minimum, the following data will be collected and recorded in a database:

      - Date, time, and name of monitoring personnel

      - Meteorological conditions (wind velocity, ambient temperature, barometric pressure, general weather observations, etc.)

      - LFG blower operating inlet and outlet temperatures and pressures

      - Methane, oxygen, and carbon dioxide gas concentrations at the flare inlet

      - LFG flow rate to flare

      - Flow control valve positions

      - Well head monitoring per the NSPS/EG and CCR 17 §95460 et. al

LFG extraction wells will be monitored.  Extraction wells adjusted in response to system balancing activities will be re-inspected within two weeks.  At a minimum, the following data will be collected and recorded in a database during monthly monitoring and during any re-inspections for each well:

      - Date, time, well number, and name of monitoring personnel

      - Meteorological conditions (wind velocity, ambient temperature, barometric pressure, general weather observations, etc.)

      - Pressure

      - Methane, oxygen, and carbon dioxide concentrations

      - Wellhead vacuum (where applicable)

      - Header vacuum (where applicable)

      - LFG temperature

      - Comments, action or inaction taken

Where applicable, main header line access ports will be tested for pressure.  These results will also be recorded in a database and analyzed for trends indicating possible condensate blockage and/or pipe breakage, etc.

Landfill gas control system blowers, flame arresters, flares, control panel, well fields, and other Site features will be observed and recorded for the following:

      - Accessibility

      - Vandalism

      - Malfunctions/Leaks

  - Monitoring - Quarterly

Once each quarter, on-site structures will be monitored in accordance with CCR 27 §20931 – §20933 et. seq.  The contractor will document the testing protocols followed, instrument calibration procedures, and any locations where methane readings in equal to or in excess of 1.25 percent by volume in air are found.  Should such locations be found, the contractor shall immediately notify the County.  In addition, the following data shall be recorded:

      - Monthly monitoring activities

      - Date, time, name of monitoring personnel, and location of reading

      - Meteorological conditions (wind velocity, ambient temperature, barometric pressure, general weather observations, etc.)

      - Methane gas concentration

      - Oxygen gas concentration

  - Maintenance – Monthly

Routine maintenance for the flare/blower station shall be performed by County staff.  Additionally, the County will maintain a parts inventory for exclusive use at the Site for the repair of the LFGCCS.  The following maintenance, at a minimum, shall be performed for the remaining LFGCCS:

      - Verify operation of LFG condensate traps

      - Inspect well connections to LFG conveyance lines.

      - Verify valve operation of LFG wells.

      - Promptly notify the County of any non-functioning equipment.

      - Immediately notify the County of any non-functioning safety related equipment or unsafe LFGCCS conditions.

  - Maintenance - Quarterly

      - Monthly maintenance activities

      - Inspect entire LFG conveyance system for missing/damaged/broken/leaking pipes, joints, appurtenances, safety equipment (rebar caps, valves, etc…), etc.

      - Inspect LFGCCS isolation valves for proper operation

  - Maintenance - Annually

      - Quarterly activities

      - At project inception and annually thereafter, prepare and inventory a mutually agreed upon list of critical spare parts for repair and maintenance.

  - Reporting - Monthly

Once each month (due by the last business day of the following month) the contractor will prepare a detailed report containing the observations and data collected, and a summary of all monitoring and maintenance activities performed at the Site during the reporting period.  Maintenance repairs and/or system modifications will also be recommended as required.

- Surface Emission Testing and Reporting

        - Annual Testing (25-foot intervals)

Surface emissions testing will be conducted in accordance with CCR17 § 95471 et. seq.  This requirement (in part) stipulates that landfills be divided into 50,000 square foot grids, with a 25 foot spacing interval for the walking pattern for the surface emission test.  Beginning January 1, 2011, no location on the Municipal Solid Waste landfill surface may exceed either of the following methane concentration limits:  500 parts per million volume (ppmv), other than non-repeatable, momentary readings, as determined by instantaneous surface emissions monitoring or, an average methane concentration limit of 25 ppmv as determined by integrated surface emissions monitoring.

        - Annual Testing (100-foot intervals)

Surface emissions testing as provided for in CCR17 § 95471 et. seq., increase in the walking pattern spacing to 100-foot intervals.

  - Annual Reporting

After the testing event, a draft report will be prepared and submitted to the County within 30 days of the surface emission testing.  The report will detail equipment calibration procedures, sample locations, and results of emissions testing along with any recommendations for further action in addition to all applicable reporting requirements contained in CCR 17 §95470 et. seq. Upon approval from the County finalize and submit the annual report to the County.

          - Quarterly Testing (25-foot intervals)

Surface emissions testing will be conducted in accordance with CCR17 § 95471 et. seq.  This requirement (in part) stipulates that landfills be divided into 50,000 square foot grids, with a 25 foot spacing interval for the walking pattern for the surface emission test.  Beginning January 1, 2011, no location on the Municipal Solid Waste landfill surface may exceed either of the following methane concentration limits:  500 parts per million volume (ppmv), other than non-repeatable, momentary readings, as determined by instantaneous surface emissions monitoring or, an average methane concentration limit of 25 ppmv as determined by integrated surface emissions monitoring.

          - Quarterly Testing (100-foot intervals)

Surface emissions testing as provided for in CCR17 § 95471 et. seq., increase in the walking pattern spacing to 100-foot intervals.

  - Quarterly Reporting

After the testing event, a draft report will be prepared and submitted to the County within 30 days of the surface emission test.  The report will detail equipment calibration procedures, sample location, and results of emissions testing along with any recommendations for further action in addition to all applicable reporting requirements contained in CCR 17 §95470 et. seq.  Upon approval from the County finalize and submit the quarterly report to the County.

- Annual LFG Flare Source Test (FST)

  - Annual Testing

This task includes preparing and submitting a draft FST work plan to the County a minimum of 60 days prior to the scheduled FST.  Upon County approval, submit the final FST work plan to the County a minimum of 40 days prior to the scheduled FST date.  The FST date will be coordinated with The County prior to work plan submittal to San Joaquin Valley Air Pollution Control District (APCD).  Upon County approval, submit the FST work plan to APCD; perform the FST in accordance with the APCD approved work plan; and submit a FST summary report meeting all the NSPS/EG and Title V permit requirements, to the County within 40 days of completion of the FST.  Once the final FST report is final, the County will make the determination which party submits the reports to the appropriate agencies at the time of the draft submittal to the County.  The flare shall be pretested for system performance one day prior to the scheduled FST.  Any necessary adjustments to optimize system performance shall be made at that time.

- Preparation of other NSPS/EG and Title V Reports

This task will include the preparation of other reports required under the Site’s Title V permit and any reports required under the NSPS/EG and CCR 17 §95470 et. seq. not included in Tasks 2 or 3 above.  These reports include:

  - Semi-Annual Report of Required Monitoring

  - Semi-Annual NSPS Reports

  - Annual Compliance Certificate

Draft reports will be completed and forwarded to the County for review and approval at least 15 days prior to the required regulatory submittal date as specified in the relevant permits.  The County will make the determination which party submits the reports to the appropriate agencies at the time of the draft submittal to the County.

- The Consultation/Regulatory Agency Response scope of work may include, but is not limited to the following:

      - Analysis of the Site to determine applicability of regulations (existing or proposed) to the site.

      - Responses and/or comments prepared on behalf of the County to be submitted to a regulatory agency regarding the Site.

      - Petitions prepared on behalf of the County to be submitted to a regulatory agency regarding the Site.

A “not to exceed” quote shall be provided by the contractor to the County for all consultation / agency response work.  Consultation / agency response work shall only be performed after written authorization from the County to the contractor.

Extra Services

An Extra Service is any service that is not covered under basic services.  Extra services may include, but is not limited to non-routine maintenance or emergency service.

Non-routine scheduled maintenance

Non-routine scheduled maintenance consists of corrective repair or maintenance work identified by the contractor during regular Site visits or by County staff.  Non-routine maintenance may include, but is not limited to the following:

      - Completion of preventative maintenance or scheduled maintenance on blower skid and/or flare components in accordance with the manufacturer’s recommendations

      - Remediation and retesting of emissions in excess of 500 ppm of methane at the landfill surface or along the gas transfer path

      - Raising or connection of wellheads; connection of laterals, or header lines

      - Repairing or replacing non-functional extraction wells, lateral or header lines

      - Repairing or replacing sample or access ports on extraction wells, lateral or header lines

      - Assisting with APCD or other regulatory agency site inspections

This work is essential for proper LFGCCS operation; however, it is considered work that can be scheduled to allow for procurement of materials or equipment or assignment of personnel.  The contractor shall provide a written scope of work and not-to-exceed quote to the County for all non-routine scheduled maintenance.  Work will only be performed after authorization from the County to the contractor.  For items requiring less than 8 hours labor or $300 worth of material, such authorization may be granted verbally.  For any other items, written authorization will be required prior to accomplishment of the work.

Emergency Service

Emergency services must be initiated onsite within eight (8) hours of County’s notification to Contractor.

Emergency service is service that is required to provide immediate response to protect life, property and the environment or to restore the LFGCCS operations.  These events may include, but are not limited to:

      - Emergency requests due to Site telemetry alarms or at request of County staff

      - Loss of gas flow or flare ignition

      - Odor complaints

      - Repair of main header lines (causing loss of gas flow to blower/flare station)

      - Notification to APCD of system shutdowns or failures

Due to the nature of these items, repairs may have to be initiated as needed, 24 hours per day, 7 days a week, 365 days per year.  Emergency service will be performed only after verbal authorization from County staff, but to be followed by written authorization.

QUOTATION SCHEDULE

| Company Name: |  |
| --- | --- |

- All labor, materials, equipment, service fees, taxes, travel, permits, etc. to provide all work and associated services to perform Task 1, Task 2, Task 3, and Task 4 as specified under this Request for Quotation.  The bid award will be based on the combined fees of Task 1, 2B, 2D, 3 and 4.

  - Task 1 – routine landfill gas system operation, monitoring and maintenance.

|  |  |  |  |  | TOTAL ANNUAL FEE |
| --- | --- | --- | --- | --- | --- |
| - Operation (biweekly) | $ | X | 26 | = | $ |
|  | Biweekly Rate |  |  |  |  |
| - Monitoring (monthly) | $ | X | 12 | = | $ |
|  | Monthly Rate |  |  |  |  |
| - Monitoring (quarterly) | $ | X | 4 | = | $ |
|  | Quarterly Rate |  |  |  |  |
| - Maintenance (monthly) | $ | X | 12 | = | $ |
|  | Monthly Rate |  |  |  |  |
| - Maintenance (quarterly) | $ | X | 4 | = | $ |
|  | Quarterly Rate |  |  |  |  |
| - Maintenance (annually) | $ | X | 1 | = | $ |
|  | Annual Rate |  |  |  |  |
| - Reporting (monthly) | $ | X | 12 | = | $ |
|  | Monthly Rate |  |  |  |  |
| TOTAL FEES ONE YEAR-TASK 1 |  |  |  |  | $ |

QUOTATION SCHEDULE (con’t.)

| Company Name: |  |
| --- | --- |

  - Task 2 – Annual Landfill gas surface emissions testing and reporting in accordance with CCR17 §95471 et. seq. requirements with 25-foot intervals.

|  |  |  |  |  | TOTAL ANNUAL FEE |
| --- | --- | --- | --- | --- | --- |
| 1a. Annual testing (25-foot intervals) | $ | X | 1 | = | $ |
|  | Annual Rate |  |  |  |  |
| 2. Annual Reporting | $ | X | 1 | = | $ |
|  | Annual Rate |  |  |  |  |
| TOTAL FEES ONE YEAR-TASK 2B |  |  |  |  | $ |

  - Task 2 – Annual Landfill gas surface emissions testing and reporting in accordance with CCR17 §95471 et. seq. requirements with 100-foot intervals.

|  |  |  |  |  | TOTAL ANNUAL FEE |
| --- | --- | --- | --- | --- | --- |
| 1b. Annual testing (100-foot intervals) | $ | X | 1 | = | $ |
|  | Annual Rate |  |  |  |  |
| 2. Annual Reporting | $ | X | 1 | = | $ |
|  | Annual Rate |  |  |  |  |
| TOTAL FEES ONE YEAR-TASK 2C |  |  |  |  | $ |

  - Task 2 – Quarterly Landfill gas surface emissions testing and reporting in accordance with CCR17 §95471 et. seq. requirements with 25-foot intervals.

|  |  |  |  |  | TOTAL ANNUAL FEE |
| --- | --- | --- | --- | --- | --- |
| 3a. Quarterly Testing (25-foot intervals) | $ | X | 3 | = | $ |
|  | Quarterly Rate |  |  |  |  |
| 4. Quarterly Reporting | $ | X | 3 | = | $ |
|  | Quarterly Rate |  |  |  |  |
| TOTAL FEES ONE YEAR-TASK 2D |  |  |  |  | $ |

  - Task 2 – Quarterly Landfill gas surface emissions testing and reporting in accordance with CCR17 §95471 et. seq. requirements with 100-foot intervals.

|  |  |  |  |  | TOTAL ANNUAL FEE |
| --- | --- | --- | --- | --- | --- |
| 3b. Quarterly Testing (100-foot intervals) | $ | X | 3 | = | $ |
|  | Quarterly Rate |  |  |  |  |
| 4. Quarterly Reporting | $ | X | 3 | = | $ |
|  | Quarterly Rate |  |  |  |  |
| TOTAL FEES ONE YEAR-TASK 2E |  |  |  |  | $ |

  - Task 3 – Annual LFG Flare Source Test (FST)

|  |  |  |  |  | TOTAL ANNUAL FEE |
| --- | --- | --- | --- | --- | --- |
| - Annual Testing | $ | X | 1 | = | $ |
|  | Annual Rate |  |  |  |  |
| TOTAL FEES ONE YEAR -TASK 3 |  |  |  |  |  |

  - Task 4 – Report preparation (Semi-annual Report of Required Monitoring, Annual Compliance Certificate, Semi-Annual NSPS Reporting)

|  |  |  |  |  | TOTAL ANNUAL FEE |
| --- | --- | --- | --- | --- | --- |
| - Semi-Annual report of required monitoring | $ | X | 2 | = | $ |
|  | Semi-Annual Rate |  |  |  |  |
| - Semi-Annual NSPS Reports | $ | X | 2 | = | $ |
|  | Semi-Annual Rate |  |  |  |  |
| - Annual Compliance Certificate | $ | X | 1 | = | $ |
|  | Annual Rate |  |  |  |  |
| TOTAL FEES ONE YEAR -TASK 4 |  |  |  |  |  |
| TOTAL FEE ONE-YEAR TASK 1 |  |  |  |  | $ |
| TOTAL FEE ONE-YEAR TASK 2B |  |  |  |  | $ |
| TOTAL FEE ONE-YEAR TASK 2C |  |  |  |  | $ |
| TOTAL FEE ONE-YEAR TASK 2D |  |  |  |  | $ |
| TOTAL FEE ONE-YEAR TASK 2E |  |  |  |  | $ |
| TOTAL FEES ONE-YEAR-TASK 3 |  |  |  |  | $ |
| TOTAL FEES ONE-YEAR-TASK 4 |  |  |  |  | $ |
| SUMMARY-TOTAL FEES ONE YEAR (25-foot intervals- TASK 1, 2B, 2D, 3, and 4 |  |  |  |  | $ |
| SUMMARY-TOTAL FEES ONE YEAR (100-foot intervals- TASK 1, 2C, 2E, 3, and 4 |  |  |  |  | $ |

Task 5 – Consultation/regulatory agency response

Consultation/regulatory agency response will be established as a not to exceed item in the agreement based on the contractor’s hourly rate schedule and material cost.  All such proposals shall be submitted to the County in advance of performing any services.  The contractor will perform services only after receiving written acceptance of the proposal by the County.  Contractor proposal shall be itemized.

- Non-routine scheduled maintenance (Extra Services)

Non-routine scheduled maintenance will be provided as needed and will be based on the Contractor’s proposed scope of work and proposed cost to complete the project.  All such proposals shall be submitted to the County in advance of performing any services.  The contractor will perform services only after receiving written acceptance of the proposal by the County.  Contractor proposal shall be itemized.

The bidder shall provide his/her labor rates and methods used to determine proposal pricing for equipment, services, material, parts, etc.

  - Hourly Rates

State straight time and overtime rates for all potential personnel classifications that may be used in performing work as described under Extra Services.  Explain when overtime rates will apply.

  - Equipment / Parts / Materials

State method(s) for determining cost to County for equipment, parts, materials, etc. used in performing Extra Services projects. (i.e. discounts from a published price list(s), cost plus, etc.).

  - Outside Services

State method for determining cost to County for all services rendered by a third party for work performed under Extra Services.

- Emergency Services (Extra Services)

Emergency Services will be performed immediately upon instruction of the County.  An advance written proposal from the Contractor will not be required.  An itemized invoice will be required upon completion of each project performed under Extra Services.

The bidder shall state his/her labor rates and methods used to determine pricing for equipment, services, materials, parts, etc. when performing work under Extra Services.

Vendor must complete and return with Request for Quotation

| Firm: |  |
| --- | --- |

REFERENCE LIST

Provide a list of at least three (3) customers for whom you have recently provided similar services.  Be sure to include all requested information.

| Reference Name: |  |  |  |  |  |  |  | Contact: |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Address: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| City: |  |  |  |  |  |  |  |  | State: |  |  |  |  | Zip: |  |  |  |
| Phone No.: |  | ( |  |  | ) |  | Date: |  |  |  |  |  |  |  |  |  |  |
| Service Provided: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Reference Name: |  |  |  |  |  |  |  | Contact: |  |  |  |  |  |  |  |  |  |
| Address: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| City: |  |  |  |  |  |  |  |  |  | State: |  |  |  |  | Zip: |  |  |
| Phone No.: |  | ( |  |  | ) |  | Date: |  |  |  |  |  |  |  |  |  |  |
| Service Provided: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Reference Name: |  |  |  |  |  |  |  | Contact: |  |  |  |  |  |  |  |  |  |
| Address: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| City: |  |  |  |  |  |  |  |  | State: |  |  |  |  | Zip: |  |  |  |
| Phone No.: |  | ( |  |  | ) |  | Date: |  |  |  |  |  |  |  |  |  |  |
| Service Provided: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Reference Name: |  |  |  |  |  |  |  | Contact: |  |  |  |  |  |  |  |  |  |
| Address: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| City: |  |  |  |  |  |  |  |  |  | State: |  |  |  |  | Zip: |  |  |
| Phone No.: |  | ( |  |  | ) |  | Date: |  |  |  |  |  |  |  |  |  |  |
| Service Provided: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Reference Name: |  |  |  |  |  |  |  | Contact: |  |  |  |  |  |  |  |  |  |
| Address: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| City: |  |  |  |  |  |  |  |  | State: |  |  |  |  | Zip: |  |  |  |
| Phone No.: |  | ( |  |  | ) |  | Date: |  |  |  |  |  |  |  |  |  |  |
| Service Provided: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

Failure to provide a list of at least three (3) customers may be cause for rejection of this RFQ.

- SUBMITTALS

The bidder shall provide the following with their quotation:

- The completed and signed Page One of this RFQ.

- Complete, sign and submit page one of each and all Addendums to this RFQ which require signature (if any).

- The specified number of copies of the bidder’s quotation.

- The completed Bidder to Complete page of this RFQ.

- The completed Quotation Schedule as provided with this RFQ.

- A list of all bidder exceptions to County’s requirements, conditions, and specifications as stated within this RFQ.

- Specifications, descriptions etc. for items offered under the bidder’s quotation.

- A description of the design and techniques that the bidder will use to complete the project.

- Submit your quotation/proposal prior to the specified date and time.  Submit in a sealed envelope, box, etc. with the following information displayed on the outside:

| County of Fresno RFQ No. |  |  | 968-4898 |
| --- | --- | --- | --- |
| Closing Date: | February 17, 2011 |  |  |
| Closing Time: | 2:00 P.M. |  |  |
| Commodity or Service: |  |  |  |

Attachment “A” Location Map

Attachment “B” site plan

Attachment “c” permit to operate

Attachment “d” Start up, shut down and malfunction plan

Attachment “e” title v compliance manual