| COUNTY OF FRESNO |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ADDENDUM NUMBER: THREE (3) |  |  |  |  |  |  |  |  |  |
|  |  |  | RFQ NUMBER: |  |  |  |  |  |  |
| February 14, 2011 |  |  |  |  |  |  |  |  |  |
|  |  |  |  | PURCHASING USE |  |  |  |  |  |
|  |  |  |  |  | ssj | /tmp/in/input.doc |  |  |  |
|  | IMPORTANT: SUBMIT QUOTATION IN SEALED PACKAGE WITH QUOTATION NUMBER, CLOSING DATE AND BUYER’S NAME MARKED CLEARLY ON THE OUTSIDE TO: |  |  |  |  |  |  |  |  |
|  | COUNTY OF FRESNO, Purchasing 4525 EAST HAMILTON AVENUE, 2ND FLOOR FRESNO, CA 93702-4599 |  |  |  |  |  |  |  |  |
|  | Closing date of bid will be at 2:00 p.m., on February 17, 2011. QUOTES WILL BE CONSIDERED LATE WHEN THE OFFICIAL PURCHASING TIME CLOCK READS 2:00 P.M. |  |  |  |  |  |  |  |  |
|  | Quotes will be opened and publicly read at that time. All quotation information will be available for review after contract award. |  |  |  |  |  |  |  |  |
|  | Clarification of specifications are to be directed to: Craig Nickel, phone (559) 456-7110, FAX (559) 456-7831. |  |  |  |  |  |  |  |  |
|  | NOTE THE following ADDITIONS, DELETIONS AND/or CHANGES TO THE REQUIREMENTS OF REQUEST FOR QUOTATION NUMBER: AND INCLUDE THEM IN YOUR RESPONSE. PLEASE SIGN AND RETURN THIS ADDENDUM WITH YOUR QUOTATION. - The following page addresses questions submitted by vendors followed by the answers provide by the County. |  |  |  |  |  |  |  |  |

| ACKNOWLEDGMENT OF ADDENDUM NUMBER THREE (3) TO RFQ |  |  |
| --- | --- | --- |
| COMPANY NAME: |  |  |
| (PRINT) |  |  |
| SIGNATURE: |  |  |
| NAME & TITLE: |  |  |
| (PRINT) |  |  |

Questions and Answers

Questions submitted by vendors are signified by a “Q” at the beginning of the sentence. Answers supplied by County are signified by an “A” at the beginning of the sentence.

- Are we to include perimeter probes in our monitoring service?

  - No. The landfill gas monitoring probe readings are taken by County staff.

- Is the Semi Annual and Annual reports for the entire landfill operations or landfill gas?

  - The Title V reports are for the Title V permit for facility C-3115 (Attachment C) and all units contained therein.

- The total permitted landfill area is 367 acres with 179 acres land filled with Phase I 30 acres, Phase II 115 acres and Phase III at 34 acres. The question, is task 2 based on 179 acres or are you requesting 367 acres?

  - Task 2 shall be in accordance with CCR17 §95460 et. al.

- I have gone through the Scope of Work and your General Conditions and cannot fine the contract length.  Could you identify the location on the information provided or let me know through the Addendum.

  - The Public Works and Planning Department- Resources Division will be asking the County Board of Supervisors to approve an agreement for three years initially that will automatically renew for two additional one year periods.