| COUNTY OF FRESNO |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Request for QUOTATION |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | NUMBER: 968-5094 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| October 29, 2012 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ORG/Requisition: 9361/ 5101300107 |  |  |  |  |  |  | PURCHASING USE |  |  |  | /tmp/in/input.doc |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | ssj |  |  |  |  |  |  |  |  |  |  |  |
| IMPORTANT: SUBMIT QUOTATION IN SEALED PACKAGE WITH QUOTATION NUMBER, CLOSING DATE AND BUYER’S NAME MARKED CLEARLY ON THE OUTSIDE TO: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| COUNTY OF FRESNO, Purchasing 4525 EAST HAMILTON AVENUE, 2nd Floor FRESNO, CA 93702-4599 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Closing date of bid will be at 2:00 p.m., on November 13, 2012. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| QUOTATIONS WILL BE CONSIDERED LATE WHEN THE OFFICIAL PURCHASING TIME CLOCK READS 2:00 P.M. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Quotations will be opened and publicly read at that time. All quotation information will be available for review after contract award. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Clarification of specifications is to be directed to: Caleb Brooks, e-mail CountyPurchasing@co.fresno.ca.us, phone (559) 600-7110, FAX (559) 600-7126. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| GENERAL CONDITIONS: See “County Of Fresno Purchasing Standard Instructions And Conditions For Request For Proposals (RFP’S) and Requests for Quotations (RFQ’S)” attached. Check County of Fresno Purchasing’s Open Solicitations website at http://www2.co.fresno.ca.us/0440/Bidshome2.asp for RFQ/RFP documents and changes. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| BIDDER TO COMPLETE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| UNDERSIGNED AGREES TO FURNISH THE COMMODITY OR SERVICE STIPULATED IN THE ATTACHED QUOTATION SCHEDULE AT THE PRICES AND TERMS STATED, SUBJECT TO THE “COUNTY OF FRESNO PURCHASING STANDARD INSTRUCTIONS AND CONDITIONS FOR REQUEST FOR PROPOSALS (RFP’S) AND REQUESTS FOR QUOTATIONS (RFQ’S)”ATTACHED. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Except as noted on individual items, the following will apply to all items in the Quotation Schedule. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Complete delivery will be made within |  |  |  |  |  |  |  | calendar days after receipt of Order. |  |  |  |  |  |  |  |  |  |  |
| - A cash discount of |  |  |  |  | % |  |  |  |  | days will apply. |  |  |  |  |  |  |  |  |
| Company |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Address |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| City |  |  |  |  |  |  |  |  |  |  |  |  | State |  | Zip Code |  |  |  |
| ( ) |  |  |  | ( ) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Telephone Number |  |  |  | Facsimile Number |  |  |  |  |  |  |  |  | E-mail Address |  |  |  |  |  |
| Signed By |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Print Name |  |  |  |  |  |  |  |  | Title |  |  |  |  |  |  |  |  |  |

COUNTY OF FRESNO PURCHASING

STANDARD INSTRUCTIONS AND CONDITIONS FOR
REQUESTS FOR PROPOSALS (RFP'S) AND REQUESTS FOR QUOTATIONS (RFQ'S)

Note: the reference to “bids” in the following paragraphs applies to RFP's and RFQ's

## GENERAL CONDITIONS

By submitting a bid the bidder agrees to the following conditions.  These conditions will apply to all subsequent purchases based on this bid.

- BID PREPARATION:

  - All prices and notations must be typed or written in ink.  No erasures permitted.  Errors may be crossed out, initialed and corrections printed in ink by person signing bid.

  - Brand Names: Brand names and numbers when given are for reference. Equal items will be considered, provided the offer clearly describes the article and how it differs from that specified.  In the absence of such information it shall be understood the offering is exactly as specified.

  - State brand or make of each item.  If bidding on other than specified, state make, model and brand being bid and attach supporting literature/specifications to the bid.

  - Bid on each item separately.  Prices should be stated in units specified herein.  All applicable charges must be quoted; charges on invoice not quoted herein will be disallowed.

  - Time of delivery is a part of the consideration and must be stated in definite terms and must be adhered to.  F.O.B. Point shall be destination or freight charges must be stated.

  - All bids must be dated and signed with the firm’s name and by an authorized officer or employee.

  - Unless otherwise noted, prices shall be firm for one hundred eighty (180) days after closing date of bid.

- SUBMITTING BIDS:

  - Each bid must be submitted on forms provided in a sealed envelope/package with bid number and closing date and time on the outside of the envelope/package.

  - Interpretation: Should any discrepancies or omissions be found in the bid specifications or doubt as to their meaning, the bidder shall notify the Buyer in writing at once.  The County shall not be held responsible for verbal interpretations.  Questions regarding the bid must be received by Purchasing at least five (5) working days before bid opening.  All addenda issued shall be in writing, duly issued by Purchasing and incorporated into the contract.

  - ISSUING AGENT/AUTHORIZED CONTACT: This RFP/RFQ has been issued by County of Fresno, Purchasing. Purchasing shall be the vendor’s sole point of contact with regard to the RFP/RFQ, its content, and all issues concerning it.

All communication regarding this RFP/RFQ shall be directed to an authorized representative of County Purchasing. The specific buyer managing this RFP/RFQ is identified on the cover page, along with his or her telephone number, and he or she should be the primary point of contact for discussions or information pertaining to the RFP/RFQ. Contact with any other County representative, including elected officials, for the purpose of discussing this RFP/RFQ, its content, or any other issue concerning it, is prohibited unless authorized by Purchasing. Violation of this clause, by the vendor having unauthorized contact (verbally or in writing) with such other County representatives, may constitute grounds for rejection by Purchasing of the vendor’s quotation.

The above stated restriction on vendor contact with County representatives shall apply until the County has awarded a purchase order or contract to a vendor or vendors, except as follows. First, in the event that a vendor initiates a formal protest against the RFP/RFQ, such vendor may contact the appropriate individual, or individuals who are managing that protest as outlined in the County’s established protest procedures. All such contact must be in accordance with the sequence set forth under the protest procedures. Second, in the event a public hearing is scheduled before the Board of Supervisors to hear testimony prior to its approval of a purchase order or contract, any vendor may address the Board.

  - Bids received after the closing time will NOT be considered.

  - Bidders are to bid what is specified or requested first. If unable to or unwilling to, bidder may bid alternative or option, indicating all advantages, disadvantages and their associated cost.

  - Public Contract Code Section 7028.15

Where the State of California requires a Contractor’s license, it is a misdemeanor for any person to submit a bid unless specifically exempted.

- FAILURE TO BID:

  - If not bidding, return bid sheet and state reason for no bid or your name may be removed from mailing list.

- TAXES, CHARGES AND EXTRAS:

  - County of Fresno is subject to California sales and/or use tax (7.975%). Please indicate as a separate line item if applicable.

  - DO NOT include Federal Excise Tax.  County is exempt under Registration No. 94-73-03401-K.

  - County is exempt from Federal Transportation Tax.  Exemption certificate is not required where shipping papers show consignee as County of Fresno.

  - Charges for transportation, containers, packing, etc. will not be paid unless specified in bid.

- W-9 – REQUEST FOR TAXPAYER IDENTIFICATION NUMBER AND CERTIFICATION & CALIFORNIA FORM 590 WITHHOLDING EXEMPTION CERTIFICATE:

Upon award of bid, the vendor shall submit to County Purchasing, a completed IRS Form W-9 - Request for Taxpayer Identification Number and Certification and a California Form 590 Withholding Exemption Certificate if not currently a County of Fresno approved vendor.

- AWARDS:

  - Award(s) will be made to the most responsive responsible bidder; however, the Fresno County Local Vendor Preference and/or the Disabled Veteran Business Enterprise Preference shall take precedence when applicable.  Said Preferences apply only to Request for Quotations for materials, equipment and/or supplies only (no services); the preference do not apply to Request for Proposals. RFQ evaluations will include such things as life-cycle cost, availability, delivery costs and whose product and/or service is deemed to be in the best interest of the County.  The County shall be the sole judge in making such determination.

  - Unless bidder gives notice of all-or-none award in bid, County may accept any item, group of items or on the basis of total bid.

  - The County reserves the right to reject any and all bids and to waive informalities or irregularities in bids.

  - Award Notices are tentative: Acceptance of an offer made in response to this RFP/RFQ shall occur only upon execution of an agreement by both parties or issuance of a valid written Purchase Order by Fresno County Purchasing.

  - After award, all bids shall be open to public inspection. The County assumes no responsibility for the confidentiality of information offered in a bid.

- TIE BIDS:

All other factors being equal, the contract shall be awarded to the Fresno County vendor or, if neither or both are Fresno County vendors, it may be awarded by the flip of a coin in the presence of witnesses or the entire bid may be rejected and re-bid. If the General Requirements of the RFQ state that they are applicable, the provisions of the Fresno County Local Vendor Preference shall take priority over this paragraph.

- PATENT INDEMNITY:

The vendor shall hold the County, its officers, agents and employees, harmless from liability of any nature or kind, including costs and expenses, for infringement or use of any copyrighted or uncopyrighted composition, secret process, patented or unpatented invention, article or appliance furnished or used in connection with this bid.

- SAMPLES:

Samples, when required, must be furnished and delivered free and, if not destroyed by tests, will upon written request (within thirty (30) days of bid closing date) be returned at the bidder's expense. In the absence of such notification, County shall have the right to dispose of the samples in whatever manner it deems appropriate.

- RIGHTS AND REMEDIES OF COUNTY FOR DEFAULT:

  - In case of default by vendor, the County may procure the articles or service from another source and may recover the cost difference and related expenses occasioned thereby from any unpaid balance due the vendor or by proceeding against performance bond of the vendor, if any, or by suit against the vendor. The prices paid by the County shall be considered the prevailing market price at the time such purchase is made.

  - Articles or services, which upon delivery inspection do not meet specifications, will be rejected and the vendor will be considered in default. Vendor shall reimburse County for expenses related to delivery of non-specified goods or services.

  - Regardless of F.O.B. point, vendor agrees to bear all risks of loss, injury or destruction to goods and materials ordered herein which occur prior to delivery and such loss, injury or destruction shall not release vendor from any obligation hereunder.

- DISCOUNTS:

Terms of less than fifteen (15) days for cash payment will be considered as net in evaluating this bid. A discount for payment within fifteen (15) days or more will be considered in determining the award of bid. Discount period will commence either the later of delivery or receipt of invoice by the County. Standard terms are Net forty-five (45) days.

- SPECIAL CONDITIONS IN BID SCHEDULE SUPERSEDE GENERAL CONDITIONS:

The “General Conditions” provisions of this RFP/RFQ shall be superseded if in conflict with any other section of this bid, to the extent of any such conflict.

- SPECIAL REQUIREMENT:

With the invoice or within twenty-five (25) days of delivery, the seller must provide to the County a Material Safety Data Sheet for each product, which contains any substance on “The List of 800 Hazardous Substances”, published by the State Director of Industrial Relations. (See Hazardous Substances Information and Training Act. California State Labor Code Sections 6360 through 6399.7.)

- RECYCLED PRODUCTS/MATERIALS:

Vendors are encouraged to provide and quote (with documentation) recycled or recyclable products/materials which meet stated specifications.

- YEAR COMPLIANCE WARRANTY:

Vendor warrants that any product furnished pursuant to this Agreement/order shall support a four-digit year format and be able to accurately process date and time data from, into and between the twentieth and twenty-first centuries, as well as leap year calculations. "Product" shall include, without limitation, any piece or component of equipment, hardware, firmware, middleware, custom or commercial software, or internal components or subroutines therein. This warranty shall survive termination or expiration of this Agreement.

In the event of any decrease in product functionality or accuracy related to time and/or date data related codes and/or internal subroutines that impede the product from operating correctly using dates beyond December 31, 1999, vendor shall restore or repair the product to the same level of functionality as warranted herein, so as to minimize interruption to County's ongoing business process, time being of the essence. In the event that such warranty compliance requires the acquisition of additional programs, the expense for any such associated or additional acquisitions, which may be required, including, without limitation, data conversion tools, shall be borne exclusively by vendor. Nothing in this warranty shall be construed to limit any rights or remedies the County may otherwise have under this Agreement with respect to defects other than year performance.

- PARTICIPATION:

Bidder may agree to extend the terms of the resulting contract to other political subdivision, municipalities and tax-supported agencies.

Such participating Governmental bodies shall make purchases in their own name, make payment directly to bidder, and be liable directly to the bidder, holding the County of Fresno harmless.

- CONFIDENTIALITY:

All services performed by vendor shall be in strict conformance with all applicable Federal, State of California and/or local laws and regulations relating to confidentiality, including but not limited to, California Civil Code, California Welfare and Institutions Code, Health and Safety Code, California Code of Regulations, Code of Federal Regulations.

Vendor shall submit to County’s monitoring of said compliance.

Vendor may be a business associate of County, as that term is defined in the “Privacy Rule” enacted by the Health Insurance Portability and Accountability Act of 1996 (HIPAA). As a HIPAA Business Associate, vendor may use or disclose protected health information (“PHI”) to perform functions, activities or services for or on behalf of County as specified by the County, provided that such use or disclosure shall not violate HIPAA and its implementing regulations. The uses and disclosures if PHI may not be more expansive than those applicable to County, as the “Covered Entity” under HIPAA’s Privacy Rule, except as authorized for management, administrative or legal responsibilities of the Business Associate.

Vendor shall not use or further disclose PHI other than as permitted or required by the County, or as required by law without written notice to the County.

Vendor shall ensure that any agent, including any subcontractor, to which vendor provides PHI received from, or created or received by the vendor on behalf of County, shall comply with the same restrictions and conditions with respect to such information.

- APPEALS:

Appeals must be submitted in writing within seven (7) working days after notification of proposed recommendations for award. A “Notice of Award” is not an indication of County’s acceptance of an offer made in response to this RFP/RFQ. Appeals should be submitted to County of Fresno Purchasing, 4525 E. Hamilton Avenue, Fresno, California 93702-4599. Appeals should address only areas regarding RFP contradictions, procurement errors, quotation rating discrepancies, legality of procurement context, conflict of interest, and inappropriate or unfair competitive procurement grievance regarding the RFP/RFQ process.

Purchasing will provide a written response to the complainant within seven (7) working days unless the complainant is notified more time is required.

If the protesting bidder is not satisfied with the decision of Purchasing, he/she shall have the right to appeal to the Purchasing Agent/CAO within seven (7) business days after Purchasing’s notification; except if, notified to appeal directly to the Board of Supervisors at the scheduled date and time.

If the protesting bidder is not satisfied with Purchasing Agent/CAO’s decision, the final appeal is with the Board of Supervisors.

- OBLIGATIONS OF CONTRACTOR:

  - CONTRACTOR shall perform as required by the ensuing contract. CONTRACTOR also warrants on behalf of itself and all subcontractors engaged for the performance of the ensuing contract that only persons authorized to work in the United States pursuant to the Immigration Reform and Control Act of 1986 and other applicable laws shall be employed in the performance of the work hereunder.

  - CONTRACTOR shall obey all Federal, State, local and special district laws, ordinances and regulations.

- AUDITS & RETENTION:

The Contractor shall maintain in good and legible condition all books, documents, papers, data files and other records related to its performance under this contract. Such records shall be complete and available to Fresno County, the State of California, the federal government or their duly authorized representatives for the purpose of audit, examination, or copying during the term of the contract and for a period of at least three (3) years following the County's final payment under the contract or until conclusion of any pending matter (e.g., litigation or audit), whichever is later. Such records must be retained in the manner described above until all pending matters are closed.

- DISCLOSURE – CRIMINAL HISTORY & CIVIL ACTIONS:

Applies to Request for Proposal (RFP); does not apply to Request for Quotation (RFQ) unless specifically stated elsewhere in the RFQ document.

In their proposal, the bidder is required to disclose if any of the following conditions apply to them, their owners, officers, corporate managers and partners (hereinafter collectively referred to as “Bidder”):

- Within the three-year period preceding the proposal, they have been convicted of, or had a civil judgment rendered against them for:

  - fraud or a criminal offense in connection with obtaining, attempting to obtain, or performing a public (federal, state, or local) transaction or contract under a public transaction;

  - violation of a federal or state antitrust statute;

  - embezzlement, theft, forgery, bribery, falsification, or destruction of records; or

  - false statements or receipt of stolen property

Within a three-year period preceding their proposal, they have had a public transaction (federal, state, or local) terminated for cause or default.

- DATA SECURITY:

Individuals and/or agencies that enter into a contractual relationship with the COUNTY for the purpose of providing services must employ adequate controls and data security measures, both internally and externally to ensure and protect the confidential information and/or data provided to contractor by the COUNTY, preventing the potential loss, misappropriation or inadvertent access, viewing, use or disclosure of COUNTY data including sensitive or personal client information; abuse of COUNTY resources; and/or disruption to COUNTY operations.

Individuals and/or agencies may not connect to or use COUNTY networks/systems via personally owned mobile, wireless or handheld devices unless authorized by COUNTY for telecommuting purposes and provide a secure connection; up to date virus protection and mobile devices must have the remote wipe feature enabled.  Computers or computer peripherals including mobile storage devices may not be used (COUNTY or Contractor device) or brought in for use into the COUNTY’s system(s) without prior authorization from COUNTY’s Chief Information Officer and/or designee(s).

No storage of COUNTY’s private, confidential or sensitive data on any hard-disk drive, portable storage device or remote storage installation unless encrypted according to advance encryption standards (AES of 128 bit or higher).

The COUNTY will immediately be notified of any violations, breaches or potential breaches of security related to COUNTY’s confidential information, data and/or data processing equipment which stores or processes COUNTY data, internally or externally.

COUNTY shall provide oversight to Contractor’s response to all incidents arising from a possible breach of security related to COUNTY’s confidential client information.  Contractor will be responsible to issue any notification to affected individuals as required by law or as deemed necessary by COUNTY in its sole discretion.  Contractor will be responsible for all costs incurred as a result of providing the required notification.

- PURCHASING LOCATION & HOURS:

Fresno County Purchasing is located at 4525 E. Hamilton Avenue (second floor), Fresno, CA 93702.  Non-holiday hours of operation are Monday through Friday, 8:00 A.M. to 12:00 Noon and 1:00 P.M. to 5:00 P.M. PST; Purchasing is closed daily from 12:00 Noon to 1:00 P.M.  The following holiday office closure schedule is observed:

| January 1* |  | New Year's Day |
| --- | --- | --- |
| Third Monday in January |  | Martin Luther King, Jr.’s Birthday |
| Third Monday in February |  | Washington - Lincoln Day |
| March 31* |  | Cesar Chavez’ Birthday |
| Last Monday in May |  | Memorial Day |
| July 4* |  | Independence Day |
| First Monday in September |  | Labor Day |
| November 11* |  | Veteran's Day |
| Fourth Thursday in November |  | Thanksgiving Day |
| Friday following Thanksgiving |  |  |
| December 25* |  | Christmas |
| * When this date falls on a Saturday, the holiday is observed the preceding Friday. If the date falls on a Sunday, the holiday is observed the following Monday. |  |  |

- BiDDING INSTRUCTIONS

GENERAL REQUIREMENTS

The County of Fresno Department of Public Works and Planning, Resources Division is soliciting bids to provide all labor, material, equipment, taxes, fees, permits etc. to perform a radio telemetry survey for Shaver Lake Area Districts 41 and 31B as specified herein.

LOCAL VENDOR PREFERENCE:  The Local Vendor Preference does not apply to this Request for Quotation.

ISSUING AGENT: This RFQ has been issued by County of Fresno, Purchasing.  The County Purchasing shall be the vendor’s sole point of contact with regard to the RFQ, its content, and all issues concerning it.

AUTHORIZED CONTACT: All communication regarding this RFQ shall be directed to an authorized representative of County Purchasing. The specific buyer managing this RFQ is identified on the cover page, along with his or her telephone number, and he or she should be the primary point of contact for discussions or information pertaining to the RFQ. Contact with any other County representative, including elected officials, for the purpose of discussing this RFQ, it content, or any other issue concerning it, is prohibited unless authorized by Purchasing. Violation of this clause, by the vendor having unauthorized contact (verbally or in writing) with such other County representatives, may constitute grounds for rejection by Purchasing of the vendor’s quotation.

The above stated restriction on vendor contact with County representatives shall apply until the County has awarded a purchase order or contract to a vendor or vendors, except as follows. First, in the event that a vendor initiates a formal protest against the RFQ, such vendor may contact the appropriate individual, or individuals who are managing that protest as outlined in the County’s established protest procedures. All such contact must be in accordance with the sequence set forth under the protest procedures. Second, in the event a public hearing is scheduled before the Board of Supervisors to hear testimony prior to its approval of a purchase order or contract, any vendor may address the Board.

AWARD: Award will be made to the bidder(s) whose product(s) service, price, and delivery is most advantageous to the County. The County will be the sole judge in making this determination.  Award Notices are tentative: Acceptance of an offer made in response to this RFQ shall occur only upon execution of an agreement by both parties or issuance of a valid written Purchase Order by Fresno County Purchasing.

NUMBER OF COPIES:  Submit one (1) original and two (2) copies of your quotation no later than the quotation closing date and time as stated on the front of this document to the County of Fresno Purchasing.  Each copy is to be identical to the original, including all supporting documentation (i.e. literature, brochures, reports, schedules, specifications, drawings etc.).  The cover page of each quotation is to be appropriately marked “Original” or “Copy”.

FIRM QUOTATION:  For purposes of award, all bids shall remain firm for at least one hundred eighty (180) calendar days from the closing date of this RFQ.

RIGHT TO REJECT BIDS: The County reserves the right to reject any and all bids and to waive informalities or irregularities in bids.

INTERPRETATION OF RFQ: Vendors must make careful examination of the requirements, specifications and conditions expressed in the RFQ and fully inform themselves as to the quality and character of equipment and services required. If any person planning to submit a quotation finds discrepancies in or omissions from the RFQ or has any doubt as to the true meaning or interpretation, correction thereof may be requested in writing from Purchasing, no later than 10:00 A.M. Tuesday, November 6, 2012.

Questions shall be e-mailed to Caleb Brooks, Buyer I cbrooks@co.fresno.ca.us.

NOTE: Time constraints will prevent County from responding to questions submitted after the cutoff date.

Any change in the Request for Quotation will be made by written addendum issued by the County. The County will not be responsible for any other explanations or interpretations.

NOTICE TO PROCEED:  Following execution of the agreement by both parties (County and Contractor), the County will issue a written Notice to Proceed for the project specified herein. The completion period as defined below, shall commence upon the date that the Notice to Proceed is delivered to the Contractor.

COORDINATE WORK WITH OWNER: Successful bidder shall coordinate and schedule the work with the County so that any interruption to the normal business operations be kept to a minimum.

TAXES, PERMITS & FEES: The successful bidder shall pay for and include all federal, state and local taxes direct or indirect upon all materials; pay all fees for, and obtain all necessary permits and licenses, unless otherwise specified herein.

SUPERVISION: The successful bidder shall give efficient supervision to the work, using therein the skill and diligence for which he is remunerated in the contract price. He shall carefully inspect the site and study and compare all drawings, specifications and other instructions, as ignorance of any phase of any of the features or conditions affecting the contract will not excuse him from carrying out its provisions to its full intent.

PAYMENT: Upon satisfactory completion of work, specified herein and approval by the County, payment will be made in full.  Terms of payment will be net forty-five (45) days. County will consider the Bidder’s Cash discount Offer, as previously stated under the General Terms and Conditions in lieu of the net forty-five (45) days payment terms.

INVOICING: Invoices shall be delivered in triplicate to: Ordering Department.

INDEPENDENT CONTRACTOR: In performance of the work, duties and obligations assumed by Contractor under this Agreement, it is mutually understood and agreed that Contractor, including any and all of Contractor's officers, agents, and employees will at all times be acting and performing as an independent contractor, and shall act in an independent capacity and not as an officer, agent, servant, employee, joint venturer, partner, or associate of the County. Furthermore, County shall have no right to control or supervise or direct the manner or method by which Contractor shall perform its work and function.  However, County shall retain the right to administer this Agreement so as to verify that Contractor is performing its obligations in accordance with the terms and conditions thereof.  Contractor and County shall comply with all applicable provisions of law and the rules and regulations, if any, of governmental authorities having jurisdiction over matters the subject thereof.

Because of its status as an independent contractor, Contractor shall have absolutely no right to employment rights and benefits available to County employees.  Contractor shall be solely liable and responsible for providing to, or on behalf of, its employees all legally required employee benefits.  In addition, Contractor shall be solely responsible and save County harmless from all matters relating to payment of Contractor's employees, including compliance with Social Security, withholding, and all other regulations governing such matters.  It is acknowledged that during the term of this Agreement, Contractor may be providing services to others unrelated to the County or to this Agreement.

HOLD HARMLESS CLAUSE:  Contractor agrees to indemnify, save, hold harmless and at County's request, defend its officers, agents and employees, from any and all costs and expenses, damages, liabilities, claims and losses occurring or resulting to County in connection with the performance, or failure to perform, by Contractor, its officers, agents or employees under this agreement and from any and all costs and expenses, damages, liabilities, claims and losses occurring or resulting to any person, firm or corporation who may be injured or damaged by the performance, or failure to perform, of Contractor, its officers, agents or employees under this agreement.

ASSURANCES:  Any contract awarded under this RFQ must be carried out in full compliance with The Civil Rights Act of 1964, The Americans With Disabilities Act of 1990, their subsequent amendments, and any and all other laws protecting the rights of individuals and agencies.  The County of Fresno has a zero tolerance for discrimination, implied or expressed, and wants to ensure that policy continues under this RFQ.  The contractor must also guarantee that services, or workmanship, provided will be performed in compliance with all applicable local, state, or federal laws and regulations pertinent to the types of services, or project, of the nature required under this RFQ.  In addition, the contractor may be required to provide evidence substantiating that their employees have the necessary skills and training to perform the required services or work.

- INSURANCE:

Without limiting the COUNTY's right to obtain indemnification from CONTRACTOR or any third parties, CONTRACTOR, at its sole expense, shall maintain in full force and effect, the following insurance policies or a program of self-insurance, including but not limited to, an insurance pooling arrangement or Joint Powers Agreement (JPA) throughout the term of the Agreement:

- Commercial General Liability

Commercial General Liability Insurance with limits of not less than One Million Dollars ($1,000,000) per occurrence and an annual aggregate of Two Million Dollars ($2,000,000). This policy shall be issued on a per occurrence basis. County may require specific coverages including completed operations, products liability, contractual liability, Explosion-Collapse-Underground, fire legal liability or any other liability insurance deemed necessary because of the nature of this contract.

- Automobile Liability

Comprehensive Automobile Liability Insurance with limits for bodily injury of not less than Two Hundred Fifty Thousand Dollars ($250,000.00) per person, Five Hundred Thousand Dollars ($500,000.00) per accident and for property damages of not less than Fifty Thousand Dollars ($50,000.00), or such coverage with a combined single limit of Five Hundred Thousand Dollars ($500,000.00).  Coverage should include owned and non-owned vehicles used in connection with this Agreement.

- Professional Liability

If CONTRACTOR employs licensed professional staff, (e.g., Ph.D., R.N., L.C.S.W., M.F.C.C.) in providing services, Professional Liability Insurance with limits of not less than One Million Dollars ($1,000,000.00) per occurrence, Three Million Dollars ($3,000,000.00) annual aggregate.

- Worker's Compensation

A policy of Worker's Compensation insurance as may be required by the California Labor Code.

Contractor shall obtain endorsements to the Commercial General Liability insurance naming the County of Fresno, its officers, agents, and employees, individually and collectively, as additional insured, but only insofar as the operations under this Agreement are concerned.  Such coverage for additional insured shall apply as primary insurance and any other insurance, or self-insurance, maintained by County, its officers, agents and employees shall be excess only and not contributing with insurance provided under contractor's policies herein. This insurance shall not be cancelled or changed without a minimum of thirty (30) days advance written notice given to County.

Within thirty (30) days from the date contractor executes this Agreement, contractor shall provide certificates of insurance and endorsement as stated above for all of the foregoing policies, as required herein, to the County of Fresno, Purchasing, 4525 E. Hamilton Avenue, 2nd Floor, Fresno, CA 93702, stating that such insurance coverage have been obtained and are in full force; that the County of Fresno, its officers, agents and employees will not be responsible for any premiums on the policies; that such Commercial General Liability insurance names the County of Fresno, its officers, agents and employees, individually and collectively, as additional insured, but only insofar as the operations under this Agreement are concerned; that such coverage for additional insured shall apply as primary insurance and any other insurance, or self-insurance, maintained by County, its officers, agents and employees, shall be excess only and not contributing with insurance provided under contractor's policies herein; and that this insurance shall not be cancelled or changed without a minimum of thirty (30) days advance, written notice given to County.

In the event contractor fails to keep in effect at all times insurance coverage as herein provided, the County may, in addition to other remedies it may have, suspend or terminate this Agreement upon the occurrence of such event.

All policies shall be with admitted insurers licensed to do business in the State of California.  Insurance purchased shall be purchased from companies possessing a current A.M. Best, Inc. rating of A FSC VII or better.

COORDINATION AND COMPLETION: The successful bidder shall contact and meet with the County Coordinator at the job site prior to commencement and completion of any work.

Successful bidder shall complete the job as instructed and described in writing by the contract, bid or amendment. Any problem or questions that arise in the scope of work, the County must be contacted and the appropriate written amendment generated.

- BIDDER TO COMPLETE

INSURANCE:

| Name of Insurance Carrier: |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Public Liability: |  |  |  | Expires: |  |
| Worker's Compensation: |  |  |  | Expires: |  |

Proof of maintenance of adequate insurance will be required before award is made to vendor.

SELF-DEALING TRANSACTION DISCLOSURE (financial)

Is the bidder a for-profit or non-profit corporation?

|  | No, the bidder is not a for-profit or non-profit corporation. If you check this box, you do not need to fill out the Self-Dealing Transaction Disclosure Form, please have the authorized representative sign and date the form at the bottom of the page. |
| --- | --- |
|  | Yes, the bidder is a for-profit or non-profit corporation. If you check this box, you must fill out the Self-Dealing Transaction Disclosure Form, sign and date it. |

Bidders shall complete a SELF-DEALING TRANSACTION DISCLOSURE FORM, provided herein, for each applicable corporate director of the bidding company.  The signed form(s) shall be submitted as a part of the company’s proposal or quotation.

Complete the form and indicate “NONE” under part 3 when your company is a corporation and no directors are involved with a Self-Dealing Transaction. The form must be signed by an individual authorized to legally bind the corporation when no directors have a Self-Dealing Transaction.

DISCLOSURE OF SELF-DEALING TRANSACTIONS: The following provision will be incorporated into ensuing agreements.  It shall apply only when the CONTRACTOR is operating as a corporation (a for-profit or non-profit corporation) or if during the term of the agreement, CONTRACTOR changes its status to operate as a corporation.

This provision is only applicable if the CONTRACTOR is operating as a corporation (a for-profit or non-profit corporation) or if during the term of this agreement, the CONTRACTOR changes its status to operate as a corporation.

Members of the CONTRACTOR’s Board of Directors shall disclose any self-dealing transactions that they are a party to while CONTRACTOR is providing goods or performing services under this agreement. A self-dealing transaction shall mean a transaction to which the CONTRACTOR is a party and in which one or more of its directors has a material financial interest. Members of the Board of Directors shall disclose any self-dealing transactions that they are a party to by completing and signing a Self-Dealing Transaction Disclosure Form (Exhibit #) and submitting it to the COUNTY prior to commencing with the self-dealing transaction or immediately thereafter.

SELF-DEALING TRANSACTION DISCLOSURE FORM instructions

In order to conduct business with the County of Fresno (hereinafter referred to as “County”), members of a contractor’s board of directors (hereinafter referred to as “County Contractor”), must disclose any self-dealing transactions that they are a party to while providing goods, performing services, or both for the County.  A self-dealing transaction is defined below:

“A self-dealing transaction means a transaction to which the corporation is a party and which one or more of its directors has a material financial interest”

The definition above will be utilized for purposes of completing the disclosure form.

- Enter board member’s name, job title (if applicable), and date this disclosure is being made.

- Enter the board member’s company/agency name and address.

- Describe in detail the nature of the self-dealing transaction that is being disclosed to the County. At a minimum, include a description of the following:

  - The name of the agency/company with which the corporation has the transaction; and

  - The nature of the material financial interest in the Corporation’s transaction that the board member has.

- Describe in detail why the self-dealing transaction is appropriate based on applicable provisions of the Corporations Codes.

- Form must be signed by the board member that is involved in the self-dealing transaction described in Sections (3) and (4).

Form provided on following page.

SELF-DEALING TRANSACTION DISCLOSURE FORM

| - Company Board Member Information: |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Name: |  |  |  | Date: |  |
| Job Title: |  |  |  |  |  |
| - Company/Agency Name and Address: |  |  |  |  |  |
| - Disclosure (Please describe the nature of the self-dealing transaction you are a party to) |  |  |  |  |  |
| - Explain why this self-dealing transaction is consistent with the requirements of Corporations Code 5233 (a) |  |  |  |  |  |
| - Authorized Signature |  |  |  |  |  |
| Signature: |  |  | Date: |  |  |

- BIDDER TO COMPLETE THE FOLLOWING:

- PARTICIPATION

The County of Fresno is a member of the Central Valley Purchasing Group.  This group consists of Fresno, Kern, Kings, and Tulare Counties and all governmental, tax supported agencies within these counties.

Whenever possible, these and other tax supported agencies co-op (piggyback) on contracts put in place by one of the other agencies.

Any agency choosing to avail itself of this opportunity, will make purchases in their own name, make payment directly to the contractor, be liable to the contractor and vice versa, per the terms of the original contract, all the while holding the County of Fresno harmless.  If awarded this contract, please indicate whether you would extend the same terms and conditions to all tax supported agencies within this group as you are proposing to extend to Fresno County.

|  | Yes, we will extend contract terms and conditions to all qualified agencies within the Central Valley Purchasing Group and other tax supported agencies. |
| --- | --- |
|  | No, we will not extend contract terms to any agency other than the County of Fresno. |
| (Authorized Signature) |  |
| Title |  |

Vendor must complete and return with Request for Quotation

| Firm: |  |
| --- | --- |

REFERENCE LIST

Provide a list of at least five (5) customers for whom you have recently provided similar services.  Be sure to include all requested information.

| Reference Name: |  |  |  |  |  |  |  | Contact: |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Address: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| City: |  |  |  |  |  |  |  |  | State: |  |  |  |  | Zip: |  |  |  |
| Phone No.: |  | ( |  |  | ) |  | Date: |  |  |  |  |  |  |  |  |  |  |
| Service Provided: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Reference Name: |  |  |  |  |  |  |  | Contact: |  |  |  |  |  |  |  |  |  |
| Address: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| City: |  |  |  |  |  |  |  |  |  | State: |  |  |  |  | Zip: |  |  |
| Phone No.: |  | ( |  |  | ) |  | Date: |  |  |  |  |  |  |  |  |  |  |
| Service Provided: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Reference Name: |  |  |  |  |  |  |  | Contact: |  |  |  |  |  |  |  |  |  |
| Address: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| City: |  |  |  |  |  |  |  |  | State: |  |  |  |  | Zip: |  |  |  |
| Phone No.: |  | ( |  |  | ) |  | Date: |  |  |  |  |  |  |  |  |  |  |
| Service Provided: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Reference Name: |  |  |  |  |  |  |  | Contact: |  |  |  |  |  |  |  |  |  |
| Address: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| City: |  |  |  |  |  |  |  |  |  | State: |  |  |  |  | Zip: |  |  |
| Phone No.: |  | ( |  |  | ) |  | Date: |  |  |  |  |  |  |  |  |  |  |
| Service Provided: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Reference Name: |  |  |  |  |  |  |  | Contact: |  |  |  |  |  |  |  |  |  |
| Address: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| City: |  |  |  |  |  |  |  |  | State: |  |  |  |  | Zip: |  |  |  |
| Phone No.: |  | ( |  |  | ) |  | Date: |  |  |  |  |  |  |  |  |  |  |
| Service Provided: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

Failure to provide a list of at least five (5) customers may be cause for rejection of this RFQ.

Scope of Work

The Resources Division of the Department of Public Works and Planning is developing a Supervisory Control and Data Acquisition system and requires that a radio telemetry survey be performed.

The Resources Division of the Department of Public Works and Planning operates water and wastewater treatment facilities for communities in the Shaver Lake area.  To more efficiently manage and operate these facilities, the County is developing a wireless telemetry system.  A comprehensive radio site survey is needed for 47 sites including water wells, sewer lift stations, and water storage and distribution facilities. The telemetry system must operate continuously year round in mountainous and heavily treed terrain, subject to heavy snowfall and freezing temperatures.

Attached is a listing of each of the sites to be surveyed and their geographical coordinates.  The Department requires that a RSSI (Received Signal Strength Indicator) and SNR (Signal to Noise Ratio) be determined for each site.  The Department has a licensed frequency of 158.370 Mhz which will be used for the telemetry and communications.  The survey and findings must verify the adequacy of the radio signal in the project area using this frequency.

The location of all radio base stations and any intermediate access points or radio relays will need to be determined and the radio-system topology defined as part of the survey.  The system should be completely inter-operable with no gaps in the radio coverage.

Attached is a location map, an example radio topology, listing of sites, descriptions with latitude and longitude.

Deliverables:

Schedule:  The vendor shall provide a schedule showing when the survey will take place and the estimated time of completion.  The Department will require 48 hours notice before commencement of the survey in order to have personnel available to assist.

Final Report:  The Final Report shall include the following:

- Location of primary access radio stations and base radio stations forming the base radio network.

- Location of remote sites communicating through intermediate access radio stations.

- Generalized Topology of the recommended telecommunications system showing primary and secondary radio communication links.

- Specifications for all recommended radio transmitters. (required power, frequency if required)

- Antenna Location:  within each site, the vendor shall recommend the location of each antenna and how it should be mounted (roof, pole, tower, etc).  This is important to determine if an “off-site” tower or antenna mast is required.

- Listing of required antenna type, recommended gain and height above the ground at the recommended location.  For heights greater than 20 feet above ground level, a recommendation of tower type is required, keeping in mind winter weather conditions.

- A summary of recommended equipment types with an example make and model (e.g. ROHN Model 25 AG2 Self supporting tower).

- Prepare 5 copies of the final report.

Department staff will provide access to all facilities and sites, including radio towers (Musik Mt) and other communications equipment.

Exhibit “A” Location Map 968-5094 Exhibit A Location Map.pdf

Exhibit “B” Master Site List 968-5094 Exhibit B - Master Site List.pdf

Exhibit “C” Topology 968-5094 Exhibit C - Topology.pdf

- SUBMITTALS

The bidder shall provide the following with their quotation:

- The completed and signed Page One of this RFQ.

- Complete, sign and submit page one of each and all Addendums to this RFQ which require signature (if any).

- The specified number of copies of the bidder’s quotation.

- The completed Bidder to Complete page of this RFQ.

- The completed Quotation Schedule as provided with this RFQ.

- A list of all bidder exceptions to County’s requirements, conditions, and specifications as stated within this RFQ.

- Specifications, descriptions etc. for items offered under the bidder’s quotation.

- A description of the design and techniques that the bidder will use to complete the project.

- Submit your quotation/proposal prior to the specified date and time.  Submit in a sealed envelope, box, etc. with the following information displayed on the outside:

| County of Fresno RFQ No. |  |  | 968-5094 |
| --- | --- | --- | --- |
| Closing Date: | November 13, 2012 |  |  |
| Closing Time: | 2:00 P.M. |  |  |
| Commodity or Service: |  |  |  |

- QUOTATION SCHEDULE

| Company Name |  |
| --- | --- |

| All labor, material, equipment, permits, fees, taxes, etc. to perform a radio telemetry survey as specified | 1 | Job | $ |  |
| --- | --- | --- | --- | --- |