| COUNTY OF FRESNO |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ADDENDUM NUMBER: ONE |  |  |  |  |  |  |  |  |  |
|  |  |  | RFQ NUMBER: |  |  |  |  |  |  |
| May 15, 2008 |  |  |  |  |  |  |  |  |  |
|  |  |  |  | PURCHASING USE |  |  |  |  |  |
|  |  | ORG/Requisition: 01300700/ 1328007067 |  |  | jol | /tmp/in/input.doc |  |  |  |
|  | IMPORTANT: SUBMIT QUOTATION IN SEALED PACKAGE WITH QUOTATION NUMBER, CLOSING DATE AND BUYER’S NAME MARKED CLEARLY ON THE OUTSIDE TO: |  |  |  |  |  |  |  |  |
|  | COUNTY OF FRESNO, Purchasing 4525 EAST HAMILTON AVENUE FRESNO, CA 93702-4599 |  |  |  |  |  |  |  |  |
|  | Closing date of bid will be at 2:00 p.m., on JUNE 2, 2008. QUOTES WILL BE CONSIDERED LATE WHEN THE OFFICIAL PURCHASING TIME CLOCK READS 2:00 P.M. |  |  |  |  |  |  |  |  |
|  | Quotes will be opened and publicly read at that time. All quotation information will be available for review after contract award. |  |  |  |  |  |  |  |  |
|  | Clarification of specifications are to be directed to: KEN VOZZA, phone (559) 456-7110, FAX (559) 456-7831. |  |  |  |  |  |  |  |  |
|  | NOTE THE following and attached ADDITIONS, DELETIONS AND/or CHANGES TO THE REQUIREMENTS OF REQUEST FOR QUOTATION NUMBER: AND INCLUDE THEM IN YOUR RESPONSE. PLEASE SIGN AND RETURN THIS ADDENDUM WITH YOUR QUOTATION. - The close date for RFQ No. 990-4563 has been changed to June 2, 2008 at 2:00 P.M. |  |  |  |  |  |  |  |  |

| ACKNOWLEDGMENT OF ADDENDUM NUMBER ONE TO RFQ |  |  |
| --- | --- | --- |
| COMPANY NAME: |  |  |
| (PRINT) |  |  |
| SIGNATURE: |  |  |
| NAME & TITLE: |  |  |
| (PRINT) |  |  |

- The attached schedule denotes a device count for each facility, except as indicated below. The vendor’s quotation is to be based on the quantities stated in the schedule.

- Device counts for the following locations are not included in the attached schedule.

Bldg No. 101 – Elkhorn Correctional Facility
500 E. Elkhorn Ave.
Caruthers, CA

Bldg No. 501 – Juvenile Detention Facility
744 W. Tenth St.
Fresno, CA

Site inspections for these facilities are scheduled as follows:

Elkhorn Correctional Facility - *May 23, 2008 at 10:00 A.M.

* Meet at Front Gate

Juvenile Detention Facility – Immediately following the Elkhorn Site Visit.

The vendor will be responsible for the device counts at each of these facilities. The vendor shall include the quantity of each device type included in his/her quotation.

- The ensuing contract will allow for an adjustment to the per facility cost in the event this RFQ’s stated device count is less than the actual device count. Such adjustment will be based on the per unit cost to provide the specified service to each device type. Vendors shall quote their unit costs on the “Quotation Schedule per Device Service” included with this addendum.

- The County is currently not aware of any existing problems with the identified systems. County will attempt to negotiate with the new contractor to establish a cost to correct any problems detected by the contractor in the course of work.

- A set of As –Built drawings of the Juvenile Justice Campus (Building No. 700) is available for review at the Fresno County Purchasing Office. Please contact Ken Vozza at Purchasing to schedule a review appointment.

- Reference that section of the original RFQ document entitled

“SCOPE OF WORK/REQUIREMENTS/CONDITIONS/SPECIFICATIONS”

Item “E” of the sub-section entitled

“COMPETENCE OF BIDDER”

States the following.

E. The County has many NOTIFIER fire alarm systems; vendors offering quotations on NOTIFIER systems shall be authorized by NOTIFIER to perform maintenance, testing, inspection and repair services, and shall employ Technicians who are authorized by NOTIFIER to perform maintenance, testing, inspection and repair services to NOTIFIER fire alarm systems.  This requirement applies only to vendors quoting on NOTIFIER systems (GROUP II of Quotation Schedule) and does not apply to vendors quoting on other systems.

The County has determined that this requirement is in its best interest; as such, this requirement will not be changed.

- The quotation schedules provided with the original RFQ document, Group I and 
Group II shall be deleted in their entirety. The revised quotation schedules (GROUP I AND GROUP II) as provided with this ADDENDUM NO. ONE shall be inserted in their place. The bidder is to respond on the revised schedules.

quotation schedule
per device service

All labor, materials, taxes etc. to perform specified services on various devices comprising the subject fire alarm systems.

|  | DEVICE DESCRIPTION | UNIT COST |
| --- | --- | --- |
|  | ANALOG DUCT SMOKE DETECTORS | $ |
|  | ANNALOG SMOKE DETECTORS | $ |
|  | HEAT DETECTORS | $ |
|  | PULL STATION-SINGLE ACTION | $ |
|  | AUDIO/VISUAL SIGNAL DEVICE | $ |
|  | AUDIBLE SIGNAL | $ |
|  | VISUAL ONLY SIGNAL | $ |
|  | WATER FLOW | $ |
|  | PHOTO SMOKE DETECTOR | $ |
|  | TELEPHONE DIALER | $ |
|  | BELL | $ |
|  | SPRINKLER WATER FLOW VALVE | $ |
|  | RATE OF RISE HEAT DETECTOR | $ |
|  | HORN | $ |
|  | SPEAKER | $ |
|  | PANIC BUTTONS | $ |
|  | SPRINKLER TAMPER SWITCH | $ |
|  | WATER PRESSURE SWITCH | $ |
|  | STOVE ANSUL SYSTEM | $ |
|  | CONTROL MODULE | $ |
|  | DEVICE DESCRIPTION | UNIT COST |
|  | CHIME STROBE | $ |
|  | DUCT DETECTOR | $ |
|  | THERMAL DETECTOR | $ |
|  | MANUAL PULL STATION | $ |
|  | STROBE | $ |
|  | SMOKE DETECTOR | $ |
|  | TAMPER SWITCH | $ |
|  | WATER FLOW | $ |

DEVICE COUNT SCHEDULE

| Building # / Department | Address | ADD | ASD | PSSA | SPPB | SPKR | VSIG | A/V | HALON | HORN | HD | DIAL | RRHD | ASIG | WF | PSD | BELL | SWFV | XTRP | STS | WPS | ANSUL |  | DESCRIPTION OF DEVICES |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 101 / Elkhorn | 500 E. ELKHORN, CARUTHERS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | ADD | ANALOG DUCT SMOKE DETECTORS |
| 311 / Main E&TA | 4455 E. KINGS CANYON RD. |  | 9 | 17 |  |  |  | 42 |  |  |  |  |  |  |  |  |  |  |  |  |  |  | ASD | ANALOG SMOKE DETECTORS |
| 313 / Commissary | 4459 E. KINGS CANYON RD. |  | 7 | 13 |  |  |  | 40 |  |  |  |  |  |  |  |  |  |  |  |  |  |  | HD | HEAT DETECTORS |
| 315 / Barton | 4499 E. KINGS CANYON RD. |  | 11 | 13 |  |  |  | 42 |  |  |  |  |  |  |  |  |  |  |  |  |  |  | PSSA | PULL STATION-SINGLE ACTION |
| 317 / Main Mental Health | 4441 E. KINGS CANYON RD. |  | 3 | 7 |  |  |  | 20 |  |  |  |  |  |  | 1 |  |  |  |  |  |  |  | A/V | AUDIO/VISUAL SIGNAL DEVICE |
| 340 / E&TA Intake | 4468 E. KINGS CANYON RD. |  | 3 | 8 |  |  |  | 14 |  |  |  |  |  |  |  |  |  |  |  |  |  |  | ASIG | AUDIBLE SIGNAL |
| 341 / Intake Annex | 4468 E. KINGS CANYON RD. |  | 4 | 1 |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  | VSIG | VISUAL ONLY SIGNAL |
| 400 / Farm & Home | 1721 S. MAPLE |  | 5 | 4 |  |  |  |  |  | 2 |  |  |  |  |  |  |  |  |  |  |  |  | WF | WATER FLOW |
| 404 / Ag. Commissioner | 1730 S. MAPLE |  | 10 | 4 |  |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  | PSD | PHOTO SMOKE DETECTOR |
| 415 / Weights & Measures | 4535 E. HAMILTON |  | 4 | 2 |  |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  | DIAL | TELEPHONE DIALER |
| 419 / Training Trailers | 4535 E. HAMILTON |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | BELL | BELL |
| 420 / Fleet Services | 4551 E. HAMILTON AVE. |  | 7 | 7 |  |  |  |  |  | 5 | 25 |  |  |  |  |  |  |  |  |  |  |  | SWFV | SPRINKLER WATER FLOW VALVE |
| 425 / Paint Shop | 4551 E. HAMILTON AVE. |  | 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | RRHD | RATE OF RISE HEAT DETECTOR |
| 433 / Radio Shop | 4551 E. HAMILTON AVE. |  | 4 | 3 |  |  |  |  |  | 2 |  |  |  |  |  |  |  |  |  |  |  |  | HORN | HORN |
| 435 / EMS | 4555 E. HAMILTON AVE. |  | 8 | 4 |  |  | 2 | 7 |  |  | 1 |  |  |  |  |  |  |  |  | 2 | 1 |  | SPKR | SPEAKER |
| 437-2 Purchasing Machine Rm. | 4525 E. HAMILTON AVE |  |  |  |  |  |  |  |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  | SPPB | PANIC BUTTONS |
| 438 / Ag. Annex | 1730 S. MAPLE |  | 3 | 3 |  |  |  | 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  | STS | SPRINKLER TAMPER SWITCH |
| 501 / Juv. Detention Facility | 744 S. TENTH ST. | Recomend walk-thru |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | WPS | WATER PRESSURE SWITCH |
| 502 / Juv. Court | 742 S. TENTH STREET |  | 12 | 5 |  |  |  | 4 |  |  |  |  |  |  |  |  |  |  |  |  |  |  | ANSUL | STOVE ANSUL SYSTEM |
| 509 / Computer Services | 1020 S. TENTH STREET |  |  | 4 |  |  | 1 | 1 |  | 8 |  | 1 |  |  |  | 36 |  |  |  |  |  |  |  |  |
| 514 / Adult Probation | 748 S. TENTH STREET |  | 5 | 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 515 / Juv. Probation | 890 S. TENTH |  |  | 4 |  |  |  |  |  |  | 4 |  | 119 |  |  | 2 |  |  |  |  |  |  |  |  |
| 601 / Courthouse | 1100 VAN NESS AVE. | 10 | 272 | 55 | 144 | 86 | 97 | 12 | 2 |  |  |  |  |  |  |  |  |  |  |  |  | 3 |  |  |
| 603 / Hall of Records | 2281 TULARE ST. | 6 | 145 | 18 |  |  |  |  |  |  | 13 |  | 1 |  |  |  |  |  |  |  |  |  |  |  |
| 610 / Plaza Bldg | 2220 TULARE ST. | 6 | 463 | 74 | 35 | 83 | 94 | 78 |  | 23 | 2 | 1 | 6 |  |  |  |  |  |  |  |  | 2 |  |  |
| 611-612 / Brix-Mercer | 1221 FULTON MALL | 27 | 221 | 31 | 7 |  | 20 | 7 |  |  | 2 |  |  | 31 |  |  |  |  |  |  |  |  |  |  |
| 615 / Morgue | 760 W. NIELSON |  |  |  |  |  |  |  |  |  |  | 1 |  |  |  |  | 1 | 1 |  |  |  |  |  |  |
| 620 / Apollo | 205 N. BLACKSTONE |  | 27 | 10 |  |  |  |  |  | 1 |  |  |  |  | 2 |  |  |  |  |  |  | 1 |  |  |
| 621 / Graphic Communications | 844 VAN NESS | 2 | 17 | 1 |  |  |  |  |  |  | 1 |  |  |  | 1 |  | 2 |  |  |  |  |  |  |  |
| 630 / Central Kitchen | 200 H STREET |  | 1 | 5 |  | 12 | 12 |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 3 |  |  |
| 700 / Juvenile Justice Campus | 3333 W. AMERICAN AVE |  | 1773 | 48 |  |  |  |  |  |  | 128 |  |  |  | 13 |  | 35 |  |  | 36 |  |  |  |  |
| 800 / Central Library | 2420 MARIPOSA |  | 35 | 11 |  |  | 4 |  |  | 10 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 801 / Clovis Library | 1155 FIFTH ST., CLOVIS |  | 13 | 0 |  |  |  | 0 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 802 / Woodward Library | 944 EAST PERRIN AVE |  | 1 | 1 |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 804 / Selma Library | 2200 SELMA ST., SELMA |  | 22 | 5 |  |  | 4 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 814 / Fowler Library (new bldg) | 306 S. SEVENTH, FOWLER |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 815 / Laton Library | 6313 DEWOODY, LATON |  | 4 | 3 |  |  | 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 821 / Sunnyside Library | 5566 E. KINGS CANYON |  | 6 | 5 |  |  |  | 12 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 824 / Mendota Library | 7170 N. SAN PABLO, PINEDALE |  | 26 | 4 |  |  | 18 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 864 / Crocker Bldg | 2135 FRESNO ST. |  |  |  |  |  |  |  |  |  |  |  |  |  | 1 |  | 1 |  |  |  |  |  |  |  |
| 885 / Seaport | 2600 VENTURA |  |  |  |  |  |  | 8 |  |  |  | 4 |  |  | 4 |  |  |  |  | 4 |  |  |  |  |
| 899 / Caruthers Library | 13382 S. HENDERSON RD., CARUTHERS |  | 20 | 5 |  |  | 12 |  |  |  |  |  |  |  |  |  | 4 |  |  |  |  |  |  |  |
| Sub-Total |  | 51 | 3143 | 377 | 186 | 181 | 267 | 292 | 2 | 53 | 176 | 7 | 127 | 31 | 22 | 38 | 43 | 1 | 0 | 42 | 1 | 9 |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | DESCRIPTION OF DEVICES (RGE) |
| Building # / Department | Address | C | CH | DD | HD | MS | S | SD | TS | WF |  |  |  |  |  |  |  |  |  |  |  |  | C | CONTROL MODULE |
| 307 / UMC Maint. Shop | 445 S. CEDAR AVE |  |  |  |  | 4 |  | 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  | CH | CHIME STROBE |
| 308 / Security Office | 445 S. CEDAR AVE |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | DD | DUCT DETECTOR |
| 309 / Boiler Room | 445 S. CEDAR AVE |  |  |  |  | 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | HD | THERMAL DETECTOR |
| 310 / Chiller Room | 445 S. CEDAR AVE |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | MS | MANUAL PULL STATION |
| 318 / Huntington Hall | 435 BOYD |  |  |  |  | 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | S | STROBE |
| 319 / PACT & PHF | 4411 E. KINGS CANYON RD. | 2 | 13 | 34 | 1 | 9 | 2 | 96 | 1 | 1 |  |  |  |  |  |  |  |  |  |  |  |  | SD | SMOKE DETECTOR |
| 320 / PATHS | 515 S. CEDAR AVE |  |  | 3 | 11 | 9 |  | 30 |  |  |  |  |  |  |  |  |  |  |  |  |  |  | TS | TAMPER SWITCH |
| 332 / Mod A | 4408 HUNTINGTON |  |  | 3 |  | 2 |  |  | 1 | 1 |  |  |  |  |  |  |  |  |  |  |  |  | WF | WATER FLOW |
| 333 / Mod B | 4416 HUNTINGTON |  |  | 3 |  | 2 |  |  | 1 | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 334 / Mod C | 4444 HUNTINGTON |  |  | 3 |  | 2 |  |  | 1 | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 335 / Mod E | 4447 E. KINGS CANYON RD. |  |  | 19 |  | 3 |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 336 / Mod F | 4463 E. KINGS CANYON RD. |  |  |  |  | 1 |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 343 / Mod D | 4452 E. KINGS CANYON RD. |  |  | 10 |  | 2 |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Sub-Total |  | 2 | 13 | 75 | 12 | 40 | 2 | 131 | 4 | 4 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| Fire Alarm Systems |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| GROUP I - Various Alarm Systems |  |  |  |  |  |  |  |  |  |  |  |  |  |  | A |  | B |  | C |  | TOTAL |
|  |  |  |  | SERVICE DESCRIPTION |  |  |  |  |  | FA |  |  |  |  |  |  | SHE |  | TSD |  | COLUMNS |
|  | County Building No. | Address | BLDG Description | Control Panel Type | * FA | * SHE | *DACT | * TSD |  | ** QUARTERLY INSPECTIONS/ MAINTENANCE (FOUR EA.) |  | ANNUAL INSPECTION/ MAINTENANCE (EA.) |  |  | TOTAL FA |  | **SEMI-ANNUAL INSPECTION (TWO EA.) |  | ANNUAL INSPECTION (EA.) |  | A, B, & C |
| 1. | 100 | 500 E. ELKHORN, CARUTHERS | JUV. BOOT CAMP | FCI 7200 | 3 |  |  | 1 |  | $ | + | $ |  | = | $ | + | $ | + | $ | = | $ |
| 2. | 307 | 445 S. CEDAR AVE | UMC MAINT. SHOP | EDWARDS SYSTEM | 3 |  |  |  |  | $ | + | $ |  | = | $ | + | $ | + | $ | = | $ |
| 3. | 308 | 445 S. CEDAR AVE | SECURITY/ JANITORIAL | EDWARDS SYSTEM | 3 |  |  |  |  | $ | + | $ |  | = | $ | + | $ | + | $ | = | $ |
| 4. | 309 | 445 S. CEDAR AVE | UMC BOILER ROOM | EDWARDS SYSTEM | 3 |  |  |  |  | $ | + | $ |  | = | $ | + | $ | + | $ | = | $ |
| 5. | 310 | 445 S. CEDAR AVE | CHILLER PLANT | EDWARDS SYSTEM | 3 |  |  |  |  | $ | + | $ |  | = | $ | + | $ | + | $ | = | $ |
| 6. | 311 | 4455 E. KINGS CANYON RD. | MAIN E&TA BLDG | GAMEWELL FIREFORCE-8 | 3 |  |  |  |  | $ | + | $ |  | = | $ | + | $ | + | $ | = | $ |
| 7. | 313-1 | 4459 E. KINGS CANYON RD. | COMMISSARY 1ST FLR | GAMEWELL FIREFORCE-8 | 3 |  |  |  |  | $ | + | $ |  | = | $ | + | $ | + | $ | = | $ |
| 8. | 315 | 4499 E. KINGS CANYON RD. | BARTON BLDG | GAMEWELL FIREFORCE-8 | 3 |  |  |  |  | $ | + | $ |  | = | $ | + | $ | + | $ | = | $ |
| 9. | 317 | 4441 E. KINGS CANYON RD. | MAIN MENTAL HEALTH | SIMPLEX 4002 | 4 |  |  | 1 |  | $ | + | $ |  | = | $ | + | $ | + | $ | = | $ |
| 10. | 318 | 435 BOYD | HUNTINGTON HALL | EDWARDS SYS. EST-2 | 3 |  |  |  |  | $ | + | $ |  | = | $ | + | $ | + | $ | = | $ |
| 11. | 319 | 4411 E. KINGS CANYON RD. | PACT/PHF/CIS | EDWARDS SYSTEM | 3 |  |  |  |  | $ | + | $ |  | = | $ | + | $ | + | $ | = | $ |
| 12. | 320 | 515 S. CEDAR AVE | PATHS PROGRAM BLDG | EDWARDS SYSTEM | 3 |  |  |  |  | $ | + | $ |  | = | $ | + | $ | + | $ | = | $ |
| 13. | 332 | 4408 HUNTINGTON | MODULE A | EDWARDS SYS. EST-2 | 3 |  |  |  |  | $ | + | $ |  | = | $ | + | $ | + | $ | = | $ |
| 14. | 333 | 4416 HUNTINGTON | MODULE B | EDWARDS SYS. EST-2 | 3 |  |  |  |  | $ | + | $ |  | = | $ | + | $ | + | $ | = | $ |
| 15. | 334 | 4444 HUNTINGTON | MODULE C | EDWARDS SYS. EST-2 | 3 |  |  |  |  | $ | + | $ |  | = | $ | + | $ | + | $ | = | $ |
| 16. | 335 | 4447 E. KINGS CANYON RD. | MODULE E | EDWARDS SYS. EST-2 | 3 |  |  |  |  | $ | + | $ |  | = | $ | + | $ | + | $ | = | $ |
| 17. | 336 | 4463 E. KINGS CANYON RD. | MODULE F | EDWARDS SYS 1-223R | 3 |  |  |  |  | $ | + | $ |  | = | $ | + | $ | + | $ | = | $ |
| 18. | 340 | 4468 E. KINGS CANYON RD. | E&TA INTAKE BLDG | EDWARDS SYS. QUICKSTART | 3 |  |  |  |  | $ | + | $ |  | = | $ | + | $ | + | $ | = | $ |
| 19. | 341 | 4468 E. KINGS CANYON RD. | INTAKE ANNEX | HONEYWELL | 3 |  |  |  |  | $ | + | $ |  | = | $ | + | $ | + | $ | = | $ |
| 20. | 343 | 4452 E. KINGS CANYON RD. | MODULE D | EDWARDS SYSTEM | 3 |  |  |  |  | $ | + | $ |  | = | $ | + | $ | + | $ | = | $ |
| 21. | 400 | 1721 S. MAPLE | FARM AND HOME | NAPCO CCI-3 | 3 |  |  |  |  | $ | + | $ |  | = | $ | + | $ | + | $ | = | $ |
| 22. | 404 | 1730 S. MAPLE | AG COMMISSIONER | NAPCO CCI-5 | 3 |  |  |  |  | $ | + | $ |  | = | $ | + | $ | + | $ | = | $ |
| 23. | 415 | 4535 E. HAMILTON | WEIGHTS & MEASURES | NAPCO CCI-5 | 3 |  |  |  |  | $ | + | $ |  | = | $ | + | $ | + | $ | = | $ |
| 24. | 419 | 4535 E. HAMILTON | TRAINING TRAILER | NETWORX | 3 |  |  |  |  | $ | + | $ |  | = | $ | + | $ | + | $ | = | $ |
| 25. | 420 | 4551 E. HAMILTON AVE. | FLEET SERVICES | NAPCO CCI-5 | 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 26. | 425 | 4551 E. HAMILTON AVE. | PAINT SHOP | NETWORX NY-8E | 3 |  |  |  |  | $ | + | $ |  | = | $ | + | $ | + | $ | = | $ |
| 27. | 433 | 4551 E. HAMILTON AVE. | RADIO SHOP | MODEL 866 | 3 |  |  |  |  | $ | + | $ |  | = | $ | + | $ | + | $ | = | $ |
| 28. | 437-2 | 4525 E. HAMILTON AVE | PURCHASING-MACHINE ROOM | RANGER 8980 | 3 |  |  | 1 |  | $ | + | $ |  | = | $ | + | $ | + | $ | = | $ |
| 29. | 438 | 1730 S. MAPLE | AG. ANNEX | NAPCO CCI-3 | 3 |  |  |  |  | $ | + | $ |  | = | $ | + | $ | + | $ | = | $ |
| 30. | 502 | 742 S. TENTH STREET | JUVENILE COURT | SIMPLEX SILENT NIGHT MODEL 1410 | 4 |  |  |  |  | $ | + | $ |  | = | $ | + | $ | + | $ | = | $ |
| 31. | 509 | 1020 S. TENTH STREET | TOTALS |  | 4 | 2 |  |  |  | $ | + | $ |  | = | $ | + | $ | + | $ | = | $ |
|  | 509 | 1020 S. TENTH STREET | COMPUTER SERVICES |  | 1 | 1 |  |  |  |  |  |  |  |  |  |  |  | + | $ | = | $ |
|  | 509-1 | 1020 S. TENTH STREET | UPS & BATTERY TRAILERS |  | 3 | 1 |  |  |  |  |  |  |  |  |  |  |  | + | $ | = | $ |
| 32. | 514 | 748 S. TENTH STREET | ADULT PROBATION | MAGNUM ALERT 800 | 3 |  |  |  |  | $ | + | $ |  | = | $ | + | $ | + | $ | = | $ |
| 33. | 515 | 890 S. TENTH | JUVENILE PROBATION ADMIN | SIMPLEX | 3 |  |  |  |  | $ | + | $ |  | = | $ | + | $ | + | $ | = | $ |
| 36. | 615 | 760 W. NIELSON | MORGUE/CORONERS | OMEGA RADIONICS | 3 |  |  | 1 |  | $ | + | $ |  | = | $ | + | $ | + | $ | = | $ |
| 37. | 621 | 844 VAN NESS | GRAPHIC COMM. | MYRTONE | 3 | 3 |  |  |  | $ | + | $ |  | = | $ | + | $ | + | $ | = | $ |
| 39. | 801 | 1155 FIFTH ST., CLOVIS | CLOVIS BRANCH LIBRARY | RADIONICS D2071A | 3 |  | 3 |  |  | $ | + | $ |  | = | $ | + | $ | + | $ | = | $ |
| 40. | 802 | 944 EAST PERRIN AVE | WOODWARD BRANCH LIBRARY | ADEMCO 5110XM | 3 |  | 3 |  |  | $ | + | $ |  | = | $ | + | $ | + | $ | = | $ |
| 41. | 804 | 2200 SELMA ST., SELMA | SELMA BRANCH LIBRARY | RADIONICS D2071A | 3 |  | 3 |  |  | $ | + | $ |  | = | $ | + | $ | + | $ | = | $ |
| 42. | 815 | 6313 DEWOODY, LATON | LATON BRANCH LIBRARY | EST 1-2Z646199-1058 | 3 |  | 3 |  |  | $ | + | $ |  | = | $ | + | $ | + | $ | = | $ |
| 43. | 821 | 5566 E. KINGS CANYON | SUNNYSIDE BRANCH LIBRARY | ADEMCO 5110XM | 3 |  | 3 |  |  | $ | + | $ |  | = | $ | + | $ | + | $ | = | $ |
| 45. | 864 | 2135 FRESNO ST. | CROCKER BLDG | WATERFLOW | 3 | 3 | 3 |  |  | $ | + | $ |  | = | $ | + | $ | + | $ | = | $ |
| 46. | L885 | 2600 VENTURA | HSS-SOCIAL SERV. ADMIN. (SEAPORT) | FIREQUEST 200 | 3 |  | 3 |  |  | $ | + | $ |  | = | $ | + | $ | + | $ | = | $ |
| 47. | 899 | 13382 S. HENDERSON RD., CARUTHERS | CARUTHERS BRANCH LIBRARY | FCI FC-6324 | 3 |  | 3 |  |  | $ | + | $ |  | = | $ | + | $ | + | $ | = | $ |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | GROUP I GRAND TOTAL |  |  |  | $ |

| Fire Alarm Systems |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| GROUP II - NOTIFIER Alarm Systems |  |  |  |  |  |  |  |  |  |  |  |  | A |  | B |  | C |  | TOTAL |
|  |  |  |  |  | SERVICE DESCRIPTION |  |  |  | FA |  |  |  |  |  | SHE |  | TSD |  | COLUMNS |
|  | County Building No. | Address | BLDG Description | Control Panel Type | * FA | * SHE | * DACT | * TSD | ** QUARTERLY INSPECTIONS/ MAINTENANCE (FOUR EA.) |  | ANNUAL INSPECTION/ MAINTENANCE (EA.) |  | TOTAL FA |  | **SEMI-ANNUAL INSPECTION (TWO EA.) |  | ANNUAL INSPECTION (EA.) |  | A, B, & C |
|  | 435 | 4555 E. HAMILTON AVE. | EMS BUILDING | NOTIFIER | 3 |  |  |  | $ | + | $ | = | $ | + | $ | + | $ | = | $ |
|  | 501 | 744 S. TENTH ST. | JUV. DETENTION FAC. | NOTIFIER | 3 |  |  |  | $ | + | $ | = | $ | + | $ | + | $ | = | $ |
|  | 601 | 1100 VAN NESS AVE | TOTALS |  | 6 | 4 | 2 |  | $ | + | $ | = | $ | + | $ | + | $ | = | $ |
|  | 601 | 1100 VAN NESS AVE. | COURTHOUSE | NOTIFIER | 2 |  | 2 |  |  |  |  |  |  |  |  |  |  |  | $ |
|  | 601-1 | 1100 VAN NESS AVE. | B-2 TELEPHONE ROOM | NOTIFIER | 1 | 1 |  |  |  |  |  |  |  |  |  |  |  |  | $ |
|  | 601-2 | 1100 VAN NESS AVE. | 3RD FL COMPUTER ROOM | NOTIFIER | 1 | 1 |  |  |  |  |  |  |  |  |  |  |  |  | $ |
|  | 601-3 | 1100 VAN NESS AVE. | 9TH FLOOR RADIO ROOM | NOTIFIER | 1 | 1 |  |  |  |  |  |  |  |  |  |  |  |  | $ |
|  | 601-4 | 1100 VAN NESS AVE. | COURT PANIC ALARMS | NOTIFIER | 1 | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 603 | 2281 TULARE ST. | HALL OF RECORDS | NOTIFIER | 4 |  | 4 |  | $ | + | $ | = | $ | + | $ | + | $ | = | $ |
|  | 610 | 2220 TULARE ST. | TOTALS |  | 14 |  | 6 | 2 | $ | + | $ | = | $ | + | $ | + | $ | = | $ |
|  | 610 | 2220 TULARE ST. | FRESNO COUNTY PLAZA | NOTIFIER | 2 |  | 2 |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 610-1 | 2220 TULARE ST. | 21ST FLR. COMPUTER ROOM 1 | ADEMCO N6119 | 4 |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |
|  | 610-2 | 2220 TULARE ST. | 21ST FLR. COMPUTER ROOM 2 | FIRE SUPRESSIONS | 4 |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |
|  | 610-3 | 2220 TULARE ST. | ELECTIONS | NOTIFIER | 4 |  | 4 |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 611 | 1221 FULTON MALL | TOTALS |  | 7 ** 2 panic |  |  |  | $ | + | $ | = | $ | + | $ | + | $ | = | $ |
|  | 611 | 1221 FULTON MALL | HEALTH DEPT. BRIX BLDG. | NOTIFIER | 4 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 611-1 | 1221 FULTON MALL | HEALTH DEPT. MERCER BLDG. | NOTIFIER | 3 ** 2 panic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 620 | 205 N. BLACKSTONE | APPOLLO HEALTH CENTER | NOTIFIER | 1 | 1 |  |  | $ | + | $ | = | $ | + | $ | + | $ | = | $ |
|  | 630 | 200 H STREET | CENTRAL KITCHEN | NOTIFIER | 3 | 3 |  |  | $ | + | $ | = | $ | + | $ | + | $ | = | $ |
|  | 700 | 3333 W. AMERICAN AVE | JUV. JUSTICE CAMPUS | NOTIFIER | 1 |  |  | 1 | $ | + | $ | = | $ | + | $ | + | $ | = | $ |
|  | 800 | 2420 MARIPOSA | CENTRAL LIBRARY | NOTIFIER | 3 |  | 3 |  | $ | + | $ | = | $ | + | $ | + | $ | = | $ |
|  | 814 | 306 S. SEVENTH, FOWLER | FOWLER BRANCH LIBRARY | NOTIFIER AFP-200 | 3 |  | 3 |  | $ | + | $ | = | $ | + | $ | + | $ | = | $ |
|  | 824 | 1246 BELMONT AVE. MENDOTA | MENDOTA BRANCH LIBRARY | NOTIFIER NFS-640 | 3 |  | 3 |  | $ | + | $ | = | $ | + | $ | + | $ | = | $ |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | GROUP II - GRAND TOTAL |  |  |  | $ |