| COUNTY OF FRESNO |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Request for QUOTATION |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | NUMBER: 990-4576 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| May 7, 2008 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ORG/Requisition: 01300700/ 1328007066 |  |  |  |  |  |  | PURCHASING USE |  |  |  | /tmp/in/input.doc |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | jlg |  |  |  |  |  |  |  |  |  |  |  |
| IMPORTANT: SUBMIT QUOTATION IN SEALED PACKAGE WITH QUOTATION NUMBER, CLOSING DATE AND BUYER’S NAME MARKED CLEARLY ON THE OUTSIDE TO: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| COUNTY OF FRESNO, Purchasing 4525 EAST HAMILTON AVENUE FRESNO, CA 93702-4599 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Closing date of bid will be at 2:00 p.m., on June 2, 2008. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| QUOTATIONS WILL BE CONSIDERED LATE WHEN THE OFFICIAL PURCHASING TIME CLOCK READS 2:00 P.M. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Quotations will be opened and publicly read at that time. All quotation information will be available for review after contract award. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Clarification of specifications are to be directed to: Ken Vozza, phone (559) 456-7110, FAX (559) 456-7831. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| GENERAL CONDITIONS: See “County Of Fresno Purchasing Standard Instructions And Conditions For Request For Proposals (RFP’S) and Requests for Quotations (RFQ’S)” attached. Check County of Fresno Purchasing’s Open Solicitations website at www.co.fresno.ca.us/0440/Bidshome.asp for RFQ/RFP documents and changes. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| BIDDER TO COMPLETE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| UNDERSIGNED AGREES TO FURNISH THE COMMODITY OR SERVICE STIPULATED IN THE ATTACHED QUOTATION SCHEDULE AT THE PRICES AND TERMS STATED, SUBJECT TO THE “COUNTY OF FRESNO PURCHASING STANDARD INSTRUCTIONS AND CONDITIONS FOR REQUEST FOR QUOTATIONS (RFP’S) AND REQUESTS FOR QUOTATIONS (RFQ’S)”ATTACHED. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Except as noted on individual items, the following will apply to all items in the Quotation Schedule. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Complete delivery will be made within |  |  |  |  |  |  |  | calendar days after receipt of Order. |  |  |  |  |  |  |  |  |  |  |
| - A cash discount of |  |  |  |  | % |  |  |  |  | days will apply. |  |  |  |  |  |  |  |  |
| Company |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Address |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| City |  |  |  |  |  |  |  |  |  |  |  |  | State |  | Zip Code |  |  |  |
| ( ) |  |  |  | ( ) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Telephone Number |  |  |  | Facsimile Number |  |  |  |  |  |  |  |  | E-mail Address |  |  |  |  |  |
| Signed By |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Print Name |  |  |  |  |  |  |  |  | Title |  |  |  |  |  |  |  |  |  |

COUNTY OF FRESNO PURCHASING

STANDARD INSTRUCTIONS AND CONDITIONS FOR
REQUESTS FOR PROPOSALS (RFP'S) AND REQUESTS FOR QUOTATIONS (RFQ'S)

Note: the reference to “bids” in the following paragraphs applies to RFP's and RFQ's

## GENERAL CONDITIONS

By submitting a bid the bidder agrees to the following conditions.  These conditions will apply to all subsequent purchases based on this bid.

- BID PREPARATION:

  - All prices and notations must be typed or written in ink.  No erasures permitted.  Errors may be crossed out, initialed and corrections printed in ink by person signing bid.

  - Brand Names: Brand names and numbers when given are for reference. Equal items will be considered, provided the offer clearly describes the article and how it differs from that specified.  In the absence of such information it shall be understood the offering is exactly as specified.

  - State brand or make of each item.  If bidding on other than specified, state make, model and brand being bid and attach supporting literature/specifications to the bid.

  - Bid on each item separately.  Prices should be stated in units specified herein.  All applicable charges must be quoted; charges on invoice not quoted herein will be disallowed.

  - Time of delivery is a part of the consideration and must be stated in definite terms and must be adhered to.  F.O.B. Point shall be destination or freight charges must be stated.

  - All bids must be dated and signed with the firm’s name and by an authorized officer or employee.

  - Unless otherwise noted, prices shall be firm for 120 days after closing date of bid.

- SUBMITTING BIDS:

  - Each bid must be submitted on forms provided in a sealed envelope with bid number and closing date and time on the outside of the envelope/package.

  - Interpretation: Should any discrepancies or omissions be found in the bid specifications or doubt as to their meaning, the bidder shall notify the Buyer in writing at once.  The County shall not be held responsible for verbal interpretations.  Questions regarding the bid must be received by Purchasing at least 5 working days before bid opening.  All addenda issued shall be in writing, duly issued by Purchasing and incorporated into the contract.

  - ISSUING AGENT/AUTHORIZED CONTACT: This RFQ has been issued by County of Fresno Purchasing. Purchasing shall be the vendor’s sole point of contact with regard to the RFQ, its content, and all issues concerning it.

All communication regarding this RFQ shall be directed to an authorized representative of County Purchasing. The specific buyer managing this RFQ is identified on the cover page, along with his or her telephone number, and he or she should be the primary point of contact for discussions or information pertaining to the RFQ. Contact with any other County representative, including elected officials, for the purpose of discussing this RFQ, its content, or any other issue concerning it, is prohibited unless authorized by Purchasing. Violation of this clause, by the vendor having unauthorized contact (verbally or in writing) with such other County representatives, may constitute grounds for rejection by Purchasing of the vendor’s quotation.

The above stated restriction on vendor contact with County representatives shall apply until the County has awarded a purchase order or contract to a vendor or vendors, except as follows. First, in the event that a vendor initiates a formal protest against the RFQ, such vendor may contact the appropriate individual, or individuals who are managing that protest as outlined in the County’s established protest procedures. All such contact must be in accordance with the sequence set forth under the protest procedures. Second, in the event a public hearing is scheduled before the Board of Supervisors to hear testimony prior to its approval of a purchase order or contract, any vendor may address the Board.

  - Bids received after the closing time will NOT be considered.

  - Bidders are to bid what is specified or requested first. If unable to or willing to, bidder may bid alternative or option, indicating all advantages, disadvantages and their associated cost.

  - Public Contract Code Section 7028.15

Where the State of California requires a Contractor’s license, it is a misdemeanor for any person to submit a bid unless specifically exempted.

- FAILURE TO BID:

  - If not bidding, return bid sheet and state reason for no bid or your name may be removed from mailing list.

- TAXES, CHARGES AND EXTRAS:

  - County of Fresno is subject to California sales and/or use tax (7.975%). Please indicate as a separate line item if applicable.

  - DO NOT include Federal Excise Tax.  County is exempt under Registration No. 94-73-03401-K.

  - County is exempt from Federal Transportation Tax.  Exemption certificate is not required where shipping papers show consignee as County of Fresno.

  - Charges for transportation, containers, packing, etc. will not be paid unless specified in bid.

- W-9 – REQUEST FOR TAXPAYER IDENTIFICATION NUMBER AND CERTIFICATION:

Upon award of bid, the vendor shall submit to County Purchasing, a completed W-9 - Request for Taxpayer Identification Number and Certification if not already a current vendor with The County of Fresno. This form is available from the IRS to complete on line at http://www.irs.gov/pub/irs-pdf/fw9.pdf.

- AWARDS:

  - Subject to the local preference provisions referenced in Paragraph 6 below and more thoroughly set forth in the General Requirements section of this RFQ, award(s) will be made to the most responsive responsible bidder.  The evaluation will include such things as life-cycle cost, availability, delivery costs and whose product and/or service is deemed to be in the best interest of the County. The County shall be the sole judge in making such determination.

  - Unless bidder gives notice of all-or-none award in bid, County may accept any item, group of items or on the basis of total bid.

  - The County reserves the right to reject any and all bids and to waive informalities or irregularities in bids.

  - After award, all bids shall be open to public inspection. The County assumes no responsibility for the confidentiality of information offered in a bid.

- LOCAL VENDORS

  - Local Vendor Preference (applicable to RFQ Process only)

The following provisions are applicable only to the County’s acquisition of materials, equipment or supplies through the RFQ process when the funding source does not require an exemption to the Local Vendor Preference.

THE PROVISIONS OF THIS PARAGRAPH ARE APPLICABLE, NOTWITHSTANDING ANY OTHER PROVISIONS OF THIS RFQ TO THE CONTRARY

If the apparent low bidder is not a local vendor, any local vendor who submitted a bid which was within five percent (5%) of the lowest responsive  bid as determined by the purchasing agent shall have the option of submitting a new bid within forty-eight hours (not including weekends and holidays) of County’s delivery of notification. Such new bids must be in an amount less than or equal to the lowest responsive bid as determined by the purchasing agent.  If the purchasing agent receives any new bids from local vendors who have the option of submitting new bids within said forty-eight hour period, it shall award the contract to the local vendor submitting the lowest responsible bid. If no new bids are received, the contract shall be awarded to the original low bidder as announced by the purchasing agent.

  - Local Vendor Defined

“Local Vendor” shall mean any business which:

- Has its headquarters, distribution point or locally-owned franchise located in or having a street address within the County for at least six (6) months immediately prior to the issuance of the request for competitive bids by the purchasing agent; and

- Holds any required business license by a jurisdiction located in Fresno County; and

- Employs at least one (1) full-time or two (2) part-time employees whose primary residence is located within Fresno County, or if the business has no employees, shall be at least fifty percent (50%) owned by one or more persons whose primary residence(s) is located within Fresno County.

- TIE BIDS:

All other factors being equal, the contract shall be awarded to the Fresno County vendor or, if neither or both are Fresno County vendors, it may be awarded by the flip of a coin in the presence of witnesses or the entire bid may be rejected and re-bid. If the General Requirements of this RFQ state that they are applicable, the provisions of the Fresno County Local Vendor Preference shall take priority over this paragraph.

- PATENT INDEMNITY:

The vendor shall hold the County, its officers, agents and employees, harmless from liability of any nature or kind, including costs and expenses, for infringement or use of any copyrighted or uncopyrighted composition, secret process, patented or unpatented invention, article or appliance furnished or used in connection with this bid.

- SAMPLES:

Samples, when required, must be furnished and delivered free and, if not destroyed by tests, will upon written request (within 30 days of bid closing date) be returned at the bidder's expense. In the absence of such notification, County shall have the right to dispose of the samples in whatever manner it deems appropriate.

- RIGHTS AND REMEDIES OF COUNTY FOR DEFAULT:

  - In case of default by vendor, the County may procure the articles or service from another source and may recover the cost difference and related expenses occasioned thereby from any unpaid balance due the vendor or by proceeding against performance bond of the vendor, if any, or by suit against the vendor. The prices paid by the County shall be considered the prevailing market price at the time such purchase is made.

  - Articles or services, which upon delivery inspection do not meet specifications, will be rejected and the vendor will be considered in default. Vendor shall reimburse County for expenses related to delivery of non-specified goods or services.

  - Regardless of F.O.B. point, vendor agrees to bear all risks of loss, injury or destruction to goods and materials ordered herein which occur prior to delivery and such loss, injury or destruction shall not release vendor from any obligation hereunder.

- DISCOUNTS:

Terms of less than 15 days for cash payment will be considered as net in evaluating this bid. A discount for payment within fifteen (15) days or more will be considered in determining the award of bid. Discount period will commence either the later of delivery or receipt of invoice by the County. Standard terms are Net Forty-five (45) days.

- SPECIAL CONDITIONS IN BID SCHEDULE SUPERSEDE GENERAL CONDITIONS.

The “General Conditions” provisions of this RFP/RFQ shall be superseded if in conflict with any other section of this bid, to the extent of any such conflict.

- SPECIAL REQUIREMENT:

With the invoice or within twenty-five (25) days of delivery, the seller must provide to the County a Material Safety Data Sheet for each product, which contains any substance on “The List of 800 Hazardous Substances”, published by the State Director of Industrial Relations. (See Hazardous Substances Information and Training Act. California State Labor Code Sections 6360 through 6399.7.)

- RECYCLED PRODUCTS/MATERIALS:

Vendors are encouraged to provide and quote (with documentation) recycled or recyclable products/materials which meet stated specifications.

- YEAR COMPLIANCE WARRANTY

Vendor warrants that any product furnished pursuant to this Agreement/order shall support a four-digit year format and be able to accurately process date and time data from, into and between the twentieth and twenty-first centuries, as well as leap year calculations. "Product" shall include, without limitation, any piece or component of equipment, hardware, firmware, middleware, custom or commercial software, or internal components or subroutines therein. This warranty shall survive termination or expiration of this Agreement.

In the event of any decrease in product functionality or accuracy related to time and/or date data related codes and/or internal subroutines that impede the product from operating correctly using dates beyond December 31, 1999, vendor shall restore or repair the product to the same level of functionality as warranted herein, so as to minimize interruption to County's ongoing business process, time being of the essence. In the event that such warranty compliance requires the acquisition of additional programs, the expense for any such associated or additional acquisitions, which may be required, including, without limitation, data conversion tools, shall be borne exclusively by vendor. Nothing in this warranty shall be construed to limit any rights or remedies the County may otherwise have under this Agreement with respect to defects other than year performance.

- PARTICIPATION:

Bidder may agree to extend the terms of the resulting contract to other political subdivision, municipalities and tax-supported agencies.

Such participating Governmental bodies shall make purchases in their own name, make payment directly to bidder, and be liable directly to the bidder, holding the County of Fresno harmless.

- CONFIDENTIALITY:

All services performed by vendor shall be in strict conformance with all applicable Federal, State of California and/or local laws and regulations relating to confidentiality, including but not limited to, California Civil Code, California Welfare and Institutions Code, Health and Safety Code, California Code of Regulations, Code of Federal Regulations.

Vendor shall submit to County’s monitoring of said compliance.

Vendor may be a business associate of County, as that term is defined in the “Privacy Rule” enacted by the Health Insurance Portability and Accountability Act of 1996 (HIPAA). As a HIPAA Business Associate, vendor may use or disclose protected health information (“PHI”) to perform functions, activities or services for or on behalf of County as specified by the County, provided that such use or disclosure shall not violate HIPAA and its implementing regulations. The uses and disclosures if PHI may not be more expansive than those applicable to County, as the “Covered Entity” under HIPAA’S Privacy Rule, except as authorized for management, administrative or legal responsibilities of the Business Associate.

Vendor shall not use or further disclose PHI other than as permitted or required by the County, or as required by law without written notice to the County.

Vendor shall ensure that any agent, including any subcontractor, to which vendor provides PHI received from, or created or received by the vendor on behalf of County, shall comply with the same restrictions and conditions with respect to such information.

- APPEALS

Appeals must be submitted in writing within seven (7) working days after the review committee notification of proposed recommendations. Appeals should be submitted to County of Fresno Purchasing, 4525 E. Hamilton Avenue, Fresno, California 93702-4599. Appeals should address only areas regarding RFP contradictions, procurement errors, quotation rating discrepancies, legality of procurement context, conflict of interest, and inappropriate or unfair competitive procurement grievance regarding the RFP process.

The Purchasing Manager will provide a written response to the complaint within seven (7) working days unless the complainant is notified more time is required.

If the protesting bidder is not satisfied with the decision of the Purchasing Manager, he/she shall have the right to appeal to the Purchasing Agent within seven (7) business days after notification of the Purchasing Manager’s decision.

If the protesting bidder is not satisfied with Purchasing Agent decision, the final appeal is with the Board of Supervisors.

- OBLIGATIONS OF CONTRACTOR:

  - CONTRACTOR shall perform as required by the ensuing contract. CONTRACTOR also warrants on behalf of itself and all subcontractors engaged for the performance of the ensuing contract that only persons authorized to work in the United States pursuant to the Immigration Reform and Control Act of 1986 and other applicable laws shall be employed in the performance of the work hereunder.

  - CONTRACTOR shall obey all Federal, State, local and special district laws, ordinances and regulations.

- AUDITS & RETENTION:

The Contractor shall maintain in good and legible condition all books, documents, papers, data files and other records related to its performance under this contract. Such records shall be complete and available to Fresno County, the State of California, the federal government or their duly authorized representatives for the purpose of audit, examination, or copying during the term of the contract and for a period of at least three years following the County's final payment under the contract or until conclusion of any pending matter (e.g., litigation or audit), whichever is later. Such records must be retained in the manner described above until all pending matters are closed.

- BIDDING INSTRUCTIONS

GENERAL REQUIREMENTS

The County of Fresno has in operation approximately one-hundred and twenty-three (123) facilities with intrusion alarm systems and approximately thirty-four (34) fire or intrusion alarm systems that require monitoring services located throughout Fresno County.  This total represents a combination of intrusion, duress, and environmental monitors.  The intent of the RFQ is to identify vendor(s) that are interested in performing contracted maintenance and repair services; annual inspections and testing services for intrusion alarm systems; as well as alarm system monitoring services for certain fire alarm and intrusion alarm systems.  The County of Fresno’s delivery of service to the citizens and employees of the County is dependent upon the reliable operation of the identified systems.

LOCAL VENDOR PREFERENCE:  The Local Vendor Preference does not apply to this Request for Quotation.

ISSUING AGENT: This RFQ has been issued by County of Fresno Purchasing. The County Purchasing shall be the vendor’s sole point of contact with regard to the RFQ, its content, and all issues concerning it.

AUTHORIZED CONTACT: All communication regarding this RFQ shall be directed to an authorized representative of County Purchasing. The specific buyer managing this RFQ is identified on the cover page, along with his or her telephone number, and he or she should be the primary point of contact for discussions or information pertaining to the RFQ. Contact with any other County representative, including elected officials, for the purpose of discussing this RFQ, it content, or any other issue concerning it, is prohibited unless authorized by Purchasing. Violation of this clause, by the vendor having unauthorized contact (verbally or in writing) with such other County representatives, may constitute grounds for rejection by Purchasing of the vendor’s quotation.

The above stated restriction on vendor contact with County representatives shall apply until the County has awarded a purchase order or contract to a vendor or vendors, except as follows. First, in the event that a vendor initiates a formal protest against the RFQ, such vendor may contact the appropriate individual, or individuals who are managing that protest as outlined in the County’s established protest procedures. All such contact must be in accordance with the sequence set forth under the protest procedures. Second, in the event a public hearing is scheduled before the Board of Supervisors to hear testimony prior to its approval of a purchase order or contract, any vendor may address the Board.

AWARD: Award will be made to the bidder(s) whose product(s) service, price, and delivery is most advantageous to the County. The County will be the sole judge in making this determination.

NUMBER OF COPIES:  Submit one (1) original and four (4) copies of your quotation no later than the quotation closing date and time as stated on the front of this document to the County of Fresno County Purchasing. Each copy to be identical to the original, including all supporting documentation (i.e. literature, brochures, reports, schedules, specifications, drawings etc.). The cover page of each quotation is to be appropriately marked “Original” or “Copy”.

FIRM PROPOSAL:  For purposes of award, all bids shall remain firm for at least one hundred eighty (180) calendar days from the closing date of this RFQ.

RIGHT TO REJECT BIDS: The County reserves the right to reject any and all bids and to waive informalities or irregularities in bids.

INTERPRETATION OF RFQ: Vendors must make careful examination of the requirements, specifications and conditions expressed in the RFQ and fully inform themselves as to the quality and character of services required.  If any person planning to submit a quotation finds discrepancies in or omissions from the RFQ or has any doubt as to the true meaning or interpretation, correction thereof may be requested at the scheduled Pre-bid Vendor Conference (see below).  Any change in the RFQ will be made only by written addendum, duly issued by the County.  The County will not be responsible for any other explanations or interpretations.

Questions may be submitted subsequent to the Pre-bid Vendor Conference, subject to the following conditions:

- Such questions are submitted in writing to County Purchasing no later than May 22, 2008 at 8:00 A.M. Questions must be directed to the attention of the buyer identified on page one.

- Such questions are submitted with the understanding that County can respond only to questions it considers material in nature.

Questions shall be delivered to County of Fresno Purchasing, 4525 E. Hamilton Avenue, Fresno, California 93702, e-mailed to CountyPurchasing@co.fresno.ca.us or faxed to (559) 456-7831. If faxing, the bidder must confirm receipt by phone within one-half (1/2) hour of transmission.

NOTE: The bidder is encouraged to submit all questions at the Vendor Conference. Time limitations can prevent a response to questions submitted after the conference.

PRE-BID VENDOR CONFERENCE: On May 20, 2008 at 1:30 P.M., a vendor's conference will be held in which the scope of the project and proposal requirements will be explained. The meeting will be held at the office of County of Fresno Purchasing, 4525 E. Hamilton (between Cedar and Maple), Fresno, California. Addendum will be prepared and distributed to all bidders only if necessary to clarify substantive items raised during the bidders' conference.

Bidders are to contact Ken Vozza at County of Fresno Purchasing, (559) 456-7110, if they are planning to attend the conference.

SITE INSPECTIONS:  It is anticipated that vendor questions can be appropriately answered at the Pre-bid Vendor Conference thus eliminating the need for site inspections; however, site inspections for specific facilities will be conducted if a vendor feels the need to visit one or more sites.  Vendors must indicate their desire to visit a specific site or sites at the Pre-bid Vendor Conference.  Site inspections will be scheduled immediately following the conference; late requests for site inspections can not be accepted.

AGREEMENT TERM:  It is anticipated that the agreement term will be or a period of three (3) years with the potential to extend for two (2) additional one (1) year periods.  The agreement start date is expected to be September 1, 2008.

CODES AND REGULATIONS: All work and material to conform to all applicable state and local building and other codes and regulations.

MATERIALS TO BE NEW: All materials shall be new and of merchantable grade, free from defect. No bid will be considered unless it is accompanied by a complete list of catalog numbers of the items, which the bidder proposes to furnish, together with full descriptive literature on all items so enumerated. If item proposed differs from these specifications, bidder shall present specific explanation of functioning and structural characteristics for those details which differ from the specifications listed herein.

DAMAGE TO EXISTING WORK: Damage to existing construction, equipment, planting, etc., by the successful bidder in the performance of his work shall be replaced or repaired and restored to original condition by the successful bidder.

CLEAN-UP: The successful bidder shall at all times keep the premises clean from accumulation of waste materials or rubbish caused by his employees or work and shall remove all resulting work debris from the job site.

WATER, POWER & TOILET FACILITIES: Successful bidder may use County owned water, power and toilet facilities at job site (when existing) at no expense to the successful bidder. Successful bidder will be required, however, to provide piping, fittings and other items as necessary to bring water and power from existing service to job site.

COORDINATE WORK WITH OWNER: Successful bidder shall coordinate and schedule the work with the County so that any interruption to the normal business operations be kept to a minimum.

TAXES, PERMITS & FEES: The successful bidder shall pay for and include all federal, state and local taxes direct or indirect upon all materials; pay all fees for, and obtain all necessary permits and licenses, unless otherwise specified herein.

INSPECTION: All material and workmanship shall be subject to inspection, examination and test by the County at any and all times during which manufacture and/or construction are carried on. The County shall have the right to reject defective material and workmanship or require its correction.

SUPERVISION: The successful bidder shall give efficient supervision to the work, using therein the skill and diligence for which he is remunerated in the contract price. He shall carefully inspect the site and study and compare all drawings, specifications and other instructions, as ignorance of any phase of any of the features or conditions affecting the contract will not excuse him from carrying out its provisions to its full intent.

SAFEGUARDS:  The successful bidder shall provide, in conformity with all local codes and ordinances and as may be required, such temporary walls, fences, guardrails, barricades, lights, danger signs, enclosures, etc., and shall maintain such safeguards until all work is completed.

PAYMENT: Upon satisfactory completion of work, specified herein and approval by the County, payment will be made in full.  Terms of payment will be net forty-five (45) days. County will consider the Bidder’s Cash discount Offer, as previously stated under the General Terms and Conditions in lieu of the net forty-five (45) days payment terms.

INVOICING: Invoices shall be delivered in triplicate to: Fresno County Security.

INDEPENDENT CONTRACTOR: In performance of the work, duties and obligations assumed by Contractor under this Agreement, it is mutually understood and agreed that Contractor, including any and all of Contractor's officers, agents, and employees will at all times be acting and performing as an independent contractor, and shall act in an independent capacity and not as an officer, agent, servant, employee, joint venturer, partner, or associate of the County. Furthermore, County shall have no right to control or supervise or direct the manner or method by which Contractor shall perform its work and function.  However, County shall retain the right to administer this Agreement so as to verify that Contractor is performing its obligations in accordance with the terms and conditions thereof.  Contractor and County shall comply with all applicable provisions of law and the rules and regulations, if any, of governmental authorities having jurisdiction over matters the subject thereof.

Because of its status as an independent contractor, Contractor shall have absolutely no right to employment rights and benefits available to County employees.  Contractor shall be solely liable and responsible for providing to, or on behalf of, its employees all legally required employee benefits.  In addition, Contractor shall be solely responsible and save County harmless from all matters relating to payment of Contractor's employees, including compliance with Social Security, withholding, and all other regulations governing such matters.  It is acknowledged that during the term of this Agreement, Contractor may be providing services to others unrelated to the County or to this Agreement.

HOLD HARMLESS CLAUSE:  Contractor agrees to indemnify, save, hold harmless and at County's request, defend its officers, agents and employees, from any and all costs and expenses, damages, liabilities, claims and losses occurring or resulting to County in connection with the performance, or failure to perform, by Contractor, its officers, agents or employees under this agreement and from any and all costs and expenses, damages, liabilities, claims and losses occurring or resulting to any person, firm or corporation who may be injured or damaged by the performance, or failure to perform, of Contractor, its officers, agents or employees under this agreement.

ASSURANCES:  Any contract awarded under this RFQ must be carried out in full compliance with The Civil Rights Act of 1964, The Americans With Disabilities Act of 1990, their subsequent amendments, and any and all other laws protecting the rights of individuals and agencies.  The County of Fresno has a zero tolerance for discrimination, implied or expressed, and wants to ensure that policy continues under this RFQ.  The contractor must also guarantee that services, or workmanship, provided will be performed in compliance with all applicable local, state, or federal laws and regulations pertinent to the types of services, or project, of the nature required under this RFQ.  In addition, the contractor may be required to provide evidence substantiating that their employees have the necessary skills and training to perform the required services or work.

PREVAILING WAGES: In accordance with the provisions of Section 1770 of the Labor Code, the Director of the Department of Industrial Relations of the State of California has determined the general prevailing rates of wages and employer payments for health and welfare pension, vacation, travel time and subsistence pay as provided for in Section 1773.8, apprenticeship or other training programs authorized by Section 3093, and similar purposes applicable to the work to be done. A copy of the above-mentioned wage rates shall be posted by the successful bidder at the job site where it will be available to any interested party.

Information pertaining to Prevailing Wage Rates can be found on the web site for the State of California – Division of Labor Statistics and Research:

http://www.dir.ca.gov/dlsr/statistics_research.html

- INSURANCE:

Without limiting the COUNTY's right to obtain indemnification from CONTRACTOR or any third parties, CONTRACTOR, at its sole expense, shall maintain in full force and effect, the following insurance policies or a program of self-insurance, including but not limited to, an insurance pooling arrangement or Joint Powers Agreement (JPA) throughout the term of the Agreement:

- Commercial General Liability

Commercial General Liability Insurance with limits of not less than One Million Dollars ($1,000,000) per occurrence and an annual aggregate of Two Million Dollars ($2,000,000). This policy shall be issued on a per occurrence basis. County may require specific coverages including completed operations, products liability, contractual liability, Explosion-Collapse-Underground, fire legal liability or any other liability insurance deemed necessary because of the nature of this contract.

- Automobile Liability

Comprehensive Automobile Liability Insurance with limits for bodily injury of not less than Two Hundred Fifty Thousand Dollars ($250,000.00) per person, Five Hundred Thousand Dollars ($500,000.00) per accident and for property damages of not less than Fifty Thousand Dollars ($50,000.00), or such coverage with a combined single limit of Five Hundred Thousand Dollars ($500,000.00).  Coverage should include owned and non-owned vehicles used in connection with this Agreement.

- Professional Liability

If CONTRACTOR employs licensed professional staff, (e.g., Ph.D., R.N., L.C.S.W., M.F.C.C.) in providing services, Professional Liability Insurance with limits of not less than One Million Dollars ($1,000,000.00) per occurrence, Three Million Dollars ($3,000,000.00) annual aggregate.

- Worker's Compensation

A policy of Worker's Compensation insurance as may be required by the California Labor Code.

Contractor shall obtain endorsements to the Commercial General Liability insurance naming the County of Fresno, its officers, agents, and employees, individually and collectively, as additional insured, but only insofar as the operations under this Agreement are concerned.  Such coverage for additional insured shall apply as primary insurance and any other insurance, or self-insurance, maintained by County, its officers, agents and employees shall be excess only and not contributing with insurance provided under contractor's policies herein. This insurance shall not be cancelled or changed without a minimum of thirty (30) days advance written notice given to County.

Within Thirty (30) days from the date contractor executes this Agreement, contractor shall provide certificates of insurance and endorsement as stated above for all of the foregoing policies, as required herein, to the County of Fresno, Arpi Apkarian, Deputy Director of General Services, stating that such insurance coverage have been obtained and are in full force; that the County of Fresno, its officers, agents and employees will not be responsible for any premiums on the policies; that such Commercial General Liability insurance names the County of Fresno, its officers, agents and employees, individually and collectively, as additional insured, but only insofar as the operations under this Agreement are concerned; that such coverage for additional insured shall apply as primary insurance and any other insurance, or self-insurance, maintained by County, its officers, agents and employees, shall be excess only and not contributing with insurance provided under contractor's policies herein; and that this insurance shall not be cancelled or changed without a minimum of thirty (30) days advance, written notice given to County.

In the event contractor fails to keep in effect at all times insurance coverage as herein provided, the County may, in addition to other remedies it may have, suspend or terminate this Agreement upon the occurrence of such event.

All policies shall be with admitted insurers licensed to do business in the State of California.  Insurance purchased shall be purchased from companies possessing a current A.M. Best, Inc. rating of A FSC VII or better.

- Vendor must complete and return with Request for Quotation.

| Firm: |  |
| --- | --- |

REFERENCE LIST

Submit a list of at least five (5) customer references.  Such references shall be customers for whom the bidder has recently provided services that are similar to those requested herein.

| Reference Name: |  | City: |  |  |  |  |  | State |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Contact |  | Phone No.: |  | ( |  | ) |  |  |  |
| Date: |  |  |  |  |  |  |  |  |  |
| Service Provided: |  |  |  |  |  |  |  |  |  |
| Reference Name: |  | City: |  |  |  |  |  | State |  |
| Contact |  | Phone No.: |  | ( |  | ) |  |  |  |
| Date: |  |  |  |  |  |  |  |  |  |
| Service Provided: |  |  |  |  |  |  |  |  |  |
| Reference Name: |  | City: |  |  |  |  |  | State |  |
| Contact |  | Phone No.: |  | ( |  | ) |  |  |  |
| Date: |  |  |  |  |  |  |  |  |  |
| Service Provided: |  |  |  |  |  |  |  |  |  |
| Reference Name: |  | City: |  |  |  |  |  | State |  |
| Contact |  | Phone No.: |  | ( |  | ) |  |  |  |
| Date: |  |  |  |  |  |  |  |  |  |
| Service Provided: |  |  |  |  |  |  |  |  |  |
| Reference Name: |  | City: |  |  |  |  |  | State |  |
| Contact |  | Phone No.: |  | ( |  | ) |  |  |  |
| Date: |  |  |  |  |  |  |  |  |  |
| Service Provided: |  |  |  |  |  |  |  |  |  |

FAILURE TO PROVIDE A LIST OF AT LEAST FIVE (5) CUSTOMERS MAY BE CAUSE FOR REJECTION OF THIS RFQ.

SCOPE OF WORK/
REQUIREMENTS/CONDITIONS/
SPECIFICATIONS

- INTRODUCTION

The County of Fresno has in operation approximately one-hundred and twenty-three (123) facilities with intrusion alarm systems and approximately thirty-four (34) fire or intrusion alarm systems that require monitoring services located throughout Fresno County.  This total represents a combination of intrusion, duress, and environmental monitors.  The intent of the RFQ is to identify vendor(s) that are interested in performing contracted maintenance and repair services; annual inspections and testing services for intrusion alarm systems; as well as alarm system monitoring services for certain fire alarm and intrusion alarm systems.  The County of Fresno’s delivery of service to the citizens and employees of the County is dependent upon the reliable operation of the identified systems.

- OVERVIEW

This Request for Quotation provides information required to prepare and submit quotations for scheduled maintenance, corrective maintenance, and system monitoring.  The bidders shall submit information pertaining to their ability to perform the specified services in a reliable, practical, cost-effective manner, while maintaining the highest technical standards regardless of the day or time.

The County has specified its requirements for a maintenance program.  The bidder’s quotation shall meet such requirements.

- COMPETENCE OF BIDDER

The importance of maintaining the identified equipment in a safe and efficient operating condition at all times demands that service be performed by a company who has satisfactorily maintained equipment of similar grade to the degree specified herein.

In order to demonstrate that the bidder can properly fulfill all of the services and conditions of these specifications, Contractor shall furnish with his bid a written statement indicating that he has:

- A current license to perform the work conformance with the provisions of the State business and Professions Code.  License Number shall be set forth in all bids and contracts.

- Satisfactorily preformed other contracts of similar nature and magnitude.

- Adequate capital and satisfactory business standing as required by the work.

- The requisite organization of skilled and experienced technicians thoroughly trained in the inspection, testing, maintenance and repair of fire/intrusion/duress system and device repair under his direct employment and supervision.

- The necessary facilities and plant, including parts inventory located within fifty (50) miles distance from the County sites involved.

- Toll free communication facilities on a 24 hour-per-day, 365 days-per-year basis so his staff can be reached and will respond as specified herein.

- All proprietary information and diagnostic tools necessary to properly maintain, trouble shoot and monitor the County’s systems.

The above shall be included with the bidder’s quotation under the heading “Competence of Bidder.”

- GENERAL REQUIREMENTS

Provide all labor, materials, appliances, tools, transportation, taxes, equipment, etc. required to complete scheduled system maintenance, corrective maintenance and/or system monitoring.

Provide written detailed annual inspection and testing reports to the Director of General Services or his/her designee within thirty (30) days of the completion of the testing and/or inspection.  Invoices for inspection and testing services will NOT be paid until inspection and testing reports are received and approved by the COUNTY.

All work shall be in full compliance with current rules and regulations of all applicable codes.  Nothing in this RFQ is to be construed to permit work not conforming to these codes.  Applicable codes and regulations include, but are not limited to, the following:

1.	National Fire Protection Association - NFPA

2.	Uniform Building Code (Latest Edition)

3.	American Society of Mechanical Engineers - ASME

4.	American Society for Testing and Materials  - ASTM

5.	National Electrical Code - NEC (Latest Edition)

6.	National Electrical Manufacturer’s Association - NEMA

7.	Title 24, Building Safety, C.C.R.

8.	Occupational Safety and Health Act - OSHA

9.	Underwriters Laboratory - UL

10.	All Local Codes

- COMMENCEMENT AND DURATION OF CONTRACT

Services to be preformed under the contract(s) shall commence as specified and continue for a period of three (3) years with an option for additional one (1) year extensions.  The County may terminate any contract by giving the contractor thirty (30) days advance written notice of intent.

- DIRECTOR OF GENERAL SERVICES - RIGHTS AND RESPONSIBILITIES

The term “Director of General Services” shall refer to the General Services Division of the County Administrative Office, Director of General Services of the County of Fresno or his agent acting for him in the supervision of any contract resulting from this RFQ.

It will be the duty of the Director of General Services to supervise the work as it progresses as well as to inspect material, which are used in the work.  The duty of inspectors acting under the Director of General Services shall not only report deviations from the specifications, but they shall have the power to stop the work pending a decision by the Director of General Services.  The inspector shall have no power to alter the specifications.  Advice or directions given to the Contractor by the inspector shall not be binding upon the Director of General Services; neither shall it release the Contractor from his responsibilities as herein stated.

It will be the right of the Director of General Services at any time to stop defective work or to stop the entire work by the Contractor if he is not complying with the rules, specifications and contract entered into between the County of Fresno and the Contractor.

The Director of General Services shall have the right to require the Contractor to remove at any time any employee of the Contractor who shall be employed on this job and who appears to be incompetent, who acts in a disorderly, unsafe or improper manner, or fails to follow established protocols, including county rules and regulations and such person shall not again be put to work on this job without written consent of the Director of General Services.

The Director of General Services without invalidating the Contract, may order extra work or make changes by altering, adding to or deducting from the work only by written Orders, initiated by the Director of General Services and properly approved and authorized and setting forth the amount of money to be added or deducted.

- DELIVERY REQUIREMENTS

The County of Fresno Department of General Services- Security Division will be responsible for the administration of the work requested under this Request for Quotation (RFQ).

Coordination and communication with the Security Division will be essential to the successful completion of this work.  All facilities will remain in full normal operation for the duration of the agreement and any need for disruption of the services provided in these facilities shall be presented with the quotation.

Corrective maintenance and any system component or parts replacement shall be approved by Director of General Services or his designee prior to the start of work and be so indicated in writing on the approved service form.

- CONTROL OF WORK AND INSTRUCTIONS

The contractor shall provide diligent supervision of the work to the satisfaction of the Director of General Services.

Contractor shall confine storage of materials to such limits as may be directed by the Director of General Services and shall not unreasonably encumber the premises with materials and equipment.  Contractor shall enforce any instructions of the Director of General Services regarding signs, advertising, fire, danger signals, barricades, and smoking, and shall require all persons employed on the work to comply with all building regulations while on the premises.

- SCHEDULING OF WORK

All maintenance service shall be scheduled subject to the review and approval of the Security Division .  The contractor(s) shall be required to provide yearly schedules of the work within 30 days of contract execution and on or before January 1, of the subsequent years.  These schedules must be adhered to throughout the term of the agreement.

No work shall interfere with the operation of the existing facilities on or adjacent to the site.  Normal Facility hours are, Monday to Friday, 7:00 AM to 6:00 PM

Work may be scheduled outside of normal working hours as approved by the Director of General Services.

Contractor shall provide for approval by the Director of General Services within 30 days of contract execution the contractors report of service form.  This form will be required to document services rendered.  The form at a minimum shall include, date of service, time of arrival/departure, printed name and signature of technician providing the service, building number, location in the building, type of service (preventative/corrective/extra services),   corrective action taken, location of devices serviced or repaired, parts utilization, status of service/repair, printed name and signature of County representative authorizing the work, completion of work County representative printed name and signature.

SAFEGUARDS

The Contractor shall provide, in conformity with all local codes and ordinances and as may be required, lock-outs, fences, guardrails, barricades, lights, danger signs, enclosures, etc. and maintain such safeguards until work is complete.

Any fire hazardous operation shall have proper fire extinguisher, furnished by the contractor, close by and the adjacent area shall be policed before starting or stopping work for the day.  The contractor shall be responsible for all costs incurred by the County as a result of damaged caused by the contractors operations, including costs associated with false fire alarms caused by the contractor.

The contractor shall ensure that the health and welfare of occupants of the building will not be effected by noise and fumes produced by the work.  The Director of General Services reserves the right to halt any work, at any time he feels it adversely affects the building occupants.

Any asbestos removal shall be by the County.  If the contractor discovers asbestos, which has not been removed, the contractor shall immediately cease work in that area and promptly notify the Director of General Services or his representative.

MATERIALS & WORKMANSHIP

Materials and equipment shall be new unless otherwise approved by the Director of General Services. Materials and equipment of a given type shall be of the same manufacture.   Materials and equipment shall be free of dents, scratches, marks, shipping tags, and all defacing features.

All material, equipment, devices, etc., shall be installed in accordance with the recommendations of the manufacturer of the particular item.  The Contractor shall be responsible for all installations contrary to the manufacturer’s recommendations.  The contractor shall make all necessary changes and revisions necessary for compliance.  Manufacturer’s installations instructions shall be delivered to and maintained on the job site through the duration of the project.

Any work which is done as an addition, expansion or remodel to an existing system or system component shall be compatible with that system and be approved prior to the installation.

Workmanship shall be to the best of trade practices, preformed by workers thoroughly trained and familiar with the respective systems. All defective workmanship shall be corrected by the contractor, at the contractor’s expense.

The contractor shall thoroughly clean all of his work, removing all debris, stain and marks resulting from his work.  This includes but is not limited to building surfaces, piping, and equipment. Surfaces shall be free of dirt, grease, labels, tags, tape, rust, and all foreign material.

Contractor shall ensure that before testing or servicing the systems notification is given to the appropriate County representative(s).  Contractor shall be responsible for all costs associated with alarms or signals that result in interruption of business or unplanned evacuation.

Wiring in panel boards, and cabinets shall be neatly installed.  Wiring shall be grouped, laced, or clipped and fanned out to wiring terminals.

Wiring in all cabinets, panel boards, control panels shall be identified and clearly marked at termination.

Installation of conduit, junction boxes, and associated equipment shall be done in a neat manner secured to the structure or suspended on conduit hangers.

All wiring and construction prints or diagrams of systems covered under this contract are the property of the County and upon termination of this contract shall be delivered to the Director of General Services.  Absolutely no changes are to be made to the circuitry or mechanical systems without prior approval of the Director of General Services.  Any changes without prior approval may be considered a breach of contract.  All changes in circuitry made by Contractor shall be properly recorded on the diagrams, including date of change and name of person making same.  It is the responsibility of the Contractor to maintain clean, legible, readable and accurate schematics and wiring diagrams at all times.  Prints and diagrams are to remain on the job site.

RESPONSIBILITY OF CONTRACTOR

Contractor shall take responsibility for the work, and shall bear all losses resulting to him on account of the negligence of the Contractor.  Contractor shall be responsible for all work of subcontractors and shall assume the defense of and indemnify and save harmless the County of Fresno and any of its officers and their agents from claims of any kind arising from the negligent performance of this Contract by the Contractor or any of his subcontractors.  Contractor shall not be liable for injuries or damage to persons or property except those directly due to his own acts or omissions, and the responsibility of the County for injuries or damage to persons or property while on or about the equipment being maintained hereunder is in no way affected by this Agreement.  Contractor shall not be liable for any loss, damage or delay caused by strikes, lock-outs, fire, explosion, theft, floods, riot, civil commotion, war, malicious mischief, act of God or any cause beyond his reasonable control.

No equipment requiring repair shall be allowed to remain out of service due to the lack of diligent effort by the Contractor.  Any part or equipment locally available will be purchased locally if necessary to expedite the job.  Repairs shall be begun and carried to completion as soon as possible unless other arrangements are approved by the Director of General Services.

Contractor shall in no case allow the performance of work by subcontract unless the subcontractor has been approved by the Director of General Services, and in no case shall the use of subcontractors in any way alter the position of the Contractor or his sureties with relation to his Contract with County of Fresno.  When a subcontractor is used the responsibility for every portion of the work shall still remain with the Contractor.

Contractor shall obtain prior approval of the Director of General Services in writing for any area or space required for the Contractor’s storage during operations. This space will be maintained in a clean and orderly fashion.

Materials, equipment, etc., shall not be piled or stored in any location which shall interfere with the conduct of the normal functions of the building or property.  All required safety precautions such as barricades, signs, danger signals, etc., shall be furnished and installed by the Contractor during operations.

Upon demand of the Director of General Services the Contractor shall correct any dangerous or hazardous situations that the Director of General Services may indicate.

Contractor shall completely protect against damage from either materials or equipment all surfaces, equipment and facilities, adjoining his work, including, but not limited to woodwork, walls and floors.  All repair or replacement costs resulting from this damage shall be borne by the Contractor.  At the conclusion of each day’s work, the Contractor shall remove refuse, debris or waste materials and leave the premises in an orderly condition as required by the Director of General Services.

Contractor must specify the degree of support the County may be required to furnish to accomplish the requirements of this agreement, if any.  Specify the man-hours required, and the nature of County’s participation within the scope of the agreement.

Contractor shall provide sufficient technicians for the service of the systems listed in this agreement in accordance with the specifications herein. Technicians utilized for alarm systems shall be qualified and experienced in the inspection, testing, and maintenance of alarm systems. Contractor may be required at any time to provide substantiation and verification of qualifications of their employee(s) upon request of the Director of General Services

Contractor shall provide, for approval by the Director of General Services, the procedure to be followed for requesting services provided in this agreement.  This procedure will include, Method of requesting service, ability to provide estimated arrival time of technician to site, reporting of call completion, communication with requesting staff and technician servicing the contract, etc.

Contractor shall submit written quarterly, semi-annual and annual inspection reports to the Director of General Services or his/her designee within thirty (30) calendar days of the actual date of the inspection.

- EXTRA WORK - CHANGE IN WORK

The County, without invalidating the Contract, may order extra work or make changes by altering, adding to or deducting from the work only by written Orders, initiated by the Director of General Services or his/her designee and properly approved and authorized and setting forth the amount of money to be added or deducted.

- SPECIAL CONDITIONS

In the event that the County will withdraw any equipment from service, or the usefulness of any equipment shall end, during the term of this Contract, the Contractor shall agree to negotiate an acceptable reduction of cost for services for the balance of the duration of said Contract.

- MANNER AND TIME OF CONDUCTING THE WORK

All work shall be performed by skilled intrusion/duress system technicians and helpers directly employed and supervised by the Contractor.  Only qualified system technicians with a minimum of 4 years journeyman experience shall be allowed to perform service or maintenance work.  Helpers must work under the direct supervision of a journeyman technician.

Except for emergency callback service and minor repairs and/or adjustments hereinafter provided for, all work shall be performed during regular working hours and days.  Regular working hours are from 7:00 a.m. until 6:00 p.m. Monday through Friday.  County holidays excluded.

All equipment shutdowns for regular maintenance or extra examinations shall be scheduled in advance with the designated County representative and approved by the Director of General Services so as not to interfere with building operations during the peak usage times.  Shutdowns in excess of one hour may require scheduling outside of normal business hours.  No extra charges will be incurred because of a scheduled shutdown regardless of day or time.

- EMERGENCY WORK

All work of a callback nature or trouble calls shall be treated as an emergency and work commenced shall be carried through to completion without delay.

Provide 24-hour emergency callback service for all equipment maintained hereunder.  Emergency callback service shall consist of prompt response to requests from the Director of General Services or his authorized representatives for emergency services on any day of the week, at any hour of the day or night.  An emergency call-back is defined as any necessity for maintenance, minor repair and/or adjustment of equipment between regular service calls to restore normal equipment operation.  Emergency call backs will be categorize as follows:

LEVEL I -  	Requires onsite response in one (1) hours or less.

LEVEL II - 	Requires onsite response in four (4) hours or less.

LEVEL III - 	Requires onsite response at 0700 hrs. the next normal working day.

Determination of call level is at the sole discretion of the Director of General Services or his authorized representative.  Failure to furnish emergency call-back service within the above specified time of notification of need may result in termination of contract, withholding of payment, and/or another contractor to be hired to complete the work at the current contractor’s expense.

SERVICE REQUIREMENTS

- DIGITAL ALARM COMMUNICATOR TRANSMITTERS RECEIVERS

- DACT-1 Conducted during normal hours.

Provide, maintain, and monitor Digital Alarm Communicator Transmitters 	and Receivers per NFPA 72.

- TEMPERATURE SENSING DEVICES

TSD-1	Conducted during normal hours.

Provide annual inspection and testing of identified devices.

- INTRUSION ALARM

IA-1	Conducted during normal hours.

Annual preventative maintenance of intrusion alarms systems shall at minimum include the following:

1. Check all zip plates for proper operation and stability.

2. Check all line voltage connections.

3. Replace standby batteries as necessary.

4. Clean interior and exterior of enclosures.

5. Test operation of all digital dialers and line test features.

6. Inspect alarm cables for damage.

7. Check operation and align photo-electric cells.

8. Check operation and adjust all door/window contacts as necessary.

9. Walk test all sonic detection sensors/systems for serviceability and make necessary adjustments.

10. Test all interior and exterior microwave system operation and adjust to manufacturer’s specifications as required.

IA-2	Conducted after normal hours.

Annual preventative maintenance of intrusion alarms systems shall at minimum include the following:

- Check all zip plates for proper operation and stability.

- Check all line voltage connections.

- Replace standby batteries as necessary.

- Clean interior and exterior of enclosures.

- Test operation of all digital dialers and line test features.

- Inspect alarm cables for damage.

- Check operation and align photo-electric cells.

- Check operation and adjust all door/window contacts as necessary.

- Walk test all sonic detection sensors/systems for serviceability and make necessary adjustments.

- Test all interior and exterior microwave system operation and adjust to manufacturer’s specifications as required.

# BIDDER TO COMPLETE

Bidder shall list all subcontractors that would perform work in excess of one/half of one percent of the total amount of your bid, and state general type of work such subcontractor would be performing:

| Bidder’s Company Name: |  |
| --- | --- |
| Authorized Signature: |  |
| Print Name and Title: |  |

CONTRACTOR'S LICENSE:

The bidder shall posses the appropriate California State Contractor’s license(s) that is/are applicable to the work to be performed. The bidder is to indicate which current license(s) that he/she posses and what work it authorizes. Complete the following:

| License Class | Class Title | Work Covered | License No. | Date of Issue |
| --- | --- | --- | --- | --- |

| INSURANCE: |  |  |  |
| --- | --- | --- | --- |
| Name of Insurance Carrier: |  |  |  |
| Public Liability: |  | Expires: |  |
| Auto: |  | Expires: |  |
| Workman's Compensation: |  | Expires: |  |

Proof of maintenance of adequate insurance will be required before award is made to vendor.

QUOTATION SCHEDULE

All labor, materials, appliances, tools, transportation, taxes, equipment, etc. to provide scheduled maintenance, corrective maintenance and monitoring, as specified herein.

NOTE:  The “Service Descriptions” as stated on the Quotation Schedules indicate the scope of services to be provided at each location.  Refer to the appropriate service designation (i.e. IA-1, IA-2, etc.), as stated under the “SERVICE REQUIREMENTS” section of this RFQ, for specifics.

NOTE:  County reserves the option to award the maintenance and repair services (Group I) separately from the monitoring services (Group II)

- EMERGENCY SERVICES

Bidder to quote hourly labor rates for emergency service.  The service levels (I, II and III) are as previously defined under the ‘EMERGENCY WORK” section of this RFQ.

|  | LEVEL I |  |  |  | LEVEL II |  |  |  | LEVEL III |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Technician Type | *Regular Time |  | **Over- Time |  | Regular Time |  | Over- Time |  | Regular Time |  | Over- Time |  |
| Journeyman | $ | /hr | $ | /hr | $ | /hr | $ | /hr | $ | /hr | $ | /hr |
| * | $ |  | $ |  | $ |  | $ |  | $ |  | $ |  |
| * | $ |  | $ |  | $ |  | $ |  | $ |  | $ |  |

Indicate when hourly charge begins and ends and the smallest portion of an hour for which a charge will be made.

*	If other than journeymen state type and define below.

**	Define regular time and overtime in the space provided below.  Indicate and define rates other than regular and overtime that might apply.

Indicate below any minimum charges that would apply to emergency services.

- OTHER CHARGES

Charges for services other than those specified under this RFQ.

- Labor Rates

State hourly labor rate for each type of technician (i.e. apprentice, journeyman, etc.) for each category of work hours (i.e. standard time, overtime, holidays, etc.).  Attach a description of each technician type (training and duties) and define each category of work hours.

| TECHNICIAN TYPE |  | WORK HOUR CATEGORY |  | HOURLY RATE |
| --- | --- | --- | --- | --- |

Indicate when hourly charge begins and ends and the smallest portion of an hour for which a charge will be made.

- OTHER CHARGES (con’t)

- Parts Price List

*List commonly used repair parts and indicate contract price.

| DESCRIPTION |  | BRAND & PART NUMBER |  | PRICE |
| --- | --- | --- | --- | --- |

*Use an attachment for additional items.

State method for determining cost of parts and materials not indicated above (i.e. cost plus, list price less ?%, etc.).

Miscellaneous

State all other charges that may at some time be applicable.

RFQ SUBMITTALS
(*Check List)

# The bidder shall provide the following with their Quotation:

|  | - The completed and signed Page One of this RFQ. |
| --- | --- |
|  | - Complete, sign and submit page one of each and all Addendums to this RFQ which require signature (if any). |
|  | - The specified number of copies of the bidder’s Quotation. |
|  | - The completed Bidder to Complete page of this RFQ. |
|  | - The completed Reference List of this RFQ. |
|  | - The completed Quotation Schedules as provided with this RFQ. |
|  | - A listing of all bidder exceptions to County’s requirements, conditions, and specifications as stated within this RFQ. |
|  | - The information requested under the COMPETENCE OF BIDDER section of this RFQ (items A through G). |
|  | - The completed RFQ SUBMITTALS page. |
|  | - Submit your quotation prior to the specified date and time. Submit in a sealed envelope, box, etc. with the following information displayed on the outside: |

| County of Fresno RFQ No. |  |  | 990-4576 |
| --- | --- | --- | --- |
| Closing Date: | June 2, 2008 |  |  |
| Closing Time: | 2:00 P.M. |  |  |
| Commodity or Service: |  |  |  |

*a.	Submit this page as a part of your Quotation.

b.	Submit all items listed on this page.

c.	State “Yes” on the line to the left of each item to confirm that the requested information has been included, state No if it is not provided and explain why.

d.	The County does not guarantee that all items to be submitted with vendor’s bid are listed above.  The absence of items from the list does not exempt the bidder from providing them. The bidder must read the RFQ thoroughly to determine all items that are to be submitted with his/her quotation.

QUOTATION SCHEDULE GROUP I AND GROUP II 990-4576 Group I Group II Quote Sheet.xls