| COUNTY OF FRESNO |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Request for Quotation |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | NUMBER: 992-4124 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| June 22, 2005 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ORG/Requisition: 8910/ 8915000594 |  |  |  |  |  |  |  |  | PURCHASING USE |  |  |  |  | /tmp/in/input.doc |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | Cn,jol |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | IMPORTANT: SUBMIT QUOTATION IN SEALED PACKAGE WITH QUOTATION NUMBER, CLOSING DATE AND BUYER’S NAME MARKED CLEARLY ON THE OUTSIDE TO: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | COUNTY OF FRESNO, Purchasing 4525 EAST HAMILTON AVENUE FRESNO, CA 93702-4599 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Closing date of bid will be at 2:00 p.m., on JULY 21, 2005.. QUOTES WILL BE CONSIDERED LATE WHEN THE OFFICIAL PURCHASING TIME CLOCK READS 2:00 P.M. |  |  |  |
|  | Quotes will be opened and publicly read at that time. All quotation information will be available for review after contract award. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Clarification of specifications are to be directed to: Craig Nickel, phone (559) 456-7110, FAX (559) 456-7831. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | GENERAL CONDITIONS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | See “County Of Fresno Purchasing Standard Instructions And Conditions For Request For Proposals (RFP’S) and Requests for Quotations (RFQ’S)” attached. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| BIDDER TO COMPLETE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| UNDERSIGNED AGREES TO FURNISH THE COMMODITY OR SERVICE STIPULATED IN THE ATTACHED QUOTATION SCHEDULE AT THE PRICES AND TERMS STATED, SUBJECT TO THE “COUNTY OF FRESNO PURCHASING STANDARD INSTRUCTIONS AND CONDITIONS FOR REQUEST FOR PROPOSALS (RFP’S) AND REQUESTS FOR QUOTATIONS (RFQ’S)”ATTACHED. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Except as noted on individual items, the following will apply to all items in the Quotation Schedule. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | - Complete delivery will be made within |  |  |  |  |  |  |  |  | calendar days after receipt of Order. |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | - A cash discount of |  |  |  |  |  | % |  |  |  |  | days will apply. |  |  |  |  |  |  |  |  |  |
| Company |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Address |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| City |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | State |  | Zip Code |  |  |  |  |
| ( ) |  |  |  |  |  |  |  | ( ) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Telephone Number |  |  |  |  |  |  |  | Facsimile Number |  |  |  |  |  |  |  |  | E-mail Address |  |  |  |  |  |  |
| Taxpayer Federal I.D. No.: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Signed By |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Print Name |  |  |  |  |  |  |  |  |  |  |  |  | Title |  |  |  |  |  |  |  |  |  |  |

COUNTY OF FRESNO PURCHASING

STANDARD INSTRUCTIONS AND CONDITIONS FOR
REQUESTS FOR PROPOSALS (RFP'S) AND REQUESTS FOR QUOTATIONS (RFQ'S)

Note: the reference to “bids” in the following paragraphs applies to RFP's and RFQ's

## GENERAL CONDITIONS

By submitting a bid the bidder agrees to the following conditions.  These conditions will apply to all subsequent purchases based on this bid.

- BID PREPARATION:

  - All prices and notations must be typed or written in ink.  No erasures permitted.  Errors may be crossed out, initialed and corrections printed in ink by person signing bid.

  - Brand Names: Brand names and numbers when given are for reference. Equal items will be considered, provided the offer clearly describes the article and how it differs from that specified.  In the absence of such information it shall be understood the offering is exactly as specified.

  - State brand or make of each item.  If bidding on other than specified, state make, model and brand being bid and attach supporting literature/specifications to the bid.

  - Bid on each item separately.  Prices should be stated in units specified herein.  All applicable charges must be quoted; charges on invoice not quoted herein will be disallowed.

  - Time of delivery is a part of the consideration and must be stated in definite terms and must be adhered to.  F.O.B. Point shall be destination or freight charges must be stated.

  - All bids must be dated and signed with the firm’s name and by an authorized officer or employee.

  - Unless otherwise noted, prices shall be firm for 120 days after closing date of bid.

- SUBMITTING BIDS:

  - Each bid must be submitted on forms provided in a sealed envelope with bid number and closing date and time on the outside of the envelope/package.

  - Interpretation: Should any discrepancies or omissions be found in the bid specifications or doubt as to their meaning, the bidder shall notify the Buyer in writing at once.  The County shall not be held responsible for verbal interpretations.  Questions regarding the bid must be received by Purchasing at least 5 working days before bid opening.  All addenda issued shall be in writing, duly issued by Purchasing and incorporated into the contract.

  - ISSUING AGENT/AUTHORIZED CONTACT: This RFQ has been issued by County of Fresno Purchasing. Purchasing shall be the vendor’s sole point of contact with regard to the RFQ, its content, and all issues concerning it.

All communication regarding this RFQ shall be directed to an authorized representative of County Purchasing. The specific buyer managing this RFQ is identified on the cover page, along with his or her telephone number, and he or she should be the primary point of contact for discussions or information pertaining to the RFQ. Contact with any other County representative, including elected officials, for the purpose of discussing this RFQ, its content, or any other issue concerning it, is prohibited unless authorized by Purchasing. Violation of this clause, by the vendor having unauthorized contact (verbally or in writing) with such other County representatives, may constitute grounds for rejection by Purchasing of the vendor’s quotation.

The above stated restriction on vendor contact with County representatives shall apply until the County has awarded a purchase order or contract to a vendor or vendors, except as follows. First, in the event that a vendor initiates a formal protest against the RFQ, such vendor may contact the appropriate individual, or individuals who are managing that protest as outlined in the County’s established protest procedures. All such contact must be in accordance with the sequence set forth under the protest procedures. Second, in the event a public hearing is scheduled before the Board of Supervisors to hear testimony prior to its approval of a purchase order or contract, any vendor may address the Board.

  - Bids received after the closing time will NOT be considered.

  - Bidders are to bid what is specified or requested first. If unable to or willing to, bidder may bid alternative or option, indicating all advantages, disadvantages and their associated cost.

- FAILURE TO BID:

  - If not bidding, return bid sheet and state reason for no bid or your name may be removed from mailing list.

- TAXES, CHARGES AND EXTRAS:

  - County of Fresno is subject to California sales and/or use tax (7.975%). Please indicate as a separate line item if applicable.

  - DO NOT include Federal Excise Tax.  County is exempt under Registration No. 94-73-03401-K.

  - County is exempt from Federal Transportation Tax.  Exemption certificate is not required where shipping papers show consignee as County of Fresno.

  - Charges for transportation, containers, packing, etc. will not be paid unless specified in bid.

- W-9 – REQUEST FOR TAXPAYER IDENTIFICATION NUMBER AND CERTIFICATION:

Upon award of bid, the vendor shall submit to County Purchasing, a completed W-9 - Request for Taxpayer Identification Number and Certification if not already a current vendor with The County of Fresno. This form is available from the IRS to complete on line at http://www.irs.gov/pub/irs-pdf/fw9.pdf.

- AWARDS:

  - Subject to the local preference provisions referenced in Paragraph 6 below and more thoroughly set forth in the General Requirements section of this RFQ, award(s) will be made to the most responsive responsible bidder.  The evaluation will include such things as life-cycle cost, availability, delivery costs and whose product and/or service is deemed to be in the best interest of the County. The County shall be the sole judge in making such determination.

  - Unless bidder gives notice of all-or-none award in bid, County may accept any item, group of items or on the basis of total bid.

  - The County reserves the right to reject any and all bids and to waive informalities or irregularities in bids.

  - After award, all bids shall be open to public inspection. The County assumes no responsibility for the confidentiality of information offered in a bid.

- LOCAL VENDORS

  - Local Vendor Preference (applicable to RFQ Process only)

The following provisions are applicable only to the County’s acquisition of materials, equipment or supplies through the RFQ process when the funding source does not require an exemption to the Local Vendor Preference.

THE PROVISIONS OF THIS PARAGRAPH ARE APPLICABLE, NOTWITHSTANDING ANY OTHER PROVISIONS OF THIS RFQ TO THE CONTRARY

If the apparent low bidder is not a local vendor, any local vendor who submitted a bid which was within five percent (5%) of the lowest responsive  bid as determined by the purchasing agent shall have the option of submitting a new bid within forty-eight hours (not including weekends and holidays) of County’s delivery of notification. Such new bids must be in an amount less than or equal to the lowest responsive bid as determined by the purchasing agent.  If the purchasing agent receives any new bids from local vendors who have the option of submitting new bids within said forty-eight hour period, it shall award the contract to the local vendor submitting the lowest responsible bid. If no new bids are received, the contract shall be awarded to the original low bidder as announced by the purchasing agent.

  - Local Vendor Defined

“Local Vendor” shall mean any business which:

- Has its headquarters, distribution point or locally-owned franchise located in or having a street address within the County for at least six (6) months immediately prior to the issuance of the request for competitive bids by the purchasing agent; and

- Holds any required business license by a jurisdiction located in Fresno County; and

- Employs at least one (1) full-time or two (2) part-time employees whose primary residence is located within Fresno County, or if the business has no employees, shall be at least fifty percent (50%) owned by one or more persons whose primary residence(s) is located within Fresno County.

- TIE BIDS:

All other factors being equal, the contract shall be awarded to the Fresno County vendor or, if neither or both are Fresno County vendors, it may be awarded by the flip of a coin in the presence of witnesses or the entire bid may be rejected and re-bid. If the General Requirements of this RFQ state that they are applicable, the provisions of the Fresno County Local Vendor Preference shall take priority over this paragraph.

- PATENT INDEMNITY:

The vendor shall hold the County, its officers, agents and employees, harmless from liability of any nature or kind, including costs and expenses, for infringement or use of any copyrighted or uncopyrighted composition, secret process, patented or unpatented invention, article or appliance furnished or used in connection with this bid.

- SAMPLES:

Samples, when required, must be furnished and delivered free and, if not destroyed by tests, will upon written request (within 30 days of bid closing date) be returned at the bidder's expense. In the absence of such notification, County shall have the right to dispose of the samples in whatever manner it deems appropriate.

- RIGHTS AND REMEDIES OF COUNTY FOR DEFAULT:

  - In case of default by vendor, the County may procure the articles or service from another source and may recover the cost difference and related expenses occasioned thereby from any unpaid balance due the vendor or by proceeding against performance bond of the vendor, if any, or by suit against the vendor. The prices paid by the County shall be considered the prevailing market price at the time such purchase is made.

  - Articles or services, which upon delivery inspection do not meet specifications, will be rejected and the vendor will be considered in default. Vendor shall reimburse County for expenses related to delivery of non-specified goods or services.

  - Regardless of F.O.B. point, vendor agrees to bear all risks of loss, injury or destruction to goods and materials ordered herein which occur prior to delivery and such loss, injury or destruction shall not release vendor from any obligation hereunder.

- DISCOUNTS:

Terms of less than 15 days for cash payment will be considered as net in evaluating this bid. A discount for payment within fifteen (15) days or more will be considered in determining the award of bid. Discount period will commence either the later of delivery or receipt of invoice by the County. Standard terms are Net Forty-five (45) days.

- SPECIAL CONDITIONS IN BID SCHEDULE SUPERSEDE GENERAL CONDITIONS.

The “General Conditions” provisions of this RFP/RFQ shall be superseded if in conflict with any other section of this bid, to the extent of any such conflict.

- SPECIAL REQUIREMENT:

With the invoice or within twenty-five (25) days of delivery, the seller must provide to the County a Material Safety Data Sheet for each product, which contains any substance on “The List of 800 Hazardous Substances”, published by the State Director of Industrial Relations. (See Hazardous Substances Information and Training Act. California State Labor Code Sections 6360 through 6399.7.)

- RECYCLED PRODUCTS/MATERIALS:

Vendors are encouraged to provide and quote (with documentation) recycled or recyclable products/materials which meet stated specifications.

- YEAR COMPLIANCE WARRANTY

Vendor warrants that any product furnished pursuant to this Agreement/order shall support a four-digit year format and be able to accurately process date and time data from, into and between the twentieth and twenty-first centuries, as well as leap year calculations. "Product" shall include, without limitation, any piece or component of equipment, hardware, firmware, middleware, custom or commercial software, or internal components or subroutines therein. This warranty shall survive termination or expiration of this Agreement.

In the event of any decrease in product functionality or accuracy related to time and/or date data related codes and/or internal subroutines that impede the product from operating correctly using dates beyond December 31, 1999, vendor shall restore or repair the product to the same level of functionality as warranted herein, so as to minimize interruption to County's ongoing business process, time being of the essence. In the event that such warranty compliance requires the acquisition of additional programs, the expense for any such associated or additional acquisitions, which may be required, including, without limitation, data conversion tools, shall be borne exclusively by vendor. Nothing in this warranty shall be construed to limit any rights or remedies the County may otherwise have under this Agreement with respect to defects other than year performance.

- PARTICIPATION:

Bidder may agree to extend the terms of the resulting contract to other political subdivision, municipalities and tax-supported agencies.

Such participating Governmental bodies shall make purchases in their own name, make payment directly to bidder, and be liable directly to the bidder, holding the County of Fresno harmless.

- CONFIDENTIALITY:

All services performed by vendor shall be in strict conformance with all applicable Federal, State of California and/or local laws and regulations relating to confidentiality, including but not limited to, California Civil Code, California Welfare and Institutions Code, Health and Safety Code, California Code of Regulations, Code of Federal Regulations.

Vendor shall submit to County’s monitoring of said compliance.

Vendor may be a business associate of County, as that term is defined in the “Privacy Rule” enacted by the Health Insurance Portability and Accountability Act of 1996 (HIPAA). As a HIPAA Business Associate, vendor may use or disclose protected health information (“PHI”) to perform functions, activities or services for or on behalf of County as specified by the County, provided that such use or disclosure shall not violate HIPAA and its implementing regulations. The uses and disclosures if PHI may not be more expansive than those applicable to County, as the “Covered Entity” under HIPAA’S Privacy Rule, except as authorized for management, administrative or legal responsibilities of the Business Associate.

Vendor shall not use or further disclose PHI other than as permitted or required by the County, or as required by law without written notice to the County.

Vendor shall ensure that any agent, including any subcontractor, to which vendor provides PHI received from, or created or received by the vendor on behalf of County, shall comply with the same restrictions and conditions with respect to such information.

- APPEALS

Appeals must be submitted in writing within five (5) working days after the review committee notification of proposed recommendations. Appeals should be submitted to County of Fresno Purchasing, 4525 E. Hamilton Avenue, Fresno, California 93702-4599. Appeals should address only areas regarding RFP contradictions, procurement errors, quotation rating discrepancies, legality of procurement context, conflict of interest in rating process, and inappropriate or unfair competitive procurement grievance regarding the RFP process.

The Purchasing Manager will provide a written response to the complaint within five (5) working days unless the complainant is notified more time is required.

If the protesting bidder is not satisfied with the decision of the Purchasing Manager, he/she shall have the right to appeal to the Purchasing Agent within five (5) business days after notification of the Purchasing Manager’s decision.

If the protesting bidder is not satisfied with Purchasing Agent decision, the final appeal is with the Board of Supervisors.

BIDDING INSTRUCTIONS
CONTRACT SERVICE AND SUPPLY

The County of Fresno is soliciting bids to provide all labor, materials, equipment, etc., for the following service: 1) Fuel Site Upgrades 2) Fuel Site Repairs and Maintenance and 3) Compliance Testing.

LOCAL VENDOR PREFERENCE:  The Local Vendor Preference does not apply to this Request for Quotation.

AWARD:  Award will be made to the vendor(s) offering the equipment and system deemed to be to the best advantage of the County.  The County shall be the sole judge in making such determination.

VENDOR CONFERENCE:  On July 7, 2005 at 10:00 A.M. a vendor’s conference will be held in which the County’s requirements will be explained.  The meeting well be held at the office Fresno County Purchasing Division, 4525 E. Hamilton Ave.  (between Cedar and Maple), Fresno California.  Written addendum will be prepared and distributed to all bidders only if necessary to clarify substantive items raised during the conference.

COPIES:  Submit one (1) original and two (2) copies of your quotation no later than the RFQ closing date and time as stated on the front of this document, to County of Fresno Purchasing.

ISSUING AGENT: This RFQ has been issued by County of Fresno Purchasing. The Purchasing shall be the vendor’s sole point of contact with regard to the RFQ, its content, and all issues concerning it.

AUTHORIZED CONTACT: All communication regarding this RFQ shall be directed to an authorized representative of County Purchasing. The specific buyer managing this RFQ is identified on the cover page, along with his or her telephone number, and he or she should be the primary point of contact for discussions or information pertaining to the RFQ. Contact with any other County representative, including elected officials, for the purpose of discussing this RFQ, it content, or any other issue concerning it, is prohibited unless authorized by Purchasing. Violation of this clause, by the vendor having unauthorized contact (verbally or in writing) with such other County representatives, may constitute grounds for rejection by Purchasing of the vendor’s quotation.

The above stated restriction on vendor contact with County representatives shall apply until the County has awarded a purchase order or contract to a vendor or vendors, except as follows. First, in the event that a vendor initiates a formal protest against the RFQ, such vendor may contact the appropriate individual, or individuals who are managing that protest as outlined in the County’s established protest procedures. All such contact must be in accordance with the sequence set forth under the protest procedures. Second, in the event a public hearing is scheduled before the Board of Supervisors to hear testimony prior to its approval of a purchase order or contract, any vendor may address the Board.

PAYMENT:  County will make partial payments for all purchases made under this contract/purchase order and accumulated during the month.

RIGHT TO REJECT BIDS:  The County reserves the right to reject any and all bids and to waive informalities or irregularities in bids.

TERM:  The initial contract period shall be one (1) year.

QUANTITIES:  Quantities shown in the bid schedule are approximate and the County guarantees no minimum amount.  The County reserves the right to increase or decrease quantities.

SPECIFICATIONS AND EQUALS:  Brand names, where used, are a means of establishing quality and style.  Bidders are invited to quote their equals.  Alternate offers are to be supported by literature, which fully describes items that you are bidding.

No exceptions to or deviations from this specification will be considered unless each exception or deviation is specifically stated by the bidder, in the designated places.  If no exceptions or deviations are shown the bidder will be required to furnish items exactly as specified herein. The burden of proof of compliance with this specification is the responsibility of the bidder.

LITERATURE:  Bidders shall submit literature, which fully describes items on which they are bidding, not later than the closing date of this bid. Any and all literature submitted must be stamped with bidders name and address.

MERCHANDISE RETURNABLE FOR FULL CREDIT:  Bidder agrees to accept for full credit any merchandise sold by him on contract or award resulting from this bid, if returned in good condition by the County.

GUARANTEE AGAINST DEFECTS:  All items are to carry a full guarantee against defects in materials and workmanship and guarantee against breakage and other malfunctions when performing work for which they are designed.

ORDERING:  Orders will be placed as required by County of Fresno, Fleet Services.

INVOICING:  All invoices are to be delivered in duplicate to County of Fresno- Fleet Services, 4551 E. Hamilton, Fresno, CA 93702. Reference shall be made to the purchase order/contract number and equipment number if applicable on the invoice.

RENEWAL:  Contract may be renewed for an additional year by mutual written consent.

TERMINATION:  This agreement may be terminated by the County at any time upon written notice.

HOLD HARMLESS CLAUSE:  Contractor agrees to indemnify, save, hold harmless and at County's request, defend the County, its officers, agents and employees, from any and all costs and expenses, damages, liabilities, claims and losses occurring or resulting to County in connection with the performance, or failure to perform, by Contractor, its officers, agents or employees under this Agreement and from any and all costs and expenses, damages, liabilities, claims and losses occurring or resulting to any person, firm or corporation who may be injured or damaged by the performance, or failure to perform, of Contractor, its officers, agents or employees under this Agreement.

ASSURANCES:  Any contract awarded under this RFQ must be carried out in full compliance with The Civil Rights Act of 1964, The Americans With Disabilities Act of 1990, their subsequent amendments, and any and all other laws protecting the rights of individuals and agencies.  The County of Fresno has a zero tolerance for discrimination, implied or expressed, and wants to ensure that policy continues under this RFQ.  The contractor must also guarantee that services, or workmanship, provided will be performed in compliance with all applicable local, state, or federal laws and regulations pertinent to the types of services, or project, of the nature required under this RFQ.  In addition, the contractor may be required to provide evidence substantiating that their employees have the necessary skills and training to perform the required services or work.

INDEPENDENT CONTRACTOR:  In performance of the work, duties and obligations assumed by Bidder under this agreement, it is mutually understood and agreed that Bidder, including any and all of Bidder's officers, agents, and employees will at all times be acting and performing as an independent contractor, and shall act in an independent capacity and not as an officer, agent, servant, employee, joint venturer, partner, or associate of the County. Furthermore, County shall have no right to control or supervise or direct the manner or method by which Bidder shall perform its work and function. However, County shall retain the right to administer this agreement so as to verify that Bidder is performing its obligations in accordance with the terms and conditions thereof. Bidder and County shall comply with all applicable provisions of law and the rules and regulations, if any, of Governmental authorities having jurisdiction over matters the subject thereof.

Because of its status as an independent contractor, Bidder waives any and all employment rights and benefits available to County employees. Bidder shall be solely liable and responsible for providing to, or on behalf of, its employees all legally required employee benefits. In addition, Bidder shall be solely responsible and save County harmless from all matters relating to payment of Contractor's employees, including compliance with Social Security, withholding, and all other regulations governing such matters. It is acknowledged that during the term of this agreement, Bidder may be providing services to others unrelated to the County or to this agreement.

PRICES:  Bidder agrees that prices quoted are maximum for the contract period, and in the event of a price decline such lower prices shall be extended to the County of Fresno.

MATERIALS TO BE NEW:  All materials shall be new and of merchantable grade, free from defect.  No bid will be considered unless it is accompanied by a complete list of manufacturer's catalog numbers of the items, which the bidder proposes to furnish, together with full descriptive literature on all items so enumerated.  If item proposed differs from these specifications, bidder shall present specific explanation of functioning and structural characteristics for those details which differ from the specifications listed herein.

EXAMINATION OF SITE:  Where work is to be performed on County site, each bidder shall have examined the site of work before bidding and shall be responsible for having acquired full knowledge of the job and of all problems affecting it.  No variations or allowance from the contract sum will be made because of lack of such examination.

DAMAGE TO EXISTING WORK:  Damage to existing construction, equipment, planting, etc., by the contractor in the performance of his work shall be replaced or repaired and restored to original condition by the contractor.

CLEAN-UP:  The Contractor shall at all times, keep the premises clean from accumulation of waste materials or rubbish caused by his employees or work and shall remove all resulting work debris from the job site.

SUPERVISION:  The Contractor shall give efficient supervision to the work, using therein the skill and diligence for which he is remunerated in the contract price.  He shall carefully inspect the site and study and compare all drawings, specifications and other instructions, as ignorance of any phase of any of the features or conditions affecting the contract will not excuse him from carrying out its provisions to its full intent.

STANDARD OF PERFORMANCE:  All work shall be performed in a good and workmanlike manner.

SAFEGUARDS:  The contractor shall provide safeguards, in conformity with all local codes and ordinances as may be required.

INSURANCE:

Without limiting the COUNTY's right to obtain indemnification from CONTRACTOR or any third parties, CONTRACTOR, at its sole expense, shall maintain in full force and effect the following insurance policies throughout the term of the Agreement:

- Commercial General Liability

Commercial General Liability Insurance with limits of not less than One Million Dollars ($1,000,000) per occurrence and an annual aggregate of Two Million Dollars ($2,000,000). This policy shall be issued on a per occurrence basis.   COUNTY may require specific coverages including completed operations, products liability, contractual liability, Explosion-Collapse-Underground, fire legal liability or any other liability insurance deemed necessary because of the nature of this contract.

- Automobile Liability

Comprehensive Automobile Liability Insurance with limits for bodily injury of not less than Two Hundred Fifty Thousand Dollars ($250,000.00) per person, Five Hundred Thousand Dollars ($500,000.00) per accident and for property damages of not less than Fifty Thousand Dollars ($50,000.00), or such coverage with a combined single limit of Five Hundred Thousand Dollars ($500,000.00).  Coverage should include owned and non-owned vehicles used in connection with this Agreement.

- Worker's Compensation

A policy of Worker's Compensation insurance as may be required by the California Labor Code.

Contractor shall obtain endorsements to the Commercial General Liability insurance naming the County of Fresno, its officers, agents, and employees, individually and collectively, as additional insured, but only insofar as the operations under this Agreement are concerned. Such coverage for additional insured shall apply as primary insurance and any other insurance, or self-insurance, maintained by County, its officers, agents and employees shall be excess only and not contributing with insurance provided under contractor's policies herein. This insurance shall not be cancelled or changed without a minimum of thirty (30) days advance written notice given to County.

Within Thirty (30) days from the date contractor executes this Agreement, CONTRACTOR shall provide certificates of insurance and endorsement as stated above for all of the foregoing policies, as required herein, to the County of Fresno, stating that such insurance coverage have been obtained and are in full force; that the County of Fresno, its officers, agents and employees will not be responsible for any premiums on the policies; that such Commercial General Liability insurance names the County of Fresno, its officers, agents and employees, individually and collectively, as additional insured, but only insofar as the operations under this Agreement are concerned; that such coverage for additional insured shall apply as primary insurance and any other insurance, or self-insurance, maintained by County, its officers, agents and employees, shall be excess only and not contributing with insurance provided under contractor's policies herein; and that this insurance shall not be cancelled or changed without a minimum of thirty (30) days advance, written notice given to County.

In the event contractor fails to keep in effect at all times insurance coverage as herein provided, the County may, in addition to other remedies it may have, suspend or terminate this Agreement upon the occurrence of such event.

All policies shall be with admitted insurers licensed to do business in the State of California.  Insurance purchased shall be purchased from companies possessing a current A.M. Best, Inc. rating of A FSC VII or better.

| Name of Insurance Carrier: |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Public Liability: |  |  |  | Expires: |  |
| Workman's Compensation: |  |  |  | Expires: |  |

Proof of maintenance of adequate insurance will be required before award is made to vendor.

GUARANTEE: The bidder shall state his written guarantee here:

REFERENCES:  Provide a list of three (3) client references who are presently using services being quoted.  (Name, phone number and contact person.)

GUARANTEED PICK-UP AND/OR DELIVERY:  Bidder will be considered in award of bid only if they can guarantee.  Enter guarantee on this line (i.e. number of days from receipt of order to delivery):

| By: | (Authorized Signature) |
| --- | --- |

WARRANTY AND SERVICE LOCATION:

- BIDDER TO COMPLETE:

State the warranty and/or guarantee provisions applicable to this equipment or attach warranty form with your bid.

State specific location where service and/or maintenance can be obtained. Failure to furnish this information will be cause for rejection of bid.

The County may require additional items from those in bid schedule.

Price list for additional items:

| A |  | percent discount from manufacturer's enclosed price list will be allowed on |
| --- | --- | --- |
| purchases of all additional items. |  |  |

State name of price list, indicate applicable price column and give effective date of price list here:

Prices on additional items will be based on successful bidder's firm discount prices from manufacturer's enclosed published price list.

State Purchase Order mailing address:

- BIDDER TO COMPLETE THE FOLLOWING:

- PARTICIPATION

The County of Fresno is a member of the Central Valley Purchasing Group.  This group consists of Fresno, Kern, Kings, and Tulare Counties and all governmental, tax supported agencies within these counties.

Whenever possible, these agencies co-op (piggyback) on contracts put in place by one of the other agencies.

Any agency choosing to avail itself of this opportunity, will make purchases in their own name, make payment directly to the contractor, be liable to the contractor and vice versa, per the terms of the original contract, all the while holding the County of Fresno harmless.  If awarded this contract, please indicate whether you would extend the same terms and conditions to all tax supported agencies within this group as you are proposing to extend to Fresno County.

|  | Yes, we will extend contract terms and conditions to all qualified agencies within the Central Valley Purchasing Group. |
| --- | --- |
|  | No, we will not extend contract terms to any agency other than the County of Fresno. |
| (Authorized Signature) |  |
| Title |  |

FUEL SITE REPAIRS, MAINTENANCE,

TESTING AND UPGRADES

The County of Fresno is soliciting quotations for fuel site repairs, maintenance, testing and tank monitoring upgrades.  The County operates 18 vehicle fueling sites and 8 building maintenance generator tanks, collectively referred to a Fuel Sites.  Fuel storage tanks contain either gasoline or diesel.

This intent of this Request for Quotation is to competitively bid the following:

- Fuel Site Maintenance – The general preventative maintenance of the fuel sites including routine maintenance functions which reduce the possibility of unforeseen repairs.

- Fuel Site Repairs – Scheduled and un-scheduled repairs to a fuel site to make the site operational for its intended function.

- Fuel Site Testing – Compliance Testing which include Annual Testing, Underground Storage Tank Testing and SB989 Testing.  Applicable testing to be performed per the established permits.

- Upgrades – The County desires to automate the fuel tank monitoring at all above ground fuel storage tanks.

The County has on staff a Fuel Site Specialist.  This individual will be performing minor maintenance and repairs to the fuel sites.   The Fuel Site Specialist will be providing direction, scheduling and authorization of required job tasks.

Vendor Conference:  On ____________________________ a vendor’s conference will be held in which the County’s requirements will be explained.  The meeting well be held at the office Fresno County Purchasing Division, 4525 E. Hamilton Ave.  (between Cedar and Maple), Fresno California.  Written addendum will be prepared and distributed to all bidders only if necessary to clarify substantive items raised during the conference.

Bidders are to contact Craig Nickel at the Purchasing Division if they are planning to attend. The telephone number is (559) 456-7110.

Scope of Desired Work:  The County will enter into three separate awards per the terms of this Request for Quotation.  The first award will be in those group titled “ Fuel Site Repairs and Maintenance”, the second group title  “Compliance Testing”, the third Agreement will be in the group titled, “Upgrades”.  Vendors have the opportunity to participate in either group or in both groups.

Award:  Award will be made to the bidder(s) whose service, price, and delivery are most advantageous to the County.  Award will be made to the vendor(s) in each group which is deemed in the best advantage of the County.  The County reserves the right to award on the entire package (group 1, group 2 and group 3) or on a per group basis.  The County will be the sole judge in making this determination.

Vendor Requirements:  The vendor must have the necessary inventory, equipment, and tooling to perform diagnosis, repairs and services as requested.  The must be certified in repairs and testing when performing compliance testing.  The successful vendor must be capable of performing these tasks as the fuel site(s).  In order to facilitate this requirement a fully stocked service truck is an operational requirement.  The vendor performing the “upgrades” must be fully licensed to this job task.  The County reserves the right to inspect the vendors service and parts facility or other requirements at a mutually agreed upon date and time.

Disposal of Hazardous Material:  The County will dispose of all Hazardous Material associated with the particular job requirements.  The County has under separate contract a full Hazardous Material Disposal Contract to accomplish any material identified which require special handling.

GROUP 1

Group 1 will compose of Fuel Site Repairs, Maintenance and associated parts.

Time of Completion:  Service is of the essence. The general acceptable time of completion is 24 hours from the time of notification.  In the space below indicate your time of service response.

| Service Response Time: |  |  |  | (firm name) will accept / reject |
| --- | --- | --- | --- | --- |
| the service request within |  |  | minutes of initial notification. Upon acceptance of the |  |
| service request the vendor will provide an estimated time when a technician will be arriving at the job site. The County will provide as much detail as possible regarding the service need. |  |  |  |  |

| Signature of Authorized Representative: |  |
| --- | --- |

Hourly Labor Rates:  Bidders shall indicate in the space below their hourly rate for repairs and maintenance.  Hourly rate is defined as that rate of compensation when working at the County Fuel Site by a Journey Level Technician.  It does not include travel time or expenses.  The hourly rates will be used to determine all future unidentified service and maintenance needs.

Normal Business Hours – Hourly Rate:

(6 A.M. – 7 P.M Monday through Friday, excluding Holidays)

After Hours Rate:

7 P.M. – 6 A.M. Monday through Friday, excluding Holidays)

Holiday Hourly Rate:

(The 24 hour period beginning at twelve midnight on the Holiday Date (s)

Parts

The vendor shall have a have a full inventory of routine replacement parts.  All service calls that are deemed to be routine in nature, such as pumps hoses, nozzles, filters, dispenser parts, etc, shall be expected to be in stock and on the service truck that is dispatched to the repair location.  No additional travel charges shall be billed to the County for routine parts that are not in the vendor’s possession at the time of the original service call.

Parts Pricing:  The successful bidder shall provide all parts requested for the service.  Such parts must be new and equivalent to original equipment manufacture and quality.

Bidders are instructed to propose a method for determining County’s cost for parts which may be needed over the term of the contract.  The costing method should be in the form of a mark up or discount from a published price list.

The bidder’s proposed costing method should include the following”

- A list of primary brands

- Identify all pricing lists to be used.  Indicate the Brand Name, Price Sheet Name, Number and Date.

- A copy of each price sheet.

- Method of determining County cost from each sheet.

- Period for which the proposal pricing will be firm.

The bidder’s parts pricing proposal is to be submitted with their quotation under a separate section identified as “Parts Pricing Proposal.”

Travel

Travel Charges are defined as that time/ expense associated with the travel to the requested County fuel site location.  A travel charge section is included with Group 1.  The vendor shall furnish a set charge to each location.  Do not include travel, mileage, or other charges separately.  The County is requesting a set or firm travel charge.

Travel Charges will be for Group 1 exclusively.  Groups 2 and 3 are firm pricing and do not require Travel Charges.

TRAVEL CHARGES

Fuel Site Repairs and Maintenance

Group 1 Exclusively

|  | American Avenue Disposal Site 18950 West American Avenue Kerman | $ |
| --- | --- | --- |
|  | Auberry Public Works Yard 33148 Auberry Road Auberry | $ |
|  | Avacado Lake Park 3625 N. Piedra Road Fresno | $ |
|  | Barton Motor Pool 500 South Barton Avenue Fresno | $ |
|  | Biola Public Works Yard 12856 West “G” Street Biola | $ |
|  | Caruthers Public Works Yard 2544 West Mountain View Avenue Caruthers | $ |
|  | Clovis Public Works Yard 9400 North Matus Fresno | $ |
|  | Coalinga Public Works Yard 740 East Polk Avenue Coalinga | $ |
|  | Courthouse Motor Pool 1155 “M” Street Fresno | $ |
|  | Del Rey Public Works Yard 3633 South Del Rey Del Rey | $ |
|  | Dunlap Public Works Yard 40315 Dunlap Road Dunlap | $ |
|  | Firebaugh Public Works Yard 38835 West Ness Road Firebaugh | $ |
|  | Hamilton – Fleet Complex 4551 East Hamilton Avenue Fresno | $ |
|  | Kearney Park 3725 West Kearney Blvd. Fresno | $ |
|  | Reedley Public Works Yard 17627 Manning Avenue Reedley | $ |
|  | Sanger Public Works Yard 9525 East Olive Avenue Sanger | $ |
|  | Shaver Lake Public Works Yard 41687 Dinkey Creek Road Shaver Lake | $ |
|  | Tranquility Public Works Yard 25411 West Silveria Street Tranquility | $ |
|  | Caruthers Boot Camp 500 East Elkhorn Caruthers | $ |
|  | Computer Services 1020 south Tenth Street Fresno | $ |
|  | Fulton Mall Health Dept. 1221 Fulton Mall Fresno | $ |
|  | Juvenile Hall 744 South 10th Street Fresno | $ |
|  | Main Jail 1225 “M” Street Fresno | $ |
|  | Total all Travel Charges | $ |

COMPLIANCE TESTING  -  GROUP 2

Compliance Testing per Title 23, Division 3, Chapter 16, California Code of Regulations and Chapter 6.7 Health and Safety Code for Underground Storage Tank Regulations.  All Line Leak Detectors tested per compliance regulations.  All San Joaquin Valley Unified Air Pollution Control District compliance testing rules for vapors.

All compliance testing including San Joaquin Valley Air Pollution Control District vapor testing, California Underground Storage Tank Regulation testing shall be pre-tested prior to compliance and certification testing.

In the event of a failure during a pre-test, the contractor will make necessary repairs at the rates stated for repairs and maintenance per this Request for Quotation.

Compliance Testing charges shall be all inclusive – NO Travel Charges.

Cost of all Compliance Testing shall be a firm price.

County of Fresno will provide a schedule for all compliance testing.

COMPLIANCE TESTING

GROUP 2

Cost of applicable Compliance Testing

Bid a firm price – do not include any travel time

|  |  | APCD Testing |  | UGST Testing |  | SB 989 |
| --- | --- | --- | --- | --- | --- | --- |
|  | American Avenue Disposal 18950 West American Avenue Kerman |  |  |  |  |  |
|  | Single aboveground tank |  |  |  |  |  |
|  | 9,000 gallon diesel |  |  |  |  |  |
|  | 5,000 gallon gasoline | $ |  |  |  |  |
|  | Auberry Public Works Yard 33148 Auberry Road Auberry |  |  |  |  |  |
|  | Single aboveground tank |  |  |  |  |  |
|  | 6,000 gallon diesel |  |  |  |  |  |
|  | 9,000 gallon gasoline | $ |  |  |  |  |
|  | Avocado Lake Park 3625 N. Piedra Road Fresno |  |  |  |  |  |
|  | Single aboveground tank |  |  |  |  |  |
|  | 1,000 gallon diesel |  |  |  |  |  |
|  | 500 gallon gasoline | $ |  |  |  |  |
|  | Barton Motor Pool 500 South Barton Ave. Fresno |  |  |  |  |  |
|  | Single underground tank |  |  |  |  |  |
|  | 12,000 gallon gasoline | $ |  | $ |  | $ |
|  | Biola Public Works Yard 12856 West “G” Street Biola |  |  |  |  |  |
|  | Single aboveground tank |  |  |  |  |  |
|  | 10,000 gallon diesel |  |  |  |  |  |
|  | 10,000 gallon gasoline | $ |  |  |  |  |
|  | Caruthers Public Works Yard 2544 W. Mountain View Caruthers |  |  |  |  |  |
|  | Two underground tanks |  |  |  |  |  |
|  | 1 – 10,000 gallon diesel |  |  | $ |  | $ |
|  | 1 – 10,000 gallon gasoline | $ |  | $ |  | $ |
|  | Clovis Public Works Yard 9400 N. Matus Fresno |  |  |  |  |  |
|  | Single aboveground tank |  |  |  |  |  |
|  | 10,000 gallon diesel |  |  |  |  |  |
|  | 10,000 gallon gasoline | $ |  |  |  |  |
|  | Coalinga Public Works Yard 740 E. Polk Ave. Coalinga |  |  |  |  |  |
|  | Single aboveground tank |  |  |  |  |  |
|  | 10,000 gallon diesel |  |  |  |  |  |
|  | 10,000 gallon gasoline | $ |  |  |  |  |
|  | Courthouse Motor Pool 1155 “M” Street Fresno |  |  |  |  |  |
|  | Single underground tank |  |  |  |  |  |
|  | 10,000 gallon gasoline | $ |  | $ |  | $ |
|  | Del Rey Public Works Yard 3633 S. Del Rey Ave. Del Rey |  |  |  |  |  |
|  | Single aboveground tank |  |  |  |  |  |
|  | 10,000 gallon diesel |  |  |  |  |  |
|  | 10,000 gallon gasoline | $ |  |  |  |  |
|  | Dunlap Public Works Yard 40315 Dunlap Road Dunlap |  |  |  |  |  |
|  | Single aboveground tank |  |  |  |  |  |
|  | 5,000 gallon diesel |  |  |  |  |  |
|  | 3,000 gallon gasoline | $ |  |  |  |  |
|  | Firebaugh Public Works Yard 38835 W. Nees Ave. Firebaugh |  |  |  |  |  |
|  | Two aboveground Tanks |  |  |  |  |  |
|  | 1 – 10,000 gallon diesel |  |  |  |  |  |
|  | 1 – 10,000 gallon gasoline | $ |  |  |  |  |
|  | Hamilton – Fleet complex 4551 E. Hamilton Ave. Fresno |  |  |  |  |  |
|  | Two underground tanks |  |  |  |  |  |
|  | 1 -12,000 gallon diesel |  |  | $ |  | $ |
|  | 1 – 20,000 gallon gasoline | $ |  | $ |  | $ |
|  | Kearney Park 6725 W. Kearney Blvd. Fresno |  |  |  |  |  |
|  | Single aboveground tank |  |  |  |  |  |
|  | 9,000 gallon diesel |  |  |  |  |  |
|  | 3,000 gallon gasoline | $ |  |  |  |  |
|  | Reedley Public Works Yard 17627 Manning Ave. Reedley |  |  |  |  |  |
|  | Single aboveground tank |  |  |  |  |  |
|  | 10,000 gallon diesel |  |  |  |  |  |
|  | 10,000 gallon gasoline | $ |  |  |  |  |
|  | Sanger Public Works Yard 9525 W. Olive Ave. Fresno |  |  |  |  |  |
|  | Single aboveground tank |  |  |  |  |  |
|  | 10,000 gallon diesel |  |  |  |  |  |
|  | 10,000 gallon gasoline | $ |  |  |  |  |
|  | Shaver Lake Public Works Yard 41687 Dinkey Creek Road Shaver Lake |  |  |  |  |  |
|  | Single Underground Tank |  |  |  |  |  |
|  | 8,000 gallon diesel |  |  | $ |  | $ |
|  | 4,000 gallon gasoline | $ |  | $ |  | $ |
|  | Tranquility Public Works Yard 25411 W. Silveria Street Tranquility |  |  |  |  |  |
|  | Two underground tanks |  |  |  |  |  |
|  | 1- 10, 000 gallon diesel |  |  | $ |  | $ |
|  | 1 – 10,000 gallon gasoline | $ |  | $ |  | $ |
|  | Fulton Mall Health Dept. 1221 Fulton Mall Fresno |  |  |  |  |  |
|  | Single underground tank |  |  |  |  |  |
|  | 500 gallon diesel |  |  | $ |  | $ |
|  | Mail Jail 1225 “M” Street Fresno |  |  |  |  |  |
|  | Single underground tank |  |  |  |  |  |
|  | 10,000 gallon diesel |  |  | $ |  | $ |
|  | Sheriff Admin. Building 2200 Fresno Street Fresno |  |  |  |  |  |
|  | Single underground tank |  |  |  |  |  |
|  | 20,000 gallon diesel |  |  | $ |  | $ |
|  | Sub-Total (each column) | $ |  | $ |  | $ |
|  | Total for all Compliance Testing |  |  |  |  | $ |

FUEL SITE UPGRADES

GROUP 3

The County has purchased under a separate contract, the following tank monitors.  These monitors will be installed on aboveground tanks.  The intent is to monitor fuel levels at the main Fleet Division – Hamilton Complex.

The tank level monitors / components which are to be installed:

- Veeder Root

TLS -2 Console

856090-060

- Veeder Root

In Tank 0.1 Mag Probe

8 feet tank ID

847390-107

- Mag Probe Install Kit

Gasoline 4 in floats

849600-000

- Mag Probe Install Kit

Diesel 4 in floats

8496000-001

- Veeder Root

Cap and Ring Kit – 4 inch

312020-952

Vendor to state in the space below his / her qualifications to perform the desired work.  Include all licenses and certifications.

Bid Instructions:  Bid a firm price for each job site location.  Do not include any additional pricing – travel charges, mobilization charges, etc.

The County of Fresno at the present time has telephone / modem lines at all work site locations.  These lines will be used to transmit date from the TLS Monitors to the Fleet Division on Hamilton Avenue.

Scope of Desired Work and Job Site Locations

1. 	American Avenue Disposal

18950 West American Avenue

Kerman

Single aboveground tank

9,000 gallon diesel

5,000 gallon gasoline

Scope of Work

Install 1- TLS -2 Veeder Root Monitor

Install 1-Diesel Fuel Probe

Install 1- Gasoline Fuel Probe

Install 1- Mag Probe Install Kit (Diesel)

Install 1- Mag Probe Install Kit (Gasoline)

Install 2-Cap and Ring Kits (4”)

Interface TLS-2 for compatibility with EJ Ward

Include all startup and registration procedures

Include any extra materials needed to complete install

Test and verify for accuracy

Bid Amount	$

2.	Auberry Public Works Yard

33148  Auberry Road

Auberry

Single aboveground tank

6,000 gallon diesel

9,000 gallon gasoline

Scope of Work

Install 1- TLS -2 Veeder Root Monitor

Install 1-Diesel Fuel Probe

Install 1- Gasoline Fuel Probe

Install 1- Mag Probe Install Kit (Diesel)

Install 1- Mag Probe Install Kit (Gasoline)

Install 2-Cap and Ring Kits (4”)

Interface TLS-2 for compatibility with EJ Ward

Include all startup and registration procedures

Include any extra materials needed to complete install

Test and verify for accuracy

Bid Amount	$

- Avocado Lake Park

3625 N. Piedra Road

Fresno

Single aboveground tank

1,000 gallon diesel

500 gallon gasoline

Scope of Work

Install 1- TLS -2 Veeder Root Monitor

Install 1-Diesel Fuel Probe

Install 1- Gasoline Fuel Probe

Install 1- Mag Probe Install Kit (Diesel)

Install 1- Mag Probe Install Kit (Gasoline)

Install 2-Cap and Ring Kits (4”)

Interface TLS-2 for compatibility with EJ Ward

Include all startup and registration procedures

Include any extra materials needed to complete install

Test and verify for accuracy

Bid Amount	$

- Biola Public Works Yard

12856 West “G” Street

Biola

Single aboveground tank

10,000 gallon diesel

10,000 gallon gasoline

Scope of Work

Install 1- TLS -2 Veeder Root Monitor

Install 1-Diesel Fuel Probe

Install 1- Gasoline Fuel Probe

Install 1- Mag Probe Install Kit (Diesel)

Install 1- Mag Probe Install Kit (Gasoline)

Install 2-Cap and Ring Kits (4”)

Interface TLS-2 for compatibility with EJ Ward

Include all startup and registration procedures

Include any extra materials needed to complete install

Test and verify for accuracy

Bid Amount	$

- Clovis Public Works Yard

9400 N. Matus

Fresno

Single aboveground tank

10,000 gallon diesel

10,000 gallon gasoline

Scope of Work

Install 1- TLS -2 Veeder Root Monitor

Install 1-Diesel Fuel Probe

Install 1- Gasoline Fuel Probe

Install 1- Mag Probe Install Kit (Diesel)

Install 1- Mag Probe Install Kit (Gasoline)

Install 2-Cap and Ring Kits (4”)

Interface TLS-2 for compatibility with EJ Ward

Include all startup and registration procedures

Include any extra materials needed to complete install

Test and verify for accuracy

Bid Amount	$

- Coalinga Public Works Yard

740 E. Polk Ave.

Coalinga

Single aboveground tank

10,000 gallon diesel

10,000 gallon gasoline

Scope of Work

Install 1- TLS -2 Veeder Root Monitor

Install 1-Diesel Fuel Probe

Install 1- Gasoline Fuel Probe

Install 1- Mag Probe Install Kit (Diesel)

Install 1- Mag Probe Install Kit (Gasoline)

Install 2-Cap and Ring Kits (4”)

Interface TLS-2 for compatibility with EJ Ward

Include all startup and registration procedures

Include any extra materials needed to complete install

Test and verify for accuracy

Bid Amount	$

- Del Rey Public Works Yard

3633 S. Del Rey Ave.

Del Rey

Single aboveground tank

10,000 gallon diesel

10,000 gallon gasoline

Scope of Work

Install 1- TLS -2 Veeder Root Monitor

Install 1-Diesel Fuel Probe

Install 1- Gasoline Fuel Probe

Install 1- Mag Probe Install Kit (Diesel)

Install 1- Mag Probe Install Kit (Gasoline)

Install 2-Cap and Ring Kits (4”)

Interface TLS-2 for compatibility with EJ Ward

Include all startup and registration procedures

Include any extra materials needed to complete install

Test and verify for accuracy

Bid Amount	$

- Dunlap Public Works Yard

40315 Dunlap Road

Dunlap

Single aboveground tank

5,000 gallon diesel

3,000 gallon gasoline

Scope of Work

Install 1- TLS -2 Veeder Root Monitor

Install 1-Diesel Fuel Probe

Install 1- Gasoline Fuel Probe

Install 1- Mag Probe Install Kit (Diesel)

Install 1- Mag Probe Install Kit (Gasoline)

Install 2-Cap and Ring Kits (4”)

Interface TLS-2 for compatibility with EJ Ward

Include all startup and registration procedures

Include any extra materials needed to complete install

Test and verify for accuracy

Bid Amount	$

- Firebaugh Public Works Yard

38835 W. Nees Ave.

Firebaugh

Two aboveground Tanks

1 – 10,000 gallon diesel

1 – 10,000 gallon gasoline

Scope of Work

Install 1- TLS -2 Veeder Root Monitor

Install 1-Diesel Fuel Probe

Install 1- Gasoline Fuel Probe

Install 1- Mag Probe Install Kit (Diesel)

Install 1- Mag Probe Install Kit (Gasoline)

Install 2-Cap and Ring Kits (4”)

Interface TLS-2 for compatibility with EJ Ward

Include all startup and registration procedures

Include any extra materials needed to complete install

Test and verify for accuracy

Bid Amount	$

- Kearney Park

6725 W. Kearney Blvd.

Fresno

Single aboveground tank

9,000 gallon diesel

3,000 gallon gasoline

Scope of Work

Install 1- TLS -2 Veeder Root Monitor

Install 1-Diesel Fuel Probe

Install 1- Gasoline Fuel Probe

Install 1- Mag Probe Install Kit (Diesel)

Install 1- Mag Probe Install Kit (Gasoline)

Install 2-Cap and Ring Kits (4”)

Interface TLS-2 for compatibility with EJ Ward

Include all startup and registration procedures

Include any extra materials needed to complete install

Test and verify for accuracy

Bid Amount	$

- Reedley Public Works Yard

17627 Manning Ave.

Reedley

Single aboveground tank

10,000 gallon diesel

10,000 gallon gasoline

Scope of Work

Install 1- TLS -2 Veeder Root Monitor

Install 1-Diesel Fuel Probe

Install 1- Gasoline Fuel Probe

Install 1- Mag Probe Install Kit (Diesel)

Install 1- Mag Probe Install Kit (Gasoline)

Install 2-Cap and Ring Kits (4”)

Interface TLS-2 for compatibility with EJ Ward

Include all startup and registration procedures

Include any extra materials needed to complete install

Test and verify for accuracy

Bid Amount	$

- Sanger Public Works Yard

9525 W. Olive Ave.

Fresno

Single aboveground tank

10,000 gallon diesel

10,000 gallon gasoline

Scope of Work

Install 1- TLS -2 Veeder Root Monitor

Install 1-Diesel Fuel Probe

Install 1- Gasoline Fuel Probe

Install 1- Mag Probe Install Kit (Diesel)

Install 1- Mag Probe Install Kit (Gasoline)

Install 2-Cap and Ring Kits (4”)

Interface TLS-2 for compatibility with EJ Ward

Include all startup and registration procedures

Include any extra materials needed to complete install

Test and verify for accuracy

Bid Amount	$

Total Group 3 Fuel Tank Upgrades	$