| COUNTY OF FRESNO |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ADDENDUM NUMBER: TWO |  |  |  |  |  |  |  |  |  |
|  |  |  | RFQ NUMBER: |  |  |  |  |  |  |
| July 20, 2009 |  |  |  |  |  |  |  |  |  |
|  |  |  |  | PURCHASING USE |  |  |  |  |  |
|  |  | ORG/Requisition: 8910/ 8919000550 |  |  | CJN | /tmp/in/input.doc |  |  |  |
|  | IMPORTANT: SUBMIT QUOTATION IN SEALED PACKAGE WITH QUOTATION NUMBER, CLOSING DATE AND BUYER’S NAME MARKED CLEARLY ON THE OUTSIDE TO: |  |  |  |  |  |  |  |  |
|  | COUNTY OF FRESNO, Purchasing 4525 EAST HAMILTON AVENUE FRESNO, CA 93702-4599 |  |  |  |  |  |  |  |  |
|  | Closing date of bid will be at 2:00 p.m., on July 28, 2009. QUOTES WILL BE CONSIDERED LATE WHEN THE OFFICIAL PURCHASING TIME CLOCK READS 2:00 P.M. |  |  |  |  |  |  |  |  |
|  | Quotes will be opened and publicly read at that time. All quotation information will be available for review after contract award. |  |  |  |  |  |  |  |  |
|  | Clarification of specifications are to be directed to: Craig Nickel, phone (559) 456-7110, FAX (559) 456-7831. |  |  |  |  |  |  |  |  |
|  | NOTE THE following and attached ADDITIONS, DELETIONS AND/or CHANGES TO THE REQUIREMENTS OF REQUEST FOR QUOTATION NUMBER: AND INCLUDE THEM IN YOUR RESPONSE. PLEASE SIGN AND RETURN THIS ADDENDUM WITH YOUR QUOTATION. - It is the intent of the City of Fresno to piggyback off of this RFQ for their service. - The following pages are fuel tank information for the City of Fresno. |  |  |  |  |  |  |  |  |

| ACKNOWLEDGMENT OF ADDENDUM NUMBER TWO TO RFQ |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| COMPANY NAME: |  |  |  |  |  |  |  |  |  |  |
| (PRINT) |  |  |  |  |  |  |  |  |  |  |
| SIGNATURE: |  |  |  |  |  |  |  |  |  |  |
| NAME & TITLE: |  |  |  |  |  |  |  |  |  |  |
| (PRINT) |  |  |  |  |  |  |  |  |  |  |
|  | CITY OF FRESNO FLEET MANAGEMENT DIVISION Fuel Tank Information Dated 4/2/08 |  |  |  |  |  |  |  |  |  |
|  | Location | Loc. ID |  |  | Tank ID | Fuel Type | Cap. In Gallons | Pump ID / Comments | # of dispensers / nozzles |  |
|  | Municipal Service Center 2101 ‘G’ Street Building F | BF |  |  | F1 | Engine oil | 10,000 | Underground | 0 |  |
|  |  |  |  |  | F2 | Engine oil | 1,000 | Underground | 0 |  |
|  |  |  |  |  | F3 | Gear oil | 1,000 | Underground | 0 |  |
|  |  |  |  |  | F4 | Transmission oil | 1,000 | Underground | 0 |  |
|  |  |  |  |  | F5 | Waste oil | 5,000 | Underground | 0 |  |
|  |  |  |  |  | F6 | Hydraulic oil | 10,000 | Underground | 0 |  |
|  | Municipal Service Center 2101 ‘G’ Street Building T | BT |  |  | T1 | Unleaded | 10,000 | 1, 2, 5, 6 Underground | 9 Dispensers / 18 Nozzles |  |
|  |  |  |  |  | T2 | Unleaded | 10,000 | 7, 8, 11, 12 Underground |  |  |
|  |  |  |  |  | T3 | Unleaded | 20,000 | 13, 14, 17, 18 Unleaded |  |  |
|  |  |  |  |  | T4 | Diesel | 20,000 | 3, 4, 9, 10 Underground |  |  |
|  |  |  |  |  | T5 | Diesel | 20,000 | 15, 16 Underground |  |  |
|  | Cedar / Butler Dressing Stn. 1617 S. Cedar | CB |  |  | D1 | Unleaded | 12,000 | Underground | 1 Dispenser / 2 Nozzles |  |
|  | FAT 5065 E. Anderson | AP |  |  | AP 1 | Unleaded (suction) | 2,000 | Above ground | 1 Dispenser / 1 Nozzle |  |
|  |  |  |  |  | AP 2 | Diesel (suction) | 1,000 | Above ground | 1 Dispenser / 1 Nozzle |  |
|  | Location | Loc. ID |  |  | Tank ID | Fuel Type | Cap. In Gallons | Pump ID / Comments | # of dispensers / nozzles |  |
|  | Police Dpt 2323 Mariposa | PG |  |  | G 1 | Diesel | 500 | Generator | 0 |  |
|  | Roeding Park 890 W. Belmont | RP |  |  | R 1 | Diesel | 2,500 | Underground | 1 Dispenser / 2 Nozzles |  |
|  |  |  |  |  | R 2 | Unleaded | 2,000 | Above ground | 1 Dispenser / 2 Nozzles |  |
|  | Wastewater 5607 W. Jensen | WW |  |  | W 1 | Unleaded | 2,000 | Above ground | 1 Dispenser / 1 Nozzle |  |
|  |  |  |  |  | W 2 | Diesel | 4,000 | Above ground | 1 Dispenser / 1 Nozzle |  |
|  | Water Yard 1910 E. University | WY |  |  | Y 1 | Unleaded | 12,000 | Underground | 1 Dispenser / 2 Nozzles |  |
|  |  |  |  |  | Y 2 | Diesel | 12,000 | Underground | 1 Dispenser / 2 Nozzles |  |
|  |  |  |  |  | Y 3 | Waste Oil | 500 | Above ground | 0 |  |
|  |  |  |  |  | Y 4 | Motor Oil | 250 | Above ground | 0 |  |
|  |  |  |  |  | Y 5 | ATF | 250 | Above ground | 0 |  |
|  | Woodward Park 7775 Friant Road | WP |  |  | P 1 | Diesel | 2,500 | Underground | 1 Dispenser / 2 Nozzles |  |
|  |  |  |  |  | P 2 | Unleaded | 2,000 | Above ground | 1 Dispenser / 2 Nozzles |  |
|  | Wrenwood Station 5544 N. Fresno Street | WS |  |  | S 1 | Unleaded | 12,000 | Underground | 2 Dispensers / 4 Nozzles |  |