| COUNTY OF FRESNO |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Request for QUOTATION |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | NUMBER: 992-5085 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| October 3, 2012 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ORG/Requisition: 8910/ 8911300512 |  |  |  |  |  |  | PURCHASING USE |  |  |  | /tmp/in/input.doc |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | swa |  |  |  |  |  |  |  |  |  |  |  |
| IMPORTANT: SUBMIT QUOTATION IN SEALED PACKAGE WITH QUOTATION NUMBER, CLOSING DATE AND BUYER’S NAME MARKED CLEARLY ON THE OUTSIDE TO: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| COUNTY OF FRESNO, Purchasing 4525 EAST HAMILTON AVENUE, 2nd Floor FRESNO, CA 93702-4599 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Closing date of bid will be at 2:00 p.m., on October 31, 2012. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| QUOTATIONS WILL BE CONSIDERED LATE WHEN THE OFFICIAL PURCHASING TIME CLOCK READS 2:00 P.M. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Quotations will be opened and publicly read at that time. All quotation information will be available for review after contract award. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Clarification of specifications is to be directed to: Craig Nickel, e-mail CountyPurchasing@co.fresno.ca.us, phone (559) 600-7110, FAX (559) 600-7126. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| GENERAL CONDITIONS: See “County Of Fresno Purchasing Standard Instructions And Conditions For Request For Proposals (RFP’S) and Requests for Quotations (RFQ’S)” attached. Check County of Fresno Purchasing’s Open Solicitations website at http://www2.co.fresno.ca.us/0440/Bidshome2.asp for RFQ/RFP documents and changes. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| BIDDER TO COMPLETE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| UNDERSIGNED AGREES TO FURNISH THE COMMODITY OR SERVICE STIPULATED IN THE ATTACHED QUOTATION SCHEDULE AT THE PRICES AND TERMS STATED, SUBJECT TO THE “COUNTY OF FRESNO PURCHASING STANDARD INSTRUCTIONS AND CONDITIONS FOR REQUEST FOR QUOTATIONS (RFP’S) AND REQUESTS FOR QUOTATIONS (RFQ’S)”ATTACHED. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Except as noted on individual items, the following will apply to all items in the Quotation Schedule. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Complete delivery will be made within |  |  |  |  |  |  |  | calendar days after receipt of Order. |  |  |  |  |  |  |  |  |  |  |
| - A cash discount of |  |  |  |  | % |  |  |  |  | days will apply. |  |  |  |  |  |  |  |  |
| Company |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Address |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| City |  |  |  |  |  |  |  |  |  |  |  |  | State |  | Zip Code |  |  |  |
| ( ) |  |  |  | ( ) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Telephone Number |  |  |  | Facsimile Number |  |  |  |  |  |  |  |  | E-mail Address |  |  |  |  |  |
| Signed By |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Print Name |  |  |  |  |  |  |  |  | Title |  |  |  |  |  |  |  |  |  |

COUNTY OF FRESNO PURCHASING

STANDARD INSTRUCTIONS AND CONDITIONS FOR
REQUESTS FOR PROPOSALS (RFP'S) AND REQUESTS FOR QUOTATIONS (RFQ'S)

Note: the reference to “bids” in the following paragraphs applies to RFP's and RFQ's

## GENERAL CONDITIONS

By submitting a bid the bidder agrees to the following conditions.  These conditions will apply to all subsequent purchases based on this bid.

- BID PREPARATION:

  - All prices and notations must be typed or written in ink.  No erasures permitted.  Errors may be crossed out, initialed and corrections printed in ink by person signing bid.

  - Brand Names: Brand names and numbers when given are for reference. Equal items will be considered, provided the offer clearly describes the article and how it differs from that specified.  In the absence of such information it shall be understood the offering is exactly as specified.

  - State brand or make of each item.  If bidding on other than specified, state make, model and brand being bid and attach supporting literature/specifications to the bid.

  - Bid on each item separately.  Prices should be stated in units specified herein.  All applicable charges must be quoted; charges on invoice not quoted herein will be disallowed.

  - Time of delivery is a part of the consideration and must be stated in definite terms and must be adhered to.  F.O.B. Point shall be destination or freight charges must be stated.

  - All bids must be dated and signed with the firm’s name and by an authorized officer or employee.

  - Unless otherwise noted, prices shall be firm for one hundred eighty (180) days after closing date of bid.

- SUBMITTING BIDS:

  - Each bid must be submitted on forms provided in a sealed envelope/package with bid number and closing date and time on the outside of the envelope/package.

  - Interpretation: Should any discrepancies or omissions be found in the bid specifications or doubt as to their meaning, the bidder shall notify the Buyer in writing at once.  The County shall not be held responsible for verbal interpretations.  Questions regarding the bid must be received by Purchasing at least five (5) working days before bid opening.  All addenda issued shall be in writing, duly issued by Purchasing and incorporated into the contract.

  - ISSUING AGENT/AUTHORIZED CONTACT: This RFP/RFQ has been issued by County of Fresno, Purchasing. Purchasing shall be the vendor’s sole point of contact with regard to the RFP/RFQ, its content, and all issues concerning it.

All communication regarding this RFP/RFQ shall be directed to an authorized representative of County Purchasing. The specific buyer managing this RFP/RFQ is identified on the cover page, along with his or her telephone number, and he or she should be the primary point of contact for discussions or information pertaining to the RFP/RFQ. Contact with any other County representative, including elected officials, for the purpose of discussing this RFP/RFQ, its content, or any other issue concerning it, is prohibited unless authorized by Purchasing. Violation of this clause, by the vendor having unauthorized contact (verbally or in writing) with such other County representatives, may constitute grounds for rejection by Purchasing of the vendor’s quotation.

The above stated restriction on vendor contact with County representatives shall apply until the County has awarded a purchase order or contract to a vendor or vendors, except as follows. First, in the event that a vendor initiates a formal protest against the RFP/RFQ, such vendor may contact the appropriate individual, or individuals who are managing that protest as outlined in the County’s established protest procedures. All such contact must be in accordance with the sequence set forth under the protest procedures. Second, in the event a public hearing is scheduled before the Board of Supervisors to hear testimony prior to its approval of a purchase order or contract, any vendor may address the Board.

  - Bids received after the closing time will NOT be considered.

  - Bidders are to bid what is specified or requested first. If unable to or unwilling to, bidder may bid alternative or option, indicating all advantages, disadvantages and their associated cost.

  - Public Contract Code Section 7028.15

Where the State of California requires a Contractor’s license, it is a misdemeanor for any person to submit a bid unless specifically exempted.

- FAILURE TO BID:

  - If not bidding, return bid sheet and state reason for no bid or your name may be removed from mailing list.

- TAXES, CHARGES AND EXTRAS:

  - County of Fresno is subject to California sales and/or use tax (7.975%). Please indicate as a separate line item if applicable.

  - DO NOT include Federal Excise Tax.  County is exempt under Registration No. 94-73-03401-K.

  - County is exempt from Federal Transportation Tax.  Exemption certificate is not required where shipping papers show consignee as County of Fresno.

  - Charges for transportation, containers, packing, etc. will not be paid unless specified in bid.

- W-9 – REQUEST FOR TAXPAYER IDENTIFICATION NUMBER AND CERTIFICATION & CALIFORNIA FORM 590 WITHHOLDING EXEMPTION CERTIFICATE:

Upon award of bid, the vendor shall submit to County Purchasing, a completed IRS Form W-9 - Request for Taxpayer Identification Number and Certification and a California Form 590 Withholding Exemption Certificate if not currently a County of Fresno approved vendor.

- AWARDS:

  - Award(s) will be made to the most responsive responsible bidder; however, the Fresno County Local Vendor Preference and/or the Disabled Veteran Business Enterprise Preference shall take precedence when applicable.  Said Preferences apply only to Request for Quotations for materials, equipment and/or supplies only (no services); the preference do not apply to Request for Proposals. RFQ evaluations will include such things as life-cycle cost, availability, delivery costs and whose product and/or service is deemed to be in the best interest of the County.  The County shall be the sole judge in making such determination.

  - Unless bidder gives notice of all-or-none award in bid, County may accept any item, group of items or on the basis of total bid.

  - The County reserves the right to reject any and all bids and to waive informalities or irregularities in bids.

  - Award Notices are tentative: Acceptance of an offer made in response to this RFP/RFQ shall occur only upon execution of an agreement by both parties or issuance of a valid written Purchase Order by Fresno County Purchasing.

  - After award, all bids shall be open to public inspection. The County assumes no responsibility for the confidentiality of information offered in a bid.

- TIE BIDS:

All other factors being equal, the contract shall be awarded to the Fresno County vendor or, if neither or both are Fresno County vendors, it may be awarded by the flip of a coin in the presence of witnesses or the entire bid may be rejected and re-bid. If the General Requirements of the RFQ state that they are applicable, the provisions of the Fresno County Local Vendor Preference shall take priority over this paragraph.

- PATENT INDEMNITY:

The vendor shall hold the County, its officers, agents and employees, harmless from liability of any nature or kind, including costs and expenses, for infringement or use of any copyrighted or uncopyrighted composition, secret process, patented or unpatented invention, article or appliance furnished or used in connection with this bid.

- SAMPLES:

Samples, when required, must be furnished and delivered free and, if not destroyed by tests, will upon written request (within thirty (30) days of bid closing date) be returned at the bidder's expense. In the absence of such notification, County shall have the right to dispose of the samples in whatever manner it deems appropriate.

- RIGHTS AND REMEDIES OF COUNTY FOR DEFAULT:

  - In case of default by vendor, the County may procure the articles or service from another source and may recover the cost difference and related expenses occasioned thereby from any unpaid balance due the vendor or by proceeding against performance bond of the vendor, if any, or by suit against the vendor. The prices paid by the County shall be considered the prevailing market price at the time such purchase is made.

  - Articles or services, which upon delivery inspection do not meet specifications, will be rejected and the vendor will be considered in default. Vendor shall reimburse County for expenses related to delivery of non-specified goods or services.

  - Regardless of F.O.B. point, vendor agrees to bear all risks of loss, injury or destruction to goods and materials ordered herein which occur prior to delivery and such loss, injury or destruction shall not release vendor from any obligation hereunder.

- DISCOUNTS:

Terms of less than fifteen (15) days for cash payment will be considered as net in evaluating this bid. A discount for payment within fifteen (15) days or more will be considered in determining the award of bid. Discount period will commence either the later of delivery or receipt of invoice by the County. Standard terms are Net forty-five (45) days.

- SPECIAL CONDITIONS IN BID SCHEDULE SUPERSEDE GENERAL CONDITIONS:

The “General Conditions” provisions of this RFP/RFQ shall be superseded if in conflict with any other section of this bid, to the extent of any such conflict.

- SPECIAL REQUIREMENT:

With the invoice or within twenty-five (25) days of delivery, the seller must provide to the County a Material Safety Data Sheet for each product, which contains any substance on “The List of 800 Hazardous Substances”, published by the State Director of Industrial Relations. (See Hazardous Substances Information and Training Act. California State Labor Code Sections 6360 through 6399.7.)

- RECYCLED PRODUCTS/MATERIALS:

Vendors are encouraged to provide and quote (with documentation) recycled or recyclable products/materials which meet stated specifications.

- YEAR COMPLIANCE WARRANTY:

Vendor warrants that any product furnished pursuant to this Agreement/order shall support a four-digit year format and be able to accurately process date and time data from, into and between the twentieth and twenty-first centuries, as well as leap year calculations. "Product" shall include, without limitation, any piece or component of equipment, hardware, firmware, middleware, custom or commercial software, or internal components or subroutines therein. This warranty shall survive termination or expiration of this Agreement.

In the event of any decrease in product functionality or accuracy related to time and/or date data related codes and/or internal subroutines that impede the product from operating correctly using dates beyond December 31, 1999, vendor shall restore or repair the product to the same level of functionality as warranted herein, so as to minimize interruption to County's ongoing business process, time being of the essence. In the event that such warranty compliance requires the acquisition of additional programs, the expense for any such associated or additional acquisitions, which may be required, including, without limitation, data conversion tools, shall be borne exclusively by vendor. Nothing in this warranty shall be construed to limit any rights or remedies the County may otherwise have under this Agreement with respect to defects other than year performance.

- PARTICIPATION:

Bidder may agree to extend the terms of the resulting contract to other political subdivision, municipalities and tax-supported agencies.

Such participating Governmental bodies shall make purchases in their own name, make payment directly to bidder, and be liable directly to the bidder, holding the County of Fresno harmless.

- CONFIDENTIALITY:

All services performed by vendor shall be in strict conformance with all applicable Federal, State of California and/or local laws and regulations relating to confidentiality, including but not limited to, California Civil Code, California Welfare and Institutions Code, Health and Safety Code, California Code of Regulations, Code of Federal Regulations.

Vendor shall submit to County’s monitoring of said compliance.

Vendor may be a business associate of County, as that term is defined in the “Privacy Rule” enacted by the Health Insurance Portability and Accountability Act of 1996 (HIPAA). As a HIPAA Business Associate, vendor may use or disclose protected health information (“PHI”) to perform functions, activities or services for or on behalf of County as specified by the County, provided that such use or disclosure shall not violate HIPAA and its implementing regulations. The uses and disclosures if PHI may not be more expansive than those applicable to County, as the “Covered Entity” under HIPAA’s Privacy Rule, except as authorized for management, administrative or legal responsibilities of the Business Associate.

Vendor shall not use or further disclose PHI other than as permitted or required by the County, or as required by law without written notice to the County.

Vendor shall ensure that any agent, including any subcontractor, to which vendor provides PHI received from, or created or received by the vendor on behalf of County, shall comply with the same restrictions and conditions with respect to such information.

- APPEALS:

Appeals must be submitted in writing within seven (7) working days after notification of proposed recommendations for award. A “Notice of Award” is not an indication of County’s acceptance of an offer made in response to this RFP/RFQ. Appeals should be submitted to County of Fresno Purchasing, 4525 E. Hamilton Avenue, Fresno, California 93702-4599. Appeals should address only areas regarding RFP contradictions, procurement errors, quotation rating discrepancies, legality of procurement context, conflict of interest, and inappropriate or unfair competitive procurement grievance regarding the RFP/RFQ process.

Purchasing will provide a written response to the complainant within seven (7) working days unless the complainant is notified more time is required.

If the protesting bidder is not satisfied with the decision of Purchasing, he/she shall have the right to appeal to the Purchasing Agent/CAO within seven (7) business days after Purchasing’s notification; except if, notified to appeal directly to the Board of Supervisors at the scheduled date and time.

If the protesting bidder is not satisfied with Purchasing Agent/CAO’s decision, the final appeal is with the Board of Supervisors.

- OBLIGATIONS OF CONTRACTOR:

  - CONTRACTOR shall perform as required by the ensuing contract. CONTRACTOR also warrants on behalf of itself and all subcontractors engaged for the performance of the ensuing contract that only persons authorized to work in the United States pursuant to the Immigration Reform and Control Act of 1986 and other applicable laws shall be employed in the performance of the work hereunder.

  - CONTRACTOR shall obey all Federal, State, local and special district laws, ordinances and regulations.

- AUDITS & RETENTION:

The Contractor shall maintain in good and legible condition all books, documents, papers, data files and other records related to its performance under this contract. Such records shall be complete and available to Fresno County, the State of California, the federal government or their duly authorized representatives for the purpose of audit, examination, or copying during the term of the contract and for a period of at least three (3) years following the County's final payment under the contract or until conclusion of any pending matter (e.g., litigation or audit), whichever is later. Such records must be retained in the manner described above until all pending matters are closed.

- DISCLOSURE – CRIMINAL HISTORY & CIVIL ACTIONS:

Applies to Request for Proposal (RFP); does not apply to Request for Quotation (RFQ) unless specifically stated elsewhere in the RFQ document.

In their proposal, the bidder is required to disclose if any of the following conditions apply to them, their owners, officers, corporate managers and partners (hereinafter collectively referred to as “Bidder”):

- Within the three-year period preceding the proposal, they have been convicted of, or had a civil judgment rendered against them for:

  - fraud or a criminal offense in connection with obtaining, attempting to obtain, or performing a public (federal, state, or local) transaction or contract under a public transaction;

  - violation of a federal or state antitrust statute;

  - embezzlement, theft, forgery, bribery, falsification, or destruction of records; or

  - false statements or receipt of stolen property

Within a three-year period preceding their proposal, they have had a public transaction (federal, state, or local) terminated for cause or default.

- DATA SECURITY:

Individuals and/or agencies that enter into a contractual relationship with the COUNTY for the purpose of providing services must employ adequate controls and data security measures, both internally and externally to ensure and protect the confidential information and/or data provided to contractor by the COUNTY, preventing the potential loss, misappropriation or inadvertent access, viewing, use or disclosure of COUNTY data including sensitive or personal client information; abuse of COUNTY resources; and/or disruption to COUNTY operations.

Individuals and/or agencies may not connect to or use COUNTY networks/systems via personally owned mobile, wireless or handheld devices unless authorized by COUNTY for telecommuting purposes and provide a secure connection; up to date virus protection and mobile devices must have the remote wipe feature enabled.  Computers or computer peripherals including mobile storage devices may not be used (COUNTY or Contractor device) or brought in for use into the COUNTY’s system(s) without prior authorization from COUNTY’s Chief Information Officer and/or designee(s).

No storage of COUNTY’s private, confidential or sensitive data on any hard-disk drive, portable storage device or remote storage installation unless encrypted according to advance encryption standards (AES of 128 bit or higher).

The COUNTY will immediately be notified of any violations, breaches or potential breaches of security related to COUNTY’s confidential information, data and/or data processing equipment which stores or processes COUNTY data, internally or externally.

COUNTY shall provide oversight to Contractor’s response to all incidents arising from a possible breach of security related to COUNTY’s confidential client information.  Contractor will be responsible to issue any notification to affected individuals as required by law or as deemed necessary by COUNTY in its sole discretion.  Contractor will be responsible for all costs incurred as a result of providing the required notification.

- PURCHASING LOCATION & HOURS:

Fresno County Purchasing is located at 4525 E. Hamilton Avenue (second floor), Fresno, CA 93702.  Non-holiday hours of operation are Monday through Friday, 8:00 A.M. to 12:00 Noon and 1:00 P.M. to 5:00 P.M. PST; Purchasing is closed daily from 12:00 Noon to 1:00 P.M.  The following holiday office closure schedule is observed:

| January 1* |  | New Year's Day |
| --- | --- | --- |
| Third Monday in January |  | Martin Luther King, Jr.’s Birthday |
| Third Monday in February |  | Washington - Lincoln Day |
| March 31* |  | Cesar Chavez’ Birthday |
| Last Monday in May |  | Memorial Day |
| July 4* |  | Independence Day |
| First Monday in September |  | Labor Day |
| November 11* |  | Veteran's Day |
| Fourth Thursday in November |  | Thanksgiving Day |
| Friday following Thanksgiving |  |  |
| December 25* |  | Christmas |
| * When this date falls on a Saturday, the holiday is observed the preceding Friday. If the date falls on a Sunday, the holiday is observed the following Monday. |  |  |

BIDDING INSTRUCTIONS
CONTRACT SERVICE AND SUPPLY

The County of Fresno is soliciting quotations for fuel site repairs, maintenance, testing and upgrade at the Hamilton Yard fuel site.  The County operates 18 vehicle fueling sites and 8 building maintenance generator tanks, collectively referred to as Fuel Sites.  Fuel storage tanks contain either gasoline or diesel.

The intent of this Request for Quotation (RFQ) is to competitively bid the following:

- Fuel Site Repairs and Maintenance – – Scheduled and un-scheduled repairs to a fuel site to make the site operational for its intended function  The general preventative maintenance of the fuel sites including routine maintenance functions which reduce the possibility of unforeseen repairs.

- Fuel Site Testing – Compliance Testing which include Annual Testing, Underground Storage Tank Testing and SB989 Testing.  Applicable testing to be performed per the established permits.

- Enhanced Vapor Recovery System (Phase I) for thirteen (13) aboveground storage tanks.

- Hamilton Yard Fuel Site Upgrade – Remove and replace four (4) existing fuel dispensers at the Hamilton Yard Fuel Site, as specified within this RFQ.

LOCAL VENDOR PREFERENCE:  The Local Vendor Preference does not apply to this Request for Quotation.

VENDOR CONFERENCE: On October 17, 2012 at 10:00 a.m., a vendor's conference will be held in which the scope of the project and quotation requirements will be explained. The meeting will be held at the office of County of Fresno Purchasing, 4525 E. Hamilton (between Cedar and Maple), 2nd Floor, Fresno, California. Minutes will be prepared and distributed to all bidders only if necessary to clarify substantive items raised during the bidders' conference.

Bidders are to contact Craig Nickel at County of Fresno Purchasing, (559) 600-7110, if they are planning to attend the conference.

AWARD:  Award will be made to the vendor(s) offering the equipment and system deemed to be to the best advantage of the County.  The County shall be the sole judge in making such determination.  Award Notices are tentative: Acceptance of an offer made in response to this RFQ shall occur only upon execution of an agreement by both parties or issuance of a valid written Purchase Order by Fresno County Purchasing.

COPIES:  Submit one (1) original and two (2) copies of your quotation to County of Fresno Purchasing no later than the RFQ closing date and time as stated on the front of this document.

ISSUING AGENT: This RFQ has been issued by County of Fresno, Purchasing. Purchasing shall be the vendor’s sole point of contact with regard to the RFQ, its content, and all issues concerning it.

AUTHORIZED CONTACT: All communication regarding this RFQ shall be directed to an authorized representative of County Purchasing. The specific buyer managing this RFQ is identified on the cover page, along with his or her telephone number, and he or she should be the primary point of contact for discussions or information pertaining to the RFQ. Contact with any other County representative, including elected officials, for the purpose of discussing this RFQ, it content, or any other issue concerning it, is prohibited unless authorized by Purchasing. Violation of this clause, by the vendor having unauthorized contact (verbally or in writing) with such other County representatives, may constitute grounds for rejection by Purchasing of the vendor’s quotation.

The above stated restriction on vendor contact with County representatives shall apply until the County has awarded a purchase order or contract to a vendor or vendors, except as follows. First, in the event that a vendor initiates a formal protest against the RFQ, such vendor may contact the appropriate individual, or individuals who are managing that protest as outlined in the County’s established protest procedures. All such contact must be in accordance with the sequence set forth under the protest procedures. Second, in the event a public hearing is scheduled before the Board of Supervisors to hear testimony prior to its approval of a purchase order or contract, any vendor may address the Board.

PAYMENT:  County will make partial payments for all purchases made under this contract/purchase order and accumulated during the month.

RIGHT TO REJECT BIDS:  The County reserves the right to reject any and all bids and to waive informalities or irregularities in bids.

TERM:  The initial contract period shall be one (1) year.

QUANTITIES:  Quantities shown in the bid schedule are approximate and the County guarantees no minimum amount.  The County reserves the right to increase or decrease quantities.

SPECIFICATIONS AND EQUALS:  Brand names, where used, are a means of establishing quality and style.  Bidders are invited to quote their equals.  Alternate offers are to be supported by literature, which fully describes items that you are bidding.

No exceptions to or deviations from this specification will be considered unless each exception or deviation is specifically stated by the bidder, in the designated places.  If no exceptions or deviations are shown, the bidder will be required to furnish items exactly as specified herein. The burden of proof of compliance with this specification is the responsibility of the bidder.

LITERATURE:  Bidders shall submit literature, which fully describes items on which they are bidding, not later than the closing date of this bid. Any and all literature submitted must be stamped with bidders name and address.

MERCHANDISE RETURNABLE FOR FULL CREDIT:  Bidder agrees to accept for full credit any merchandise sold by him on contract or award resulting from this bid, if returned in good condition by the County.

GUARANTEE AGAINST DEFECTS:  All items are to carry a full guarantee against defects in materials and workmanship and guarantee against breakage and other malfunctions when performing work for which they are designed.

ORDERING:  Orders will be placed as required by County of Fresno- Fleet Services.

INVOICING:  All invoices are to be delivered in duplicate to County of Fresno- Fleet Services, 4551 E. Hamilton Ave., Fresno, CA  93702. Reference shall be made to the purchase order/contract number and equipment number if applicable on the invoice.

RENEWAL:  Contract may be renewed for additional one (1) year periods.

VENDOR ASSISTANCE:  Successful bidder shall furnish, at no cost to the County, a representative to assist County departments in determining their product requirements.

TERMINATION:  This agreement may be terminated by the County at any time upon written notice.

HOLD HARMLESS CLAUSE:  Contractor agrees to indemnify, save, hold harmless and at County's request, defend the County, its officers, agents and employees, from any and all costs and expenses, damages, liabilities, claims and losses occurring or resulting to County in connection with the performance, or failure to perform, by Contractor, its officers, agents or employees under this Agreement and from any and all costs and expenses, damages, liabilities, claims and losses occurring or resulting to any person, firm or corporation who may be injured or damaged by the performance, or failure to perform, of Contractor, its officers, agents or employees under this Agreement.

ASSURANCES:  Any contract awarded under this RFQ must be carried out in full compliance with The Civil Rights Act of 1964, The Americans With Disabilities Act of 1990, their subsequent amendments, and any and all other laws protecting the rights of individuals and agencies.  The County of Fresno has a zero tolerance for discrimination, implied or expressed, and wants to ensure that policy continues under this RFQ.  The contractor must also guarantee that services, or workmanship, provided will be performed in compliance with all applicable local, state, or federal laws and regulations pertinent to the types of services, or project, of the nature required under this RFQ.  In addition, the contractor may be required to provide evidence substantiating that their employees have the necessary skills and training to perform the required services or work.

INDEPENDENT CONTRACTOR:  In performance of the work, duties and obligations assumed by Bidder under this agreement, it is mutually understood and agreed that Bidder, including any and all of Bidder's officers, agents, and employees will at all times be acting and performing as an independent contractor, and shall act in an independent capacity and not as an officer, agent, servant, employee, joint venturer, partner, or associate of the County. Furthermore, County shall have no right to control or supervise or direct the manner or method by which Bidder shall perform its work and function. However, County shall retain the right to administer this agreement so as to verify that Bidder is performing its obligations in accordance with the terms and conditions thereof. Bidder and County shall comply with all applicable provisions of law and the rules and regulations, if any, of Governmental authorities having jurisdiction over matters the subject thereof.

Because of its status as an independent contractor, Bidder waives any and all employment rights and benefits available to County employees. Bidder shall be solely liable and responsible for providing to, or on behalf of, its employees all legally required employee benefits. In addition, Bidder shall be solely responsible and save County harmless from all matters relating to payment of Contractor's employees, including compliance with Social Security, withholding, and all other regulations governing such matters. It is acknowledged that during the term of this agreement, Bidder may be providing services to others unrelated to the County or to this agreement.

PRICES:  Bidder agrees that prices quoted are maximum for the contract period, and in the event of a price decline such lower prices shall be extended to the County of Fresno.

MATERIALS TO BE NEW:  All materials shall be new and of merchantable grade, free from defect.  No bid will be considered unless it is accompanied by a complete list of manufacturer's catalog numbers of the items, which the bidder proposes to furnish, together with full descriptive literature on all items so enumerated.  If item proposed differs from these specifications, bidder shall present specific explanation of functioning and structural characteristics for those details which differ from the specifications listed herein.

EXAMINATION OF SITE:  Where work is to be performed on County site, each bidder shall have examined the site of work before bidding and shall be responsible for having acquired full knowledge of the job and of all problems affecting it.  No variations or allowance from the contract sum will be made because of lack of such examination.

DAMAGE TO EXISTING WORK:  Damage to existing construction, equipment, planting, etc., by the contractor in the performance of his work shall be replaced or repaired and restored to original condition by the contractor.

CLEAN-UP:  The Contractor shall at all times, keep the premises clean from accumulation of waste materials or rubbish caused by his employees or work and shall remove all resulting work debris from the job site.

SUPERVISION:  The Contractor shall give efficient supervision to the work, using therein the skill and diligence for which he is remunerated in the contract price.  He shall carefully inspect the site and study and compare all drawings, specifications and other instructions, as ignorance of any phase of any of the features or conditions affecting the contract will not excuse him from carrying out its provisions to its full intent.

STANDARD OF PERFORMANCE:  All work shall be performed in a good and workmanlike manner.

SAFEGUARDS:  The contractor shall provide safeguards, in conformity with all local codes and ordinances as may be required.

INSURANCE:

Without limiting the COUNTY's right to obtain indemnification from CONTRACTOR or any third parties, CONTRACTOR, at its sole expense, shall maintain in full force and effect, the following insurance policies or a program of self-insurance, including but not limited to, an insurance pooling arrangement or Joint Powers Agreement (JPA) throughout the term of the Agreement:

- Commercial General Liability

Commercial General Liability Insurance with limits of not less than One Million Dollars ($1,000,000) per occurrence and an annual aggregate of Two Million Dollars ($2,000,000). This policy shall be issued on a per occurrence basis.   COUNTY may require specific coverages including completed operations, products liability, contractual liability, Explosion-Collapse-Underground, fire legal liability or any other liability insurance deemed necessary because of the nature of this contract.

- Automobile Liability

Comprehensive Automobile Liability Insurance with limits for bodily injury of not less than Two Hundred Fifty Thousand Dollars ($250,000.00) per person, Five Hundred Thousand Dollars ($500,000.00) per accident and for property damages of not less than Fifty Thousand Dollars ($50,000.00), or such coverage with a combined single limit of Five Hundred Thousand Dollars ($500,000.00).  Coverage should include owned and non-owned vehicles used in connection with this Agreement.

- Professional Liability

If CONTRACTOR employs licensed professional staff, (e.g., Ph.D., R.N., L.C.S.W., M.F.C.C.) in providing services, Professional Liability Insurance with limits of not less than One Million Dollars ($1,000,000.00) per occurrence, Three Million Dollars ($3,000,000.00) annual aggregate.

- Worker's Compensation

A policy of Worker's Compensation insurance as may be required by the California Labor Code.

Contractor shall obtain endorsements to the Commercial General Liability insurance naming the County of Fresno, its officers, agents, and employees, individually and collectively, as additional insured, but only insofar as the operations under this Agreement are concerned. Such coverage for additional insured shall apply as primary insurance and any other insurance, or self-insurance, maintained by County, its officers, agents and employees shall be excess only and not contributing with insurance provided under contractor's policies herein. This insurance shall not be cancelled or changed without a minimum of thirty (30) days advance written notice given to County.

Within thirty (30) days from the date contractor executes this Agreement, CONTRACTOR shall provide certificates of insurance and endorsement as stated above for all of the foregoing policies, as required herein, to the County of Fresno, Purchasing Supervisor, stating that such insurance coverage have been obtained and are in full force; that the County of Fresno, its officers, agents and employees will not be responsible for any premiums on the policies; that such Commercial General Liability insurance names the County of Fresno, its officers, agents and employees, individually and collectively, as additional insured, but only insofar as the operations under this Agreement are concerned; that such coverage for additional insured shall apply as primary insurance and any other insurance, or self-insurance, maintained by County, its officers, agents and employees, shall be excess only and not contributing with insurance provided under contractor's policies herein; and that this insurance shall not be cancelled or changed without a minimum of thirty (30) days advance, written notice given to County.

In the event contractor fails to keep in effect at all times insurance coverage as herein provided, the County may, in addition to other remedies it may have, suspend or terminate this Agreement upon the occurrence of such event.

All policies shall be with admitted insurers licensed to do business in the State of California.  Insurance purchased shall be purchased from companies possessing a current A.M. Best, Inc. rating of A FSC VII or better.

| Name of Insurance Carrier: |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Public Liability: |  |  |  | Expires: |  |
| Worker's Compensation: |  |  |  | Expires: |  |

Proof of maintenance of adequate insurance will be required before award is made to vendor.

GUARANTEE: The bidder shall state his written guarantee here:

REFERENCES:  Provide a list of three (3) client references that are presently using services being quoted (Name, phone number and contact person.)

WARRANTY AND SERVICE LOCATION:

- BIDDER TO COMPLETE:

State the warranty and/or guarantee provisions applicable to this equipment or attach warranty form with your bid.

State specific location where service and/or maintenance can be obtained. Failure to furnish this information will be cause for rejection of bid.

State Purchase Order mailing address:

SELF-DEALING TRANSACTION DISCLOSURE (financial)

Is the bidder a for-profit or non-profit corporation?

|  | No, the bidder is not a for-profit or non-profit corporation. If you check this box, you do not need to fill out the Self-Dealing Transaction Disclosure Form, please have the authorized representative sign and date the form at the bottom of the page. |
| --- | --- |
|  | Yes, the bidder is a for-profit or non-profit corporation. If you check this box, you must fill out the Self-Dealing Transaction Disclosure Form, sign and date it. |

Bidders shall complete a SELF-DEALING TRANSACTION DISCLOSURE FORM, provided herein, for each applicable corporate director of the bidding company.  The signed form(s) shall be submitted as a part of the company’s proposal or quotation.

Complete the form and indicate “NONE” under part 3 when your company is a corporation and no directors are involved with a Self-Dealing Transaction. The form must be signed by an individual authorized to legally bind the corporation when no directors have a Self-Dealing Transaction.

DISCLOSURE OF SELF-DEALING TRANSACTIONS: The following provision will be incorporated into ensuing agreements.  It shall apply only when the CONTRACTOR is operating as a corporation (a for-profit or non-profit corporation) or if during the term of the agreement, CONTRACTOR changes its status to operate as a corporation.

This provision is only applicable if the CONTRACTOR is operating as a corporation (a for-profit or non-profit corporation) or if during the term of this agreement, the CONTRACTOR changes its status to operate as a corporation.

Members of the CONTRACTOR’s Board of Directors shall disclose any self-dealing transactions that they are a party to while CONTRACTOR is providing goods or performing services under this agreement. A self-dealing transaction shall mean a transaction to which the CONTRACTOR is a party and in which one or more of its directors has a material financial interest. Members of the Board of Directors shall disclose any self-dealing transactions that they are a party to by completing and signing a Self-Dealing Transaction Disclosure Form (Exhibit #) and submitting it to the COUNTY prior to commencing with the self-dealing transaction or immediately thereafter.

SELF-DEALING TRANSACTION DISCLOSURE FORM instructions

In order to conduct business with the County of Fresno (hereinafter referred to as “County”), members of a contractor’s board of directors (hereinafter referred to as “County Contractor”), must disclose any self-dealing transactions that they are a party to while providing goods, performing services, or both for the County.  A self-dealing transaction is defined below:

“A self-dealing transaction means a transaction to which the corporation is a party and which one or more of its directors has a material financial interest”

The definition above will be utilized for purposes of completing the disclosure form.

- Enter board member’s name, job title (if applicable), and date this disclosure is being made.

- Enter the board member’s company/agency name and address.

- Describe in detail the nature of the self-dealing transaction that is being disclosed to the County. At a minimum, include a description of the following:

  - The name of the agency/company with which the corporation has the transaction; and

  - The nature of the material financial interest in the Corporation’s transaction that the board member has.

- Describe in detail why the self-dealing transaction is appropriate based on applicable provisions of the Corporations Codes.

- Form must be signed by the board member that is involved in the self-dealing transaction described in Sections (3) and (4).

Form provided on following page.

SELF-DEALING TRANSACTION DISCLOSURE FORM

| - Company Board Member Information: |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Name: |  |  |  | Date: |  |
| Job Title: |  |  |  |  |  |
| - Company/Agency Name and Address: |  |  |  |  |  |
| - Disclosure (Please describe the nature of the self-dealing transaction you are a party to) |  |  |  |  |  |
| - Explain why this self-dealing transaction is consistent with the requirements of Corporations Code 5233 (a) |  |  |  |  |  |
| - Authorized Signature |  |  |  |  |  |
| Signature: |  |  | Date: |  |  |

FUEL SITE REPAIRS, MAINTENANCE,

TESTING AND UPGRADE

The County of Fresno is soliciting quotations for fuel site repairs, maintenance, testing and upgrade at the Hamilton Yard fuel site.  The County operates 18 vehicle fueling sites and 8 building maintenance generator tanks, collectively referred to as Fuel Sites.  Fuel storage tanks contain either gasoline or diesel.

The intent of this Request for Quotation (RFQ) is to competitively bid the following:

- Fuel Site Repairs and Maintenance – – Scheduled and un-scheduled repairs to a fuel site to make the site operational for its intended function  The general preventative maintenance of the fuel sites including routine maintenance functions which reduce the possibility of unforeseen repairs.

- Fuel Site Testing – Compliance Testing which include Annual Testing, Underground Storage Tank Testing and SB989 Testing.  Applicable testing to be performed per the established permits.

- Enhanced Vapor Recovery System (Phase I) for thirteen (13) aboveground storage tanks.

- Hamilton Yard Fuel Site Upgrade – Remove and replace four (4) existing fuel dispensers at the Hamilton Yard Fuel Site, as specified within this RFQ.

The County has on staff a Fuel Site Specialist.  This individual will be performing minor maintenance and repairs to the fuel sites.   The Fuel Site Specialist will be providing direction, scheduling and authorization of required job tasks.

Vendor Conference:  On October 17, 2012 at 10:00 A.M., a vendor’s conference will be held in which the County’s requirements will be explained.  The meeting will be held at the office of Fresno County Purchasing Division, 4525 E. Hamilton Ave.  (between Cedar and Maple), Fresno California.  Written addendum will be prepared and distributed to all bidders only if necessary to clarify substantive items raised during the conference.

Bidders are to contact Craig Nickel at the Purchasing Division if they are planning to attend. The telephone number is (559) 600-7110.

Scope of Desired Work:  The County will enter into three separate awards per the terms of this Request for Quotation.  The first award will be in the group titled “Fuel Site Repairs and Maintenance”. The second, group title “Compliance Testing”. The third will be in the group titled “Upgrade”. Vendors have the opportunity to participate in each group or in all groups.

Award:  Award will be made to the bidder(s) whose service, price, and delivery are most advantageous to the County.  Award will be made to the vendor(s) in each group which is deemed in the best advantage of the County.  The County reserves the right to award on the entire package (group 1, group 2 and group 3) or on a per group basis.  The County will be the sole judge in making this determination.

Vendor Requirements:  The vendor must have the necessary inventory, equipment, and tooling to perform diagnosis, repairs and services as requested.  The awarded vendor must be certified in repairs and testing when performing compliance testing.  The successful vendor must be capable of performing these tasks at the fuel site(s).  In order to facilitate this requirement, a fully stocked service truck is an operational requirement.  The vendor performing the “upgrade” must be fully licensed to this job task.  The County reserves the right to inspect the vendors service and parts facility or other requirements at a mutually agreed upon date and time.

Disposal of Hazardous Material:  The County will dispose of all Hazardous Material associated with the particular job requirements.  The County has under separate contract a full Hazardous Material Disposal Contractor to accomplish disposal of any material identified which requires special handling.

GROUP 1

Group 1 will compose of Fuel Site Repairs, Maintenance and associated parts.

Time of Completion:  Service is of the essence. The generally accepted time of completion is 24 hours from the time of notification.  In the space below indicate your time of service response.

| Service Response Time: |  |  |  |  | (firm name) will accept / reject |
| --- | --- | --- | --- | --- | --- |
| the service request within |  |  | minutes of initial notification. Upon acceptance of the |  |  |
| service request, the vendor will provide an estimated time when a technician will be arriving at the job site. The County will provide as much detail as possible regarding the service need. |  |  |  |  |  |
| Signature of Authorized Representative: |  |  |  |  |  |

Hourly Labor Rates:  Bidders shall indicate in the space below their hourly rate for repairs and maintenance.  Hourly rate is defined as that rate of compensation when working at the County Fuel Site by a Journey Level Technician.  It does not include travel time or expenses.  The hourly rates will be used to determine all future unidentified service and maintenance needs.

Normal Business Hours – Hourly Rate:

(6 A.M. – 7 P.M Monday through Friday, excluding Holidays)

After Hours Rate:

7 P.M. – 6 A.M. Monday through Friday, excluding Holidays)

Holiday Hourly Rate:

(The 24 hour period beginning at twelve midnight on the Holiday Date (s)

Parts

The vendor shall have a have a full inventory of routine replacement parts.  All parts required for routine service calls, such as; pumps, hoses, nozzles, filters, dispenser parts, etc, shall be expected to be in stock and on the service truck that is dispatched to the repair location.  No additional travel charges shall be billed to the County for routine parts that are not in the vendor’s possession at the time of the original service call.

Parts Pricing:  The successful bidder shall provide all parts requested for the service.  Such parts must be new and equivalent to original equipment manufacturer in quality.

Bidders are instructed to propose a method for determining County’s cost for parts which may be needed over the term of the contract.  The costing method should be in the form of a mark up or discount from a published price list.

The bidder’s proposed costing method should include the following”

- A list of primary brands

- Identify all pricing lists to be used.  Indicate the Brand Name, Price Sheet Name, Number and Date.

- A copy of each price sheet.

- Method of determining County cost from each sheet.

- Period for which the proposal pricing will be firm.

The bidder’s parts pricing proposal is to be submitted with their quotation under a separate section identified as “Parts Pricing Proposal.”

For bidders that are only responding to Group II (Compliance Testing), the pages detailing parts pricing and wages in Group I (Repairs and Maintenance) must be filled out. In the event that repairs must be made in order to gain compliance, the cost for parts and labor will be determined from the bidders’ response to that section of this RFQ.

Travel

Travel Charges are defined as that time/ expense associated with the travel to the requested County fuel site location.  A travel charge section is included with Group 1.  The vendor shall furnish a set charge to each location.  Do not include travel, mileage, or other charges separately.  The County is requesting a set or firm travel charge.

Travel Charges will be for Group 1 exclusively.  Groups 2, 3 and 4 are firm pricing and do not require Travel Charges.

| PARTS PRICING PROPOSAL |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| (A) |  | List of primary brands to be used: |  |  |  |  |  |
| PART |  |  |  |  | BRAND |  |  |
| NOZZLES |  |  |  |  | EMCO WHEATON - HEALY |  |  |
| FILTERS |  |  |  |  | PETRO CLEAR |  |  |
| HOSES |  |  |  |  | VST, GOODYEAR, HEALY |  |  |
| TURBINE MOTORS |  |  |  |  | FE PETRO – RED JACKET |  |  |
| SENSORS |  |  |  |  | DEPENDING ON BRAND OF MONITOR TO BE INSTALLED VEEDER ROOT |  |  |
| (B) | (C) |  | List of Brand name/Model and prices |  |  |  |  |
| (D) |  | County will get a 5% reduction on list prices. |  |  |  |  |  |
| (E) |  | Pricing will remain firm for (1) year. |  |  |  |  |  |

TRAVEL CHARGES

Fuel Site Repairs and Maintenance

Group 1 Exclusively

|  | American Avenue Disposal Site 18950 West American Avenue Kerman | $ |
| --- | --- | --- |
|  | Auberry Public Works Yard 33148 Auberry Road Auberry | $ |
|  | Avocado Lake Park 3625 N. Piedra Road Fresno | $ |
|  | Barton Motor Pool 500 South Barton Avenue Fresno | $ |
|  | Biola Public Works Yard 12856 West “G” Street Biola | $ |
|  | Caruthers Public Works Yard 2544 West Mountain View Avenue Caruthers | $ |
|  | Clovis Public Works Yard 9400 North Matus Fresno | $ |
|  | Coalinga Public Works Yard 740 East Polk Avenue Coalinga | $ |
|  | Courthouse Motor Pool 1155 “M” Street Fresno | $ |
|  | Del Rey Public Works Yard 3633 South Del Rey Del Rey | $ |
|  | Dunlap Public Works Yard 40315 Dunlap Road Dunlap | $ |
|  | Firebaugh Public Works Yard 38835 West Ness Road Firebaugh | $ |
|  | Hamilton – Fleet Complex 4551 East Hamilton Avenue Fresno | $ |
|  | Kearney Park 3725 West Kearney Blvd. Fresno | $ |
|  | Reedley Public Works Yard 17627 Manning Avenue Reedley | $ |
|  | Sanger Public Works Yard 9525 East Olive Avenue Sanger | $ |
|  | Shaver Lake Public Works Yard 41687 Dinkey Creek Road Shaver Lake | $ |
|  | Tranquility Public Works Yard 25411 West Silveria Street Tranquility | $ |
|  | Caruthers Boot Camp 500 East Elkhorn Caruthers | $ |
|  | Computer Services 1020 South Tenth Street Fresno | $ |
|  | Fulton Mall Health Dept. 1221 Fulton Mall Fresno | $ |
|  | Juvenile Hall 744 South 10th Street Fresno | $ |
|  | Main Jail 1225 “M” Street Fresno | $ |
|  | Total all Travel Charges | $ |

| FUEL SITE MAINTENANCE AND REPAIRS (POTENTIAL SERVICES) |  |  |  |
| --- | --- | --- | --- |
| The scheduling of this work has not been determined. These are hypothetical services, which may be needed. The projects described below will include the travel charges provided within this section. |  |  |  |
| Job 1. | Location | American Avenue Disposal 18950 West American Avenue Kerman |  |
|  | Service | Diesel Nozzle not working Replace Diesel Nozzle |  |
|  | Parts | OPW 1290 |  |
|  | Quotation | Travel Charges | $ |
|  |  | Labor Charges | $ |
|  |  | Parts Charges | $ |
|  |  | Job Total | $ |
| Job 2. | Location | Barton Motor Pool 500 South Barton Ave. Fresno |  |
|  | Service | Drive Off-Gasoline Dispenser Replace Hose and Breakaway Test for Operation |  |
|  | Parts | Healy Nozzle 900-02G3FS Healy Breakaway |  |
|  | Quotation | Travel Charges | $ |
|  |  | Labor Charges | $ |
|  |  | Parts Charges | $ |
|  |  | Job Total | $ |
| Job 3. | Location | Del Rey Public Works Yard 3633 S. Del Rey Del Rey |  |
|  | Service | Totalizer not working Replace Totalizer |  |
|  | Parts | 633-066 Totalizer |  |
|  | Quotation | Travel Charges | $ |
|  |  | Labor Charges | $ |
|  |  | Parts Charges | $ |
|  |  | Job Total | $ |
| Job 4. | Location | Caruthers Public Works Yard 2544 W. Mountain View Caruthers |  |
|  | Service | Diesel Down. Replace Turbine Motor. |  |
|  | Parts | Red Jacket 1.5 hp Motor Red Jacket 25.0 Capacitor |  |
|  | Quotation | Travel Charges | $ |
|  |  | Labor Charges | $ |
|  |  | Parts Charges | $ |
|  |  | Job Total | $ |

GROUP 2

COMPLIANCE TESTING

Compliance Testing per Title 23, Division 3, Chapter 16, California Code of Regulations and Chapter 6.7 Health and Safety Code for Underground Storage Tank Regulations.  All Line Leak Detectors tested per compliance regulations.  All San Joaquin Valley Unified Air Pollution Control District compliance testing rules for vapors shall be included.

All compliance testing including San Joaquin Valley Air Pollution Control District vapor testing, California Underground Storage Tank Regulation testing shall be pre-tested prior to compliance and certification testing.

In the event of a failure during a pre-test, the contractor will make necessary repairs at the rates stated for repairs and maintenance (contained in Group 1) per this Request for Quotation.

Compliance Testing charges shall be all inclusive – NO Travel Charges.

Cost of all Compliance Testing shall be a firm price.

County of Fresno will provide a schedule for all compliance testing.

For bidders that are only responding to Group 2 (Compliance Testing), the pages detailing parts pricing and wages in Group 1 (Repairs and Maintenance) must be filled out. In the event that repairs must be made in order to gain compliance, the cost for parts and labor will be determined from the bidders’ response to that portion of this RFQ.

GROUP 2

COMPLIANCE TESTING

Cost of applicable Compliance Testing

Bid a firm price – do not include any travel time

|  |  | APCD Testing |  | UGST Testing |  | SB 989 |
| --- | --- | --- | --- | --- | --- | --- |
| 1. | American Avenue Disposal 18950 West American Avenue Kerman |  |  |  |  |  |
|  | Single aboveground tank |  |  |  |  |  |
|  | 9,000 gallon diesel |  |  |  |  |  |
|  | 5,000 gallon gasoline | $ |  |  |  |  |
| 2. | Auberry Public Works Yard 33148 Auberry Road Auberry |  |  |  |  |  |
|  | Single aboveground tank |  |  |  |  |  |
|  | 6,000 gallon diesel |  |  |  |  |  |
|  | 9,000 gallon gasoline | $ |  |  |  |  |
| 3. | Avocado Lake Park 3625 N. Piedra Road Fresno |  |  |  |  |  |
|  | Single aboveground tank |  |  |  |  |  |
|  | 1,000 gallon diesel |  |  |  |  |  |
|  | 500 gallon gasoline | $ |  |  |  |  |
| 4. | Barton Motor Pool 500 South Barton Ave. Fresno |  |  |  |  |  |
|  | Single underground tank |  |  |  |  |  |
|  | 12,000 gallon gasoline (Healy V/L only) (1 dual hose pump) | $ |  | $ |  | $ |
| 5. | Biola Public Works Yard 12856 West “G” Street Biola |  |  |  |  |  |
|  | Single aboveground tank |  |  |  |  |  |
|  | 10,000 gallon diesel |  |  |  |  |  |
|  | 10,000 gallon gasoline | $ |  |  |  |  |
| 6. | Caruthers Public Works Yard 2544 W. Mountain View Caruthers |  |  |  |  |  |
|  | Two underground tanks |  |  |  |  |  |
|  | 1 – 10,000 gallon diesel |  |  |  |  |  |
|  | 1 – 10,000 gallon gasoline (Healy annual) (single hose) | $ |  | $ |  | $ |
| 7. | Clovis Public Works Yard 9400 N. Matus Fresno |  |  |  |  |  |
|  | Single aboveground tank |  |  |  |  |  |
|  | 10,000 gallon diesel |  |  |  |  |  |
|  | 10,000 gallon gasoline | $ |  |  |  |  |
| 8. | Coalinga Public Works Yard 740 E. Polk Ave. Coalinga |  |  |  |  |  |
|  | Single aboveground tank |  |  |  |  |  |
|  | 10,000 gallon diesel |  |  |  |  |  |
|  | 10,000 gallon gasoline | $ |  |  |  |  |
| 9. | Courthouse Motor Pool 1155 “M” Street Fresno |  |  |  |  |  |
|  | Single underground tank |  |  |  |  |  |
|  | 10,000 gallon gasoline (Hirt) (V/L only) (2 single hose pumps) | $ |  | $ |  | $ |
| 10. | Del Rey Public Works Yard 3633 S. Del Rey Ave. Del Rey |  |  |  |  |  |
|  | Single aboveground tank |  |  |  |  |  |
|  | 10,000 gallon diesel |  |  |  |  |  |
|  | 10,000 gallon gasoline | $ |  |  |  |  |
| 11. | Dunlap Public Works Yard 40315 Dunlap Road Dunlap |  |  |  |  |  |
|  | Single aboveground tank |  |  |  |  |  |
|  | 5,000 gallon diesel |  |  |  |  |  |
|  | 3,000 gallon gasoline | $ |  |  |  |  |
| 12. | Firebaugh Public Works Yard 38835 W. Nees Ave. Firebaugh |  |  |  |  |  |
|  | Two aboveground Tanks |  |  |  |  |  |
|  | 1 – 10,000 gallon diesel |  |  |  |  |  |
|  | 1 – 10,000 gallon gasoline | $ |  |  |  |  |
| 13. | Hamilton – Fleet complex 4551 E. Hamilton Ave. Fresno |  |  |  |  |  |
|  | Two underground tanks |  |  |  |  |  |
|  | 1 -12,000 gallon diesel |  |  |  |  |  |
|  | 1 – 20,000 gallon gasoline (Healy annual) (4 single hose pumps) | $ |  | $ |  | $ |
| 14. | Kearney Park 6725 W. Kearney Blvd. Fresno |  |  |  |  |  |
|  | Single aboveground tank |  |  |  |  |  |
|  | 9,000 gallon diesel |  |  |  |  |  |
|  | 3,000 gallon gasoline | $ |  |  |  |  |
| 15. | Reedley Public Works Yard 17627 Manning Ave. Reedley |  |  |  |  |  |
|  | Single aboveground tank |  |  |  |  |  |
|  | 10,000 gallon diesel |  |  |  |  |  |
|  | 10,000 gallon gasoline | $ |  |  |  |  |
| 16. | Sanger Public Works Yard 9525 W. Olive Ave. Fresno |  |  |  |  |  |
|  | Single aboveground tank |  |  |  |  |  |
|  | 10,000 gallon diesel |  |  |  |  |  |
|  | 10,000 gallon gasoline | $ |  |  |  |  |
| 17. | Shaver Lake Public Works Yard 41687 Dinkey Creek Road Shaver Lake |  |  |  |  |  |
|  | Single Underground Tank |  |  |  |  |  |
|  | 8,000 gallon diesel (Healy) (Single dual hose pump) | $ |  | $ |  | $ |
|  | 4,000 gallon gasoline |  |  | $ |  | $ |
| 18. | Tranquility Public Works Yard 25411 W. Silveria Street Tranquility |  |  |  |  |  |
|  | Two underground tanks |  |  |  |  |  |
|  | 1- 10, 000 gallon diesel |  |  | $ |  | $ |
|  | 1 – 10,000 gallon gasoline (Annual and V/L) (Healy) | $ |  | $ |  | $ |
| 19. | Fulton Mall Health Dept. 1221 Fulton Mall Fresno |  |  |  |  |  |
|  | Single underground tank |  |  |  |  |  |
|  | 500 gallon diesel |  |  | $ |  | $ |
| 20. | Mail Jail 1225 “M” Street Fresno |  |  |  |  |  |
|  | Single underground tank |  |  |  |  |  |
|  | 10,000 gallon diesel |  |  | $ |  | $ |
| 21. | Sheriff Admin. Building 2200 Fresno Street Fresno |  |  |  |  |  |
|  | Single underground tank |  |  |  |  |  |
|  | 20,000 gallon diesel |  |  | $ |  | $ |
|  | Sub-Total (each column) | $ |  | $ |  | $ |
|  | Total for all Compliance Testing |  |  |  |  | $ |

GROUP 3

ENHANCED VAPOR RECOVERY (Phase I) UPGRADES

The County of Fresno is soliciting quotes from qualified bidders to upgrade thirteen (13) aboveground fuel locations for Enhanced Vapor Recovery (EVR) - Phase I.

All of the aboveground unleaded locations are a single hose fueling point with a remote fill except for the Avocado Lake site which is a single hose site with a standard fill.

|  | SITE | ADDRESS | SIZE | SPLIT (unleaded/diesel) | MAKE |
| --- | --- | --- | --- | --- | --- |
| 1. | American Ave. | 18950 W. American Ave., Kerman, CA | 12,000 gal. | 3,000 / 9,000 | Enviro Vault |
| 2. | Auberry | 33148 Auberry Rd., Auberry, CA | 15,000 gal. | 9,000 / 6,000 | Enviro Vault |
| 3. | Avocado Lake | 3625 N. Piedra Rd., Piedra, CA | 1,500 gal. | 1,000 / 500 | Enviro Vault |
| 4. | Biola | 12855 W. “G” St., Biola, CA | 20,000 gal. | 10,000 / 10,000 | Enviro Vault |
| 5. | Clovis | 9400 N. Matus, Clovis, CA | 20,000 gal. | 10,000 / 10,000 | Enviro Vault |
| 6. | Coalinga | 740 E. Polk, Coalinga, CA | 20,000 gal. | 10,000 / 10,000 | Enviro Vault |
| 7. | Del Rey | 3633 S. Del Rey, Del Rey, CA | 15,000 gal. | 5,000 / 10,000 | Enviro Vault |
| 8. | Dunlap | 40315 Dunlap Rd., Dunlap, CA | 8,000 gal. | 3,000 / 5,000 | Enviro Vault |
| 9. | Firebaugh | 38825 W. Nees, Firebaugh, CA | 10,000 gal. | 10,000 unleaded | Enviro Vault |
| 10. | Kearney Park | 6725 W. Kearney Blvd., Fresno, CA | 12,000 gal. | 9,000 / 3,000 | Enviro Vault |
| 11. | Reedley | 17627 W. Manning Ave., Reedley, CA | 20,000 gal. | 10,000 / 10,000 | Enviro Vault |
| 12. | Sanger | 9525 E. Olive Ave., Sanger, CA | 20,000 gal. | 10,000 / 10,000 | Enviro Vault |
| 13. | Juvenile Justice Campus | 3333 E. American Ave., Fresno, CA | 20,000 gal. | 10,000 / 10,000 | Enviro Vault |

GROUP 4

hamilton yard fuel site upgrade

Remove and replace four (4) existing fuel dispensers at the Hamilton Yard Fuel Site, as detailed below. Contractor shall apply and pay for all permits, invoicing the County after the completion of the job.

No exceptions or deviations from the brands stated will be considered unless it is specifically stated by bidder in the space provided below. If no exceptions or deviations are shown, the bidder will be required to furnish items exactly as specified below.

Remove four (4) existing Gilbarco Dispensers.

Install four (4) Bravo Conversion Frames, or equivalent.

Install four (4) Gasboy Atlas Single Product, Single Hose Dispensers, or equivalent.

Remove Phase II system from existing Dispensers and Install on new Dispensers.

Install new hose retractors.

Purge and calibrate.

Perform APCD startup pretest and startup testing	$

|  | Materials |  | $ |
| --- | --- | --- | --- |
|  | Labor |  | $ |
|  | Permits |  | $ |
|  | Tax |  | $ |
|  |  | Total | $ |
| Please state brand and model of parts used in price quoted above: |  |  |  |
| Company Name:. QUOTATION SCHEDULE |

All labor, materials, equipment, taxes, fees, transportation, permits, etc., to perform fuel site compliance testing, repairs and maintenance and upgrade at the Hamilton Yard Fuel site, as specified within this request for quotation.

| GROUP 1 |  |
| --- | --- |
| Fuel Site Maintenance & Repairs (Hypothetical Services for Examination Purposes) |  |
| 1. Job 1. | $ |
| 2. Job 2. | $ |
| 3. Job 3. | $ |
| 4. Job 4. | $ |

| Travel Charges |  |
| --- | --- |
| Total of travel charges | $ |

| GROUP 2 |  |  |
| --- | --- | --- |
| Fleet Services Vehicle/Equipment Tanks | Compliance Testing |  |
|  | Total of all testing (Air Pollution, UGST, SB989) |  |
| 1. American Ave. Disposal Site |  | $ |
| 2. Auberry Public Works Yard |  | $ |
| 3. Avocado Lake Park |  | $ |
| 4. Barton Motor Pool |  | $ |
| 5. Biola Public Works Yard |  | $ |
| 6. Caruthers Public Works Yard |  | $ |
| 7. Clovis Public Works Yard |  | $ |
| 8. Coalinga Public Works Yard |  | $ |
| 9. Courthouse Motor Pool |  | $ |
| 10. Del Rey Public Works Yard |  | $ |
| 11. Dunlap Public Works Yard |  | $ |
| 12. Firebaugh Public Works Yard |  | $ |
| 13. Hamilton Ave./Fleet Services |  | $ |
| 14. Kearney Park |  | $ |
| 15. Reedley Public Works Yard |  | $ |
| 16. Sanger Public Works Yard |  | $ |
| 17. Shaver Lake Public Works Yard |  | $ |
| 18. Tranquility Public Works Yard |  | $ |
| 19. Fulton Mall Health Dept. |  | $ |
| 20. Main Jail |  | $ |
| 21. Sheriff Admin. Building |  | $ |

| Building Maintenance Generator Tanks |  |
| --- | --- |
| 1. Caruthers Boot Camp | $ |
| 2. Computer Services | $ |
| 3. Fulton Mall Health Department | $ |
| 4. Juvenile Justice Campus | $ |
| 5. Main Jail | $ |
| 6. Satellite Jail | $ |
| 7. Sheriff’s Administration Building | $ |
| 8. County Plaza Building | $ |
| GROUP 3 |  |
| Enhanced Vapor Recovery Upgrades (Phase I) |  |
| - American Avenue | $ |
| - Auberry | $ |
| - Avocado Lake | $ |
| - Biola | $ |
| - Clovis | $ |
| - Coalinga | $ |
| - Del Rey | $ |
| - Dunlap | $ |
| - Firebaugh | $ |
| - Kearney Park | $ |
| - Reedley | $ |
| - Sanger | $ |
| - Juvenile Justice Campus | $ |
| Total of all EVR Phase I Upgrades | $ |

| GROUP 4 |  |
| --- | --- |
| Hamilton Yard Fuel Site Upgrade |  |
|  | $ |

- BIDDER TO COMPLETE THE FOLLOWING:

- PARTICIPATION

The County of Fresno is a member of the Central Valley Purchasing Group.  This group consists of Fresno, Kern, Kings, and Tulare Counties and all governmental, tax supported agencies within these counties.

Whenever possible, these and other tax supported agencies co-op (piggyback) on contracts put in place by one of the other agencies.

Any agency choosing to avail itself of this opportunity, will make purchases in their own name, make payment directly to the contractor, be liable to the contractor and vice versa, per the terms of the original contract, all the while holding the County of Fresno harmless.  If awarded this contract, please indicate whether you would extend the same terms and conditions to all tax supported agencies within this group as you are proposing to extend to Fresno County.

|  | Yes, we will extend contract terms and conditions to all qualified agencies within the Central Valley Purchasing Group and other tax supported agencies. |
| --- | --- |
|  | No, we will not extend contract terms to any agency other than the County of Fresno. |
| (Authorized Signature) |  |
| Title |  |

| Firm: |  |
| --- | --- |

REFERENCE LIST

Provide a list of at least three (3) customers for whom you have recently provided similar services.  Be sure to include all requested information.

| Reference Name: |  |  |  |  |  |  |  | Contact: |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Address: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| City: |  |  |  |  |  |  |  |  | State: |  |  |  |  | Zip: |  |  |  |
| Phone No.: |  | ( |  |  | ) |  | Date: |  |  |  |  |  |  |  |  |  |  |
| Service Provided: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Reference Name: |  |  |  |  |  |  |  | Contact: |  |  |  |  |  |  |  |  |  |
| Address: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| City: |  |  |  |  |  |  |  |  |  | State: |  |  |  |  | Zip: |  |  |
| Phone No.: |  | ( |  |  | ) |  | Date: |  |  |  |  |  |  |  |  |  |  |
| Service Provided: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Reference Name: |  |  |  |  |  |  |  | Contact: |  |  |  |  |  |  |  |  |  |
| Address: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| City: |  |  |  |  |  |  |  |  | State: |  |  |  |  | Zip: |  |  |  |
| Phone No.: |  | ( |  |  | ) |  | Date: |  |  |  |  |  |  |  |  |  |  |
| Service Provided: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Reference Name: |  |  |  |  |  |  |  | Contact: |  |  |  |  |  |  |  |  |  |
| Address: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| City: |  |  |  |  |  |  |  |  |  | State: |  |  |  |  | Zip: |  |  |
| Phone No.: |  | ( |  |  | ) |  | Date: |  |  |  |  |  |  |  |  |  |  |
| Service Provided: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Reference Name: |  |  |  |  |  |  |  | Contact: |  |  |  |  |  |  |  |  |  |
| Address: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| City: |  |  |  |  |  |  |  |  | State: |  |  |  |  | Zip: |  |  |  |
| Phone No.: |  | ( |  |  | ) |  | Date: |  |  |  |  |  |  |  |  |  |  |
| Service Provided: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

Failure to provide a list of at least three (3) customers may be cause for rejection of this RFQ.

CHECK LIST

This Checklist is provided to assist the vendors in the preparation of their bid response.  Included in this list, are important requirements and is the responsibility of the bidder to submit with the bid package in order to make the bid compliant.  Because this checklist is just a guideline, the bidder must read and comply with the bid in its entirety.

Check off each of the following:

|  |  | The Request for Quotation (RFQ) has been signed and completed. |
| --- | --- | --- |
|  |  | One (1) original and two (2) copies of the RFQ have been provided. |
|  |  | Addenda, if any, have been completed, signed and included in the bid package. |
|  |  | The completed Reference List as provided with this RFQ. |
|  |  | The Quotation Schedule as provided with this RFQ, has been completed, priced reviewed for accuracy and any corrections initialed in ink. |
|  |  | Indicate all of bidder exceptions to the County’s requirements, conditions and specifications as stated within this RFQ. |
|  |  | Bidder to Complete page as provided with this RFQ. |
|  |  | Lastly, on the LOWER LEFT HAND CORNER of the sealed envelope, box, etc. transmitting your bid include the following information: |

| County of Fresno RFQ No. |  |  | 992-5085 |
| --- | --- | --- | --- |
| Closing Date: | October 31, 2012 |  |  |
| Closing Time: | 2:00 P.M. |  |  |
| Commodity or Service: |  |  |  |

This Checklist does not need to be returned with your bid.